1791 Tullie Circle, N.E./Atlanta, GA  30329

404-636-8400

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	8.4						DATE		June 27, 2023

TC/TG/MTG/TRG TITLE		Air-to-refrigerant heat transfer equipment

DATE OF MEETING 		June 27, 2023		LOCATION	Tampa, FL

| MEMBERS PRESENT | YEAR APPTD | MEMBERS ABSENT |  | YEAR APPTD | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- | --- | --- | --- |
| Arindom Joardar, Chair | 2021 | Bill Fox (Stds SC) |  | 2020 |  |
| Christian Bach, Vice Chair & (VM) | 2021 |  |  |  |  |
| Pedro Perez (VM) | 2020 |  |  |  |  |
| Yang Zou (VM) | 2021 |  |  |  |  |
| Khaled Hassan Saleh (VM) | 2021 |  |  |  |  |
| Kishan Padakannaya (Research SC Chair) | 2021 |  |  |  |  |
| Kashif Nawaz (HandBook SC Chair) | 2022 |  |  |  |  |
| Pratik Deokar (Webmaster) | 2021 |  |  |  |  |
| Dhruv Hoysall (Secretary) | 2021 |  |  |  |  |
| Vikrant C Aute (VM) | 2022 |  |  |  |  |
| Jun Li (VM) | 2022 |  |  |  |  |
| Matt Baker (VM) | 2022 |  |  |  |  |
| Ratnesh Tiwari (Membership SC Chair) | 2018 |  |  |  |  |
| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |  |  |  |  |  |
| TAC Section Head: Charlie Henck |  |  |  | SH0804@ashrae.net |  |  |
| All Committee Liaisons as shown on TC/TG/MTG/TRG Rosters (Research, Standards, ALI, etc.) |  |  |  | See ASHRAE email alias list for needed addresses. |  |  |
| Mike Vaughn, Manager of Research & Technical Services |  |  |  | MORTS@ashrae.net |  |  |

Note: These minutes have been approved by the TC on 01/23/2024.

- CALL TO ORDER

Arindom Joardar (Chair) called the meeting and welcomed all participants – both online and physically present in meeting room. Arindom reminded everyone of the ASHRAE code of ethics.

- SELF INTRODUCTIONS AND ATTENDENCE:

The Chair requested everyone present to introduce themselves with names and affiliations and indicate if they are international / YEA. An attendance sheet was available in the meeting room to sign for those physically present. Chair identified 8 out of total 8 (excluding himself) voting members at the meeting. Quorum was met and the voting member attendance is listed on the cover sheet. Chair reviewed the agenda with members.

The full list of the attendees is included in the appendix.

Note –Please reach out to the secretary (Dhruv Hoysall, Dhruv.hoysall@carrier.com) if anyone attended and name is missing from the attendance list.

- APPROVAL OF ATLANTA MEETING MINUTES:

Atlanta minutes ─ Christian motions to approve minutes, Pedro seconds. Atlanta 2022 winter meeting minutes approved 9-0-0.

- UPDATE FROM CHAIR’s BREAKFAST REPORT (Arindom Joardar)

The Chair attended the TCs Chair’s Breakfast meeting and presented the relevant highlights from the Sunday morning meeting as noted below.

    - Ashrae strategic vision is focused on building decarbonization and climate change topics

    - EU, Scandinavian countries, NA states enacting regulations aimed at whole life-cycle carbon footprint allocation for commercial buildings.

    - Ashrae building decarbonization task force is developing eight guides on this topic (one involves Heat Pumps) and scheduled to finish by July 2024.

    - Ashrae going global with ‘Standards’ and ‘Research/Technology’ to align with international regulatory bodies such as ISO

    - Strategically, Ashrae research focus are centered around the themes of building decarbonization, electrification, equipment resilience and net-zero. Alignment of RTARs with these topics will likely result in greater success rates

    - The Task Force for Building Decarbonization (TFBD) term has been extended and are looking for TC liaisons in these working groups. Anyone interested can contact Kent Peterson (kent.peterson@p2sinc.com)

    - ASHRAE govt. affairs committee provided an update and emphasized the need to strengthen engagement with legislators.

    - A summary of upcoming ASHRAE conference programs including the summer conference deadlines in Tampa were highlighted

    - Contact TAC@ashrae.net for any suggestions. The TCs chair breakfast meeting slides are available in the attached document

- RESEARCH BREAKFAST UPDATE (Kishan Padakannaya)

    - Annual research budget increased from $5M to $5.5M for 2023

    - RAC funding approval limits increased from $250k to $350k. Slowdown observed in research activities and Ashrae is encouraging TCs to submit more research proposals

    - Multidisciplinary task force created for addressing PFAS related topics

    - AHRI starting new project on chemical compatibility of low GWP refrigerants with oils and HVAC system construction materials including heat exchangers.

    - Prof. Davide Ziviane awarded 2023 new investigator award for work on “Novel Electrochemical Heat Pump Concepts.”

    - The attached presentation from RAC breakfast meeting below provides more details:

- RESEARCH SUBCOMMITTEE REPORT (Kishan Padakannaya)

The research sub-committee chair Kishan Padakannaya provided the status of the current research projects as below:

- Current Research Projects

      - No active research as lead TC

      - Co-sponsor with TC 8.11 for RP1785 Charge Project

        - Ray Rite (PMS chair), Christian Bach (PI)

        - Update given at TC 8.11 research meeting on Sunday, June 25th, 2023 (3:30-6:30 PM EDT) – No cost extension to 31st January 2024 for PMS to determine project outcome

      - Co-sponsor with TC 1.3 for RP1683 Ammonia U-Bend Project

        - Ray Rite (PMS Chair), Chad Bowers (PMS), Dr. Abbas (PI, GIK Institute), Lorenzo Cremaschi (Co PI)

        - Update was given at TC 1.3/8.5 Research meeting on Sunday, June 25th, 2023 (3:00-6:00 PM EDT) – Lorenzo presented.

- Ideas for RTARS/WS (members to focus on the bold items)

      - Corrosion (RP 1645) project follow-up. Harshad authored RTAR up for voting in TC 8.4 main meeting on Tuesday, June 27th, 2023 (3:30-5:30 PM EDT).

      - Model for flow in distributors with focus on modulating flow / variable speed systems Kashif to share literature – Kishan to follow up with Kashif, Vikrant to help too. Kashif to share info.

      - Update on market interest in < 4mm diameter tubes [Vikrant, Bill, Yirong] - keep for prototyping capability to catch up, various tube spacing main issue even with flat fin – Yirong assessment.

        - Update from January 2023 - Vikrant came across 3 OEMs making 3-5 mm HX. Thermokar (Turkey), Amber (India), Sierra (Italian). Vikrant to follow up.

      - Longevity of coil coatings – Yang - Yang to share Penn State U research – received, maybe proprietary information, Kashif to share some additional research.

        - Jun Li / Yang Zhou submitted RTAR, voted by TC 8.4 email ballot (7-0-2) and forwarded to TC 8.11 (co-sponsor) for formal vote during their main meeting in Tampa. Not approved by TC 8.11 – decide whether to split into two projects and get TC 1.3 to co-sponsor first phase.

      - Work Statement for Fouling Project RP 1705 follow-up - Kishan

    - Fill in gaps, include commercial products, restaurant oil and cotton wood fouling, lint fouling, implement j factor approach – need to discuss whether we should pursue this

- New Ideas (from June 23, 2022 meeting)

- Charge reduction with low GWP fluids – Christian’s idea (system or component level?). Christian to submit this Summer 2022 (postponed)

- Low GWP charge modeling for heat exchanger. Tube plate fin and microchannel. TC 1.3/8.5 can co-sponsor. Christian Bach volunteered – Vikrant can help. Data for MCHX may be lacking, model with artificially good distribution and then with bad distribution (Ray), prior work done by ACRC – void fraction measurements in headers (Vikrant)

  - January 2023 update - Got support from MCHX manufacturers for samples (heat pump heat exchangers) if we proceed with this project.

  - January 2023 update - Lead TC / Co-sponsorship with TC 8.11

  - February 2023 update – Vikrant interested in contributing to RTAR / PMS

- Heat exchangers for ultra-low GWP with high glide (table for now to concentrate on ideas in bold)

  - January 2023 update - DOE / AHRI / ORNL working on Low GWP / Glide / Oil combination for pressure drop and heat transfer characteristics. Does not cover many combinations and tube diameters. Is ASHRAE willing to fund more research and expand scope in this topic – Yirong Jiang.

More details can be found in the attached meeting notes from the TC8.4 Research Subcommittee Meeting held on June 20, 2023.

- TAC SECTION HEAD REPORT (Charlie Henck)

The section head reiterated some of the important highlights from the Chair’s breakfast meeting and highlighted some of the recent changes in the latest TC activity form and reminded on the deadline for the submission.

- HANDBOOK SUBCOMMITTEE REPORT (Kashif Nawaz)

The handbook subcommittee chair, Kashif Nawaz presented an update on the activities as below:

    - TC 8.4 is responsible for 4 chapters HVAC Systems and Equipment HB chapters (23, 27, & 39) as well as for 1 Refrigeration HB chapter (14: Forced-Circulation Air Coolers). Titles of chapter are available on committee scope on our website.

    - Next update for the HVAC Systems and Equipment Handbook is due in 2025. Typically, it takes 3 years to revise the 3 chapters, final versions needed by 2024. Tentative deadline June 2024 (Chapter 23 by 2023, 27 by Q1 2024 & 39 by Q2 2024)

    - The next update for the Refrigeration handbook chapter 14 is due in 2026

    - Kashif indicated that he will have dedicated intermediate meetings with volunteers for revisions work of the handbooks. Arindom Joardar, Jun Li, Khaled Salah volunteered to work on the revisions.

- PROGRAMS SUBCOMMITTEE REPORT (Pedro Perez)

The Programs subcommittee chair, Pedro Perez presented an update on the activities as below:

    - Shared different tracks for the winter conference and listed upcoming deadlines

    - Pedro suggested potential seminar for Chicago 2024 seminar titled ‘Frost Mitigation: Air-to-refrigerant heat exchangers, experimental and modeling.’ Voting: Kishan motions, Pedro seconds, Approved 9-0-0

    - Dr. Ohadi proposed co-sponsoring opportunities on a Forum topic for the Chicago 2024 conference “Applications of AI in decarbonization: State of the art and future potential for heat transfer simulation.” Voting: Pedro motions, Kishan seconds, Approved 9-0-0

    - Vikrant proposed Forum for the upcoming Chicago 2024 winter conference with tentative title “A brave new world of HX design.” Voting: Vikrant makes motion, Kishan seconds, approved 9-0-0

    - More details on the Program subcommittee discussions can be found in the attached slides.

- MEMBERSHIP REPORT (Ratnesh Tiwari)

The Membership subcommittee chair, Ratnesh Tiwari presented an update as below:

    - The Chair stated that there are nine voting members and two more (Kashif Nawaz, Stanislav Perencevic) will roll into as voting from 7/1/2023.

    - Kashif Nawaz volunteered to continue as handbook SC chair

    - Arindom Joardar volunteered to assume Standards Subcommittee chair

    - Chair and secretary rolling off on June 30, 2024

    - Encouraged new participants to join as provisional corresponding members

- Standards Update

The Standards subcommittee chair, Bill Fox was absent and the Chair, Arindom Joardar, conducted the business.

    - TC8.4 is responsible for 3 standards. In accordance with the requirements of Section 13 of the Standards Committee Reference Manual, TC 8.4 (the cognizant Technical Committee) is asked to vote to recommend to the Standing Reaffirmation Subcommittee (SRS) of the Standards Committee whether the below subject standards should be revised, reaffirmed, or withdrawn:

      - The ASHRAE Standard 20-2019, “Methods of Laboratory Testing Remote Mechanical-Draft Air-Cooled Refrigerant Condensers.”

      - The ASHRAE Standard 25-2018, “Methods of Testing Forced-Circulation Free-Delivery Unit Coolers for Refrigeration.”

    - Ashrae standard 20-2019: The Chair explained that five of the references are outdated and cannot be updated in a reaffirmation and only options are revision or withdrawal. Voting: Christian Bach made the motion to revise the standard, Kishan Padakannaya seconds, 9-0-0 in favor of revision of Ashrae standard 20-2019. Arindom Joardar agreed to chair the SPC and Kashif Nawaz, Kalyan Boniya, Kishan Padakannaya and Dhruv Hoysall volunteered to serve as SPC members

    - Ashrae Standard 25-2018: The Chair stated that four of the references are outdated and cannot be updated in a reaffirmation and only options are revision or withdrawal. Voting: Khaled Saleh made the motion to revise the standard, Jun Li seconds, 9-0-0 in favor of revision of Ashrae standard 25-2018. Omar Abdelaziz agreed to chair the SPC and Arindom Joardar, Kashif Nawaz, Kalyan Boniya, Kishan Padakannaya volunteered to serve as SPC members

    - Subsequently, Min Che also volunteered via email to serve as members in one of the SPCs as needed.

    - Standard 33 is under revision (SPC 33)

      - Open item that needs to be closed

      - Chair to follow up with rest of the members to continue the update activity

      - Christian to follow up with Bill Fox, and take the lead in future conversations

  - The staff review documents of the Ashrae Standards 20-2019 and 25-2018 are attached below.

- MTG Liaison Report (Vikrant Aute)

MTG Research Updates

1806-Refrigeration post ignition risk analysis; remains - new completion plan developed.

1855-Combustion byproducts project - is being finalized and will be discussed on for closure/final vote

AHRI/ Xudong MTG update

Winding down the flammable refrigerant research collaboration with Ashrae

Project - multiple material compatibility and stability studies, many refrigerants, oils and construction materials

New project funded from NYSERDA- looking at annual refrigerant leak rates. Will reach out to get service records to get leak rates for residential and light commercial systems. Idea is to get some quality data from field. It has lot of uncertainty and impact on LCCP etc. for policy making.

Looking into a possibility to collaborate with Ashrae project 1884 pertaining to refrigerant odorant feasibility for flammable refrigerants. They can do some extra testing and contribute existing knowledge base.

Working with NIST on developing binary blend property data, supported by NIST.

The work with ORNL developing HTC/DP data, condensation heat transfer correlations coming out soon, for copper and aluminum tubes.

Codes and Standards - (not attending)

Update on SNAP (Significant New Alternatives Policy) Rule - 25 and 26 from May 2023, Summary of Final Rule, Acceptable Alternatives and Use Conditions (details available in MTG Minutes)

Perfluoroalkyl and Polyfluoroalkyl Substances (PFAS): “Concerns about breakdown products and fluorinated replacement chemicals have led some regulators to contemplate whether all PFAS should be considered problematic out of an abundance of caution until contrary information is available.” Helen Walter-Terrinoni, AHRI (PFAS presentation 11/29/22)

Various jurisdictions within US are proposing their own bans on certain PFAS

REACH (Registration, Evaluation, Authorization and Restriction of Chemicals): The European Chemicals Agency published a proposal from the national authorities of Denmark, Germany, the Netherlands, Norway and Sweden to restrict PFAS substances under REACH, the EU’s chemicals regulation, on February 7. The chemicals in the proposal include some HFC and HFO refrigerants as well as trifluoroacetic acid (TFA), an atmospheric degradation product of HFO-1234yf and other f-gases.

Update to REACH: exemptions have been proposed for refrigerants considered PFAS substances used in HVACR equipment in buildings where national safety standards and building codes prohibit the use of alternatives. European Commission expected to consider in late 2024. After adoption there will be an 18- month transition time until entry into force.

MTG Programs

Programs: Optimization of Blends (Chicago)

At this meeting - there are two programs, both related to changes in Codes and Standards

Discussion on PFAS.─.TC 3.1 will be proposing a seminar session

- WEBMASTERS REPORT (Pratik Deokar)

Pratik Deokar relayed that the website was up to date.

- OLD BUSINESS

None

- NEW BUSINESS

Life cycle refrigerant maintenance -Rob M

What measures to improve efficiency and reduce – Rob M

Non-invasive diagnosis and tech improvement

How to prevent refrigerant venting (accounts for significant part of GW impact)

- ADJOURNMENT

Committee adjourned after completion of discussions. (Vikrant motions, Christian seconds)

- ATTENDANCE

Arindom Joardar

Christian Bach

Dhruv Hoysall

Kishan Padakannaya

Pratik S Deokar

Pedro Perez

Khaled Hassan Saleh

Yang Zou

Ratnesh Tiwari

Lokanath Mohanta

Antonio Alfredo Barros Oliveria

Omar A Abdelaziz

Daniel J Arnold

Vikrant C Aute

Chad D Bowers

Satheesh Kulankara

Jun Li

Stanislav Perencevic

Raymond W Rite

David A Yashar

Charles E Henck

Sarp Hamamcioglu

Matthew Richard Baker

Michael Ohadi

Robert Glass

Michel Lecompte

Bill Morton

S A Sherif

Matthew Lea

Min Che

Rahul Kolekar

Derek Crowe

Robert A Jones

Michael Shows

Stefan Elbel

Kalyan Boyina

Christopher Keinath

Junjie Luo

Vikas Mehta

Bruno Y K de Carvalho