TC 2.4 Particulate Air Contaminants/Removal Equipment

Main Committee Meeting Agenda

Feb 7, 2023

3:30-6:00 pm Eastern Time

Omni CNN Center Atlanta, Maple B (A-South)

Also hybrid, Link to Join:  https://events.rdmobile.com/Asset/Download/10633294

- Presentation of Hightower Award			Steve Hammerling

- Call to order…………………………………	Jeff Siegel

- Introductions

Virtual Attendees Please write your name, email, and affiliation in the chat window

- Roll call ………………………....…….……	Jon Ratjala

Virtual Attendees Please write your name, email, and affiliation in the chat window

- Jeff Seigel

- Jon Rajala

- Jeni Wong

- Brian Krafthefer

- Bobby Singer

- Scott Parris

- Christine Sun – left shortly after start

- Don Thornburg

- Geoff Crosby

- Tom Justice

- Todd McGrath

- Marisa Jiminez-Segovia

- Kevin Kwong

- Brandon Boor – not here

- Chystal Joliffe

- John Randtke

- Marylin Listvan – missing for first part

- ASHRAE Code of Ethics Commitment  ..….    	Jeff Siegel
In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Chair Comments

  - Celebrations & acknowledgements

    - Jim Hanley Fellow Acknowledgement

    - Jim Hanley and Tom Justice Distinguished Service Award

    - Paul Francisco Award

    - Encouraged others to keep or start nominating people for awards

  - Update and continuation on discussion of virtual meetings

    - Jeff to continue discussion with TC members via email on in person vs. virtual

- Liaison Report

  - John – section head of section 2

  - Discussed issue with technical support for hybrid as well as need for larger room

- Particle Party……………………………...……	Keith Chesson

  - Keith could not find place that will accept all. Do something informal

- Approval of Summer Hybrid Minutes……….….. 	Jon Rajala

  - Brian moved and Tom second

  - 14-0-0-2-CNV (For-Against-Abstain-Not responding)

- Record of votes taken since summer meeting … 	Jon Rajala

August 2022: Vote on ownership of new Handbook chapter on air cleaning 12-0-0-4-CNV (for-against-abstain-absent).

August 2022: Vote on acceptance of content of new Handbook chapter 10-0-0-6-CNV (for-against-abstain-absent).

August 2022: Vote to Approve RTAR Effects of conditioning test methods on flat sheet media properties compared to field contaminants. 13-0-0-3-CNV (for-against-abstain-absent).

October 2022: Vote on co-sponsorship of RTAR "Cost and energy implications of increased filtration efficiency in Healthcare Facilities" 8-3-0-5-CNV (For-Against-Abstain-Not responding))

Rational for three no votes sent with vote record

November 2022: no-cost extension until August 2023 for RP1734

13-0-1-2 -CNV (For-Against-Abstain -Not responding). Abstention is PI from project

Virtual Attendees Please write your name, email, and affiliation in the chat window

- Subcommittee Reports

  - Membership Subcommittee Report………	Jeni Wong

10 minutes briefing

- 5 members rolling off after summer

- Need involvement (Vice Chairs needed)

  - Research Subcommittee Report………….   	Brent Stephens

10 minutes briefing

Need for motions/votes

Approval of Final Report for RP1756

Approval of co-sponsorship for RTAR-1931

- See attached minutes

- Motion to approve PMS 1756 as written

  - Geoff motion, John Randkte second

  - 13-0-0-2-CNV (For-Against-Abstain-Not responding)

- Motion to approve co-sponsor 1931

  - Jeni moved, Geoff second

  - 13-0-0-2-CNV (For-Against-Abstain-Not responding)

  - Program Subcommittee Report……...…	Jon Rajala

10 minutes briefing

- See attached minutes

- Tom motion and Marilyn second

- 14-0-0-2-CNV (For-Against-Abstain-Not responding)

  - Standards Subcommittee Report……….	Bobby Singer

10 minutes briefing

- See attached minutes

  - Web Master………………………….…	Bob Burkhead

10 minutes briefing

- Bob is not here

- Trying to use website to avoid sending emails

  - Handbook Subcommittee Report ………	Brian Krafthefer

10 minutes briefing

- See attached minutes

- Old Business

- New Business

Misc Announcements (Conferences, Awards, etc.)

- Brian – children’s book from ASHRAE (encourage girls to go into engineering)

  - Do we need a children’s book on particles and gases to encourage younger people to our industry

    - Tom mentioned that Vijay has a book online that we could potentially leverage

Save the attendance file before adjourning

- Adjournment

  - Tom moved, Don second

ASHRAE RESEARCH SUBCOMMITTEE MEETING

TC2.4 – Particulate Air Contaminants/Removal Equipment

Winter 2023

Atlanta (Research Meeting is Virtual)

Wednesday, January 18, 2023

11:00 AM – 1:00 PM Eastern Time

WebEx: https://events.rdmobile.com/Asset/Download/10619072

Meeting number:

2342 645 5350

Password:

9buSPzr8mK7

Join by video system

Dial 23426455350@ashrae.webex.com

- Call to order

- Review of agenda

- ASHRAE Code of Ethics

  - Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.” For more, read here: https://www.ashrae.org/about/governance/code-of-ethics

- Research chair’s comments

  - Goals of TC 2.4 research subcommittee:

    - Always have one funded project

    - Consider particulate air filtration as well as the “nature of particulate contaminants”

  - Reminders:

    - RAC deadlines for RTAR/WS submission (Get “M-M-A-D” at RAC: March, May, August, December 15)

  - Research subcommittee chairs’ breakfast is Monday, February 6

    - Update from June 2022 breakfast:

      - Paolo Tronville rolled off as research project subcommittee (RPS) chair (5 years!)

      - GIAs are delayed; no URPs (correction: IRG and NIA are both open again)

      - “Top priority: ensure continuity of core function”

      - Summer meeting: 8 projects awarded for bid; 2 RTAR and 2 WS submitted (including our WS-1928 returned with comments)

  - RAC liaison update

    - RAC liaison effective July 1, 2019: Bill Hutzel; cannot join this meeting (teaching)

- Active project updates:

  - 1734-RP, Reproducing the Typical Urban Atmospheric Aerosol in Laboratory for Air Filter Loading

    - PI: Brandon Boor, Purdue University

    - PMS: Paolo Tronville (Chair), Geoff Crosby, Tom Justice, Brian Krafthefer, Bruce McDonald

    - PI/PMS to provide brief summary of project to date

    - Paolo: PMS met Monday Jan 16; making progress, showed updates on testing; installing humidifier now for maintaining strict RH control in testing; NCE was sought and approved after last meeting. Brandon (PI): RH has a big impact on loading process with the KCl they’re using. Seeing 10-15% RH differences can impact pressure drop evolution over time (and time to achieve final loading pressure drop), might suggest future work is needed to explore further and possibly tighten RH controls in 52.2. NCE goes til end of August 2023.

  - 1756-RP, Evaluation of Low-Cost Particle Sensors for Indoor Air Quality Monitoring in Smart Building Systems

    - PI: Andy May, co-PI: Jordan Clark, Ohio State University

    - PMS: Brent Stephens (Chair), Paolo Tronville, Vijay, Glenn Remington (TC 7.5), and Liping Wang (TC 7.5)

    - PI/PMS to provide brief summary of project to date. Draft final report submitted; review comments provided by PMS; revision shared with us June 9, 2022. Final version approved by all but one PMS member in Fall 2022.

      - Question: does 7.5 need a formal vote too? Paolo: 2.4 can go ahead since the majority of PMS has already voted and approved. Set a deadline, if other PMS member doesn’t respond by deadline, then presumably it’s one not voting. BRS to send final report and necessary forms to Jeff Siegel for TC 2.4 vote.

      - Jeff: pretty sure 7.5 needs to vote on it too (but confirm with Mike Vaughn), would be great to do it at February meeting. Also brought up that there is always an issue where the TC has to vote but doesn’t get a chance to read the report in the first place. Kathleen: report can’t actually be provided to the full TC per ASHRAE procedures. Motion is to approve the PMS recommendation to approve the report.

      - Vijay expressed that the project was very successful, applauded the PIs and their students for the great work, getting a lot out of the project.

      - Brent emailed Mike Vaughn during the meeting and learned:

        - PMS can move forward with one non-vote

        - PMS *can* share final draft report with TC 2.4 voting members, especially with 2.4 as the lead

        - We do not need 7.5 vote, but we can share as a courtesy if we want

        - The 2.4 vote will *still* be a vote on the PMS recommendation

  - 1784-RP, Repeatability and Reproducibility Assessment of ASHRAE Standard 52.2 as currently Amended

    - PI: Kathleen Owen, Owen Air Filtration Consulting, LLC

    - PMS: Matt Middlebrooks (Chair), Gemma Kerr, Rahul Bharadwaj, Thad Ptak, Keith Chesson

    - PI/PMS to provide brief summary of project to date.

    - Keith: PMS has reviewed a draft final report (from October), meeting scheduled next week to review the document with comments. Kathleen: hoping to potentially have a PMS vote by Atlanta, but no guarantees. Lessons learned? Kathleen: Didn’t greatly improve the repeatability across labs; high MERV more repeatable than low MERV. Learned that some parts of QA were not clear to labs and needed to be revised. Ended up with 8 to 10 labs depending on the filters (not all labs did all filters). A big thank you to the labs and the PMS for sticking with the project.

- Co-sponsorship

  - 1858-WS, writing underway from TC 2.3 (Jensen Zhang, Kevin @ LMS): “Evaluation of HVAC ventilation effectiveness in reducing SVOCs in indoor spaces.” Small- and large-scale chamber testing. Looking for co-sponsors and 2.4 PMS members.

    - Lead: Sanjeev Hingorani

    - Volunteers: Brandon B, Jim R, Brent S

    - Update from last meeting: Sanjeev had been planning to work on it February 2021 for March 2021 re-submission; hasn’t approached 4.3 yet.

    - Update last meeting: Sanjeev: it had been submitted as WS and came back with comments, needs to go back for re-vote at RAC. Only update is to regroup this month and attempt to address them.

    - Sanjeev: Did not get a chance to do any work but will prioritize soon.

    - Yusuf Bhetasi also stressed that there are some other TCs with interest in ventilation effectiveness. MTG ACR; TC 9.11 clean spaces; TC 5.3 room air distribution.

    - Sanjeev update Summer 2022: nothing has happened since last meeting; this was a WS that was submitted that came back with comments.

    - Jan 2023: no updates (Kevin K)

  - WS-1907 (Global IAQ Database)

    - Initiated by TC 2.1; 2.4 voted (15-1-0-0-1); co-sponsorship by 4.3

    - RAC accepted with comments before last meeting; WS submitted in 2020, RAC returned with comments in Spring 2021 (generally positive): 1) data platform beyond the project duration; 2) too long project duration, and 3) absence of names from other potential bidders.

    - No updates. Need to find out more. Would need to submit towards the end of the year (responsibility falls on 2.1).

    - Jan 2023: no updates

  - RTAR submission “Determination of the CO2 and Aerosol Generation and Metabolic Rates of Occupants for Selected Indoor Activities”

    - TC 2.1 lead (Meng Kong)

    - 2.3 and 2.4 potential cosponsors; went out for 2.4 vote May 2021

    - Status update?

    - Meng Kong (author of RTAR): received RAC feedback and working on revision and resubmission. Major feedback was regarding motivation for why the work is necessary. And more detailed description of budget. Currently no one from 2.4 working with him on this; anyone interested?

    - Vijay interested

    - Jan 2023: Meng finished a revision and response to RAC comments, sharing with their authorship working group. They will shift the focus of the RTAR a bit, and focus on the population to healthcare workers, commercial kitchen staff, and office workers (because data are currently lacking and/or very outdated for these populations). Targets still the same (met, CO2 generation, aerosol generation).

- Work Statement (WS) activity between meetings

- RTAR-1895, working into WS: Combined gas and particle filters and impact on each other when used in series (and more specifically: how does particle loading affect gas phase performance?)

- Champion: Brian Krafthefer

- Update from summer 2020: there is a conditionally approved RTAR (RTAR-1895). 2.4 not a co-sponsor right now; primarily a gas-phase project right now. Brian, Vijay, Matt, and Paula will be working on a WS on this. Kathleen volunteered as well. Already has 62.1/62.2 and 52.2 as co-sponsor. Doesn’t require 2.4 necessarily, but they can keep us informed, or would be happy to have 2.4 as co-sponsor.

- Update last meeting: Brian: waiting for one final person to comment on the WS draft, and hopes it goes out to RAC by August.

- Status update? Brian: still in progress. Plans to go ahead and submit by the next deadline. Will need a vote on it because it has been changed since RAC comments; 2.4 would like to be involved. Voting members should have a chance to review it if we want to take a vote at the main meeting (and not sure if there will be quorum at the main meeting).

- Brian summer 2022 update: WS has been written by the group; needs to go for a vote by 2.3, 2.4, and GPC 35, and can be submitted to RAC.

- Brian, Jan 2023: 2.3 and 2.4 votes are in; still need to get GPC 35 votes. Geoff (GPC 35) was present and is ready to get it out to vote. Jeff: can we do an in person or hybrid ballot? Geoff: will do GPC 35 vote as subset of 2.4 in Atlanta. Jeff: and can we send a draft to the committee ahead of time? (Brian can do)

- WS-1913 “Study of the Level of Filtration Required to Maintain Electronic Equipment Reliability in Regions of High Sea Salt Concentrations”

    - Initiated by TC 9.9; 2.4 voted (15-1-0-0-1) (9.9 point of contact = Mark Seymour)

    - Update last meeting: some lack of communication led to submitting this directly as a WS; RAC rejected it last meeting; Paolo had some thoughts on how to make the approach more relevant to ASHRAE, but it’s unclear where they will go next. Also 1 negative vote from 2.4 was not looked upon favorably.

    - Status update? No update.

    - Jan 2023: no updates

- RTAR activity between meetings

- RTAR-1880: “Characterizing Indoor Particle Size Distributions to Inform Air Filtration Standards and Guidelines” (now possibly titled: “Characterizing Physiochemical Properties of Indoor Aerosols”)

    - Original goal: Literature review and measurements of indoor particle size distributions to generate typical ranges and distributions for informing filtration metrics

    - Champions/co-authors: Jim Rosenthal, Brent Stephens, help offered by Paolo Tronville, Geoff Crosby, Brandon Boor, Satish D

    - Action from last meeting: RTAR was submitted to 2.4 for voting and was approved 13-3-1; target budget of $195k over 24 months; RTAR was then submitted to RAC and assigned RTAR #1880 in April 2019

    - Status: Rejected by RAC in KC. RTAR was submitted with 4 negative votes and no comments. RTARs should have comments addressed before submitting to RAC. We may be able to resubmit if we address the comments.

    - Update in Orlando: The purpose of this research project is to gain better understanding of indoor particle size distributions across a wide range of particle sizes. Brent to take lead on addressing the comments and possibly resubmit to RAC. Kathleen can help in ~3 months if Brent needs help.

    - Update since last meeting: Brent had begun a revision last meeting; discussion led to beginning with a literature review of the state of the science on what’s known about indoor aerosols (phase 1/phase 2 approach); consider bringing in 2.3 or EHC. No further updates (on Brent’s to-do list, but no progress)

  - RTAR-1928 (now WS-1928) Epidemic Task Force related idea on portable/stand-alone air cleaners testing/MOT, essentially how do you test a device in a duct and chamber rig?

    - Jeff Siegel, Bob Burkhead, Tom Justice, Matt Middlebrooks, Liju Eapen, John Zhang, and Michael Corbat have all provided comments

    - General consensus seems to be that as a society we should probably be acting in this domain, but that doing so is fraught with challenges (internally and externally)

    - Update last meeting: Matt M has a working title and a start to an RTAR. Group of 6-8 people willing to work on it. Focus right now would be on microbial effects of room-based devices, using a combination of chamber and duct test method; TC 2.9 (through SSPC 185) is also in the process of a chamber test method. Goal is to get the group together for the March 15. Would assess byproduct formation as well; various types of devices; microbes on surfaces and in air.

    - 2.4 voted to approve RTAR May 2021

    - Matt M: has been submitted to RAC and got some comments back, they’ll meet next week. Narrowed scope to microbial effects. TC 2.9 led, 2.4 co-sponsored. Could lead into another future project on non-microbiological (e.g. particles) and 2.4 could lead, conceivably.

    - Update Jan 2022 from Matt M: developed into a WS based on RAC’s acceptance with comments last summer. More or less completed WS. Need 2.4 vote to co-sponsor; project has expanded a lot. Also approaching 9.6. Hoping to get someone to take over the submission. Jeff will circulate for vote.

    - Update Jun 2022 from Matt M: WS-1928 was submitted to RAC in May. 2.9 is sponsor; 2.4 is co-sponsor. Waiting to hear status from RAC. Scope was narrowed to microbial testing only. Matt is now working almost exclusively in gas-phase work now, so he is handing this over to Chrystal Joliffe to take over. One thing they did was obtain more co-sponsors (did not include TG2.RAST (reactive and surface treatment task group) because of a negative vote that would have required a number of additional projects to be completed before this was done. Kathleen has suggested within RAS to write on RTAR on some ideas that Bud Offermann in RAST has proposed.

    - Bill mentioned that he’s not seeing 1928 on this summer’s RAC meeting so he’s following up to see why it’s not on there / how to get it on there. Donna Daniel responded that they had not received it; Matt M said he submitted it to Mike Vaughn. So we followed up with Donna right away.

    - Chrystal: group has had several meetings working on the WS revision. Finally landed on using particles as a surrogate for microbes to reduce scope; could bring in microbial and/or gases in a later phase. Submitted right before December 15 RAC deadline. Co-funding potential: talked to AHRI and AHAM (both wanted to see final RAC-approved version before deciding on potential co-funding). Went back to 2.9 with final draft; research chair there has seen a draft. 2.4 voted to co-sponsor in May 2022. Co-sponsorship with 2.3 as well.

  - New RTAR from TC 2.3 (2.4 co-sponsor request): The Effects of Filtration and Air Cleaning on Health & Safety

    - Caitlin Naske, Nick Agopian, Kathleen Owen, Sanjeev Hingorani, Lexuan Zhong

    - Brent provided comments on an initial draft to Caitlin directly.

    - Caitlin presented the idea to the group. Idea: Literature search collecting information on contaminants of concern, health effects associated with them, and modeling the IAQ and associated health impacts that particle and gas-phase air cleaning could have in buildings (e.g. via DALY approach).

    - Brian: 4.10 as a co-sponsor? Modeling group. Like James Lo, Mohammad Heidarinejad.

    - Brent: Check into overlap with projects like RP-1491. probably EHC as co-sponsor (e.g. Luke Leung or Steve Hammerling).

    - Caitlin to follow up with a revision.

    - Caitlin update Jan 2023: not much update on this one since last meeting other than Caitlin has tried to initiate a revision, but not seeing a lot of interest. Might drop off. Mark Jackson also expressed interest in helping.

- Liaison reports

- Work time on any new or existing RTARs, WS, and other proposals

  - 3D printer emissions/control (with TC 2.3)

    - From Paula Levasseur with interest from Gemma Kerr

    - Update from last meeting: Kathleen has reached out to a TC from section 9 (venting devices) and will follow up

    - Discussion from KC: Can’t be done by 2.3 and 2.4 alone, will need input from exhaust systems folks. UL may be working on a standard for this. Gemma has no real update, may be discussed in TC 2.3. Paula has seen a few emails but has no real update.

    - Updates:

      - Marilyn volunteered; Brian has been looking into UL standards on 3D printer emission testing

      - Kathleen: current biggest issue is not having a champion to really lead it

      - Gemma: the UL standard is an emissions standard, but what we really need is research to ID what’s needed in terms of ventilation and thus need help from a committee that does this sort of thing

      - Gemma: could ultimately become a standard for ventilation/filtration for spaces with 3D printers

      - Brian K: interested in helping push it forward

      - Brent: literature on emission rates is strong; could see a combination of modeling and measurements of interventions to inform recommendations for ventilation/air cleaning

    - Gemma: 2.3 has some interest, probably need to get people outside of 2.3 and 2.4 to be able to investigate how printers needs to be exhausted/ventilated/etc. Gemma began a preliminary RTAR draft and has a few names from other TCs to potentially contact. Will share with Brent and Marilyn for review.

    - Still a useful topic but no champion driving it and needs more than just 2.3/2.4 because it involves system issues like exhaust. Kathleen a few years ago contacted several TCs that would reasonably be relevant but didn’t get much interest. Maybe TC 5.4 industrial process air cleaning. Could even broaden to a ‘maker spaces’ type of project. TC 9.7 educational facilities, also 9.10 laboratory systems, or 9.11 clean spaces. Just needs a champion to drive this. Gemma, Marilyn, Brian, Brent remain interested. Also possible interest from 'Qian Zhang' qian.zhang@ul.com

    - New paper on this idea: https://onlinelibrary.wiley.com/doi/pdf/10.1111/ina.13053

    - Gemma: the idea is following on UL’s emission standard… need research to see what’s needed for safely exhausting, venting, or otherwise controlling these types of devices. Need expertise on industrial exhaust and so forth; they have some contact names (e.g. TC 5.4). This is just waiting on people’s time.

  - Forest fire smoke and impact on retirement communities (Kathleen Owen, from Dave Ensor)

    - Jeff S: Fisk and Chan paper; Health Canada project on retirement homes

    - EPA had a webinar last week with some really good speakers

    - Brian Krafthefer offers to assist, not chair, will work with Handbook Chapter 11 to see if they have interest in this area.

    - Updates?

    - Jeff S: ASHRAE has a committee looking at wildfire smoke (Guideline 44), Steve Emmerich is leading it

    - Paul Francisco: EPA just had a call out for funding on wildfire smoke mitigation indoors in general; Washington state too; maybe recommend what ends up being done and what gaps if any are fillable by ASHRAE

    - Marilyn: don’t necessarily need to limit to retirement communities, could broaden

    - Kathleen: a problem that’s not going to go away, not necessarily just retirement communities, and a joint 2.3/2.4 issue

    - Brian: infiltration of outside smoke

    - Brent: would be good to explore what ASHRAE guidance is out there on wildfires (e.g. https://www.ashrae.org/File%20Library/Technical%20Resources/COVID-19/Planning-Framework-for-Protecting-Commercial-Building-Occupants-from-Smoke-During-Wildfire-Events.pdf) and also EPA and other orgs. (Brian K volunteered to review)

      - Peter: some of this covered in a recent NASEM workshop and presentations.

    - Paul F: with the EPA funding that is getting awarded (several million), probably recommend to step back for a bit and revisit in a year when we know where this research goes

    - Marwa: update from 62.1 on GPC 44.P, a new proposed guideline specifically about minimizing occupant health impacts from wildfire smoke, should be published soon (can see TPS on ASHRAE website). Brian reiterated this in this meeting.

    - Mattea: Intel has been interested in wildfire smoke effects and filtration as primary control as well.

    - Brent: review this to familiarize ourselves with current guidance: https://www.ashrae.org/file%20library/technical%20resources/covid-19/planning-framework-for-protecting-commercial-building-occupants-from-smoke-during-wildfire-events.pdf

    - One angle here could be gas-phase focus, as the guidance above doesn’t speak to gas removal at all (all PM).

  - Impact of aerosol phase state on filtration efficiency and loading kinetics of HVAC Filters under varying humidity (Brandon Boor)

    - Can be done on small scale; focus on organics among others

    - Bruce McDonald has some experience here and volunteered to help.

    - Brandon would like to move forward following 1734-RP.

    - Brian Krafthefer expressed interest.

    - Updates?

    - Brian, January 2021: no updates

    - Bruce McD: was discussed some at the PMS meeting for 1734 because they’re seeing some humidity/loading effects. Could be a follow on for 1734.

    - Brian: should we look at this ahead of time to be ready for this? No updates

  - Pollutant sensor rating method idea (Jordan Clark)

    - RTAR is already drafted and 4.3 is voting on lead sponsorship this meeting; might make sense to have someone from 2.4 on the WS and PES/PMS as well

    - Trying to get Smart Buildings TC involved, but no success yet. Jordan working on this.

    - Summer 2020 update: Jordan brought this up in PMS meeting for 1756 and will work on moving it forward

    - Updates? No updates; probably abandon.

    - Rami Alkhalil expressed interested in this idea, especially in the area of smart sensor (e.g., taking multiple signals of contaminants)

  - Following up on 1649-RP, Tom Justice proposed the idea of a project to fund a design guide on residential filtration to help better assist the residential designer and user on how to better understand relationships between the filter, system, building, and operation. A large number of factors affects filter effectiveness outside of filter performance rating alone. Could be a follow on to the recently published residential IAQ guide, going out to bid (rather than project PI or PMS or other volunteers doing all of the work).

    - Tom follow up this meeting: he has drafted a TPS for an MTG on this, as it seems to be how ASHRAE has generally gone out about generating guidelines; talked to some other TCs, awaiting input

    - Sina Yousefi expressed interest in this, from AAF

    - Tom: meeting with Paul Francisco to see if 62.2 is interested to move forward with MTG to write a user’s manual on this subject

- New ideas (work time for the rest of the meeting)

  - Geoff and Kathleen is working on an RTAR with 9.6 that would be co-sponsored by 2.4. “Cost and energy implications of increased filtration efficiency in healthcare facilities.”

    - There is interest now; would involve field measurements at select healthcare facilities

    - Kathleen: Status is that it has been written once and reviewed by liaisons, needs to have some edits made and then will be shared, aiming to hit March deadline

    - Latest update from Kathleen: no traction, as more than half of 9.6 didn’t think it was a good idea, referencing a paper citing lots of assumptions (but not actual measurements) on this very topic (“the data are already out there”). “not terrible, just weird.”

    - Brian to Geoff: is this of interest to GPC 35? Possibility to move from 9.6 to a different building type? What about TC 7.6 building energy performance? Brent to pursue this idea…Hyojin Kim (NJIT) is the current research subcommittee chair (no follow up yet)

    - Kathleen to send latest version to Brent and Brian for review (did not see this)

    - “Fan Energy and Airflow Implications of Air Filtration in Commercial HVAC Systems” (although there may be issues in terms of costs if it’s too broad)

    - This has been stalled with not a great response by 9.6. If this goes anywhere it would probably be with 2.4 in the lead. No traction lately.

    - Brendan Burley: this topic comes up regularly in 9.6; Brendan is coordinating on behalf of 170, and because of the demotivation from 9.6 he would have no problem encouraging 9.6 to drop the line of research. Then 2.4 could take the lead.

    - Kathleen: would 170 support it? Brendan: there are some overlaps in 170 and 9.6 membership that might prevent progress. Brendan will follow up with 9.6 to consider dropping it and seeing if there’s a path via 170.

    - John Randtke works for an energy services contracting company so he offered to be included

    - Kathleen: last she heard, 9.6 research chair approached Jeff for a 2.4 vote. It might have gotten submitted? It went in with about half of 9.6 voting against it (BRS: Yikes).

  - Chrystal Jolliffe: coming off of Rahul’s longevity of electret media idea, but instead it could more of a flat sheet approach so you could measure the physical properties of what’s changing under conditioning steps and how it relates to known contaminants identified in other research projects.

    - Actively working on RTAR draft within 52.2 (Kathleen and John Rajala helped edit)

    - Intent is to share with 52.2 group for review and then forward to 2.4 after that.

    - Kathleen: It is an RTAR, not just an idea at this point!

    - 52.2 would lead and 2.4 co-sponsor

    - Sina Yousefi

    - Chrystal has an RTAR ready to go, will send to Brent for review and then. Brent reviewed and responded Jan 31. Updates?

    - Chrystal has comments from Brent and is planning to work on it.

    - This turned into a brief conversation about process; e.g., when we get a new RTAR idea, what do we do with it? Answer: send it to the full 2.4 research email list for input, with a timeline, and a request for others who may be on other committees that are relevant to review and comment if it might involve them.

    - TC 2.4 voted on it and Brent submitted August 15, 2022 to RAC. Feb update: it was returned with comments in October 2022. 1948-RTAR.

  - BRS: any need for TC 2.4 (or 2.3) involvement in the gas stove topic area?

    - John Randtke interested in drafting an RTAR on this. At the very least interested in a literature study.

    - Jeff: fantastic idea because it has attention and it also aligns with decarbonization as a high priority in ASHRAE (and broadly in the AEC industry) currently

    - John R: impacts of electric vs. gas stoves on electric grid (peak demand) and how does that vary by region (and thus grid mix)

    - Brent: perhaps a net energy + IAQ impacts of residential stoves

    - Tom: good idea to involve 62.2

    - Targets: NOx, fine PM mass, and also UFPs (#)

    - Current literature is kind of a partial story

    - Volunteers: Brian K, John R, Brent S, Vivek

- Other items

- Meng Kong: 5.10 (kitchen ventilation) new idea for evaluating pollutants generated by small cooking countertop devices; seeking co-sponsorship from 2.4 and 2.3. Very early stage. Thad: many studies on particle and gas phase emissions; might be difficult to get funded, unless packaged with also factors such as ventilation and distribution through the house.

          - Meng update: no updates on the idea; 5.10 meeting in February and will update as necessary

- Brendon Burley: coming from SSPC 170 (ventilation of healthcare facilities), they are looking for some volunteers to serve as liaison (formally or informally). Jenny Berens is interested (secretary of 52.2).

- Nick Clements: coming from EHC. Starting an effort to write an emerging issue brief on reactive oxygen species and their byproducts. If anyone is interested just contact Nick. Looking for a little more input on the chemistry side. Would like to get it done this calendar year. Kathleen emphasized making a call to 2.3.

- John Randtke: shared an idea for potential RTAR during 2.3 meeting regarding the effects of age on electronic air cleaners. Pull devices that are 5, 10 years old from the field and evaluate effectiveness, degradation, do they still pass UL 2998, etc. Those in support and volunteering: Jeff Siegel, Marilyn Listvan, Peter McKinney. Update: still working on a draft, making progress. Brought it up with 2.3 where there was a lot of interest. Thought about 9.7 too given that a lot of the equipment is installed in educational facilities.

          - John has a group interested and plans to set up a time for their working group to work on a draft

- Tom Justice: 1734 variation in time to load a filter, 52.2 RH range was set years ago, but now seeing a change in the response of the filter, it would be great to investigate this further as a follow on to 1734. Also, if we’re going to load with KCl, what impact (efficiency, dust holding capacity) would it have on charged media filters?

          - Jeff: RAC would probably want to wait for 1734 to finish, so we could prepare RTAR but not submit until after 1734 final report

- Brian K: energy use of HVAC system as a filter loads? (John: depends on the fan curve; Brian: depends on how the filter loads?) Brent: we’ve had project ideas in this domain come and go, and have had a hard time getting them approved. Jeff: we had an RTAR on this focused on the diversity of systems and fans, and we dropped it. But wonders if the emphasis on decarbonization gives us another window/opportunity to approach this. Framed as maintaining filtration performance in decarbonization? Paolo: composition of RAC changes over time and perception of air filtration is different now post-COVID. John R: be really specific in research questions asked and how it can help update handbook chapter(s).

- Adjournment

#### Agenda

#### TC 2.4 Program Subcommittee Meeting

#### February 6, 2023 – 1:00pm-2:00pm EST

#### TC 2.4 Program Subcommittee - Details (rdmobile.com)

#### Notes in Green, Cursive

#### Action Item Owners in Red, Bold

#### Highlighted areas will be reported back to 2.4

#### Subcommittee Chair: Jenny Berens

- Call to Order

- ASHRAE Code of Ethics

#### Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.”

#### For more, read here: https://www.ashrae.org/about/governance/code-of-ethics

- Introductions

#### Attendance list: 25 participants (see last page)

#### Brian Krafthefer asks for a Vice Chair for the Handbook Committee. Examples of VC duties are to write, read, review, edit. No volunteer spoke up during the meeting.

- Submissions for Tampa? No

#### Seminar x: LIVESTREAM: Title

#### Date

#### Chair: yy

- Next conferences:

#### 2023 ASHRAE Annual Conference, Tampa, FL, June 24-28

#### 2023 Annual Conference - Tampa (ashrae.org)

>> Upcoming Deadlines

- Friday, September 30, 2022 | Final Technical Papers Due

- Wednesday, November 30, 2022 | Conference Paper Abstracts, Technical Papers, and Paper Session Requests Due

- Wednesday, December 21, 2022 | Conference Paper Abstract Accept/Reject Notifications

- Friday, January 6, 2023 | Website opens for Seminar, Workshop, Panel, Debates and Forums

- Friday, February 24, 2023 | Technical Paper Final Accept/Reject Notifications

- Monday, February 27, 2023 | Debate, Panel, Seminar Form, Workshop Proposals Due

- Wednesday, March 29, 2023 | Extended Abstract Paper Due and Conference Papers Due (submitted for review)

- Friday, April 14, 2;023 | Debate, Panel, Seminar, Forum Workshop Accept / Reject Notifications

- Wednesday, April 26, 2023 | Conference Paper Abstract Accept / Revise / Reject Notification

- Wednesday, May 10, 2023 | Revised Conference Papers, Technical Papers Due

- Sunday, May 21, 2023 | Conference Paper Accept / Reject Notifications

Key dates covered

- Proposals in Progress – Working list notes

| Topic Type Subject | Title | CoSponsor | Chair |
| --- | --- | --- | --- |
| Topic: Particles in Outer Space What: Talk / Seminar When: Future idea Toronto Chicago | Particles in Outer Space … Contact NASA *Mike Corbat (session chair) contacted Vijay. Unsure of when Vijay will get information. Lot of interest on moon particulate – just need to find the right contact working in this subject. Marilyn Listvan – has tried to help contact, but no success (Mike) Morris – can assist as needed Retired? Jon Rajala – bother Vijay about this after summer – Completed Action Items: Jeff Siegel – Marit Meyer is Vijay’s contact at NASA ISS particulate. (Marit Meyer has retired from this position.) - Share new contact (Clair Fortenberry, NASA) with Marilyn. Marilyn Listvan: - Contact: Clair Fortenberry. - Contact TC 9.SPACE Scott Parris: - Investigate other potential organizations which may be able to contribute with a speaker Interesting topic to keep on list | TC 9.SPACE (?) | Vijay, Mike Corbat (NASA) |
| Topic: Particulates & Environment (Wildfire or general environment What: ? When: ? After Las Vegas Maybe Toronto Try for Atlanta | Climate and particulates: filtration, loading, entrainment 2 other people with Brian – Kathleen maybe? Brandon Boor (maybe phase 1 report) Brandon Boor Phase 1 report is available now, but probably not the right time for him to work on this with project delays. Brian Krafthefer – contact with wildfire smoke for presentation Kathleen can possibly provide something if can’t find others Brian withdraws from the proposal committee Mattea Brown – can help put together presentation materials – lessons learned from wildfires and future planning. Facilities INTEL, new role – good info & data. ? Brian looking for leads to help find speakers for a session. Maybe check with Brandon again, search for speakers. Brian will put an abstract together soon Jenny – GPC 44P, wildfire guideline, meeting June 27. Maybe we can find someone there (not Jenny, not attending Toronto in person) Initially thought about wildfire, but could turn session into environmental particulate in general. Peter can send a contact to Brian. ? Action Items: Jenny Berens: - Contact: Kathleen Owen - Contact: Mattea Brown (?) - Contact: GPC 44P (chair ?) | 2.4, 2.9? | Brian Krafthefer Replacement? |
| Topic: Particles above 10 um, ex coughing What: Talk / Seminar When: Chicago or after After Toronto, maybe Atlanta | Particles above 10 um – still need to talk and find speakers * Jeff Siegel can add to presentation from residential particles (Separate from current session, focused on large particles, can help if in Atlanta) – would still love to present * Kathleen Owen – droplets? Medical? COVID related Lindsay Marr * Brian Krafthefer – has some people to check with – did reach out, but did not get a response. * Marilyn – Sneeze particle information online – need to see if people have measured this – found paper, can contact authors * Tim can look and send info to Brian Retired * Zied – research at MIT – slow motion camera – Lydia Bourouiba https://cee.mit.edu/people_individual/lydia-bourouiba/ Brian needs contacts to speak on this * Vijay can possibly combine space particle here if we can’t fill cull session on that topic * Pollen – Randy Cooper – AHAM Additional potential contacts: - Karen Dannemiller, OH State (Jeff Siegel) - Nick Clements, U. of Colorado (Jeff Siegel) - Phil Arnolds, Safe Traces, CEO in (?) panel - United and Boeing have published papers - Can we combine this with Particulates & Environment (Wildfire related topic)? - If seminar, we need 3+ presenters Action Items: Brian Krafthefer: - Contact: Will reach out to his contacts again - Contact: Kathleen Owen Jenny Berens: - Reach out to Zied regarding slow motion camera |  | Jon offers to chair if we find enough people Brian, Brandon, Jeff |
| *Definitely after Atlanta Chicago | Does particle matter really matter? EHC/UV – hospitals * Marilyn - No update, but leave on list Leave on list | 2.5, EHC?, IEQ-GA | Marilyn Listvan – Bill Bahnfleth, C Seyffer |
| Topic: Ethics of Air Quality What: Debate / forum? When: ? After Toronto | Paul Francisco – maybe step outside technical and discuss policy for indoor air quality – what can be done to help people stay healthy, particularly low income where they may be abandoned and in more hazardous areas (pollution levels for road traffic, etc…) Geoff – Health outcomes/research on this Vijay – Possibly involve other TCs and debate/forum Marilyn – Speakers from poorer areas – City Council, etc.? |  | Geoff Crosby, Paul F., Brian K. |
| Topic: Urban Aerosols What: Conf Paper and … ??? When: ? | Urban Aerosols … wait for RP1734 *Waiting for research projects to finish. Finish research by April. Finish paper by August. Wait until after paper completed. |  | Brandon, Zied |
| Topic: Local Sensors What: Conf Paper and Seminar … ??? When: After Chicago | Local Sensors … wait for RP1756 Work has been done – paper has been presented Vote to approve in 2.4 on 2/7/23 Jeff Siegel recommends Seminar *Waiting for research projects to finish | Champion: Andy May (?) | Jordan Clark, Zied |
| Topic: Smart Filter What: ? When: ? | Smart Filter Smart textiles. Interesting topic. Have not done anything on this yet. |  | KJ |
| Topic: Measurement of particles down to nm levels What: Seminar? When: After Phoenix | Gemma Kerr – Brian and Gemma discussed during 2.3 program meeting about a topic on boundary between particles and gases. Would like to have Brent Stephens as part of this. Brian – probably not Atlanta, but possibly later Ozone in the air will increase he number of smaller particles through reactions, etc. Peter McKinney – has another contact for aerosol formation he can share Brian Krafthefer – David Pui at U of Minnesota #### Jeff Siegel – names in chat for active research. There are ton of indoor secondary organic aerosol people (Brent Stephens, Elliott Gall, Nina Vance, Delphine Farmer, Rich Corsi, etc). Action Items: K-J Choi: - Mention during 2.3 Program Committee meeting - Close loop with 2.3, noon 2/7/23 (?) Brian Krafthefer: - Contact: David Pui - Close loop with 2.3, noon 2/7/23 (?) | Co-Sponsor 2.3 (K-J Chai is 2.3 Program Chair) Interest from 2.4? |  |

- Anything else?

- Jeff Siegel

#### 9.6 Healthcare Facilities EHC are looking for co-sponsorship (requested in Dec 2022). Putting together a best practices seminar. Seems that they already have enough speakers.

#### Are we interested in agreeing to co-sponsorship? Vote taken. Everyone is for the co-sponsorship.

- Bob Burkhead

#### During the 52.2 meeting on 2/5/23, a ‘position document on air filtration’ was brought up. Is this a marketing document? When, where, how will this document be published?

#### Jeff Siegel: Driven by 2.2, 2.3, and Environmental Health

#### Maybe position document would be a good subject for a Debate?

#### Seems that meeting agrees.

#### Chair’s notes after meeting: Next moves?

- Adjournment

#### Marilyn moves to adjourn

TC 2.4 STANDARDS SUBCOMMITTEE

Minutes

Monday 2:00PM – 3:00PM, Feb 6, 2023

Atlanta, GA Omni CNN Center Dogwood A (M1-North)

Code of Ethics Commitment

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.

- CALL TO ORDER

  - Introductions

  - Chair’s comments

    - None

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - Charge Durability Index – Rosenthal/Johnson – Draft of proposal was presented. Decided that it doesn’t belong in 52.2. Passes on to this committee.

    - Working group A and B – working on document to present

    - Gemma has completed revision. Was voted on and passed

    - Task group being formed to investigate potential change/adjustment to App J procedure (Thornburg)

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

- No GPC 35 Summer Meeting

- RP-1734 – Should be done by August

- Henry (Hank) Greist of Lennox will be joining the committee as a non-voting member following the summer meetings

- Bruce McDonald, Andy Untz, and Joe Pessa have all been added to the committee as non-voting members

- Upcoming work will be to define testing/loading procedure. Starting with ASHRAE 52.2/ISO 16890 Duct procedures, adding in KCl sub-micron loading developed at Purdue. Hope is to have this methodology by October

- Interim virtual meeting to be scheduled following RP-1734 PMS meeting at end of July

- Following this will update our Work Plan to submit to ASHRAE for the final revision of it…

- No updates as of 6-21-22

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Tony Abate Chair)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - Approved update of definitions

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - Kathleen working on re-write to incorporate non-sorbent units

      - No further update as of 1-25-22

      - New title purpose and scope

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

- SPC 185.3P, Proposed Standard authorized May 2021. Standard 185.3P to be developed by SSPC 185.
Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

- 1. PURPOSE
The standard establishes a method of test for evaluating in-room devices and systems for microorganism removal or inactivation in a chamber.

- 2. SCOPE:
2.1 The method of test specifies selected indicator microorganisms in the test chamber and defines procedures for generating the bioaerosols required for the method of test.
2.2 This standard provides a method for counting the number of viable microorganisms in the chamber to calculate the elimination efficiency for each microorganism.
2.3 This standard establishes minimum performance specifications for the equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.
2.4 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

Standard 185.4P – Proposed Standard authorized November 2021. Standard 185.4P to be developed by SSPC 185.
Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

PURPOSE: This standard establishes a test method for evaluating the efficacy of ultraviolet disinfection systems for microbial inactivation on multiple surface locations in a test room.

SCOPE:
2.1 The standard applies to ultraviolet devices and systems using only germicidal ultraviolet energy for disinfection.

2.2 The method of test specifies selected indicator microorganisms and defines procedures for inoculating test carriers in a room-scale test chamber.

2.3 The method of test defines the test carrier quantity and positions in the test room.

2.4 This standard provides a method for counting the number of viable microorganisms on the test carriers before and after ultraviolet inactivation.

2.5 This standard establishes protocols and minimum requirements for the materials and equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.

    - 2.6 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

  - TC 5.4 Industrial Process Air Cleaning (Need Liaison)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Met 1-25-22 and are hashing thru revisions to update standard

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities

      - No update

      - Looking for liaison

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Wane Baker)

    - New liaison – Wane Baker

    - Effort now going into IAQ Guide 42P – Intent to provide guidance on how to go above minimal acceptable IAQ

    - No update as of 6-21-22

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Brent Stephens)

    - No update

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings (Michael Corbat)

    - No update

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Kevin Kwong)

# Working Group 1: Terminology

ISO 29464:2017 Cleaning of air and other gases — Terminology

Work will begin this month on revisions to ISO 29464.

# Working Group 2: UV-C TECHNOLOGY

ISO 15858:2016 UV-C Devices -Safety information -Permissible human exposure

ISO 15858 has been opened for revision.

# Working Group 3: General ventilation filters

FDIS balloting closes in June 2022 for the following:

- ISO/FDIS 29462 (ed .2) Field  testing  of  general ventilation  filtration devices  and systems  for  in  situ removal efficiency by particle size and resistance to airflow

- ISO/FDIS 16890-2 (ed. 2) Air  filters  for  general ventilation – Part 2: Measurement of fractional efficiency and air flow resistance

- ISO/FDIS 16890-4 (ed. 2) Air filters for general ventilation - Part 4: Conditioning method to determine the minimum fractional test efficiency

ISO 16890-3 “Air filters for general ventilation — Part 3: Determination of the gravimetric efficiency and the air flow resistance versus the mass of test dust captured”

Changes to the initial arrestance 30g loading calculations

ISO/CD 16890-5 “Measurement of fractional efficiency and air flow resistance for flat sheet filter media”

No action yet but will be worked on at the 2022 Plenary in Delft.

# Working Group 4: HEPA and ULPA filters

ISO/CD 29463-5: High-efficiency filters and filter media for removing particles in air - Part 5: Test method for filter elements

Passed FDIS balloting in February 2022.

The following are new work items:

ISO 29463-1:2017 High-efficiency filters and filter media for removing particles in air –Part 1: Classification, performance testing and marking

ISO/PWI 5371 “High efficiency filtration units in exhaust ventilation system of biosafety facilities

# Working Group 5: Dust collectors, droplet separators, and purifiers

ISO/PWI 16313-1 Laboratory  test  of  dust  collection  systems  utilizing  filter media  online  cleaned using pulses of compressed gas –Part 1: System not utilizing integrated fan

All open action items have been finalized.

ISO 16313-2: Laboratory  test  of  dust  collection  systems utilizing porous filter media online cleaned using pulses of compressed gas – Part 2: Systems utilizing integrated fans

Still working on CD revisions.

Working Group 7: Cleanable filter media used in industrial applications

No actions on the following documents:

ISO/NP 23742: Testing method for the evaluation of permeability and filtration efficiency distribution of bag filter medium.

ISO/CD 22031 : Sample and test method for media taken from filters in operation

Working Group 8: Gas Phase Air Cleaning Devices and Media

ISO 10121-3: Test methods for  assessing  the performance  of  gas-phase  air  cleaning  media  and  devices for  general ventilation - Part 3: Classification system for treatment of make up air

Responding to comments and preparing for FDIS ballot.

ISO/PWI 23743: Testing of gas phase air cleaners for improving perceived indoor air quality

Reinstated as a PWI at 2021 Plenary

Working Group 9: Particulate air filter intake systems for rotary machinery and stationary internal combustion engines

ISO/FDIS 29461-7, Air filter intake systems for rotary machinery – Test methods –

Part 7: Filter element endurance test in fog and mist environments

FDIS ballot passed in May 2022 and will be renumbered to 29461-2.

ISO/NP 29461-3: Air intake filter systems for rotary machinery –

Part 3: Test methods for mechanical integrity of filter elements

Passed DIS balloting in February 2022.

ISO 29461-1: Air filter intake systems for rotary machinery – Test methods –

Part 1: Static filter elements

Standard was published in 2021

ISO/PWI 29461-4: Air intake filter systems for rotary machinery –

Part 4: Test methods for static filter systems in marine and offshore environments

DIS registration is expected in 2022.

# Joint Working Group 10: Aerosol filters for nuclear applications (Joint between ISO/TC 142 and ISO/TC 85/SC 2)

ISO 23137-1: Requirements for nuclear aerosol filters to be used against specific severe conditions - Part 1: General requirements

No CD yet but work in progress.

# Working Group 11: Portable room air cleaners for comfort applications (Joint between ISO/TC 142 and IEC/TC 59)

Dozens of meetings in the past few months. Tim Johnson is retiring and Bob Burkhead will take over as convener. Plenary in the Fall

WG 1 - Reduction of particles

CD will be going out for ballot

WG 2 - Reduction of chemical gases and ozone

No updates

WG 3 - Reduction of microorganisms

No updates

WG 4 - General characteristics

No updates

WG 5 - Special types of air cleaners

No updates

MT 6 - Maintenance of IEC 63086-1

No updates

# Working Group 12: Sustainability of air cleaning equipment and media

No activity in this working group. Still waiting on results of an ASHRAE project at Purdue University. The following projects are the responsibility of WG12:

ISO/PWI 12249-1 - Particulate air filters for general ventilation - Part 1: Method of calculation for the life cycle cost for air cleaning devices

ISO/PWI 12249-2 - Particulate air filters for general ventilation - Part 2: Method of calculation for the energy performance of air cleaning devices and for the classification of the energy performance

# Working Group 13: Biological Equipment for Waste Gas Treatment

No updates for WG13. Work is primarily focused on the following two projects:

ISO/WD 23138 - Biological equipment for treating air and other gases - General Requirements

ISO/WD 23139 - Biological equipment for treating air and other gases - Application guidance for deodorization in wastewater treatment plants

  - MTG. ACR, Air Change Rate (Delegate – Bob; Alternate – Michael)

    - No meeting

  - TC 4.10 (Brian K)

    - Starting a standard that includes particulates from the modeling aspect

    - Had not met as of this meeting

  - TG2.RAST (Kathleen)

    - Had 1st meeting. Formed WG to look at what additional standards would be needed to incorporate air cleaners that aren’t currently covered.

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - No update

    - Need contact – Brian K efforting

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 – Bob Burkhead

    - No update

    - Standard 241 P (Corbat,Seigal)

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

      - Moved from 2 per year to annually

      - Next conf Louisville FiltCon May 1-3, 2023 Louisville, KY

  - CEN/TC 195 - 	Air filters for general air cleaning (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – aging procedure with fine particles

  - IEST – Institute of Environmental Sciences and Technology (Vijay) – no update

  - AHRI 680 – Sanjeev and Chrystal. Outdated

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO

      - Chicago Navy Pier Oct 10,11 and 12 2023

  - NAFA (Tom Justice)

    - 202

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Bruce McDonald)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Soot as separate (new) test aerosol in addition to ISO Fine (5011)

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

  - IAQ Meetings (Jeffrey Siegel)

2024

  - FILTECH Expo and Conference

    - Feb 14, 15 and 16 2023 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be 2025

  - American Association for Aerosol Research

    - Oct 3-7 2023 Portalan

  - International Aerosol Conference

    - 2026 China– Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - 2025 Bordeaux France

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society

    - 2nd Air Filtration Basic Course May 30-31

    - 2022 KFS Conference Nov 21-22, Hanbat University

  - WFI Annual Conference

Early Dec 22

  - Healthy Buildings

    - 2023 Asia July 16-19 China

    - 2023 Europe June 12-14 Germany

The focus of the Standards Subcommittee is on the writing and continued maintenance of standards and guidelines written for HVAC&R air filtration.  This group not only reviews ASHRAE standard and guidelines but also keeps an active reporting system of HVAC&R standards and guidelines produced by other organizations and other countries around the world.

This TC is Cognizant for the following standards

ANSI/ASHRAE Standard 52.2: Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size
ANSI/ASHRAE Standard 185.1: Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms.

This TC is CoCognizant with TC 7.3 lead for the following standard

ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

- ATTENDANCE – names carried over from 9/21 Virtual

|  | Name | Company/Address | Email |
| --- | --- | --- | --- |
| 1 | Bobby Singer | BHT |  |
| 2 | Todd Mcgrath | Glasfloss |  |
| 3 | Geoff Crosby | Lydall |  |
| 4 | Matt Middlebrooks | Filtration Group |  |
| 5 | Kia Kiantaj | LMS |  |
| 6 | Christine Sun | Waterloo Filtration Institute |  |
| 7 | Len Duello | Lincoln Electric |  |
| 8 | Don Thornburg | Camfil |  |
| 9 | Michael Corbat | Rensa |  |
| 10 | Tim Johnson | TSI |  |
| 11 | Morris Richardson | Johns Manville |  |
| 12 | Dara Feddersen | H & V |  |
| 13 | Jeni Wong | Johns Manville |  |
| 14 | Jeffrey Siegel | U of T |  |
| 15 | Justin Koczak | TSI |  |
| 16 | Mick Flom | 3M |  |
| 17 | Bernard Olsen | U of Minn |  |
| 18 | Bruce McDonald | Retired |  |
| 19 | Behnat Shoar | Lydall |  |
| 20 | Rahul Bharadwaj | Lydall |  |
| 21 | KJ Choi | Clean & Science |  |
| 22 | Keith Chesson | Parker |  |
| 23 | Jon Rajala | AAF Flanders |  |
| 24 | Bob Burkhead | BHT |  |

TC 2.4 Handbook Subcommittee Meeting

Chapter 29, Air Cleaners for Particulate Contaminants,

HVAC Systems and Equipment 2024 Volume

Revised chapter due to ASHRAE by June, 2023

Agenda for Atlanta meeting, 2/6/2023 at 1:00 PM

ASHRAE Code of ethics: We will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests.

- Call to order –Introduction of attendees

Handbook attendees:

- Don Thornbers

- Bryan Gerhardt

- Paolo Tronville

- Marilyn Listvan

- Scott Parris

- Peter Mckinney

- Jeni Womg

- Bobby Singer

- Jeff Siegel

- Jenny Berens

- Jon Rajala

- Geoff Crosby

- John Randtke

- Dan Russell

- Kathleen Owen

- Gemma Kerr

- Dustin Eplee

- Chair’s comments - Current revision is “J”.

- October 2022 notes addressing the possible   addition of NMC Standard 481.

  - Will be added as a reference note

- Continued discussion on the following sections (new section numbers) with reviewers:

- Terminology.				No additional comments?

- Acronyms. 					No additional comments?

- Atmospheric Aerosol.                                	No additional comments?

- Aerosol Characteristics			No additional comments?

- Air Cleaning Applications.

  - John Randtke on question about employee health and whether large particulate vs fine particulate filtration. John will follow up in this comment. Peter McKinney can help with the language as well.

  - Kathleen comment on definition of electronic air cleaners. Paolo volunteered to add this. Copy and paste definition. Paolo comment on electronic air cleaners and if it is only electrostatic precipitators. Paolo wants to avoid confusion of use of this terminology.

- Mechanisms of Particle Collection.

  - Sections 6 and 7 will be re-written by Kathleen

  - Peter McKinney will update graphic related to Kathleen’s comment.

  - Marilyn – Sieving or Straining, last sentence in that section is unneeded and we can add it to the first sentence. Marilyn will update.

- Types of Air Cleaners and Performance.

  - Comment on AHU design velocity, where dos it belong?

  - Electronic Air Cleaners – John Randtke – potential safety concerns and making people aware. John added proposed language in comments. Geoff comments the potential legal issues of focusing on this. Jeff thinks adding commentary for ozone and potential safety concerns is appropriate. Peter can work on categorization of electronic air cleaners and work on an illustration.

  - Combination air cleaners – John will add his proposed language in notes into text body.

  - Panel Filters – Would like this sections rewritten or rearranged, maybe in order of types people will actually see. Rename header from Panel Filter to Media Based Filter? Already a section named “Media Filter”. Kathleen and Gemma are working on redoing this section, we will need to see what they do before adjusting further.

  - Electret Filters – add reference to 52.2 App J here.

- Air Cleaner Test Methods.    .

  - Need to be reviewed by end of March and send comments to Brian

  - We need to remove references to 52.1 other than the one saying it is discontinued. Scott Paris will help in rewriting.

  - DOP is not being used. Does MIL-STD-282 still reference DOP? Andy Stillo – yes DOP is referenced in MIL standard and ONLY used in Nuclear applications.. Jon Rajala will look at this section and rework it to make it more generic to HEPA testing. I will run it by more HEPA focused individuals (such as Andy Stillo) and send updates to Brian.

  - Delete comment from Kathleen related to penetration value being adjusted by statistics.

  - Delete comment from Kathleen related to IEST question.

  - Kathleen comment about UL 2998 – ozone emission from air cleaners. Make sure this reference is in right spot.

  - Leakage scan test – DOP referenced – Jeff will revise

  - Don will update info on ISO 16890

  - Marilyn suggests a rewrite of UL Standards section because UL Standard 867 portion is out of place as currently written. Should be a new paragraph, Scott will rewrite and keep them in the same place.

  - Geoff comment – High level heading for “General Ventilation Test Methods”, “HEPA/ULPA Test Methods”, and “Environmental Testing”. Geoff will work on adding the headings and reorganizing.

- Selection and Maintenance.

  - Under “Life Cycle Costing: bullet, replace “Power consumption for in room air cleaners” to “Electrically powered air cleaners”

    - Jeff will add bullet for this section too

  - Remove Kathleen’s moving curtain/roll filter comments. Kathleen wonders where it belongs in order of relevance.

  - John Randtke will revise his comment about 1” filters

  - Delete comment on Figure 4

  - Marilyn comment – Extended surface area filters for above MERV 11 due to pressure drop considerations

  - MERV 6 recommended should be updated to MERV 11 per 62.2

  - Add comment related to deeper filters to allow more flexibility in higher efficiency filters/lower pressure drop. John Randtke will update and add.

  - Once again, remove all referenced to 52.1 not related to it being discontinued. Update to 52.2

  - Marilyn updating wording on Antimicrobial Treatment of Filter Media

  - Under VAV systems – ASHRAE Standard 52.1 tests will become ASHRAE tests

- Air Cleaner Installation.

  - John Randtke comment to update typical filter dimensions will be added.

  - Kathleen – How is overload determined? Decide to remove overload sentence. John Randtke can do this in his updates.

  - John Randtke add comment on SMACNA standards for duct work.

  - John also added comments on other installation topics, good additions.

  - Scott suggested additions to hygienic standards on filter use.

  - Add comments on UV use with air filters.

- Safety Considerations. It was looked at.

- References.

  - Being done by Brian, Scott Paris volunteered to help

- Bibliography.

  - Being done by Brian

- Index and Key Words was not looked at.

- The discussed updates will be included in revision “K” of the chapter.

- The next Handbook meeting will be a zoom meeting in April 2023. The final revision will be sent out in May 2023 with a vote by the subcommittee; and a vote by TC2.4 will be held during the summer 2023 meeting in Tampa.

- Adjourn