Draft Minutes

TC 5.10 Kitchen Ventilation Main Committee Meeting

Monday, January 22nd, 2024, 5PM – 6:30PM CST

McCormick Place West, W179B (1)

This meeting will take place in Chicago. Virtual attendees can click "Enter Meeting" under Resources below to join the meeting on the noted date and time. All times are listed in Central Time (CT).

Meeting number:

2338 896 9244

Password:

FYpPVtp69w8

Host key:

391545

Join by video system

Dial 23388969244@ashrae.webex.com

You can also dial 173.243.2.68 and enter your meeting number.

Join by phone

+14702385742 US Toll

Access code: 2338 896 9244

- Call to Order and Introductions

- 5:00 PM –Introduction(s) & overview of meeting - Introductions completed for in person and also online

- Schedule for today

  - 5:10 Approval of Tampa meeting minutes

  - 5:15 Agenda - TC 5 Section Chair Update

  - 5:25 Subcommittee Report Outs

  - 5:55  Design Guide Update &  Form Working Group

  - 6:00 DCKV UPDATE- ASTM.- Rich S.

  - 6:10 Old Business

  - 6:15 New Business

  - 6:30 Adjourn

- Quorum Call –

Voting Members

| Mr. Don Fisher (2027) - Online | Mr. Derek Schrock (2024) - In Person |
| --- | --- |
| Mrs. Jessica Weaver (2027) – In Person | Mr. Russ Robison (2026) - In Person |
| Mr. Bryan Miller (2027) – In Person | Mr. Frank Kohout (2027) - In Person |
| Mr. Andre Saldivar (2027) – In Person |  |

Quorum

- Commitment to the ASHRAE Code of Ethics – In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.

See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics

Reviewed this at the start.

- TC Membership

www.ashrae.org/joinatc

Levels of Membership:

- Provisional Corresponding Member – Automatic roll-off after 2 years

- Corresponding Member

- Voting Member – Non-quorum

- Member – Non-voting

- Member – Voting

- TC 5.10 Roster Update –

Updated June 2023

ASHRAE will send an update last week of January

- E-mail Aliases

  - Chair:  tc0510@ashrae.net

  - Vice Chair: tc0510.vch@ashrae.net

  - Secretary: tc0510.sec@ashrae.net

  - Handbook: tc0510.hbk@ashrae.net

  - Program: tc0510.pro@ashrae.net

  - Research: tc0510.res@ashrae.net

  - Standards: tc0510.std@ashrae.net

  - Webmaster: tc0510.web@ashrae.net

- Approval of Minutes from Summer Tampa Meeting June 2023 - Approved

- Announcements

  - TC/TG Chair Breakfast Announcements – Derek/Jason

    - Complete Activity Form

Updates from the Breakfast Chair:

- Global interaction committee that is looking to harmonize standards globally and they are looking for experts from the TC level to help with that

- We have to submit our membership changes that take effect on July 1, 2024 (after the June Meeting)

Updates from Kevin Marple (Section 5 Head):

- Functional group MOP is not a requirement, so it’s being removed from the manual

- Membership: PCMs (two-years), need to communicate with TC Chair if you want to become a CM because it doesn’t happen automatically, rather you are removed after two years of being a PCM.

- TAC has a working group to find out how many of us attend our chapter meetings

  - Very few people in TC 5.10 are attending chapter meetings (which is similar to what they know to be the case from other TCs)

  - Keith Page offered explanation that the meeting times for his chapter are in the middle of the workday at a location that isn’t feasible for him to attend.

  - Kevin is encouraging attendance at local chapters and an exchange to help those at the local level get involved in the technical aspect of ASHRAE with the TCs

From Derek:

- Looking for volunteers to take on the “Membership” role to encourage people to get involved and look for and fill membership. Nobody volunteer during the meeting.

- Derek will be rolling off so we will need a voting member. Volunteers should reach out to Derek.

- Reports –

  - ASHRAE Liaisons - TC 5 Section Head (Kevin Marple)

  - Handbook – Greg DuChane

    - There are 4 working groups tackling aspects of updating handbook with either new or supplemental material (Food Trucks, PCUs, etc.) or harmonization with the CKV Design Guide. Reach out to Greg to become part of one of these working groups.

    - Working groups should meet and work on this between meetings.

  - Research – Russ Robison

    - More funding available

    - Labor rates are provided by ASHRAE

    - Resubmitting the replacement air RTAR 1825

    - RTAR 1931 WS to be submitted for March

    - IEQ research project upcoming

  - Program – Mark Skierkiewicz

    - For Indianapolis we are looking to do a two-part seminar that encompasses an overview of the Design Guide

    - Also for Indianapolis looking to submit a seminar on IEQ

  - Standards - Jason Greenburg – no update to give

  - Webmaster Report – Keith Page  - no update to give

  - SSPC 154 Ventilation for Commercial Cooking Operations – Keith Page

    - Language changing for exhaust fans

    - Language expansion for grease duct

    - Grease duct reservoir development work to happen upcoming

    - System controls and commissioning for DCKV language to come from the design guide and added to the standard

    - Addition of residential hoods to be included in 154.

    - Language on compensating hoods was added to IMC 2024 that we had worked to have removed because of problem it caused to introduce untempered air right into the hood.

      - It was noted that from a national level, we are stuck with language that is in 2024 until 2030 as the due dates for 2027 updates has passed.

  - UL – Mark Skierkiewicz – In the process of harmonizing the Canadian and US versions of 710, upcoming will have a bi-national standard

    - To come: grease filters, PCUs

    - Gasket and Seal methods are to be updated

  - 90.1 – Jason Greenburg  - no update to give, working on getting us another liaison for 90.1

  - 62.2 - Residential kitchens – Jim Sweeny

    - Looking for agreement with the interlaboratory testing

      - ASTM Working group

      - Working on Interlaboratory standard

      - Harmonization with other standards

- Old Business

  - Discuss TC 5.10 developing a method of test for DCKV testing

    - Current proposal:

      - Subcommittee met at ASTM

      - EPA is eager to get a test method in place so they can rate DCKV

      - Funds are needed and available for developing this at a laboratory or research setting, but the funds needed to pull this together are the next step

      - A test method needs to be written

      - Need to have the test method verified with manufacturers for feedback to verify that it actually works.

- New Business

  - Discuss the need for a liaison from TC 7.7 test & balance (JW)

    - 7.7 member was here and that TC feels there needs to be consistency of how to best and accurately test airflow. You can’t technically drill into the grease duct which makes test methods difficult and more variable.

      - TC 5.10 notes that there was a research project previously on this and the results concluded to use the manufacturer’s recommendation, noting that there isn’t the ability to have synergy across all manufacturers on this

      - Noted that a major part of the variance can be due to external conditions that the manufacturers can’t necessarily account for.

  - Additional New Business:

    - New lab in Chicago for testing commercial kitchen equipment

- Announcements:

- Next meeting details

- Adjourn