# 1791 Tullie Circle, N.E./Atlanta, GA  30329

404-636-8400

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	TC 7.7	Main	DATE	June 27, 2023

TC/TG/MTG/TRG TITLE	          TESTING AND BALANCING

DATE OF MEETING June 27, 2023       LOCATION: Tampa / Hybrid

| MEMBERS PRESENT | YEAR APPTD |  | MEMBERS ABSENT | YEAR APPTD |  | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- | --- | --- | --- | --- |
| Robert Moss | 2019 |  | Frank Spevak | 2019 |  | Yusuf Bhetasi (virtual) |
| Scott Fielder (Virtual) | 2020 |  |  |  |  | Jon Sheppard |
| Jason Hauska | 2022 |  | Gus Faris | 2020 |  | Justin Garner |
| Darryl DeAngelis | 2019 |  | Mike Langton | 2019 |  | Shilei Ma (Research Sub) |
| Gerald Kettler (Virtual) | 2019 |  |  |  |  | Don Prather |
| Scott Sligowski | 2020 |  |  |  |  | Colin Ross |
|  |  |  |  |  |  | Satheesh Kulankara (TAC SH) |
|  |  |  |  |  |  | William Farrell |
|  |  |  |  |  |  | Jim Schumacher |
|  |  |  |  |  |  | Craig Wray (Virtual) |
|  |  |  |  |  |  | Mark Hegberg |
|  |  |  |  |  |  | George Teasdale |
|  |  |  |  |  |  | Chris Ruch |
|  |  |  |  |  |  | Costas Balaras |
|  |  |  |  |  |  | Brian Sybesma |
|  |  |  |  |  |  | Steven Rogers |
|  |  |  |  |  |  | Brandon Bates |
|  |  |  |  |  |  | Jeff Schools |
|  |  |  |  |  |  | Gregg Fielder |
|  |  |  |  |  |  | Gaylon Richardson |
|  |  |  |  |  |  | Tom Schlachter (virtual) |
|  |  |  |  |  |  | Olaf Zwickau – Virtual |
|  |  |  |  |  |  | Jessica (Weaver?) - Virtual |
| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |  |  |  |  |  |
| TAC Section Head |  | Satheesh Kulankara |  |  |  |  |
| TAC Chair |  | Thomas Justice |  |  | mailto:kelly.cramm@hendersonengineers.comjustfilter@yahoo.com |  |
| ALI / PDC Liaison |  | James W Bochat |  |  | jim.bochat@cxconcepts.com |  |
| Chapter Tech Transfer Chair |  | David Ballard |  |  | daballard21@gmail.com |  |
| 2019 HVAC Applications |  | Bryan Becker |  |  | beckerb@umkc.edu |  |
| Research Liaison |  | Bill Murphy |  |  |  |  |
| Standard Liaison |  | Rick Heiden |  |  | rheiden@trane.com |  |
| Manager of Standards |  | Stephanie Reiniche |  |  | sreinichie@ashrae.org |  |
| Staff Liaison |  | Mike Vaughn |  |  | MORTS@ashrae.net |  |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

DRAFT MINUTES

TC 7.7 TESTING AND BALANCING

Main Committee

Annual Meetings

Tuesday – June 27, 2023 (1:00 – 3:00 pm EST)

- CALL TO ORDER

Chairman Moss asked all guests to provide contact information on the sign-in sheet that was being passed around.

- Attendance:  30 including 6 VM, 4 CM, and 20 Guests

- Chairman reviewed the ASHRAE Code of Ethics

- INTRODUCTIONS

Chairman Moss asked those attending to introduce themselves and identify the organization or company they represent

- APPROVE MINUTES FROM LAST MEETING

Minutes from the meeting were e-mailed out prior to this meeting.  Motion by

Minutes accepted 5-0 to be posted on TC webpage http://tc0707.ashraetcs.org/

- RECOGNIZE LIAISONS

Satheesh Kulankara, Section Head

- Email to address concerns directly to TAC askTAC@ashrae.org

  - Intended for non active members

  - TC members should direct questions to section head

- TAC training are recorded and available on the website.

- Basecamp should be used for TC internal working documents – keep website up to date for general public (including roster and minutes)

  - TC 7.7 is up to date!

- DISCUSS ISSUES FROM TC BREAKFAST

Chairman R .Moss notes:

  - Announcements and Highlights from TC Chairs Breakfast Meeting

    - Pushing to add international experience / noting all members that are international and YEA.

    - Still much discussion about decarbonization / electrification.

    - Looking for a liaison from each TC for the Strike Force for Decarbonization, Bob Moss volunteered to be liaison from TC7.7

    - Justin: Question to section head, “Such thing of decarbonization certification?” – just rumors so far.

- SUBCOMITTE REPORTS

- Handbook

  - Need to prepare for the next round of updates and potentially start early (now) with a new team

  - Justin suggested George Teasdale, have two years to submitted (August of 25?)

- Program – Scott Sligowski

- No update

- Membership – Jason Hauska

- 76 active members, 9-VM, 40 CM, 17 provisional

- Research – Shelia Ma

  - From $5 million to $5.5

  - Encouraging more research projects

  - Individual limits for projects from $200K to $250K

  - 13 projects, but no “bidders”

    - National labs appear to be overwhelmed / booked for 3-5 years

- Standards – Gaylon

- Standard 111 out to review 2020; ASHRAE did not have the correct attachments, so it had to go back to public review (February 2023?)

- Web Master – Jason Hauska

- Website up to date, as is basecamp

- LIASON REPORTS FROM OTHER TC’S OR ORGANIZATIONS

TC 1.2 Instruments & Measurements – Robert Moss

- No updates, happening during 7.7

TC 1.4 Control Theory & Application – no liaison

TC 5.2 Duct Design – Gus Faris not present, no update

TC 5.3 Room Air Distribution - Byron Hagan – not present, no update, also meeting during 7.7

TC 5.6 Control of Fire & Smoke – Gerald Kettler

- Gerald: still active, control of smoke still in building codes, plus NFPA.

  - No real changes / impact to TAB

- Used to have guideline 5, now guideline 1.5 (moved to SSPC 300)

TC 5.10 Kitchen Hoods – Gaylon Richardson

- Gaylon – AABC now sharing the grease hood form to anyone that wants it; may need to include with the new standard.

  - SSPC: 154 standard for kitchen hoods – need to get involvement.

- J.Hauska – RP – 1376 / new standard

- Need to keep liaison / exposure

- Jessica, secretary on 5.10, welcomes anyone from 7.7.

TC 6.1 Hydronic & Steam Heating Equipment & Systems – Mark Hegberg – Not present, no update.

- Need to have a liaison in the future!!!

TC 7.9 Building Commissioning - Justin Garner

- Lots of things happening with 7.9 and SSPC 300 (super committee), which makes up over 12 documents

- 7.9 itself is big with programs right now, make sure 7.9 is included with anything 7.7 would have with programs.

TC 9.6 Healthcare Facilities – Jason Hauska

- Handbook out, pushing for future programs related to decarbonization.

TC 9.10 Laboratory Systems - Justin Garner / Gaylon

- Meeting after 7.7

- SSPC110 – testing of fume hoods, tracer gas testing still ongoing

  - Lot of discussion of certification, move to AABC below

AABC – Gaylon Richardson

- CEC certification coming from AABC (hands on and written certification), plus an updated standard.

  - Will include cleanroom, pharmacy, bio labs.

NEBB – Olaf Zwickau

- Nothing to report

- Conference in Monterey California in October.

NBC – Scott Sligowski

- Written procedural standards updated and out by the end of the year.

  - May have a standard / procedure manual that is combined.

TABB – John retired, trying to get new liaison

- Add TC9.7 and George Teasdale – get with George for notes

- OLD BUISNESS

- Response to RACs question regarding our Capture Hood RTAR:

    - RAC approved the RTAR

    - Work needs to begin on the Work Statement

TAMPA Update: Bob Moss and Shilei Ma to take over and move to a work statement.

- Research meeting agreed there is a need for a standardized method for non-standard grease hoods and filters. Reaching out to TC 5.10 before we proceed. See the attached Minutes for Research meeting – already updated as part of 5.10

- Update on J. Garner concerns about lack of guidance on hydronic product application

- Darryl – potential TC7.7 involvement on research related to mixed air / stratification.  TAMPA Update:STD 129, no update?

- Darryl – seminar IAQP (indoor air quality procedures) part of 62.1, now 10 now compounds that are “known” in buildings, as well as “max limits”, part of the discussion was a building operator indicating “well, if my air quality is fine, don’t need TAB”.  TAMPA Update: 5th public review

- Darryl – last year, in section 8 of 62.1, an addendum was provided to clarify the tables within 180. Goal was to help make operations/maintenance easier, but, the group will review and potentially add tables back.   TAMPA Update: Pushing for updated tables for increased frequency of TAB requirements / ongoing validation.

- Darryl - AHC meeting this morning – someone decided to assess the Omni hotel.  Found filters were bad, which is why the filter boxes were added, thoughts to try and improve the building moving forward.  Idea to have someone from TC7.7 part of the host committee (per city)  TAMPA Update: Darryl for Tampa, 8 building sensors added (Co2, temps, etc), ASHRAE also passed out 3-5 for building maintenance to attend sessions.

- NEW BUISNESS

- Olaf Zwickau as offered to take the lead role to drive the 'Measurement of Commercial Kitchen Exhaust Hoods

- ADJOURN

- Motion to adjourn was made by JHauska second by Scott Sligowski at 2:55PM