1791 Tullie Circle NE • Atlanta, Georgia 30329-2305 •

Tel 404-636-8400 • Fax 404-321-5478 • http://www.ashrae.org

Reply To: 	Steve Kline, P.E.

skline@baltimoreaircoil.com

ASHRAE Chair TC 8.6

# TC 8.6 Minutes for 2023 Summer Tampa Hybrid Meeting

Date/Time:     ASHRAE TC 8.6 Main Committee Meeting: Monday, June 26, 2023, 2:30-4:30 PM EST

Location:  JW Marriott Tampa, Platt (3)

Meeting Link for Virtual Participants:  Teams Meeting, Meeting ID = 285 637 980 61  and  Passcode = ZgN3M8

- Scope:  Technical Committee 8.6, Cooling Towers and Evaporative Condensers

- Technical Committee TC 8.6 is concerned with open and closed circuit cooling towers, evaporative liquid coolers and condensers, adiabatic condensers and fluid coolers, spray ponds, and other types of contact type liquid-to-air heat exchangers and applications to rejection equipment along with their application and impact on complete HVAC, Industrial, and Refrigeration systems, including the associated energy and water usage as well as water treatment requirements.

- Call to Order [Kline]

  - Meeting called to order at 1:31 EST

- Roll call and introductions [Kline]:  Voting members are:  1.  Gary Stauffer, 2. Jeff Boldt, 3.  Joseph Ham, 4. Mihir Kalyani, 5. Rick Heiden, 6. Tyler Anderson, 7.  Steve Kline

  - Roll call indicated 4 of 7 voting members present, attaining a quorum.

- APPROVAL OF MINUTES [Kline]

  - Gary motion, Haven second, all approve of Atlanta meeting minutes.  Passed 4-0-0

- REVIEW OF TC chair BREAKFAST [Haven]

  - Did not have additional announcements regarding tracks for next session.

  - Spent hour going through handbook.

    - Resources available and training provided.

    - ASHRAE staff person assisted with training.

    - Training available if working on handbook.

.

- Membership [Kline]

  - 7 voting members through summer 2024.  Any interest in joining now or in future we welcome you to do so.  Happy to have more voting members.

##### Handbook [J.Boldt]

  - Not present – no updates

  - Systems and Equipment – we had many revisions in last version so changes will likely be minimal.

  - Per Derek Crowe Handbook liaison 2024 handbook chapters. Asking for End of July deadline for Systems and Equipment.  May be able to get some leeway on deadline.

- Research [Tyler Anderson]

  - Not present – no active research, no active proposals

## Programs [J.Ham]

  - Discussion for papers, etc. for future controls track such as:

  - Mentioned Atlanta discussion on automation of towers to manage system efficiencies

  - Topics to consider:

    - Impact of controls and operation can have on efficiency and lifecycle of evaporative equipment

  - How impacted by Guideline 36

  - changing programming away from design operation to reduce system efficiency and shortened life

  - Jeff Boldt – ASHRAE published paper multi-system VAV vs air cooled

  - Nexus between controls and efficiencies with cooling systems

  - Operational controls

  - Water treatment controls as 1 portion of presentation

  - Thought is some sort of seminar or program on operation of cooling towers and/or water treatment systems.  How to implement controls to drive efficiencies

  - When to turn on sidestream filtration system (tower on or off)

  - How to stage multiple chillers multiple towers.

  - Currently there is a hydronics working group (Dan McJacobson of Callan Engineering) working to look at CT sequence of operation.

  - For energy efficiency

  - Denver Intl airport

    - Real world example could be discussed

    - Guideline 36 sequence of operation for evaporative equipment potential topic

##### Standard 64 [Morrison/Vadder]

  - Discussed email from ASHRAE below this section

  - Revisions of references only is likely all that is needed

  - Committee vote to reaffirm

  - Send in form to SRS

  - Joe Vadder to take lead

    - Not looking to make any material changes other than updating references

    - Will send out to perform on-line vote

    - 11/30/23 deadline from is ASHRAE however may get relief on this date

    - Debating need for SPC creation just to revise references

    - Joe will investigate further and advise

Partial email from ASHRAE Standards Committee – 6/7/2023

SUBJECT:      ASHRAE Standard 64-2020, Methods of Laboratory Testing Remote Mechanical-Draft Evaporative Refrigerant Condensers

In accordance with the requirements of Section 13 of the Standards Committee Reference Manual, TC 8.6 (the cognizant Technical Committee) is asked to vote to recommend to the Standing Reaffirmation Subcommittee (SRS) of the Standards Committee whether the subject standard should be

- Revised,

- Reaffirmed, or

- Withdrawn

Section 13.1.3 of the Standards Committee Reference Manual states: “Following an interval of not more than three years after publication of each Standard or Guideline, the cognizant committee shall be requested to recommend to SRS reaffirmation, revision or withdrawal of the SCD.” The three-year date for Standard 64-2020 is 11/30/2023.

###### TC 9.6 [Anderson]

  - Not present

###### MTG RAC Plant Sustainability Guide [Harbison]

  - Gary has not heard from them since winter meeting

  - Stopped by booth in Atlanta and asked for new contacts

  - Reached out via email but has not heard anything back from them

  - Currently in a holding pattern

###### SPC 205 [Xu] Representation of Performance Data for HVAC&R and Other Facility Equipment

  - Xu not present

  - Models and data supplying method

  - Have completed chillers

  - Cooling towers work may be coming

    - Set of equations but most manufacturers have decided not to do that but setting up rules is challenging

    - Big chiller guys are doing tables and don’t show data when outside range

    - Will require a lot of data from manufacturers

    - Also concerns with data security since data represents product lines

    - Generate table for every bid when models are used

    - Manufacturers have spent lots of time developing

    - Data on different flow types, Lots of variables, how would you structure the data to report

    - To model tower data would have to include air flow, water flow, wet bulb temperature, RH is evaporation, winter operation

    - CT industry may want to propose data to provide

###### TC 3.6 Water Treatment [Cohen]

  - Cohen not present

  - TC3.6 meeting tomorrow

  - Per Joe Ham TC3.6 programs

    - No TC3.6 programs this session but looking at Chicago

    - Looking at water reclamation or water re-use.  Not defined so not sure potable or industrial.  There could be impact to 8.6.  Grey water vs black water.

  - RTARs out there but not cooling tower related currently.

  - PTAR on temperature but could have some incidence

  - Will discuss in 3.6 meeting tomorrow

  - Chapter 15 revision completed in 2023 handbook

###### TC 2.8 Building Environmental Impacts and Sustainability [TBD]

  - Per Stephanie nothing specific relative to cooling towers

- STD 189.1 [Buckley]

  - Per Gary nothing new relative to CT or evap condensers

  - Gary will try to attend full committee meeting tomorrow

###### STD 90.1 [Lindahl/Morrison]

  - Paul sent liaison report for distribution

  - TC8.6 owes 90.1 regulatory group a recommendation for adiabatic with an efficiency requirement so currently working towards agreement for starting efficiency

  - Test code is ready

  - Applicable to air coolers with pad

  - Need to complete before fall MSC meeting

  - Still working towards full consensus proposal

  - Allain volunteered to be uninterested 3rd party to enable manufacturers to meet as subcommittee.  Draft exists

  - Trying to make into a consensus proposal from 8.6 to minimize public comment since industry in agreement.

  - 90.1 committee working towards net zero (when combined with renewable energy).  Decarb has increased emphasis with ASHRAE and 90.1.

###### Title 24 [Morrison]

  - Proposal by the case team for cooling towers

    - Increase efficiency proposal has substantial increase in energy efficiency (in some cases 120 vs 60).

    - Remove 85% of models in those climate zones

    - Intend to weaken limit of air cooled chillers

    - Acceptance testing of tower blowdown controls

    - Subcommittee is developing comments

    - Committee needs to review and vote

    - Asking for quick vote from members since due June 30

###### STD 191 Building Water Efficiency [Cohen]

  - Per Allyn Troisi up for approval.  If approved, then it would be up for a 45 day public review next.  No major changes expected.

###### Epidemic Task Force [Vadder]

  - Task force disbanded so will take off agenda for next meeting

- New group for carbon calculations

  - Per Frank, new committee will be formed to how to calculate carbon, embedded carbon, operating carbon so various groups within ASHRAE will have something consistent to follow.  Meeting was held this morning at 6:30 am.

###### Website [Kline]

  - Up to date

###### Old Business

  - No old business

### New Business – Does 8.6 have interest in participating in an advisory public review (APR) of 241P, Control of Infectious Aerosols.

    - Steve received email

    - Prepping for next pandemic

    - Nothing about legionella or cooling towers or our products

    - Steve will forward to group for our review

No section head report out

###### Adjourn

  - Gary motion, meeting adjourned at 3:54 PM EST.