# 1791 Tullie Circle, N.E./Atlanta, GA 30329

404-636-8400

# DRAFT

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	06.06	DATE  6/23/25

TC/TG/MTG/TRG TITLE	Service Water Heating Systems

DATE OF MEETING	6/23/25	LOCATION	Pheonix, AZ

| VOTING MEMBERS PRESENT | YEAR APPTD | MEMBERS ABSENT |  | YEAR APPTD | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- | --- | --- | --- |
| Fredric Goldner | 02/15/2022 | Paul Glanville |  | 02/15/2022 | See Minutes for full list |
| Paul Hikspoors | 07/1/22 | Eric Truskoski, Chair |  |  |  |
| Gary Klein | 02/15/2022 |  |  |  |  |
| Jim Lutz | 02/15/2022 |  |  |  |  |
| Patrick Villaume | 02/15/2022 |  |  |  |  |
| Cory Weiss | 02/15/2022 |  |  |  |  |
| Jim Earley (Vice Chair) | 07/1/23 |  |  |  |  |
| Amin Delagah | 02/15/22 |  |  |  |  |
| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |  |  |  |  |
| TAC Section Head: Doug Reindl |  |  | SH6@ashrae.net |  |  |
| All Committee Liaisons: Chapter Tech. Transfer Chair Handbook Liaison Research Liaison Standards Liaison |  |  | CTTC6@ashrae.net Hbs4@ashrae.net RL6@ashrae.net SL6@ashrae.net |  |  |
| Steve Hammerling, Assistant Manager of Research & Technical Services |  |  | MORTS@ashrae.net |  |  |

ASHRAE Technical Committee 6.06

MINUTES

June 23, 2025

Pheonix, AZ

## Call to Order

Vice Chair Jim Earley called the meeting to order on June 23, 2025, at approximately 4:20 pm. Participants were as follows:

Voting Members Present

Jim Earley

Fredric Goldner

Paul Hikspoors

Gary Klein

Jim Lutz

Patrick Villaume

Cory Weiss

Amin Delagah

Voting Members Not Present

Eric Truskoski

Paul Glanville

Others Present

Frank Myers -Standards Subcommittee Chair

Corresponding Members:

Frank A Stanonik

Tania Ullah

Carl Hiller

Lawrence Spielvel

Provisional Corresponding Members:

Rachel Rifenberg             William Healy

Stephen Memory              Ron George

Mehdi Zeyghami

Joel Carpenter

Austin Krank

Ahmed Elatar

William Asher

Joe Boros

Laura Sánchez

Joseph Villegas

Guests:

Irvin Rodriquez              Zach Londo

Gunther Berthold            Yi Wu

Jennifer Guerrero

Robert Bean

Ankitkumar Tejani

Adair Emerald

Marc Neufcourt

Hermes Silva

Ahmed Elater

Paul Sohler

David Scearce

Gunther Berthold

Paul Needly

Irvin Rodriguez

Cobi Waxman

Tingyue Zhang

Wei Wang

John Raher

Matt Rose

Section Head:

Doug Reindl

        - Members and guests introduced themselves.

        - Attendees signed in. The quorum requirement was met with 8 of 10 voting members in attendance.

## 2.	Membership/Roster review

Vice Chair Jim Earley reviewed the agenda with the attendees.

## 3.	Provisional Corresponding Members

Vice Chair Jim Earley discussed the process for joining the TC as a provisional corresponding member by visiting http://www.ashrae.org/JoinATC.

4.   Review of Past Minutes

Upon a motion the committee voted to approve the Winter 2025 Olando minutes as distributed.

MOTION PASSED.   8-0. Two members were not present to vote.

5.   Report on TC Chairman’s Breakfast

- No updates.

6.    TAC Section Head Report

              - At a high-level Doug Reindl discussed the ASHRAE strategic plan that defines ASHRAE’s goals, objectives and initiatives for 2025-2028. The website link to the strategic plan was discussed.  The website address is as follows. https://www.ashrae.org/file%20library/about/strategic%20plan/2025-28strategicplan.pdf

              - The Center of Excellence for Building Decarbonization was discussed. Project research funding can be available if the TC has ideas that are relevant.

https://www.ashrae.org/about/cebd-center-of-excellence-for-building-decarbonization

7.   Subcommittee Reports

        - Programs – Amin Delagah

          - Submissions for the winter conference seminars, forum and panel are due august 1rst. The link to the submission page is as follows.  https://ashraem.confex.com/ashraem/w26/cfp.cgi

b.  Standards – Frank Myers

          - (Ben Schoenbauer) – SPC 124 Methods of Testing for Rating Combination Space-Heating and Water-Heating Appliances:  Advisory public review is getting close to going out.

          - (Jim Lutz) – SPC 191 Standard for the Efficient Use of Water in Building Mechanical Systems:               The 4th independent change review comments were finished. A virtual meeting was to be held to discuss those comments.

          - (Gary Klein) – SSPC 90.1 Energy Standard for Buildings Except Low-Rise Residential Buildings     
 Working Group: The SSPC removed a clause from the 90.1 standard that required thermostat temperatures of 120°F or below, unless the equipment manufacturer specified otherwise.

          - (Jim Earley) – SPC 90.2: Energy-Efficient Design of Low-Rise Residential Buildings: No update, 90.2 was meeting at the same time as TC 6.6.

          - (Frank Myers) – SSPC 400: Risk Management for Building Water Systems:  SSPC 400 is now responsible for maintaining the following standards. 1. Standard 514 - Risk Management for Building Water Systems: Physical, Chemical, and Microbial Hazards. 2. Standard 188 – Legionellosis: Risk Management for Building Water Systems. 3. Ashrae Guideline 12 – Managing the Risk of Legionellosis Associated with Building Water Systems.

          - (Jim Lutz) – SSPC 205 Representation of Performance Data for HVAC&R and Other Facility Equipment:  The committee is starting to look at HPWH and standardizing how to feed data to energy simulation models.

          - (Patrick Villaume) – SSPC 300 Commissioning: The committee is looking for anyone interested in working on commissioning.

          - (Gary Klien) – GPC 47 - Design, Installation and Commissioning of Central Domestic Electric Heat Pump Hot Water Systems in New Multifamily Buildings: The GPC is working on a 1rst draft and outline.

c.   Research – Will Asher

          - There are 37 active projects.

          - RTARS (Research Topic Acceptance Request) are down, there is funding available and encouragement to submit projects.

          - RTARS require TC full approval.

        - Website - Joel Carpenter

          - The website is updated.

e.  Handbook (Patrick Villaume) – Formed a list of question related to sizing. Will use the list of questions as a survey. Survey will be completed in August, canvassed in September. Draft must be ready in 12 months.

8. Liaison Reports

- (Patrick Villaume) – TC 6.1 Hydronic and Steam Equipment Systems: Nothing to report.

- (Patrick Villaume) – Center of Excellence for Building Decarbonization:  Guides are being updated, see website.

- (Jim Lutz) - TC 7.10 Occupant Behavior in Building Design and Operation: A proposal for RTAR research was discussed that is related to TC 6.6. Members from 7.10 were introduced, research involving occupant behavior related to TC 6.6 may be conducted in China and the US.

- Old Business - None

- New Business

  - Jim Earley (Vice Chair) is now appointed to Chair of TC 6.06. Eric Truskoski rolls off as chair.

  - ASHRAE 146-2020: Testing and Rating Pool Heaters.

      - A motion was made to find volunteers and a chair to create SSPC 146 to revise the standard. Motion passed 8-0 with 2 members that were not present for the vote.

- Volunteers: Jim Earley, Bill Healy, Jason Hall and Rachel Rifenberg.

  - ASHRAE 118.1: Method of Testing for Rating Commercial Gas, Electric, and Oil Service Water- 
 Heating Equipment

      - A motion was made to create SSPC 118.1 to revise the standard. Motion passed 8-0 with 2 members not present for the vote.

        - Volunteers: Joel Carpenter, Rachel Rifenberg, Patrick Villuame, Cory Weiss, Ron George, Amin Delagah, Jason Hall.  Patrick Villuame volunteered for chair.

  - ASHRAE 118.2: Method of Testing for Rating Residential Water Heaters and Residential-Duty Commercial Water Heaters.

      - A motion was made to create SSPC 118.2 to revise the standard. Motion passed 8-0 with 2 members that were not present for the vote.

        - Volunteers: Jason Hall, Joel Carpenter, Rachel Rifenberg, Ron George, Bill Healy. A chair was not assigned, but Bill Healy discussed that he may be able to do it.

  - A motion was made to elect Joel Carpenter as Vice Chair. Motion passed 7-0 with 3 members that were not present for the vote.

- Next meetings

| 2026 Winter Conference 2026 Annual Conference 2027 Winter Conference 2027 Annual Conference | Jan. 31-Feb. 4, 2026 June 27-July 1, 2026 Jan. 23 – Jan 27, 2027 June 12 – June 16, 2027 | Las Vegas, NV Austin, TX Chicago, IL New Orleans, LA |
| --- | --- | --- |

- Adjourn

  - A motion and second was brought forward to adjourn. All present voting members voted in favor.