TC 7.6, SYSTEMS ENERGY UTILIZATION
STANDARDS SUB-COMMITTEE

SUBCOMMITTEE MEETING MINUTES - LAS VEGAS:  	
Date:  Monday, January 30, 2011    
	Time:  5:15 pm – 6:30
	Location:  Hilton Conference Room 6

ATTENDANCE:
Keith Emerson (chair)*		Cedric Trueman
Chris Balbach			Bob Chase
Jesse Ross				H. Jay Enck*
Mike MacDonald			Michael Deru*
Dennis Landsberg*			Steven Carlson*
Michele Friedrich*

(* voting members of TC7.6)

NOTES:

	
	

	1. Update on Guideline 14, Measurement of Energy, Demand and Water Savings
*  The proposed document has been edited and is undergoing a final internal review.  A committee vote is expected in about 30 days on a first full public review.  
*  Measurement of uncertainty has been difficult to deal with and that section now includes a better description and an example.  

	Dennis Landsberg 

	2. Update on SSPC 90.1, Energy Conservation in New Buildings, Except Low-Rise Residential Buildings
*  Both 90.1-2010 and the User’s Manual are published and available in the bookstore.  
*  The workplan for the 2013 edition was approved with modifications.  The goals are 50% less energy for a building than one built under 90.1-2004 version OR 40% savings on a whole building approach (including plug loads).  They have gone about 30% of the way on 2004 energy between 2004 and 2007 and bb (see next item) will get them another 5% on total energy.  
*  Addendum bb, dealing with envelope requirements and successfully appealed and removed from 90.1-2010, has been revised and will be going out for an independent substantive change review. 
*  At the end of the Vegas meeting an RTAR was voted out regarding the generation of costs for envelope building components.  The information would be used to examine the existing insulation and other envelope component requirements as well as to look for areas where it may be possible to generate additional change proposals in the Standard.  Referred to Reid Heart as the TC7.6 Research Chair.  [ rhart@peci.org ]  


3. Update on SSPC 90.2, Energy Efficient Design of New Low-rise Residential Buildings
*  14 conference calls have been held since the Albuquerque meeting.  
*  Proposed goal for 2011 is to be 30% more efficient than the 2006 IECC and at least as efficient as IECC2009.  
*  The document is under final review before going out for its first full public review, probably in September.  


4. Update on SPC 100, Energy Efficency in Existing Buildings
*  Michele Friedrich has resigned as chair.  Rick Hermans will be the chair and Gordon Holness as vice-chair.  
* An Advisory Public Review expected to be out before Montreal.  
*  Some coordination work still needs to be done between Chapters 5 and 7 and between 8 and 9.  
	Keith Emerson
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	5. Update on SPC105, Standard Methods of Measuring, Expressing and Comparing Building Energy Performance 
*  The revision committee for Standard 105 had it’s first face-to-face meeting in Las Vegas.
*  The committee voted to include specific paths for both source energy and greenhouse gasses in the next edition. 
*  A Title, Purpose and Scope change proposal is in process to incorporate the addition of the expression and comparison of greenhouse gasses.  


6. Other business:
· The ASHRAE Ad Hoc Energy Target group is in the process of benchmark existing buildings.  They are using the reference buildings and will generate EUIs.  Rick Hermans, the new chair of SPC 100 was in charge of this work.    
· ASHRAE’s Building EQ is also continuing.  
· PDC Committee John Nix from the PDC Committee asked if TC7.6 was interestedin developing an energy audit course?  How to analyze data, etc. Referred to Dick Pierson and the full committee. 
· Michael Deru asked if SPC 105 might be interested in presenting a forum in Montreal about how to account for source and carbon?   


	Keith Emerson

	7.   Adjourn.
	



