|  | DRAFT Agenda |
| --- | --- |
|  | #### TC 7.5 Building Operations Dynamics 3:00-3:45 pm, Tuesday, June 16, 2020 Prepared by Donghun Kim |

Subcommittee Scope: •	The Building Operations Dynamics Subcommittee of TC 7.5 is concerned with the dynamic characteristics and interactions of comfort conditions, the active components of HVAC systems, the passive components of HVAC systems, control systems and operation strategies and the building. The committee is concerned with the methods of building system operation which minimize energy used through the consideration of dynamics and interactions. It is also concerned with methods which consider dynamic and interactive characteristics in the design or comfort conditioning systems.

Agenda:

| 5 min | Call to Order |  |
| --- | --- | --- |
|  | Self-introduction, announce the subcommittee scope and other announcements. |  |
| 15 min | Program |  |
|  | Current meeting status and new ideas proposals | See below for more information |
| 15 min | Update/Discussion of Active project/RTARs/Work Statement | See below for more information |
| 10 min | New ideas and discussions |  |
| Adjourn |  |  |

Program Discussion:

| Program | Title | Lead | Previous talks (~ Feb/2020, Orlando) |
| --- | --- | --- | --- |
|  | What to do with optimal control? | Peter Armstrong | Orlando: Peter is not in the meeting. No discussions. |
|  | Model accuracy impact study on model predictive control | Andreas Athienitis | KC: Complete, conference paper, Plan to organize seminar. Orlando: Dave Blum from LBNL is willing to participate in this seminar (delayed). Zheng O’Neill will connect them with Andreas. |
|  | Training plan for facilities | Zhou Joe | Bach to follow up Orlando: No discussions. Park this idea. |
|  | Building Operations for Grow Applications? | Glen/Bach Tsan | Orlando: No discussions. Park this idea. |
|  | Load shifting - assessing economics and emissions impacts of measures the primarily shift load | Scott Hackell (Splitream) -Chair | Orlando: Will propose to Austin (TC 2.8, 6.9, 7.5, others?) |
|  | Refrigeration Thermal Storage - locating thermal storage specifically in refrigeration systems (TC 6.9, 7.5, refrigeration, others?) | Scott Hackell (Splitream) -chair | Orlando: Will propose to 2021. (TC 6.9, 7.5, refrigeration, others?) Zheng suggested to talke with 10.7 |
|  | Thermal storage (PCM, ice thermal storage, chilled water thermal storage) vs. battery economic | Donghun Kim (Chair) | Orlando: will submit to Austin GEB track. Speaker: - LBNK - ORNL - NREL - Jie Cai (OU) - TC 6.9 took the seminar (Technoeconomic Comparison of Different Energy storage technologies) - Accepted but defer to the next conference. |

Research Proposals Discussions:

| Research | Title | Lead | Previous talks (~ Feb/2020, Orlando) |
| --- | --- | --- | --- |
| RP-1661 | RP- 1661: Development and Validation of Dynamic Models for the Evaluation of Chilled-Water System Control Strategies in the ASHRAE Handbook | TBD | Orlando: Li (PMS): need to tune the model, scopes need to be changed. May need another extension. Wangda (contractor): provides udpates. Submit 60 pages of documentation to move forward for modeling. Finish implementation, debug controlers. Try to finish the debugging within 1-2 months. Asked for another one year NCE to April 2021. |
| WS | WS- 1809: Updating reference guide for dynamic models of HVAC equipment | Heejin Cho | Send out to RAC before the RTAR rules changed PTAR (Publication TAR). Co-Sponsored by 1.4 Has been reviewed by all voting members. 1/15/2019 – Approved by all. RAC provided comments back to the author Orlando: no updates from Heejin Cho. Zheng will follow up with Heejin |
| RTAR? | If you had “perfect information” on occupant’s comfort preferences and their location within a conditioned space then how would you optimize control and how much value would you be able to realize | Rich Hackner? Li Song? | RTAR completed but did not submit. Internal TC review, and started to award, but search for co-sponsorship. Should check with occupant behavior group. Coordinate with TC 1.4? Circulate the document again via e-mail and repost by Li Song. Wen to communicate with Rich Hackner Voting Members to review on this RTAR and posted on BaseCamp. Organize electronic voting. Voted in KC Orlando: Not submitted yet. Will submitted by Li |
| RTAR? | How IoT impacts operators | Carol Liping Wang Scott Hackel | Carol working on outline. How to quantify impact – Li Song Dovetailing with enabling technologies. Update the title Orlando: Carol: No updates Li: should include Residentia application. We will need to have another idea/RTAR and Zheng will help Li Carol: does the new idea include homes or multi-family homes. Need to conside privacy, multi-stories,etc. |
| RTAR? | Link the productivity with occupancy-based control; Occupant in the loop controls | Ivo Martinac | Ivo Martinac – professor developing idea. The idea but need to develop the team. Park this idea at this time Orlando: No updates. Park this idea, Zheng will follow up with Ivo. |
| RTAR? | Smart management of moisture and energy consumption in residential houses, smart ventilation, optimal location for dryer, heat pump water heater, etc. | Andrew Windham; Kristen Cetin | Update from Kristen Cetin Orlando: Drop this idea. |
| RTAR? | Open Source tool for integrating building and grid simulations | Donghun Kim, Jie Cai, Qun Zhou | Orlando: First, we will need to define the scope. Qun Zhou from University of Central Florida talked about her perspectives from grid side. |

Research Topic Acceptance Request