1791 Tullie Circle, N.E./Atlanta, GA  30329

404-636-8400

DRAFT

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	8.4						DATE		02/04/2020

TC/TG/MTG/TRG TITLE	Air-to-refrigerant heat transfer equipment

DATE OF MEETING 	02/04/2020		LOCATION	Orlando, FL

| MEMBERS PRESENT | YEAR APPTD | MEMBERS ABSENT |  | YEAR APPTD | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |  |
| --- | --- | --- | --- | --- | --- | --- |
| Dr. Chad Bowers | 2016 | Mr. Jun Wang |  | 2018 |  |  |
| Dr. Kashif Nawaz | 2016 | (Dan Arnold (provisional corresponding member) attended to keep Yun in the loop) |  |  |  |  |
| Dr. Sankar Padhmanabhan (Chair) | 2016 |  |  |  |  |  |
| Dr. Kishan Padakannaya | 2017 |  |  |  |  |  |
| Dr. Christian Bach | 2017 |  |  |  |  |  |
| Dr. Vikrant Aute | 2017 |  |  |  |  |  |
| Mr. Bill Fox | 2018 |  |  |  |  |  |
| Dr. Arindom Joardar | 2018 |  |  |  |  |  |
| Mr. Matthew Richard Baker | 2014 |  |  |  |  |  |
| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |  |  |  |  |  |
| TAC Section Head: Kevin Mercer |  |  |  | SH0804@ashrae.net |  |  |
| All Committee Liaisons As Shown On TC/TG/MTG/TRG Rosters (Research, Standards, ALI, etc.) (Roster had issues at time of meeting; as per Kevin Mercer this was a common problem at the winter meeting) |  |  |  | See ASHRAE email alias list for needed addresses. |  |  |
| Mike Vaughn, Manager Of Research & Technical Services |  |  |  | MORTS@ashrae.net |  |  |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

- CALL TO ORDER and APPROVAL OF MEETING MINUTES

Chad Bowers (Chair) called the meeting to order. Introductions (name/affiliations). Chad provided a sign-in sheet. Kansas City Annual Meeting minutes approved 5-0-1 (at that point Sankar was not yet in attendance). Chad reminded everyone of ASHRAE code of ethics as part of chair breakfast update.

- SELF INTRODUCTIONS AND ATTENDENCE:

Everyone present introduced themselves, and signed the roster sheet. Chair identified 6 (excluding himself) out of 8 voting members. Quorum was met. Voting member attendance listed on cover sheet.

Other committee members and non-members present:

David Yashar (CM),

Pedro Perez (CM),

Cheng-Xian (Charlie) Lin (CM)

Harshad Inamdar (CM)

Dan Arnold (PCM)

Khaled Saleh (CM)

Kashif Nawaz (handbook sub. Chair)

Lorenzo Cremaschi (CM)

Ray Rite (CM)

Saad Saleem (Guest)

S.A. Sherif (CM)

- Chair Breakfast Update (Chad Bowers)

    - Need update roster; as per TC chair handout, TC chair (Chad Bowers) should have received a link to do so.

    - TC reorganization

      - Gordon Struder reported from section 10

        - Consolidate section meeting for research

        - 1 of 10 TC’s will stay alone

      - Chad Bowers sees some value for consolidating research, especially since research is often co-sponsored

    - 2 new Multi-disciplinary Task Groups (MTGs)

      - MTG.RAC (Refrigeration and Air Conditioning) - Refrigeration and AC plant assessment guide for safe operation; focus is developing markets

      - MTG.CEA (Controlled Environment Agriculture)

      - Chad Bowers asked if any interest in attending MTGs to see if of interest to TC 8.04

      - Coil cleaning may be one potential issue for the Controlled environment agriculture committee

        - Pedro Perez volunteered to check into this and give a brief update at the upcoming Austin/TX annual meeting.

- Research Breakfast Update (Kishan Padakannaya)

    - 49 Research Projects

    - Fall meeting – 8 added, 1 rejected

    - Expect 10 active projects to complete this year

    - 2 Research Topic Acceptance Requests (RTAR)

    - Contractor Selections for 11 Projects (30 bids)

    - 2 Unsolicited Research Proposals

    - New funding limits for contractor selection approval to adjust for inflation

    - Several Awards

      - Grant in aid, Homer Adams (2nominations, 1 selected), announcement at a later point

    - 11 applications for New Investigator Award

    - No Applications for Service to ASHRAE Award

      - Chad Bowers proposed as potential awardee for Service to ASHRAE award (no decision on who nominates; see action items)

    - Innovative research grant (IRG, 2019-2020) – Travis W. Horton (Purdue)

      - Surface De-Icing in Heat Pump Fins by Local Morphing Concept

    - Innovative research grant (IRG, 2020-2021)

      - Reviewed 19 pre-proposals on Saturday

      - 4 invited to submit full proposals in the Spring

    - ASHRAE Strategic Plan – Request for ASHRAE member feedback

      - Only ~700 responses from 44,530 members

      - Fill it out! It affects the direction that ASHRAE will be going

      - See action items!

    - PMS & PES members require training and will receive a link for doing so

    - Conflict of interest discussion

      - Can’t vote and will need to leave room if bidder or have connection with bidder

    - PES can not exchange information directly with bidders – they are required to communicate through MORTS

    - Executive sessions are for voting members only

- TC Research and Programs

    - One program session on fouling and frosting of HXs (David Yuill and his students) as part of Orlando meeting

    - No active research as lead TC

    - Co-sponsor for RP1785 (Ray Rite chair, Christian Bach PI)

      - Getting ready to take date, setup is almost complete

      - Research is on no-cost extension

      - In-depth update was given as part of TC 8.11

    - TRP 1683 (Ammonia U-Bend Project)

      - 2 bids were received with clear consensus among PES on who to select

      - TC 1.3 met 02/04/20, PES recommendation was followed

        - RAC OK’d

      - Christian Bach made motion, Vikrant second, 6-0-0 to approve agreement on TC1.3 decision

    - Ideas for RTARS

      - Sankar started RTAR on oil return

      - Corrosion follow up from old project – some discussion at research subcommittee meeting on this topic

      - Model for flow in distributors? Kashif has some literature to share. Focus on modulating flow (e.g. variable speed/flow systems) for RTAR

      - Effect of coil damage (manufacturing/install/transport/during use) onto performance

      - Unified testing methods for tubes (aka calorimeter testing)

      - Some interest in tubes <4mm diameter

        - Burr Oak produced a prototype 3mm fin-tube HX

        - Probably use old HX models and correlations for now

      - Characterizing limits for condensate blowoff for ID/OD coils

        - Sidetrack on longevity of coatings; one member (name?) volunteered to start RTAR

      - Lorenzo Cremaschi suggested to identify gaps in TC 8.4’s handbook sections and then propose research on those gaps

      - Emily Yen volunteered at the TC 8.4 research subcommittee to look into what is available on evaporative condensers; maybe a good topic would be developing correlations

- Visit from Technical Activities Committee (TAC) representative Kevin Mercer

    - General explanation on what TAC and Kevin Mercer are good for

      - TAC oversees functional committees, including TCs

      - Kevin is there to remove roadblocks and make meetings more efficient

    - TC-MOP

      - Not for cleaning TC meeting rooms but the Manual of Operations for TCs provided by TAC

      - One action item is annual self-performance review by TC

      - https://www.ashrae.org/File%20Library/Technical%20Resources/Technical%20Committees/TC-MOP-SY-18-19.r2.pdf

    - Roster issues experienced by many committees – if issues, revise roster and send to Kevin (yes, this also applies to TC 8.4’s issues)

    - Mentioned MTG’s (see chair breakfast notes earlier in this document)

    - Reminder to new members to get engaged, instructions for how to do this for both left and right-handed new members

    - Kevin can be reached out to if having issues with program acceptance

      - Usually, the problem is formatting

      - Last time twice as many submissions than there are slots

- Handbook (Kashif Nawaz)

    - TC 8.4 is responsible for 3 Fundamentals HVAC Systems and Equipment HB chapters (23, 27, & 39) as well as for 1 Refrigeration HB chapter (Forced-Circulation Air Coolers). Titles of chapter are available on committee scope on our website.

    - Kashif tried out ASHRAE’s author’s portal.

    - Kashif assigned volunteers to help with handbook review, April 31st as deadline:

      - Review Equipment HB CH 23. Air-Cooling and Dehumidifying Coils by April 31st

        - Arindom Joardar

        - Cheng-Xian (Charlie) Lin

        - Pedro Perez

        - Elatar Ahmed

        - Roy Crawford

      - Review Equipment HB CH 27. Air-Heating Coils by April 31st

        - Kishan Padakannayya

        - Sankar Padhmanabhan

        - ???

        - Harshad Inamdar

      - Review Equipment Handbook CH 39. Condensers by April 31st

        - Kashif Nawaz

        - Jun Wang ?

        - Vikrant Aute

    - Kashif assigned ‘super-reviewers’ for second round of review by May 15th

      - Review Equipment HB CH 23. Air-Cooling and Dehumidifying Coils by April 31st

        - Bill Fox

      - Review Equipment HB CH 27. Air-Heating Coils by April 31st

        - Christian Bach

      - Review Equipment Handbook CH 39. Condensers by April 31st

        - S.A. Sherif

    - Kashif assigned volunteers to help identify potential updates in the area of fouling, corrosion, coatings, and MCHX (high level to get started).

      - Kashif Nawaz, Vikrant Aute, Lorenzo Cremaschi, Jun Wang

      - Define officially what a MCHX is and add to HB chapter

      - Dan Arnold is contact person that was at TC to represent Jun Wang

    - HB volunteers need to test access to authoring portal; requires IE9 or later (no other browsers supported).

      - Direct link: https://authoring.ashrae.org/pages/default.aspx

      - General info: https://www.ashrae.org/technical-resources/authoring-tools/authoring-portal

    - Kashif Nawaz to check on timeline for HB revision process

- Programs (ctnd; some overlap with section V.; sub-chair missing)

    - Kashif: Seminar 38 ≈ 50 people; David Yuill from UNL Nebraska and two of his students presented on fouling as well as fouling combined with frosting

    - Chad Bowers: Austin Texas – Technical ttrack/seminar?

    - Kashif: Suggested frost formation on HXs for Chicago Winter Conference.

      - Mark Johnson may be able to contribute

      - Christian (?) may also be able to contribute; (Secretary/Christian post-meeting note: may be able to present on ‘old’ work from undergrad – smart defrost controller evaluation)

      - Sankar will serve as chair; email presentation (Abstract, + slides?) in June

    - Vikrant: Extended abstract (2-3 max 4) pages for new things. Separate subcommittee within CEC

    - Extended Abstracts for Austin is on February 10 deadline; can submit directly online

- Membership Report (Chad Bowers)

    - 8 voting members, many roll off in 21/22

    - Proposed to add 1 voting members each at the two next roster updates

      - Kashif Nawaz is first new voting member to be added

    - Encouraged new participants to join as provisional corresponding members

- Standards Update (Bill Fox)

    - Standard 33 is under revision (SPC 33)

      - ASHRAE mandatory language updates

      - Update references

      - Housekeeping – it appears that there are discrepancies between ASHRAE 33 and the 41 series

    - SPC 33 will meet again in March (need to set date!)

    - Meet at ASHRAE next time Sunday morning

- MTG Liaison Report (Vikrant Aute)

    - MTG to coordinate the transition to low GWP with other organizations, including UNEP

      - Committee meets Sunday and Wednesday + some subcommittee meetings

    - Vikrant will be happy to relay comments back to the MTG

    - Complete projects, reports available on ASHRAE technology portal

      - 1807 & 1808 (refrigerant handling and braze free joints)

      - 1794 – survey of odorants for refrigerant leak detection

    - 1806 – flammability, flame modelling, risk assessment

      - 3 tasks, 1 complete, interim report to PMS

      - Scope restructured to complete tasks 1-3 end-to-end to avoid complications

    - 1855 Combustion by-products

      - Literature review, to be completed mid this year. Contractor is Radient

    - AHRI taskforce SRTTF (Safe Refrigerant Transition Task Force)

      - Training for A2L’s safe transport, storage, and use

    - AHRI 2 RP’s

      - AHRTI-9014: Assess Refrigerant Detector Characteristics for Use in HVACR Equipment

        - Phase 1 complete

        - Phases 2 and 3 will include robustness test

      - AHRTI-9015: Assessment of Refrigerant Leakage Mitigation Effectiveness for Air-Conditioning and Refrigeration Equipment

- Other miscellaneous discussions – open floor

    - Kashif mentioned a presentation that Bill gave on contaminants. Process lubricants were considered a potential contaminant; due to the brazing process of MCHX there is only limited chance of this contamination pathway for MCHX

    - Refrigerants – which will be the future?

      - Which refrigerant(s) should be utilized in ASHRAE Research Projects?

      - Should ASHRAE have or provide a guideline for which refrigerants to use?

      - Should ASHRAE fill the gaps in this area?

    - Sankar: RTAR Idea

      - Low Superheat Systems – Speed of TXV and its Interaction with the Transient Response of the Heat Exchanger

        - How does TXV interact with HX response?

        - Experimental study

      - Pedro Perez and Christian Bach to support Sankar (lead)

      - Christian to send Sankar his notes from a review that he started for TC 8.8

      - Edit post meeting: Should we consider having TC 8.8 co-sponsorship?

- Action Items

    - You that reads this - fill out the ASHRAE strategic plan survey below!

      - https://www.surveymonkey.com/r/K7MMQVF

    - Chad Bowers – Add TC internal performance review at Austin (see TC-MOP; Christian added this after the meeting)

    - Pedro Perez – Check into MTG for Controlled environment agriculture

    - Chad Bowers – Update roster spreadsheet and send to kevin

    - Christian Bach (with support from TBD from committee) – nominate Chad Bowers for Service to ASHRAE award

    - One member (name?) – start RTAR on longevity of coil coatings

    - Handbook reviews

      - Review Equipment HB CH 23. Air-Cooling and Dehumidifying Coils by April 31st

        - Arindom Joardar

        - Cheng-Xian (Charlie) Lin

        - Pedro Perez

        - Elatar Ahmed

        - Roy Crawford

      - Review Equipment HB CH 27. Air-Heating Coils by April 31st

        - Kishan Padakannayya

        - Sankar Padhmanabhan

        - ???

        - Harshad Inamdar

      - Review Equipment Handbook CH 39. Condensers by April 31st

        - Kashif Nawaz

        - Jun Wang ?

        - Vikrant Aute

    - Handbook ‘super-reviewes’ for second round of HB review by May 15th

      - Review Equipment HB CH 23. Air-Cooling and Dehumidifying Coils by April 31st

        - Bill Fox

      - Review Equipment HB CH 27. Air-Heating Coils by April 31st

        - Christian Bach

      - Review Equipment Handbook CH 39. Condensers by April 31st

        - S.A. Sherif

    - Kashif assigned volunteers to help identify potential updates in the area of fouling, corrosion, coatings, and MCHX (high level to get started).

      - Kashif Nawaz, Vikrant Aute, Lorenzo Cremaschi, Jun Wang

      - Define officially what a MCHX is and add to HB chapter

      - Dan Arnold is contact person that was at TC to represent Jun Wang

    - Kashif Nawaz to check on timeline for HB revision process

    - HB volunteers need to test access to authoring portal; requires IE9 or later (no other browsers supported).

      - Direct link: https://authoring.ashrae.org/pages/default.aspx

      - General info: https://www.ashrae.org/technical-resources/authoring-tools/authoring-portal

    - Sankar: Remind Christian and Mark Johnson about deadlines for Chicago seminar on frosting

    - Bill Fox: determine mid-March SPC 33 meeting date and time as well as finalize Sunday morning meeting time and location for Chicago

- OLD BUSINESS]

    - There was no old business to discuss.

- NEW BUSINESS

    - There was no new business to discuss.

- ADJOURNMENT

    - Committee adjourned after completion of discussions.

- Attachments

    - Not applicable