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MINUTES
TC-6.6 SERVICE WATER HEATING SYSTEMS
 Monday January 26, 2015, 4:15 – 6:30 PM, 
James Lutz, Chair

1) Call to Order

· Self-introductions and determination of quorum.

· Quorum achieved with 13 of 15 voting members present.

· Chair made request for nominations to the position of Vice Chair; Bill Healy to consider nomination.

2) Membership/Roster review

· The Chair discussed an effort to update up our Corresponding Members list. An email will be sent to the corresponding membership pool to inquire about continued interest in following the business of TC 6.6. Several listed attendees have not attending a TC 6.6 meeting in quite some time.  

3) Review of Minutes of June 30, 2014 and January 20, 2014 Meetings


The minutes for June 2014 (Seattle) meeting were corrected to show both Russ Johnston, Fred 
Goldnar as present. A motion to accept the minutes from January 2014 (New York) and June 2014 
(Seattle – as amended) was made and passed committee vote (unanimous). 
4) Report on TC Chairman’s Breakfast

· Remote participation in committee meetings remains an area of focus with ASHRAE. The rules governing committee votes still appears to be in development. 
· The Chair made a call for interested parties to serve as Reviewers for the purpose of providing peer reviews to technical papers specifically related to topics covered by TC 6.6. A sign-up sheet was passed around seeking 3-5 volunteers for peer reviews. 
5) TAC Section Head Report - none
6) Committee liaison reports - none
7) Subcommittee Reports

a) Programs - Ben Schoenbauer

	Conference
	Type
	Topic/Title
	Author(s)
	Submission 

Due Date
	Confirmed (Y/N)

	Summer 2015
	S
	Hot Water Usage in Hotels
	C. Hiller 

R.  Johnson
	
	

	Winter 2016
	
	
	
	
	

	Summer 2016
	
	
	
	
	

	
	
	
	
	
	


b) Standards – Frank Myers

	ANSI/ASHRAE/IES Standard 90.1 -- Energy Standard for Buildings Except Low-Rise Residential Buildings
(Frank Stanonik) The SSPC and subcommittees continued to meet. At this point, no major topics were offered specific to Service Water Heating. A future proposal could include lowering the trigger point (below the current combined load of 1MMBtu/h) for utilizing condensing gas waters. The committee also discussed the need for updating the sizing guide specific to commercial water heating applications and need to improve the characterization of hot water usage in commercial applications.  



	Standard 90.2 -- Energy Efficient Design of Low-Rise Residential Buildings 

(Bill Healy) There is interest with 90.2 committee members to take a leadership position in setting energy efficient criteria for residential buildings. The committee may adopt new criteria involving the RESNET home energy ratings score (HERS) methods. 




	SPC 118.1 Method of Testing for Rating Commercial Gas, Electric, and Oil Service Water Heating Equipment

(Dave Berning) Chuck High noted that the committee meeting was held January 25 where a work plan was constructed. Provided that updates to the standard can be processed by the Summer 2015 meeting (Atlanta), chances are good that an update ASHRAE 118.1 could be offered to the U.S. Department of Energy (DOE) for adoption during the next rule making effort.  


	SPC 118.2 Method of Testing for Rating Residential Water Heaters

(Jim Lutz) The committee’s last action was to reaffirm the -2006 version and to begin efforts of harmonizing 118.2 with the DOE test procedure. This will reestablish the reference from which the SPC will work on standards development. 


	SPC 124 Methods of Testing for Rating Combination Space-Heating and Water-Heating Appliances
(George Kusterer) A subcommittee was formed to model system behavior based on simulated use testing. Also a review is underway to determine the approach of capturing/defining various system elements of a combined system.


	SPC 146 Methods of Testing and Rating Pool Heaters
covered below


	SPC 188 Legionellosis: Risk Management for Building Water Systems
Guideline 12 Minimizing the Risk of Legionellosis Associated With Building Water Systems

(Frank Myers) SPC 188 involves a procedural standard for methods of practice whereas Guideline 12 defines specific temperature conditions. With the completion of SPC 188, updates to Guideline 12 will follow. The Standard 188 language is now in its 4th Public Review. Given the committee progress, it is possible that a standard publication could be available in Atlanta. 



	SPC 191 Standard for the Efficient Use of Water in Building, Site and Mechanical Systems
(Jim Lutz) A review draft is in circulation for comments. The committee may attain a publication status by Atlanta. 



	SPC 189.1 Standard for the Design of High-Performance, Green Buildings Except Low-Rise Residential Buildings
No report



	SPC 206 Method of Testing for Rating of Multi-Purpose Heat Pumps for Residential Space Conditioning and Water Heating 
No report



	U.S. Department of Energy (DOE) 
(Ashley Armstrong) DOE published notice of proposed rulemaking regarding energy conservation standards for commercial water heaters. The new residential water heater uniform energy factor (UEF) Conversion Procedure language is anticipated to publish in March with a comment period. The 
DOE & FTC are discussing updates to the FTC label format. 
The EF-to-UEF conversion procedure envisions having no new minimum efficiency equations. Interested parties are encouraged to share any relevant test data from the UEF procedure in support of comments on the conversion factor method. 
The DOE published a Federal Register final rule regarding test procedures for direct heating equipment and pool heaters.


c) Handbook – Amin Delagah


First proof print copies will be reviewed for editorial accuracy prior to publication start. 

d) Research – Paul Glanville

	Reference
	Topic/Title
	Status

	RP 1544
	Establishing Benchmark Levels and Patterns of Commercial Building Hot Water Use (C.Hiller et. al.)
	Data collection ended in July 2014. 

A final report of findings will be submitted.

	RTAR
	A proposal is being drafted for hot water use in hotels and hospitals
	

	RTAR
	A proposal is being drafted for hot water use in food service installations
	

	RTAR
	A proposal is being drafted on the miss application of flow meters in field testing
	

	WS 1640
	Hot Water Use in Office Buildings 

(C.Hiller et.al.)
	The submittal has not yet been taken up by the Research Liaison


e) Membership – Jim Earley

Ron George – added as corresponding membership


Chair will send a request for corresponding member interest.
f) Website 

Frank Stanonik to search for volunteers within AHRI for TC 6.6 website upkeep. 
8)
Status of SPC 146 Methods of Testing and Rating Pool Heaters
A motion was made to form an SPC to help harmonize the Standard 146 with DOE requirements and thereafter amend/update Standard 146 where appropriate.  The motion passed committee vote (unanimous). 
F. Stanonik, J. Earley, C. Hiller, M. Garrabrant, and F. Myers volunteered to help form the SPC 146. A motion nominating F. Stanonik as SPC 146 Chair was made and passed (unanimous). 
An SPC 146 proposal including the naming of committee members, title purpose and scope will be submitted to the SPLC. 


9)
Old Business
10)
New Business

· ACEEE Hot Water Forum; Nashville February 22-24. A tour of the old State Water Heater factory will be offered.
· RESNET Conference 2015. HERS models are now being developed to account for the way water is being used in the home. 

11)
Next meeting

· Atlanta – Summer Meeting Monday June 29

12)
Adjournment

· 5:50pm meeting adjourned. 

