TC 9.08 Large Building Air-Conditioning Applications

- Minutes

Meeting Date & Time: Monday June 25, 2018 2:15PM-4:15PM

Room:

- (Establish Quorum: # of voting members present exceeds ½ of the # of total voting members of the committee (9 VM))

- Call to Order  - 2:17 pm

  - Introduction of Members and Guests (see official sign-in sheet)

  - New guests can be provisional corresponding.

  - Reading of code of ethics by Heather Schopplein

  - Agenda Review

  - Membership Update

    - Review Roster

      - John Molnar – Chair

      - Bill Artis – Vice Chair

      - Richard Vehlow - Secretary

      - Ralph Kittler and Doug Fitts rolling off as Voting members 6-30-2018.

      - Channing Everett rolling on as research chair and voting member.

      - Scott Peach volunteering to be a Voting member.

      - Anthony York volunteering to be a voting member.

    - . Can’t have two members from same company.

- Previous Meeting Minutes

  - Review & Approve January 2018 – Chicago Meeting Minutes – will need to clean up for final draft to approve. Same with June 2017 Long Beach minutes- need to clean up those minutes too and email to John  by mid-July.

- Research Subcmmittee Report (R. Cox)

  - Channing Everett is rolling on as chair. There are 2 items- submit RTAR for evaporation rates in indoor pools and thermal environment of growhouses. Doug Fitts will help, and recommends taking care of evaporation first. Coordinate growhouses with TC2.2 plant and animal environments. Applications vs Environment. Harry Milliken doesn’t think you need to start over with a new RTAR for evaporation, but can reactivate it from suspension. Channing- paperwork can be resubmitted. Harry- ask research liaison about process. Research liaison is Jeff Gatlin. Decision to move ahead with evaporation completion. Reach out to Gatlin and see what info was put together- Channing will do this. RTAR 1566 Equations is a new action item.

- Handbook Subcommittee Report (F. Mills)

  - Handbook chapters –Need response by june 6; chapters-  2,3,5 (without natatoria),6 Museums, 23, Natatoria. Do by letter ballot as soon as possible. John will work with Frank. Cecily –chapter 23 by end of July. Letter ballot by end of august. 23 is significantly changed. Doug- Who are the authors? Perhaps they can send out synopses of changes. Heather- changes are easily visible through authors’ portal. You cannot use google chrome. Instead, you must access ”Authoring Portal” in ASHRAE search window. Will letter-ballot everything but Museums.

- Program Subcommittee Report (Bill Artis)-

  - Action items: there is a proposal by Richard Vehlow to co-chair a  Justice Facilities program with 9.4. Anthony York can do special systems for large buildings, including transportation facilities. Heather can do a presentation on dense occupancies (hotels, dormitories, etc.).  August 3 submission deadline for Atlanta January 2019 meeting. Other program possibilities: casino ventilations, performance arenas, cruise ship ventilations, military dormitories, museum challenges. Next conferences are in Atlanta, GA (January 2019) and Kansas City, MO (June 2019), Bill Artis has tracks for each conference. They are also on the website. No sponsored programs. Rich Vehlow 9.4 chair- considered dense occupancies with Heather Schopplein. Also contact 9.1 systems. – Bill Artis will do this tomorrow. Craig Burg: Chicago- animal/plant- bovine housing and DOAS. Growing room environments for plants. Can also do presentation during committee time, which could interest new members. General Grow room applications idea. Last month article in Journal. Doug- also Humidity. Doug- reach out to the track chairs. TC2.2 meets right after this meeting- Scott Peach volunteers as liaison to go to that meeting and discuss this.

- Standards Subcommittee (chair: )

  - committee should be liaison to standards. Would keep us informed as to updates of pertinent standards. Cecily Grzywacz SPC34: Cecily- generally Rick Hermans or other liaisons would give reports from committee. No other report.

- Webmaster Report (H. Schopplein)

  - Website is updated. Use the officer portal.

- Membership:  Carrie Ann Monplaisir-

  - Carrie has basecamp access issues and needs more clarification on procedure and resource access. Will email John and Heather. Heather will add Carrie Ann to basecamp.

- YEA Chair: Elizabeth Jedrlinic- present.

- International Liason:  Farhan Mehboob : no report

- Liaison Reports Ideas discussed

  - TAC Section 9 Report TAC9: Bill went to breakfast- they lost our email with title purpose and scope, and had to resubmit. Question on how they can help us. We need more participation (which we’re using today) and getting quorum. Award announcements and general committee housekeeping.  Heather: other TC reps should get awards. Types of awards: TC involvement, handbook, research, many other awards. Will have more info next meeting.  Bjarne will send letters to employers- sign up to get letter.

  - RAC Report - John- anyone get research report? No. The report is an 8 page pdf that updates everyone on research.

  - TC 8.10 Mechanical Dehumidifiers & Heat Pipes - Craig Burg- will meet on Tuesday. No report yet. RTAR will be discussed.

  - TC 9.01- Bill- meets tomorrow. 12-3. Resubmitting RTAR on refrigerant dispersion in event of leak- discussed in Chicago. Rejected by standard 15 several years ago. Steve Duda heads it. Want to resubmit but not involve VRF guys- concern about bias.

  - TC 9.04 Justice Facilities  - Vehlow/Fitts, Doug – programs (see above), meeting times, may have RPM subcommittee before meeting (online).

  - TC 9.06 Health Care Facilities Channing Everett- water subcommittee, standard 188 legionella standard. Data from CDC. HIAs and hospitals minimum $300,000,000 year. 18,000-40,000 people a year contracting legionella in hospitals. Cooling towers and DHW systems. HVA systems, transport, aerosols, removal of infectious materials. Increase in HIAs below 40% RH. Influenza- 40 to 80% RH, no real growth in flu. Superclean and sterile environments are not the long-term solutions. Antibacterial seems to defeat human body ability to fight pathogens.

  - TC 9.07 Educational Facilities No Report. Unconventional standards.

  - TC 9.12- tall bldgs.- Scott peach- focus on better simulations for environment changes based on altitude. Passive house (tall)- extremely green building. Include tolerances. Also seminar on several topical conversations- rules of thumbs and various company design guides not really universally circulated.

  - MTG.ISPAQE – Indoor Swimming Pool Air Quality and Evaporation - Harry- 18-month survey of 20 pools by Purdue - $200K. Survey conducted by students. Gas phase concentrations. CO2, VOCs, etc.

  - TC2.8 Mills: greengiude updated. Research report to be released soon.

- Standards –

  - SSPC 55 Thermal Environmental Conditions for Human Occupancy- no report

  - SSPC 62.1 Ventilation and Acceptable IAQ in Commercial, Institutional and High-Rise Residential Buildings – Enrique Mozales- comments yesterday. Simplified methods and ventilation rates. Correlation between 170 and 62.1.

  - Standards 85E- Cecily Grzywacz- no report

  - SPC 90.1 Energy Efficient Design of New Buildings- addenda coming out soon, 4 meetings a year. Lighting renamed. Power/density tables. Heat pump chiller requirement for reheat in hospitals. Public review for heat pump chillers. Energy recovery. Series energy recovery. Large residential high rise. VRV in residential properties of 4 or more stories. Condenser boiler efficiency requirements.  Envelope- air curtains used in lieu of vestibules due to stack effect.

  - SPC 100 Energy Efficiency in Existing Buildings- no report

  - GPC 34P Guidelines for Historic Buildings- Cecily- 2 public reviews- ICS no comment- now being published.

  - SSPC 170 Ventilation of Healthcare Facilities – Mills, no report

  - Standard 180 Standard Practice for Inspection and Maintenance of Commercial Building HVAC Systems- been republished recently.

  - Residential Building Committee:  no report

  - Standard 189.1 Setty: no report

  - 41. Artis- No report

  - 6.9: Molnar- no report

- Unfinished Business (none)

- New Business

  - start a subcommittee for growhouse facilities. Channing Everett chair. Seconded. Passes unanimously. 7-0-0

  - Heather- likes remote even with minor difficulties.

- Adjournment

  - Bill motion, Boggi second, unanimous 6-0-0 chair not voting 3:49pm

All votes to be recorded as Aye-Nay-Abstain-Chair Not Voting-Absent.