ASHRAE MEETING MINUTES – DALLAS

TRG4.IAQP

## January 27, 2013, 10:30 AM

## Sheraton Hotel, Executive Boardroom (Second Floor)

The meeting was called to order at 10:40 a.m. by Chair Charlie Seyffer (seyfferc@camfilfarr.com). Participants introduced themselves.

The roll call of TRG members was done by passing round a copy of the roster.

The minutes from last meeting are posted on the website and were not discussed.

  - Side note that will affect the group: the research project on Retail Spaces (RP-1596) is now complete, and produced surprises in testing. Scott reported that they found variability in levels of contaminants, and formaldehyde may be an issue depending on which health authority is referenced. Probably the results are not going to affect Standard 62.1 guidance on retail spaces.

Current issues

  - In preparing the Appendix, we should refer to the main body of 62.1 whenever possible. Individual sections for retail, commercial, schools etc. will be implemented as discussed earlier.

  - USGBC “Indoor air quality procedure - alternative compliance path”. Significant work has been done by the USGBC that we can use/refer to. Details of the USGBC document are discussed below.

    - We are on a parallel path with USGBC, and it may be best for TRG4-IAQP to sit and wait until they have finished. A 1 year quick path became 1-1/2 years, with meetings every 2 weeks. They have a strong group of participants, Bayer, Target etc.

    - They have introduced Pilot Credits in response to pressures from true green LEED application firms that have already received innovation credits. The credits apply to new and existing buildings.

    - The credits are broad-based, applying to multiple venues including offices, multi-family residential, lodging, warehouses, retail NC (excluding restaurants), schools (excluding laboratories within school buildings), commercial Interiors, retail CI (excluding restaurants)

    - 1 LEED credit is available for both new construction and existing buildings, but the requirements are different for each

    - Combining IAQP and VRP methods is not acceptable for either credit

    - There may be Sections that TRG4-IAQP could adopt

    - Contaminant Sources are covered in detail. Users need to identify the outdoor sources, indoor sources, and the expected emission rate for each of the contaminants and mixtures of concern listed in Table 1 of the text. Additionally, they need to confirm that the top 10 contaminants by concentration in the building, as identified by mass spectrograph analysis, are included in Table 1. If they are not already included in Table 1, they need to list them. 

Charlie passed round the USGBC list of contaminants to comment on for use in our commercial buildings write-up. The list contains predominantly outdoor contaminants. Charlie, Gemma and Charlene and Chris will work on this. Charlene and Gemma want nitrogen dioxide added. People wanted to add a short statement of likely sources for all chemicals. Gemma agreed to work on this.

    - Contaminant Concentrations are also an issue. Table 1 shows maximum allowable concentration limits for each contaminant of concern. Chris says the carbon dioxide limit will be a problem to meet when using the IAQP method. Charlene said the USGBC approach to specifying concentration is different from ASHRAE. She also said health based impacts do occur at 1000 ppm exposure to carbon dioxide. Charlie will find the relevant study (by Bill Fisk) and distribute to all. Also we should look at the paper by Apte summarizing results for office buildings. It is available on our website.

    - Perceived Indoor Air Quality. This is not a large section in USGBC, but it is an expensive test requirement for new and existing buildings. There is also a questionnaire use requirement, but some allowance for choosing what questions to ask. It is not clear whether we should include this in our Appendix, since the test is expensive and people will express their opinions by complaining if IAQ is poor.

    - Design Approach.

    - Air Testing. We all should review this section and send comments to Charlene.

    - Subjective Evaluation.(with modifications)

    - Suggested maintenance (needs more detail): Charlie, Chris and Jeff will review this.

Charlie requested everyone to review the USGBC document (it is only 3 pages). It is available through Google or by following the link in Charlie’s email.

- In the 62.1 Appendix, for particulate contaminant control, suggest MERV 13 filters. This meets all current goals for control of particulate, required for basic LEED compliance.

- Gaseous Contaminants of Concern (CoC), we should review USGBC as discussed above, and decide which are applicable to the office environment. We should cover typical work stations, 100 sq ft per person (is this current 62.1?), typical office equipment, copiers, printers, computers, etc. citing the body of 62.1 where possible. We should address the issue of grouping contaminants as to their response to an adsorber/oxidizer, and decide if we can identify a testing surrogate.  Published data is needed to support this approach.

  - It is essential that manufacturers step up with performance information for their filters relative to the CoC list before the IAQP method can be used effectively.

- Commissioning, we could treat it the same way as USGBC. Everyone was asked to review and e-mail comments to Charlie.

- Continued operational evaluations (not needed based upon a construction Standard). For acceptance, require maintenance and service plan as part of final commissioning?

New business

- Doodle use for setting up conference calls, date each month? Reasonable date for next contact as a group? February, beginning of March?

- Task group possibilities

Adjournment, 12:30 PM