- CALL TO ORDER

  - Introductions

  - Chair’s comments

    - None

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - Per Todd McGrath, 52.2 ANSI reprint scheduled for this year.

    - Thad Ptak presented on 52.2 test equipment accuracy. A survey is being distributed. Ashley Scott to write statement on current variability/confidence.

    - Jim Rosenthal presented on CR Box. Multi pass at higher ACR results in better particle removal

    - See 52.2 meeting minutes for details.

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

    - Purdue University test lab visit occurred on Thursday June 20, 2024.  Thank you, Brandon Boor for hosting the ASHRAE GPC 35P team.

    - Had not met as of this meeting

    - See GPC 35P meeting minutes for details.

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Kevin K)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - No update

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - No update

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

    - SPC 185.3, Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

      - Published

    - SPC 185.4P Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

      - No update

    - SPC 185.5 Method of Testing HVAC-duct mounted Devices and Systems and In-Room devices for Particle and Microorganism Removal or Inactivation in a Chamber with a Recirculating Duct System

      - Published

  - TC 5.4 Industrial Process Air Cleaning (Geoff Crosby)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Per Geoff Crosby the standard will be out for public review prior to Winter 2025 conference.

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities (Need liaison)

      - Update per Jenny Berens.

      - Mark Davidson has proposed creating a SSPC170 Filtration Subcommittee

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Jon Rajala)

    - No new information.

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Jon Rajala)

    - Updated filter efficiency requirement to MERV13.

    - Ready to send out for public review.

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings

    - No update

  - SSPC 90.2 – Energy Efficient Design of Low-Rise Residential Buildings ()

    - Addendum G requiring filter efficiency of MERV13.

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Mike Corbat)

    - Mike to forward updates via e-mail.

WG 1 (Terminology) – OPEN APC

WG 2 (UV-C) – Katja Auer (APC)

WG 3 (General Ventilation) – Don Thornburg (Convener) & OPEN APC

WG 4 (HEPA/ULPA) –R. Vijayakumar (Convener) & Andy Stillo (APC)

WG 5 (Dust Collectors) – Open APC

WG 7 (Durability of Cleanable Filter Media) – OPEN APC

WG 8 (Gas Phase) – Matt Middlebrooks (APC)

WG 9 (Gas Turbine) – OPEN APC

WG 10 (Nuclear) – Satish Dinakaran (APC)

WG 11 (Portable Air Cleaners) – OPEN APC

WG 12 (Sustainability) – Geoff Crosby (APC) & Jon Rajala (Acting APC)

WG 13 (Biological equipment for waste gas) – OPEN APC

WG 14 – Test Method for Airborne Microorganism Filtration Efficiency and Decontamination Efficiency

  - SSPC 241 Control of Infectious Aerosols  (Mike Corbat)

    - Had not met as of this meeting

  - TC 4.10 (Sina Yousefi?)

    - No update

  - TG2.RAST (Kevin)

    - Draft is complete and needs final edit to get ready for public review. Target Winter 2025 meeting.

- TC 7.3 lead for the following standard (Co-Cognizant)

  - ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

    - No update

- IEC/TC59/SC/59N & ISO/TC142/JWG11 Activities

JWG 1

• JWG 1 Reduction of Particles (Stefan Schumacher)

• IEC 63086 Part 2-1 on Measurement of Reduction of Particles by an Air Cleaner was published. Preparation of the first revision of IEC 63086-2-1. Discussing the necessity of RRT. JISC suggested considering PM2.5. Starting Revision 2

• SWG 1.1 Performance Change with System Loading (K C Noh)

• 63086-2-5, working on CD comments received from IEC/ISO. Discussing the possibility of RRT. CDV targeted for May 2025.

JWG 2

• JWG 2 Determination of gas-phase pollutant reduction (Dr. Atsuo Nozaki / Yoshio Okamoto)

• IEC 63086-2-2: Particular requirements for determination of gas-phase pollutant reduction. Latest CD version have moved to OSD. Preparing the CDV

• SWG 2.1 Reduction of Ozone (Jinzhu Ma / Hong He)

• Possibly developing a separate standard IEC 63086-2-7 Particular Requirements for Determination of Ozone Reduction

• Make Normative Annex G to IEC 63086-2-2→Add sealed chamber method.

• Air flow through method to Test Report (TR), Test Specification (TS) or International Standard (IS)

• SWG 2.2 Performance Change with System Loading Gas Phase Pollutants (Yinping Zhang)

• Currently PWI stage.

JWG 3

• JWG3 Reduction of Microorganisms (Zhang Xiao)

• Working on CD draft: IEC 63086-2-3: Particular requirements for reduction of microorganisms. Committee approved to submit CD voting. Preparing the CDV

• Discussing impinger over impactor for microorganism sampling method.

JWG 4; General Characteristics (John Park (US))

• SWG 4.1 Measurement of Acoustical Airborne Noise

• Lead: open

• Working in conjunction with TC 59/WG 2 to maintain IEC 60704-2-19

• 6 labs have volunteered for RRT with regular, taller and diffuse/directional air cleaners. Data evaluation and review RRT results

• Finalizing the Round Robin Protocols

• SWG 4.2 Methods to Operate Round Robin Testing

• Lead = Connor Hoover (US)

• IEC TR 63250 is to be used as the guidance document for the individual Part 2’s.

• Reference unit is Amway Atmosphere Sky 120539

• Next step: Support for the RRT of particle reduction per IEC 63086-2-1

• Finalizing the 60704-2-19 for sound measurement

• SWG 4.4 Measurement in Automatic Mode

• Lead = Dan Miller (US)

• Goal is to write a technical report: Introduction of procedures for investigative testing

• Lab invitation letter will be circulated to SC 59N

• First phase testing:

• Conduct standard test as published for each challenge type and determine CADR for the unit when operated in Maximum performance mode with automatic mode OFF; and measure power.

• Repeat test for each challenge with the unit set to Automatic mode:

• Initial challenge introduction

• Once the initial concentration of a particle is reached, turn ON a DUT with the automatic mode ON, and allow to operate until the DUT turns OFF automatically. Record power consumption and concentration when device turns off.

• Calculate both CADR’s and energy consumption for both operation modes.

• Second phase testing:

• Generate particles in the chamber at a much lower rate of induction continuously (begin with dust and KCl) for the duration of the test with a goal of achieving thestarting concentration of the DUT.

• Record the concentration at which the DUT turns ON automatically.

• Working on a procedure for testing automatic mode air cleaners

• SWG 4.5 Methods to Measure Energy Efficiency

• Lead = John Park (US)

• Working on a procedure for energy efficiency measurement. Write a Technical Report on how to calculate the energy efficiency using estimated annual usage hours, and the suggested definition of PM 2.5 CADR as proposed.

• Different approaches in each country to be included in the report if readily available.

JWG 5; Special types of air cleaners

• SWG 5.1 Fresh Air, Air Cleaners (Jinhan Mo/Shanshan Li)

• intended to develop the standard to include type 1 or (possibly type1 and type 2) FAAC in a sealed chamber. Working on NP.

• For flow-through chamber, mass balance especially loss in flow rate due to the back pressure, more tests and discussion are needed.

• SWG 5.2 Robotic/Mobile Air Cleaners

• CADR method was shared for the robotic air cleaners. and a questionnaire was expected to be sent out to all SC59N members.

• Next meeting will be held under JWG5 to discuss the main parameters of this standard.

JMT 6; Joint Maintenance Team 6 (Wayne Morris)

• Joint Maintenance Team 6 is responsible for the IEC Part 1 Standard, 63086-1 (published in 2020)

• Recently, IEC 63086-1 was Amended (Amendment 1) which corrected some typographical errors and clarified the scope (published in 2023)

• Reviewing comments from the NP for Revision 2 of 63086-1. Will includes larger chamber

• Move it to OSD

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - Recommend techniques…

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 –

  - Need liaison for IEC & AHAM

  - Brian recommended for the committee to list out cognizant guidelines.

  - Decarbonization Grants to look at system component life. $2 million dollars being allocated.  Looking for research ideas. (Palo Tronville)

  - Jeff Siegel – Availability of ASHRAE standards to academic institutions. Recent changes in standards suppliers have resulted in large price increases

  - Brian K – TC 9.13 (9 . Space)

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

  - CEN/TC 195 – Cleaning equipment for air and other gases (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – aging procedure with fine particles

  - IEST – Institute of Environmental Sciences and Technology – no update

  - AHRI 680 – Sanjeev and Chrystal. Working on updating

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO – April 29-May 1 2025 Miami Beach

  - NAFA

    - 2025 Technical Seminar Tempe, AZ April 1-3

    - 2025 Annual Convention Newport, RI Oct 21-23

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Dan Miller)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

  - IAQA Meetings (Jeffrey Siegel)

Lexington Ky May-June

  - FILTECH Expo and Conference

    - Jun 30- Jul 2, 2026 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be July 7-11 2024 - Honolulu

  - American Association for Aerosol Research

    - 10-21 – 10/25 Alb, NM

  - International Aerosol Conference

    - 2026 China– Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - June-July 2025 Bordeaux France

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society 2024 Annual Conference, Oct

  - World Filtration Institute (Jenny) Feb 11 2025 HERE!! Fastbreak !!:45 am

  - Healthy Buildings

  - ANEX  Taiwan

  - IFTEX Istanbul Aug 2025

- ATTENDANCE –

|  | Name | Company/Address | Email |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |
| 21 |  |  |  |
| 22 |  |  |  |
| 23 |  |  |  |
| 24 |  |  |  |