ASHRAE TC 6.6 Service Water Heating Meeting Atlanta, GA

February6, 2022 4:15 – 6:30 PM EST

Georgia World Congress Center, A308b (3)

30 people in the room

1) Call to Order – Ben Schoenbauer, Chair 4:15 EST

Self-introductions and determination of quorum

Voting members –Ben Schoenbauer, Jim Earley, Amin Delagah, Paul Glanville, Fred Goldner, Paul Hikspoors, Patrick Villaume, Gary Klein, Cory Weiss, and Jim Lutz all members present

Visitors present:: Adam Darlington, Hannah Hoffmann, Priyanka Satpute, Frank Myers, Ron George, Larry Spielvogel, Julia Hegavty, Dave Morrow, Joel Carpenter, Doug Bennett, Austin Krank, Michael Slater, Amy Thomas, Judd Smith, Brian Teeter, Mehwan Ahmadi, Doug Reindl, Harshad Inamdar, Cobi Waxman, Cyris Nasseri, James York, Jason Hall, Titu Doctor, Frank Stanonik, Mellissa Schellinger, Robert Davis,Martin Thomas, Eric Truskoski, Rachel Griffenberg, Matt Blaylock, Carl Hiller

2) Membership / Roster review -We have a quorum 10 of 10 members present

Eric Truskoski wants to be a vice chair, Ben will appoint a vice chair that will go in effect July 1

Provisional Corresponding Members can join at -http://www.ashrae.org/JoinATC

New Committee Positions-All Committee officers and Chair positions have agreed to stay on at least another yea except Handbook where we will have a one year transition from Carl Hiller to Patrick Villaume..

3) Review of Past Minutes Frank Myers (Cory Weiss 2nd) made a motion to approve the minutes as submitted. The motion passes with no opposition.

4) Report on TC Chairman’s Breakfast - The strategic plan is being updated, adding de carbonization into the plan.

Some of the TC attendance and participation are being tracked differently.

More manual procedure changes are coming. TCs and Task Groups are included as FGs functional groups.

Vice-chairs and Chair are required to be members in good standing (pays dues) .

Task force for de-carbonization for low carbon buildings is to come out with documents for TCs.

5) TAC Section Head Report – Doug Reindl - Any input for the next strategic plan (5 year Cycle)

6) CommitteeLiaison Reports-

7) SubcommitteeReports

a) Programs– Amin Delagah

Existing Program at Atlanta Winter Conference: Exploring Efficiencies of Decentralized DHW Systems in Hydronic Conditioned Multi-unit Buildings.

This is in room B308 from 1:30-3. Co-sponsored by 7.4 Exergy Analysis for Sustainable Buildings and TC6.1.

4 Program Ideas Proposed for Tampa, Summer Conference (3 at subcommittee meeting, 1 at main committee meeting)

Deadline is February 27th for proposal submittals for Tampa Bay

Idea #1 from Ahmed Elatar, ORNL is interested in moderating and being lead on proposal submittal

Title: Multifamily Building Heating Plant Sizing Workshop

One presenter can do the traditional method and define the building that will be sized. Alan Biel presented based on Ron George feedback and did presentation at Detroit Chapter on gas WH sizing using ASHRAE vs. ASPE vs. Manufacturer

3rd Party Online Sizing Tool for HPs, background and capabilities including same building sizing and demonstration

Ecosize capability expansion to load shifting and customized draw patterns for multifamily buildings, could add multipass and parallel split

Idea #2 from Austin Krank , Steffes

Title: Prepackaged Plug and Play Systems and Streamlining Design, Build, Commissioning process and related utility incentive programs

Steffes (Uses external manuf. HP and develops plug and play packaged system)

Designer/Installation/Commissioning Considerations

Utility Programs/Incentive/NEEA Advanced Water Heater Specification 8.0

Idea #3 Group idea, Ron George, Gary Klein to lead

Title: How do you size a water heating system (seminar) 101 level

It would look at storage and distribution temperature. Apartment building of X size, various ways of doing it. These are the things that you have to think about. Pros/Cons, liability issue, costs, cost of square footage, distribution losses.

Fixtures Counts, Appendix A/Appendix M

Water Heater sizing

Unitary versus central (Larry Spielvogel)

Define Commercial equipment for DHW

Jim Lutz (pipe sizing and layout calculation)

Idea  #4 Carl Hiller: Another idea: Definitive Studies on service life of HPs (proposed during TC6.6 call)

Proposals due Feb. 27th

b) Standards – Frank Myers

  - SPC124 – Ben Schoenbauer

    - This is a MOT for combined space and water heating, looking to make a major change draft soon.

  - SPC 191 – Jim Lutz

    - Water use in buildings completed 2 public reviews,  they are addressing comments now, they will have something out in the next few months.

  - SSPC 90.1 – Frank Myers Gary Klein for Water heating

    - Water heater working group –Gary Klein – They are developing a work plan including hot water systems, pipes and supporting components.

  - SPC 90.2 – Jim Lutz

    - They have changed TPS and are now a high performance design of buildings standards.

  - SSPC 41.13 – Jim Lutz

    - That is heating content of fuels MOT (Measuring). This should be out in a month  --REMOVE from List of reporting standards.

  - SPC 514 – Frank Myers

    - Moving quickly, will met this spring, is out for a review now

  - SSPC 188 / Guideline 12 – Frank Myers

    - Legionella standard – will meet tomorrow, the next major step is after 514 how will the 2 be resolved.

  - SPC 206

    - MOT for rating multi-purposed heat pumps for residential space conditioning and water heating. (Jim Lutz to check on who owns it)

SPC 137 – check on withdrawing it chair to check

SPC 205p – This group is gathering performance data over the next few years It is data to feed into simulation modeling systems Patrick Villaume  and Jim Lutz will report back to us.

c) Research – Paul Glanville(pglanville@gti.energy)

Active Efforts:

- 1843-RP Validation of Low‐Order Acoustic Models of Combustion Driven Oscillations on Fire Tube Water Heaters, one bid received in May ’22, the Proposal Evaluation Subcommittee (PES) has recommended award to the single bidder (Univ. of KY, performer on RP-1517). Paul G. is a member of this PES with balance of members from TC 6.10 (joint sponsor of project). TC 6.6 (Paul G.) intends to roll onto the project management subcommittee.

For reference, schedule is 18 months and here is a snippet of the SOW:

The objective of the proposed work is to use an existing feedback loop stability modelvalidated in RP-1517 [1-4] to identify combustion oscillations in fire tube water heaters.Two water heaters that exhibit combustion oscillation problems have been identified. Theresearch team will apply the feedback loop stability model to both water heaters toestablish the viability of the method to this application.

Result of vote = 10 votes affirmative, unanimous

Breakfast items:

- Only 3 RTARs this meeting

- $5.5M budgeted for current cycle

- Avg cost of project is $150k but is not upper limit

- Many RFPs are going out and are not receiving any qualified bids

- Deadlines for RTARs are MMAD, March, May, August, December (15th of the month).

- Resources:

New Efforts/Ideas:

- 6.1 RTAR - Pressure Loss Coefficients for Copper Pipe Fittings

  - PEX / Radiant TC

  - Action Item: Gary K. as leadto coordinate with TC 6.1 et al. [for reference, TC 6.1 chair is Ted Duffy = ted.duffy@gmail.com]

    - Add CPVC, PEX, SS

    - Ron also interested

    - TC 2.8 or 1.3 involved?

    - Frank noted up to 4” will cover serious slice of the commercial market

Draft RTAR under development by 6.1 (as of 2/6/23)

- 6.10 Venting Impacts (Distances, sidewall, materials)

  - PVC issues for temperature tolerance

- Other brainstorming topics

  - Ventilation needs for water heaters (HPWHs, etc.)

  - Water treatment, scale management

- Brought up in TC 6.6 = AI sized water heating systems, potential for new RTAR (T. Doctor sp?)

Carry-over ideas from June 2022 withUpdate

- Non-residential Hot Water Usage Patterns:

Jim L. continued a thread discussed in Vegas meeting earlier this year on better defining non-residential hot water consumption patterns. Mentioned that IAPMO could support and/or provide coordination resources, with goal to update approaches to system sizing/drainage sizing, etc. Current data is robust for SF-Res, but lacking in all other categories. Expanded discussion with the group:

- Key people from IAPMO were noted as Dan Cole, Pete DeMarco (sp? Now retired) – now work with ChristophLohr

  - Gary is chairing a group to do similar work within IAPMO for other occupancies

- One outcome could be an update/expansion of this existing tool mentioned by Carmen C.: https://iapmonline.org/2020/07/08/iapmos-water-demand-calculator-version-2-0-available-for-download/

- Group discussed broad categories of interest: Multifamily, Hospitality (RP-1544 expansion), Health Care, Food Service, Offices (note prior WS developed on Offices but not carried through), and General Industrial/Commercial uses. Carmen C. noted that it would be ideal to align categorization with the building segmentation used by 90.1 https://www.energycodes.gov/prototype-building-models

- Bill H. noted work with Univ. of Cincinnati, what data is necessary/how to capture hot water usage, sounded like work is just getting underway now, could leverage through new effort.

- Scope of study would likely focus on aggregating datasets and collecting data where key gaps exist.

Action Item: Interest group identified = Jim L., Carmen C., Bill H., Paul K., and Paul G.; will initiate outreach with IAPMO to discuss potential scoping of ASHRAE RTAR for draft submission to RL/RAC this calendar year.

For reference, here is the shelved WS developed for Office Buildings (marked as RTAR but is a WS), which was paused in the mid-2010s while RP-1544 completed but was not picked up by our group.

- Investigating Methods of Test for Water Heating that Incorporates CO2e Emissions as a Metric:

Bill H. brought up an idea to investigate how existing (MOT 118.2, etc.) or new approaches would be used to compare the CO2e emissions of different water heating products/technologies. Question was brought up whether existing methods and use of emission factors already serve this purpose, Bill noted this is possible but does not capture all details of regionality, TOU, etc. Paul G. noted that there may be an opportunity for a testing approach to better capture the emissions savings of water heating-as-energy storage, which could be the focus or a part of this effort. General discussion on the interest/role of decarbonization in ASHRAE’s activities and those by the industry, agreed to have a group develop a proposal for review/discussion.

Action Item: Group consisting of Bill H., Jim L., Paul K., Carl H., Carmen C., and Paul G. identified to meet offline and determine what the scope of this RTAR would be, then bring back to TC 6.6 with draft RTAR for next steps.

- Potential Revamp of Water Temperature Safety/Performance/Legionella Impacts Study: Ron G. volunteered to revisit the topic of the joint TC 3.6 WS that was abandoned in 2017 (see files below)

Action Item: Ron G. to develop project concept and/or draft RTAR for subcommittee review at a later date.

d) Website – Michael Slater

e) Handbook – Carl Hiller outgoing Patrick Villaume-incoming

Handbook was passed after many upgrades

8) Old Business

9) New Business-

Patrick V -Over 7 guidebooks to be released over the next few months. The De-carb guide and heat pump application guide will be interesting to this committee.

10) Next meeting

2023 ASHRAE Annual Conference | June 24-28, 2023 | Tampa, Florida

11) Adjourn

Resources on RTAR and general research process here: https://www.ashrae.org/technical-resources/research