ASHRAE TC 6.3 
Residential and Light Commercial Forced Air Heating and Cooling Systems
TC 6.3 Website: Link
Committee Meeting Agenda
2024 ASHRAE Annual Conference
Tuesday, June 25 1:00 PM – 3:00 PM EDT 
JW Marriott, 106 (1)
Hybrid Meeting 
Meeting Link:
MS Teams Meeting

Meeting number:
214 148 150 752
Password:
59wjKN

1. Call to order  (1:02)	HJORTLAND
2. Review Scope (1:02)
TC 6.3 is concerned with those central forced air systems used for residential and light commercial building comfort heating and cooling. Responsibility covers the design and performance of the entire system, including equipment, controls, ducts and the interactions of the system with building heating and cooling loads.
3. ASHRAE Code of Ethics Commitment (1:03)	HJORTLAND
“In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.”    

See full ASHRAE Code of Ethics: https://www.ashrae.org/about/governance/code-of-ethics
4. Introductions	All
a. Determination of a quorum	HAYDOCK
b. ONLINE PARTICIPANTS: Please indicate your presence in the chat.

VOTING MEMBERS FOR THIS MEETING (Need (5) for a Quorum)
	NAME
	End Date
	
	NAME
	End Date

	Nicolas AOUAD
	2025-06-30
	
	Payam DELGOSHAEI
	2027-06-30

	Lawrence BRAND
	2025-06-30
	
	Wayne KRAFT
	2027-06-30

	Craig GRIDER
	2025-06-30
	
	Patrick RILEY
	2027-06-30

	Andrew HJORTLAND
	2025-06-30
	
	
	

	Scott CREAMER
	2026-06-30
	
	
	

	Jeffery MUNK
	2026-06-30
	
	
	


6 of 9
Voting members rolling on 7/1/2024: Randy Palm.


BALANCE AS OF 2023-07-01
	Category
	Number of VMs
	% of VMs

	Users
	2
	22%

	Contractors
	1
	11%

	Product Manufacturers
	4
	44%

	Academics
	
	

	Consulting Engineers
	
	

	Government Agencies
	1
	11%

	Independent Sales Representatives
	
	

	Trade Organizations
	
	

	Research Organizations
	1
	11%



5. Agenda additions	All
6. Chair’s Report	HJORTLAND
a. Announcements and Highlights from TC Chairs Breakfast Meeting
Code Interaction Subcommittee – integrate local codes w/ international codes (not directly applicable to TC6.3)
TAC updates – New Roster process
Center of Excellence Building Decarbonization (CEBD) – TF for building decarb (TFBD) is sunsetted.  CEBD is new under Special Project Committee.  Not intended to be separate from TCs.  TFBD Published 6 guides.
DTG Utilities – Decarb focused Task Group under TAC. Looking for volunteer liaison to TC6.3.  Decarb will have significant impact on utilities.  Forced Air HVAC has a part to play in that.  Chair Andy is looking for a volunteer to serve as liaison (Eric Berg volunteered). 
Residential Building Committee (RBC) – Looking for distinguished lecturers to go around to Local Chapter meetings to improve attendance.  Only 5 current Distinguished Lecturers; looking to increase.  The presentation already prepared; just need speakers.  There is a web page.  A form to fill out to become one.  ASHRAE pays for travel to give the talk. Res talks are very popular at Chapter meetings.
Global Tech I?? Committee – Supports international request for standards, handbook updates, etc.  G Tech may become a subcommittee to the TC in the future.
ISO – ANSI is the sole input to ISO.  ASHRAE want more action here.
RTARs – New system tool for writing and inputting RTARs to RAC. Another improvement is a letter of intent from potential bidders.  Same for Co-funders; need a letter of intent.  Budget needs to have a better breakdown of costs for equipment, people, facilities, etc.
7. Liaison reports (as they arrive)	Liaisons
a. Section 6 (not present; covered in Chair’s report)	REINDL
b. MTG – Low GWP Refrigerants	CRAWFORD
· Meeting Indy on Wed.  Winding down on committee work (not the implementation).  Less research.  Don’t meet in subcommittees anymore.
· Program requested for Indy was not accepted (same as in Chicago).  
c. TC 8.11 – Load Based Testing Subcommittee	HJORTLAND
· Disbanded in spring.  Will focus on RTARs in 8.11; don’t need dedicated subcommittee.
d. Task Force on Building Decarbonization	MERCER
· No longer in existence 
8. Approval of minutes from 2023 Hybrid Summer Meeting	HJORTLAND
Motion Craig Grider – Passed 6-0-0-3 (chair voting)
9. Membership/Roster	HAYDOCK

	Name
	Role
	Voting
	
	Name
	Role
	Voting

	Andrew HJORTLAND
	Chair
	Yes
	
	Lawrence BRAND
	Member
	Yes

	Scott CREAMER
	Vice Chair / 
Program Chair
	Yes
	
	Craig GRIDER
	Member
	Yes

	Paul HAYDOCK
	Secretary
	No
	
	Jeffery MUNK
	Member
	Yes

	Nicolas AOUAD
	Research Chair
	Yes
	
	Payam DELGOSHAEI
	Member
	Yes

	Kevin MERCER
	Standards Chair
	No
	
	Wayne KRAFT
	Member
	Yes

	Randy PALM
	Handbook Chair
	No
	
	Patrick RILEY
	Member
	Yes

	George YAEGER
	Webmaster
	No
	
	
	
	


Changes After 7/1/2024:
· Parveen Dhillon – Secretary
· Wayne Kraft – Standards Sub Committee Chair
10. Subcommittee reports	
a. Programs	CREAMER
Submitted: Requirements for load …; was rejected.  Parveen to chair.
Idea from DOE meeting (Roy Crawford):  Communication strategy for dealer to give to Homeowner.  A2L Intelligence (AI) Speakers: 
Orlando track reviewed
b. Research (Nicholas not present)	AOUAD
· WS-1910 – Evaluation of Standard 103 Transient Components and Thermostat Cycle Times on the Resulting AFUE 
· Went out for bid last year with a co-funder but didn’t receive any bids.  Think that ASHRAE sent to wrong addresses.
· Circled back to R&T with confirmed addresses for bid in April, this time no co-funder due to different fiscal year.  
· Apparently was rejected at the last R&T meeting for lack of co-funding; member indicated that it is furnaces and that is a dying subject (tic).

· WS-1909 - In-Tube Condensing Flue Gas Heat Transfer and Pressure Drop with Enhancements for Residential Furnaces (Co-sponsor with TC 1.3)
· No information on this topic
Topic raised: CO Sensor from CPSC (Kevin Mercer) – asked if research is needed?  Response: Going through the ASHRAE process (RTAR, WS and R&T approval, and it is a gas furnace/boiler … dying product (tic)) would probably not be timely for generating the necessary project and outcome in time to offset any regulatory actions.
c. Handbook	PALM
· Chapter 10 – Small Forced-Air Heating and Cooling Systems
· Letter ballot sent out. Some editing issues.  Will be published in next handbook.

· Chapter 33 – Furnaces
· Did a reaffirmation on the current chapter.
· Conversion corrections of temperature rises (rather than temperature absolutes)
· Recommend approving for Handbook editor:
Went out previously to the TC.  Chair asked for a Motion.  Scott / Craig – Passed 5-0-0-4 Chair voting

d. Standards	MERCER
· Standard 103: Methods of Testing for Annual Fuel Utilization Efficiency of Residential Central Furnaces and Boilers, Methods of Testing for Annual Fuel Utilization Efficiency of Residential Central Furnaces and Boilers

· Standard 152: Method of Test for Determining the Design and Seasonal Efficiencies of Residential Thermal Distribution Systems – WITHDRAWN

· Standard 193: Method of Test for Determining the Airtightness of HVAC Equipment (TC 4.3 Co-cognizant)

No actions at this point.  193 was opened for mandatory language a long time ago.  ASHRAE has not approved a chair for the committee, thus, no meeting in Indy. 
New item/recommendation (Grider): Propose to request of the Standards Committee the adoption of SSPC 15.2 into TC6.3.  Envisioned to increase membership and participation.  Motion for TC6.3 to request that Std Comm form a separate Standing Standards Project Committee for Std 15.2 with TC6.3 as cognizant committee:  Craig / Scott – Passed 5-0-0-4 Chair voting
e. Web site	YAEGER
· Website is up to date.
· Question:  Is Basecamp a better location?  Ans: Basecamp is good for communications, but not necessarily for housing archive material such as TC specific materials that are long held.
11. Old Business

12. New Business 
(Eric Berg) Is there a standard for updating testing facilities for new refrigerants?  Should we develop one?  Difficult to prescribe what a location needs to do for individual lab facilities.  Reach out to Craig Grider for interest in the guide for upgrading facilities.
13. Adjourn (2:26 PM)
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Andrew Hjortland
andrew hjortland@jcicom

Devendra Kulkari
devendrakulkami@jcicom

Shore, Andrew M. (Fed)
andrew:shore@nistgov

Devin Leonard (Unverified)

Berry, Robert
Robert Berry@daikincomfort.com

Larry Brand (Unverified)

Subhrajit Chakraborty
schakra@ucdavis.cdu

Dhillon, Parveen
pdhillon@purdue.edu

Palm, Randy
Rendy Paim @alliedair.com

Vershaw, Jim
JIM.VERSHAW @tranetechnologies.com

Murgham, Haithem
haithem murgham@sinclir.edu

Kraft, Wayne
WAYNEKRAFT@tranetechnologies.com

Kowalski, Steve
kowalskisp@ornl.gov

Kowald, Will
willkowald@lennox.com

Travis Lancaster Intertek
travis lancaster@intertek com

Gort, Thomas
Thomas Gort@tranetechnologies.com

Donald Prather (Unverified)
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