Minutes

TC 7.6 Monitoring and Energy Performance Subcommittee

Orlando, FL — Monday, January 25, 2016

Dennis R. Landsberg, Chair

The meeting was attended by 4 members of the TC, 11 corresponding members and 22 guests.

- Introductions and Introductory Comments

- Update On Standards and Guidelines Related to Energy Performance

  - ASHRAE Standard 100 –in continuous maintenance.

    - Major modifications proposed deal with CHP and district heating and cooling

  - Standard 211 Commercial Building Energy Audits  - Advisory draft comments received.

  - Standard 90.4P Energy Standard for Data Centers and Telecommunications Buildings.

  - Standard 214P – Methods for Measuring and Expressing Building Energy Performance in a Rating Program

  - ASHRAE Design Guide for Tall, Super Tall and Mega Tall Building Systems

  - GPC 34 Energy Efficiency in Historic Buildings out for Public Review

  - SSPC 202 – Building Commissioning

- Building Rating Disclosure and Benchmarking

  - Should there be standard reporting linkages from local up to state-level up to country-level, up to world region level, and finally to world level? How should worldwide buildings energy performance be reported? Is this something ASHRAE should get involved in?

  - bEQ – 41 buildings to date – focus on marketing. Baseline went from Portfolio Manager to Standard 100 building EUIs 6months ago.  With 2012 CBECS will switch back to Portfolio Manager except for buildings that are not Portfolio Manager Building type.

- US Initiatives

  - EIA  - New report on using energy assessors for CBECS survey results is out:

    - http://www.eia.gov/consumption/commercial/reports/2012/assessorexp/pdf/assessorrpt.pdf

    - Results are that energy assessors make errors or cause errors too, but, the nature of known error sources is now quantified and will make discussion of statistical distributions easier.

    - Preliminary CBECS 2012 consumption and expenditure info due out end of February for end-use.

    - CBECS outreach planned for CBECS 2017.

  - New book by EPMI on residential sector energy use by Mike MacDonald

    - Notice sent out to TC on listserv:   http://epminst.us/states/shapingres.htm

    - Measurement of sectoral energy performance is going to keep increasing in importance

  - DOE Issues a Direct Final Rule Regarding Small, Large, and Very Large Air-Cooled Commercial Package Air Conditioning, Heating Equipment, and Commercial Warm Air Furnaces The Department of Energy (DOE) has issued a pre-publication Federal Register direct final rule regarding energy conservation standards for small, large, and very large air-cooled commercial package air conditioning, heating equipment, and commercial warm air furnaces. (December 17, 2015). There is supporting documents associated with this rulemaking are included in Docket Numbers.

EERE–2013–BT–STD–0007 and EERE–2013–BT–STD–0021

  - DOE Announces $11 Million for Seven New Projects to Test New Options for Optimal Efficiency of the U.S. Electric Grid.

http://www.energy.gov/articles/doe-announces-11-million-seven-new-projects-test-new-options-optimal-efficiency-us-electric

  - In California - AB 802 (Williams), was signed which requires the CEC to establish the 2030 targets for energy efficiency reductions, repeals the AB 1103 benchmarking program and adopts an updated program which is intended to provide owners of large commercial buildings with access to energy data.  The bill also directs the PUC to determine how to incorporate meter-based performance into determinations of goals, portfolio cost-effectiveness, and authorized budgets for energy efficiency.

    - Annual Benchmarking Required

    - Commercial and Multifamily

    - Utilities required to track whole-building info for reporting

    - Repeals AB 1103 benchmarking in state in 2016

    - Set’s 1/1/2017 for rollout of benchmarking required for all commercial buildings

    - Allows roll up of energy use for multi-tenant buildings at utilities

  - California - SB 350 (DeLeon) codifies goals Governor Brown laid out in his January 2015 address to double the rate of energy efficiency savings in California buildings and generate half of the state's electricity from renewable sources by 2030.

  - Also CA has new “action plan” for existing buildings energy efficiency http://www.energy.ca.gov/2015publications/CEC-400-2015-013/CEC-400-2015-013-D.pdf

  - U.S. CO2 Reductions

  - DOE Announces $220 Million in Grid Modernization Funding.

- World Energy Initiatives

  - World Energy Use

    - World energy use is projected to increase by 61% overall from 2010 to 2040, with residential sector energy use also increasing that much and commercial sector increasing more. Condition of wrold economy is holding back energy use growth for the moment.

    - World energy use increased by 46% from 1990 to 2010, and was mostly right on the data projections from 1990, so what good are politicians?  DOE promised in 1993 to save 15 quads/yr of building sector energy use by 2030.  Savings so far are about zero compared to the projections.

  - One EU-funded project – CELSIUS – is demonstrating sustainable heating systems for high density urban areas that make use of waste heat.

  - EU countries agreed on a Commission proposal to invest €217 million in key trans-European energy infrastructure projects, mainly in Central and South Eastern Europe. In total, 15 projects were selected following a call for proposals under the Connecting Europe Facility (CEF), an EU funding programme for infrastructure.  http://ec.europa.eu/energy/en

  - European Union 2030 Targets

    - a 40% cut in greenhouse gas emissions compared to 1990 levels

    - at least a 27% share of renewable energy consumption

    - at least 27% energy savings compared with the business-as-usual scenario

  - European Union 2050 Targets - The EU has set itself a long-term goal of reducing greenhouse gas emissions by 80-95% when compared to 1990 levels by 2050. The Energy Roadmap 2050 explores the transition of the energy system in ways that would be compatible with this greenhouse gas reductions target while also increasing competitiveness and security of supply.

https://ec.europa.eu/energy/en/topics/energy-strategy

  - The International Building Energy Performance Metrics report, published by the International Energy Agency and the International Partnership for Energy Efficiency Cooperation, publicly released a few months ago.  It is available at https://www.iea.org/publications/freepublications/publication/building-energy-performance-metrics.html

    - Fraunhofer Institute – New Study - How Energy Efficiency Cuts Costs for a 2-degree Future

    - http://www.climateworks.org/wp-content/uploads/2015/11/Report_How-Energy-Efficiency-Cuts-Costs-for-a-2-Degree-Future.pdf

    - Issue - Fraunhofer results beg the question about the renewables push by so many government entities, when efficiency is not pursued as much? Discussion of push for renewable energy vs energy efficiency.

- Energy Monitoring and Energy Audits

  - New Initiatives or updates?

- Energy Performance Databases

  - DASH – Bruce Hunn – transitioned to TC 7.9

  - BEDES has been implemented http://energy.gov/eere/buildings/building-energy-data-exchange-specification-bedes

- EUI Task Group

  - Has become Working Group 5 under SSPC 100 – meeting Sunday 12PM-2:00PM

  - Two charges – stacked approaches for multi-use buildings and alternate expressions of EUI

  - Issue - Should we change the TPS of Standard 100 from energy efficiency to energy performance? Is Energy/sf the best metric?

  - What about standard reporting? Carbon reduction goals exclusive of energy goals obscure what is happening, so some type of requirement on energy reporting is needed to assure that energy reduction goals or requirements are always specified in energy units, and carbon goals cannot imply energy reductions are needed unless specific energy goals are included with any carbon goals.

Discussion of building data bases.  Eg. SEED Partners – 10 cities, individual cities,Portfolio Manager. Discussed seminar on building data bases. Cities and counties collecting data on large buildings can be found at www.IMT.org

- Should Standard 90.1 move toward a performance based approach?

  - Discussion- Is Zero Energy encouraging urban sprawl – 2016 ACEEE session on this issue (locational efficiency)

ASHRAE Sessions of Interest

Sunday, 8:00 AM-9:00 AM Conference Paper Session 1

Indoor Air Quality and Energy Efficiency: Measurement and Analysis of Multiple Approaches

Sunday, 9:45 AM-10:45 PM Seminar 7

Energy Submetering Fundamentals: Benchmarking, Baselining and Beyond!

Sunday, 1:30 PM-3:00 PM Technical Paper Session 2

IEA Annex 61 Deep Energy Retrofit, Part 1: International Energy Efficiency

Sunday, 1:30 AM-3:00 PM Seminar 17

Integrating ASHRAE Standard 189.1 and IgCC Compliance Requirements: Options and Issues

Monday, 8:00 AM-9:30 AM Seminar 23

Metrics Matter: How Should We Judge Energy Performance?

Monday, 9:45 AM-10:45 AM Technical Paper Session 3

Data Center Energy Performance Metrics

Monday, 9:45 AM-10:45 AM Conference Paper Session 8

Energy Efficiency Around the World

Monday, 10:00 AM-11:00 AM Seminar TC

Study to Identify CFD Models for Use in Determining HVAC Duct Fitting Loss Coefficients

Monday, 11:00 AM-12:00 PM Seminar 33

Should You Use Your Building Automation System to Commission Your Building Systems?

Tuesday, 9:45 AM-11:00 AM Seminar 46

Orlando’s Energy Plan: Now and in the Future

Wednesday, 8:00 AM-9:30 PM Technical Paper Session 8

IEA Annex 61 Deep Energy Retrofit, Part 2: The Path to Net Zero

Wednesday, 11:00 AM-12:30 PM Seminar 66

Energy Performance Run By Data