Minutes TC 7.6 – Building Energy Performance Commercial Building Energy Audits Sub-committee Sunday, June 25, 2017, 2:00 pm

Purpose:

TC 7.6 is concerned with the estimation, measurement, analysis, benchmarking, and management of whole building and building systems energy and water performance.

This sub-committee is cognizant in part for the publication “Procedures for Commercial Building Energy Audits”, aka “PCBEA” aka “The Green Book.”

Agenda:

- Introductions, 6 attendees.  All attendees that provided contact information have been added to the project Basecamp site.

- Proposed Audits Standard SPC 211

  - Did not meet this conference.

  - Project timeline: Approved by Standards for Public Review.  Public review process should begin imminently.

- Special Publication:  “Best Practices for Commercial Building Energy Audits”

  - Procedures for Commercial Building Energy Audits, 2nd Ed. published in 2011.  An updated publication has not yet been proposed to Pub-Ed council.  “Best Practices publication will replace the PCBEA to reduce market confusion.

  - Initial outline of content discussed:

    - PCBEA content review was performed; alignment and description of scope and purpose for 211 will be included, part one will be expanded to be more specific to which levels of audits should be applied and for what purpose.

    - A section similar in scope to a user’s guide for 211 will be included but will focus on some of the areas of 211 that could use greater explanation outside of the AHJ language the standard is forced to use.

    - Example filled out forms and example energy audits were also identified as opportunities for inclusion, as well as a better description of the purpose and sequence of performing a PEA.

    - List of items and comments from 211 that were withheld from the Standard to be included in Best Practices publication

    - Benchmarking tools

      - ESPM

      - Building EQ

      - DOE Asset Scoring Tool

    - Software tools

      - Energy Audit data collection software

      - Virtual energy audits

    - What to look for / how to assess:

      - Airside

      - Waterside

      - DHW

      - Lighting, etc.

    - Example walkthrough workflow

    - Typical roadblocks in the field

      - Estimates

      - Lack of BAS trends

      - Rules of thumb

      - Assumptions and why

    - Example BAS assessment workflow (including how is this different from RCx investigation phase)

    - Building EQ workflow

    - EEMs from Standard 100, Guideline 36P, TC 7.3 O&M, other method to derive EEMs, FIMs, and sample calculations for EEMs (not just the easy ones)

    - Calibrated energy modeling advise for deeper level 2 and level 3 audits

    - Certification & education resources on energy audits (ALI materials, ASHRAE tech portal, etc.)

  - ALI is looking for curriculum for the BEAP and this could serve that purpose;

  - Committee conference calls / digital meetings schedule development for Fall 2017:  Nate will send out a doodle poll via Basecamp and start regular monthly conference calls.  The first order of business will be the development of an outline/TOC for the new publication and task group identification to work on each section of the best practices book.