180 Technology Parkway NW, Peachtree Corners, Georgia 30092 US

404-636-8400

DRAFT

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.		TC8.2					DATE		February 6, 2023

TC/TG/MTG/TRG TITLE		Centrifugal Machines

DATE OF MEETING 	February 6, 2023		LOCATION  In Person Atlanta /Virtual hybrid

| MEMBERS PRESENT | VOTING MEMBERS ABSENT | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- |
| Dan Kemper (online) Webmaster | Nicholas Zupp | Trent Hunt, Vice Chair |
| Chris Miller (online) | K. Kontomaris (VMNQ) | Mark Rogan (online) Programs |
| Michael Perevozchikov |  | Phil Johnson, Standards & MTG LowGWP |
| Brandon Gill (online) | Jaime Yeh (replace Michael) | Daryl Showalter, Research |
| Ray Good, HA & MTG Low GWP Alt |  | Phil Johnson, Standards & MTG LowGWP |
| Scott MacBain, Handbook |  | Charlie Henck, section head |
|  |  | Justin Prosser |
| Drew Turner, Chair (replace Ray) |  | Matt Cambio T |
| Tiffany Abruzzo, Secretary (replace Scott) |  | Tom Watson |
|  |  | Alex Schmig Syed Angkan Haider |
|  |  | Syed Angkan Haider |
|  |  | Carl Huber, RAC RL Section 8 Aide |
|  |  | Aiden Rezaei |
|  |  | James Spalding (AHRI- online) |
|  |  | Alireza Behfar |
|  |  | Nanfred Burke |
|  |  | Heinz Juergeausen |
|  |  | Lucy Clarkson |
|  |  | Amroime Buu Abboud |

| TAC Section Head: Kevin Mercer | SH8@ashrae.net |
| --- | --- |
| All Committee Liaisons As Shown On TC/TG/MTG/TRG Rosters (Research, Standards, ALI, etc.) | See ASHRAE email alias list for needed addresses. |
| Mike Vaughn, Manager Of Research & Technical Services | MORTS@ashrae.net |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

### MINUTES

- Call to Order at 2:20 PM (EST) & screen shared for virtual attendees of meeting by Chair, Drew Turner

- Introduction of Attendees, Liaisons, Officers and Guests, all

6 of 8 voting members in attendance, Quorum achieved

- Code of ethics review, Drew

- Agenda review – No changes, Drew

- TC scope – Centrifugal compressors and chillers, Drew

- TC Mission Statement, Drew

- Summer/Annual Toronto meeting minutes-No comments, approved by consensus- emailed out, Trent

- Standards				Phillip Johnson

  - TC 8.2 is Cognizant for:

    - Std 30-2019 as well as addenda a, b, c, d, e and f (8.5 co-cognizant)- no action

      - 2023 will consolidate addenda

      - Nick Zupp Chair SSPC30

    - Std 184-2020 action required 2024

    - Std 225-2020- action required 2024 if plan to publish in 2025,

      - listed as 8.1, need to update to 8.2

  - TC 8.2 Monitors:

    - Monitoring Guideline 22-2012- (9.1 cognizant)

      - Daryl Showalter Chair GPC22

      - Publication expected end 2023

    - 23-2022 Methods for Performance Testing Positive (8.1 cognizant)

      - Scott MacBain Chair SPC23

      - May merge/ harmonize 23 & 225

    - 90.1- 2022 Published Dec 2023- Ray Good will support

      - SSPC 90.1 Chair Brandon Damas (as of 10/22)

    - AHRI 550/590 and 551/591 – 2020 Addendum 1

      - 2023 edition planned w/ ANSI Approval

      - Harmonizing section 4 with ASHRAE Std 30

      - HP Part load metrics- going slow, targeting 2025 date with ~5 std conditions for C,H,HP/HR in lieu of 19 climate zones (Drew/ Phil discussed)

    - AHRI Std 1520- 2022 Matt Cambio lead

      - Purdue 10 coef/Matlab tool ready 3/1/23- intent to swap out components to optimize perf.

      - References ASHRAE 225; Phil- should 225 Ref tool/ table in addenda?  Matt will follow-Up

    - ISO/ TC 86/SC 4- WG2, WG3, & WG4- Phil reported for Justin, Drake TC Chair

      - May 23-25 Zhuhai China Meeting

      - ISO 917-1974 now ISO 917-1989

    - MTG Low GWP-

      - Phil Johnson Liaison for TC8.2, Laurent Abbas & Ray Good alternates

      - wrapping up RP 1855, RP 1806 on going

- Programs			Mark Rogan (online)

  - Winter Meeting 2023- Atlanta Seminars- 3 of 3 approved- 1 Live Stream- great job (Thanks Ray!)

  - Annual 2023- Tampa Seminar

    - Std 225 MOT for Centrifugal Chillers- voted (Michael motioned Scott 2nd to move forward 6-0-0 chair voting)

      - co-sponsor 8.1- Discuss 4 Stds both cent & pos disp

      - Justin Chair, speakers: Alex Schmig (std 23), Craig Bradshaw, Jim D, & Matt Cambio, interested- mentioned Joe Sanchez?

  - Winter 2024- Chicago Seminars

    - Specialized Electrification- (in lieu of healthcare & industrial) CH Chris Miller & speaker

      - TC6.9 will be promoting Electrification of HP’s and TES-

      - Healthcare & hydrid systems- Chris Miller- Kaiser Baldwin Project- reach out to Mazetti

      - Brandon G- Labs

      - Drew- applications- possible speaker

    - New- Alex- Proper Refrigerant/ Compressor for your Project- MTGLow GWP co-sponsor?

      - Trent- panel discussion?  Consensus- less qty so harder to get approval

      - Mark- Davide speak?

  - Further out

    - Low Flow Tube Study combine with What Impact has 90.1-2019 had on Design Practices regarding a 15 deg Delta T

      - Co-sponsor with Coil Heat Transfer and TC8.1 for using AC with glycol,

      - optimal heat transfer/ laminar flow (Chris Miller)

      - Drew combine H&C

      - Mark- change titles- was an RTAR not funded

    - Steam Turbine Applications in Centrifugal Chillers- tabled Geoffry Bayers mentioned

    - District Cooling Plant; What effect will R-123 retiring have on systems (R-134a & R-410a)- other TC brought up-these 2 are now going away- delete off list

- Research                 			Daryl Showalter

  - 1716 Oil concentration measurement & method of test – Going out for 3rd bid- not bidders

    - Per joint subcommittee discussion, pursue universities including international as potential research providers – Purdue, UofM/OTS, Tsinghua

      - Drew Purdue interested

    - Phil- labs do not have man power- Encourage partnerships/ teams

  - 1793 Development of Method of Test for Thermal Conductivity

    - Davide chair of 8.1 offered to help

    - Tom W suggested to talk to TC 1.11- Daryl will reach out to Rick Heiden/ Billy Reinhart

  - 1879 Foamability properties of LGWP Ref and Oil mixtures-

    - Sponsored by TC3.4  and Co-Sponsored by TC8.1

    - MORTS needs revised WS to rebid w/ Expanded Bidders list, new Budget Est. , Etc.

  - Future studies – Daryl will help with work statements

    - Decarb and heating mode how to get higher temp heat pumps?- more of a seminar than RP?

- Handbook				Scott MacBain

  - Joint subcommittee meeting and efforts with 8.1

  - Revisions on chapters 38/43 – due May/July 2023

    - 9 volunteers so far, Syed interested

- Membership 				Trent Hunt

  - TC leadership changes – Tiffany Abruzzo & Jamie Yeh added to replace

  - Trent cleaned up- deleted 13 who said to, kept on those w/ no response

    - Trent & Tom W will reach out to Julian DeBullet & ask about re-joining/ being active

- Webmaster 				Dan Kemper

  - Updated 1 year ago- meeting dates & all docs- agenda/ minutes/ seminars- under TC’s

  - Send slides from 2023 seminars to Dan for publishing on website

- Honor and Awards				Ray Good

  - Mark Adams no longer member/ nor interested in being nominated

  - Nominate Matt & Phil for stds?

  - Phil mentioned we should raise awareness for DSA/ESA- tally sheets

- RAC Report		Carl Huber Research Liaison

  - RTAR’s and work statements are Key- need to re-define? Seeing other projects w/ no bidders

- Chairs breakfast				Drew Turner

  - TFBD- looking for refrigerant experts- Lucy w/ Arkema?

- New business				Drew Turner

  - Possible Interim TC8.2 Meeting between Winter and Summer Meeting

  - Syed new member

  - Drew traveling for next month & moved to Denmark (turned 50 & Phil too- HBD!)

  - Trent- All guidelines changing for MTG’s (also daughter got married & next one in Sept- Congrats!)

- Adjourn –  3:45 PM EST

- Sign-in sheets included as attachment