180 Technology Parkway NW, Peachtree Corners, Georgia 30092 US

404-636-8400

DRAFT

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.		TC8.2					DATE January 22, 2024

TC/TG/MTG/TRG TITLE		Centrifugal Machines

DATE OF MEETING 	January 22, 2024		LOCATION  In Person Chicago /Virtual hybrid

| VOTING MEMBERS PRESENT | MEMBERS ABSENT | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- |
| Scott MacBain, Handbook (listed as CM, not Voting) | Nicholas Zupp, VM | James Spalding, AHRI staff, PCM |
| Dan Kemper, website (online) | Brandon Gill, VM | Justin Prosser, ISO/TC 86/SC4, CM |
| Chris Miller |  | Matt Cambio, AHRI 1520, CM |
| Michael Perevozchikov (listed as CM, not Voting) Brandon Gill (online) Ray Good Scott MacBain |  | Tom Watson CM |
| Drew Turner, Chair |  | Syed Angkan Haider PCM |
| Tiffany Abruzzo, Secretary | Present Online: | Esteban Baccini PCM |
| Non-Voting Members Present: | Rick Heiden 90.1, CM | Ambroime Bou Abboud PCM |
| Trent Hunt, Vice Chair | Aide Rezaei PCM | Robert Tucker Robert.tucker@atlascopco.com |
| Phil Johnson, Standards & LowGWP Mtg |  | Heath Whiddon heath.whiddon@danfoss.com |
| Ray Good, H&A |  | Sam Sills sam.sills.@tranetechnologies.com |
| Mark Rogan, Programs |  | Yecan Zhoy joel.chou@yeah.net |
| Daryl Showalter, Research |  | Heinz Juergeusen Heinz.juergeusen@bitzer.de |
|  |  | Brian Davis underwing1000@gmail.com |

| TAC Section Head: Kevin Mercer | SH8@ashrae.net |
| --- | --- |
| All Committee Liaisons As Shown On TC/TG/MTG/TRG Rosters (Research, Standards, ALI, etc.) | See ASHRAE email alias list for needed addresses. |
| Mike Vaughn, Manager Of Research & Technical Services | MORTS@ashrae.net |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

### MINUTES

- Call to Order at 2:15 PM (CST) & screen shared for virtual attendees of meeting by Chair, Drew Turner;  present, including online

- Introduction of Attendees, Liaisons, Officers and Guests, 6 of 8 voting members in attendance (1 online)  26 total attendees (3 online, 6 guests), Quorum achieved

  - Scott MacBain & Michael Perevozchikov need to be updated to Voting members on Roster

- Code of ethics review, Drew

- Agenda review – Drew, Phil’s standard sections 1st

- TC Mission Statement & Scope – Centrifugal compressors and chillers, Drew asked for vote to continue, Tiff made motion, Chris Miller 2nd, 6 of 6 voting members in attendance voted in favor

Action item: Trent brough up changing 8.2 to chillers & 8.1 to compressors, will take lead, all in attendance in favor, reaching out to 8.1

- Annual (Tampa) meeting minutes-no comments, approved by consensus- emailed out & posted on basecamp & website (Dan Kemper)

- Standards				Phillip Johnson- see slides in PP

  - TC 8.2 is Cognizant for:

    - Std 30-2019 (Method of Testing Liquid Chillers) 8.5 co-cognizant- 2024 will consolidate 2019 w/ addenda- Nick Zupp Chair SSPC30 Developing addenda to ASHRAE Standard 30-2019 “Method of Testing Liquid Chillers” (designated as continuous maintenance)

      - Anticipate publication of a 2024 edition (definitely with Addenda a, b, f; possibly with Addendum d and/or Addendum c)

      - Updated errata sheet issued 2023-May-18

      - PPR2 for Addendum d during Nov-3 to Dec-3, please review! (https://osr.ashrae.org/)

      - 2023-Oct-6 meeting:

        - Will postpone PPR1 of Addendum c until after PPR2 of Addendum d.

        - Reviewed the AHRI proposed test plan to collect test data for air sampler temperature array versus air sampler with aspirating psychrometer (Addendum e). Comments/feedback pending.

        - On the issue of potential condensation during test (HP & HR), will incorporate proposed resolution as part of Addendum c.

        - Next meeting: Tue Nov 14

    - Std 184-2020 (Method of Test for Field Perf of Liquid Chilling Systems) SPC formed/submitted by Phil, 1/16/24 Mark Rogan to chair, Chris Miller & Yintao Wang volunteered, need 2 more volunteer members

    - Std 225-2020- (formally 8.1) (Method for Performance Testing Centrifugal Refrigerant Compressors and Condensing Units) Motion made & approved to have Phil form SPC 225

  - TC 8.2 Monitors:

    - Guideline 22-2012- (Instrumentation for Monitoring Central Chilled-Water Plant Efficiency-9.1 cognizant) Daryl Showalter Chair GPC22

    - SPC 196 (Method of Test for Measuring Refrigerant Leak Rates” PPR! Will be sent out in Q1, 2024

    - Standard 23-2022 Methods for Performance Testing Positive Displacement Refrigerant Compressors and Compressor Units (8.1 cognizant) Scott MacBain past Chair SPC23, May merge/ harmonize 23 & 225: remains potential, nothing finalized

    - Standard 90.1- 2022 Energy Standard for Buildings Except Low-Rise Residential Buildings- TC 7.6 is cognizant)- Rick Heiden supporting & reported virtually, New addenda to the 2022 edition available at:     https://www.ashrae.org/technical-resources/standards-and-guidelines/standards-addenda

      - Addenda status  of interest to this committee:

        - L – of general interest  net zero operational energy emissions (NZOEE), informative appendix that jurisdictions could adopt for buildings to achieve NZOEE over 1-3 code cycles.

        - M – of interest for split chillers  hydronic and dx coils must be rated in accordance with AHRI 410-2023 (SI/I-P) Performance Rating of Forced-Circulation Air-Cooling and Air-Heating Coils

        - Q – of interest for water cooled chiller systems  add pad-type (wetted media) adiabatic fluid coolers along with a minimum efficiency and the recently published CTI acceptance test code to Table 6.8.1-7 Heat Rejection Equipment.  Technology being offered on some “free-cooling” air-cooled chillers  https://www.thermalcare.com/adiabatic-fluid-coolers/

        - V – of general interest  reference Std 169 Climate Data for Building Design Standards version 2021 instead of 2013, wrt US counties 85% no changes, 9% move to warmer zones, 3% to colder zones, 3% changes subzones (i.e. A, B, C)

      - Discussion topics of interest to this committee

        - Fault Detection and Diagnostics prescriptive requirement

        - >15 dT chilled water distribution requirements

        - Chiller efficiency table updates in collaboration with related AHRI committee

        - for 2031 cycle 90.1 targeting 0 Carbon & have 0 emissions path (lower energy, emissions, & costs)

    - AHRI Standards 550/590|551/591-2023 Performance Rating of Water-chilling and Heat Pump Water-heating Packages using the Vapor Compression Cycle

      - 2023 Editions of both standards are published as ANSI/AHRI. Include minor revisions to the 2020 editions. Include normative reference to ASHRAE 30 for method of test.

      - AHRI 1550P Performance Rating of Liquid-Chilling and Heat Pump Water Heating Packages Using the Vapor Compression Cycle-6/26/23 Jamie Yeh stated was approved to move forward-will replace 550/590 and 551/591, merge separate IP & SI edition into a single standard.

      - Project charter scope of revisions for next edition after that (circa 2025) includes the following items:

        - Review tolerances and incorporate units with variable flow

        - Continue to work toward harmonizing section 4 with ASHRAE 30

        - Review uncertainty analysis reporting requirements

        - Adiabatic cooled condensers

        - Heat Pump Part-Load Metrics

        - Review of rounding throughout documents

        - Review Standard Rating Conditions

        - Regional part load metrics

        - Ratings for units with more than two heat exchangers

    - AHRI Std 1520- 2022 Performance Rating of Centrifugal Refrigerant Compressors- Matt Cambio lead

      - Reference to ASHRAE 225, Methods for Performance Testing Centrifugal Refrigerant Compressors and Condensing Units

      - Similar format to AHRI 540, Performance Rating of Positive Displacement Refrigerant Compressors and Compressor Units

      - AHRI Compressor Standards Technical Committee will maintain the standard (responsible for a total of 7 standards including 1520)

      - Matt C saw some clarity weaknesses- proposed to AHRI/Jaime Weh

    - ISO/ TC 86 (Refrigerant & air conditioning)/SC 4 (Testing and rating of refrigerant compressors)- WG2 (ISO/AWI 18501: Positive displacement refrigerant compressors harmonizing AHRI 540, EN 12900), WG3 (ISO 18483: Centrifugal refrigerant compressor harmonizing AHRI 1520), & WG4 (ISO 18976: Testing of refrigerant compressors harmonizing ASHRAE 23 & 225, EN 13771-1 & withdrawn version of ISO 917) DIS Submission 7/4/24 & anticipated Publication 10/31/25

      - Tom W tried to explain ISO Distribution/ secretaries by country/ patchwork- will send ballot to Drew

      - Heinz from Bitzer is ISO Chair

    - MTG Low GWP- Phil Johnson Liaison for TC8.2, Ray Good Alt 1 & now Trent Hunt Alt 2

      - The MTG met Sun Jan 21 and will meet again Wed Jan 24. Program Subcommittee. Seeking programs from TCs for co-sponsorship. Codes & Standards Subcommittee meets Tue Jan 23.

      - Research Subcommittee, current activity at the PMS level.

      - Active research project: RP-1806. RP-1855 final report was published fall 2023. Monitoring a few projects sponsored by other TCs

      - RP 1855 “Determination of the Impact of Combustion Byproducts on the Safe Use of Flammable Fluorinated Refrigerants” Start date: Jan-2020 Completed & approved by letter ballot after Tamps; Report available via ASHRAE Technology: https://technologyportal.ashrae.org

      - RP-1806 “Flammable Refrigerants Post-Ignition Simulation and Risk Assessment Update”

Start date: Jan-2017. No update PMS received revised Task 1 interim report Jan-2022. Original scope included updating AHRI risk assessments for 2L refrigerants in 5 types of equipment, including chillers (centrifugal & screw, machinery room).Project has re-allocated the budget (more to Task 1) and not yet clear what scope will be reduced (or if more funding will be requested to complete original scope).PMS will soon receive a pilot study that completes the Task 2 and Task 3 work for just a small subset of the original scope (reach-in coolers). Results will determine go/no-go/redirect for remainder of the project

- Programs: Mark Rogan

  - 2024 Winter Meeting/Conference Chicago: 2 Programs Approved:

    - Seminar 56 – 15⁰ Chilled Water Delta T in Standard 90.1: It’s Impact on Design Practices and Equipment Ray Good(Danfoss) is chair of seminar.  Sponsored by TC8.2 and cosponsored by TC8.1.  Presenters: Steve Taylor(Taylor Engineers), Rick Heiden(Trane), and Gregory Touron(Danfoss).  Wednesday, January 24th, 2024, 9:45 – 10:45 CST Marriott Marquis Chicago, 2nd Floor, Great Lakes B

    - Seminar 41 – Natural Refrigerants in Refrigeration: Regulations and Applications Davide Ziviani(Purdue University)is chair of seminar.  Sponsored by TC8.1 and cosponsored by TC8.2.  Presenters: Matthew Cambio (Trane), Riley Barta (Purdue), and Stephan Elbel.                                  Tuesday January 23rd, 2024, 9:45 – 10:45 CST Marriott Marquis Chicago, 2nd Floor, Great Lakes C

  - Indy Annual Meeting Info/ Ideas: Add decarb to all titles (Tom W)  keep titles short (Drew)

    - 2024 Summer Meeting/Conference Indianapolis: Monday February 26th  -  Program Proposals Due, Monday April 1st -  Program accept/reject notifications

2024 Summer Meeting/Conference Program Tracks Indianapolis

        - Track 1 -  Fundamentals and Applications – Track Chair: Atilla Biyikoglu

        - Track 2 -  HVAC&R Systems and Equipment – Track Chair: Ng Yong Kong

        - Track 3 – Research Summit – Track Chair: Kristin Cetin

        - Track 4 – Professional Development – Track Chair: Ahmed Abdelsalam

        - Track 5 – Electrification: Possibilities and Pitfalls – Track Chair: Kevin Brown

        - Track 6 – Artificial Intelligence and the Built Environment – Track Chair: Vinod Venugopal

        - Track 7 – Building Life Cycle Assessment – Track Chair: Money Khanna

        - Track 8 – Legislation, Standards, Codes, and Guidelines – Track Chair: Cindy Callaway

    - Electrification of Heating Chapter 2: Industrial and Healthcare Markets as well as Hybrid Applications – Chris Miller possible chair.   Good candidate for Track # 5; Electrification: Possibilities and Pitfalls.

    - System Design & Controls on Heat Pump & Heat Recovery Applications – Trent Hunt as possible chair.  Rick Heiden, Drew Turner, and Chris Miller have been discussed as speakers.  Chris should have at least desuperheater data from Kaiser Baldwin Project but not sure about HR data off the steam boiler as that system may not be running yet. Good candidate for Track # 5; Electrification: Possibilities and Pitfalls.

    - Advanced Compressor Modelling & Analysis – Craig Bradshaw to chair.  Was submitted for Chicago but not accepted so plan is to resubmit for Indianapolis. Good candidate for Track # 3; Research Summit

    - Electrification of various Heating Applications and the challenges of capacity modulation using different compressor types: Which applications can be served by electrification today and which ones cannot. Rick Heiden as a potential chair.  Good candidate for Track # 5: Electrification: Possibilities and Pitfalls

    - Application Issues with New Refrigerants and Centrifugal Chillers: Does Standard 15 (equipment room design) properly cover the flammability issue?  Phil Johnson as a potential chair.  Good candidate for Track # 8: Legislation, Standards, Codes, and Guidelines

    - Annual Decarb Conf moving forward- Madrid 2024- Trent- do we want to propose seminars/provide speakers from 8.2?  Recycle material?  Tom W, not allowed.  Drew interested, Mark will look into, keep track of Seminar 71 from Tampa & update appropriately for Spain?

    - Next Meeting- Subcommittee will meet via conference call in early June 2024

- Research                 			Daryl Showalter

  - 1716 Oil concentration of field-installed liquid chillers with flooded type evaporators.  Project awarded, Phil Johnson is Chair 9/24 projected submission date (interviewed Phil, Drew/ & has date with Tom W

  - 1793 Development of Method of Test for Thermal Conductivity-TC8.1 is taking the lead on this one and will resubmit from the comments. Daryl happy to help will connect w/ Davide

  - 1879 Foamability properties of LGWP Ref and Oil mixtures- will send Drew updates- Ivan/ Forward?

    - Sponsored by TC3.4  and Co-Sponsored by TC8.1

    - MORTS needs revised WS to rebid w/ Expanded Bidders list, new Budget Est. , Etc.

  - Future studies – Daryl will help with work statements

    - RTAR “Effects of subatmospheric low ambient HPs”Daryl, drew & Matt interested

    - Decarb and heating mode how to get higher temp heat pumps?- more of a seminar than RP?

- Handbook: Authoring Portal: Confirm document access on authoring portal: https://authoring.ashrae.org/  Contact Heather Kennedy(hkennedy@ashrae.org) if you have any issues with Microsoft login; Scott MacBain- looking for HB Chair replacement

  - TC 8.1:

    - Refrigeration: Chapter 8 - Factory Dehydrating, Charging & Testing

    - 2022 Last Publication: MacBain, Sanchez, Perevozchikov

    - 2026 Next Up Revision: Scott MacBain, Joe Sanchez, Chris Seaton, Michael Perevozchikov (Looking for participants)

  - TC 8.1 & 8.2:

    - 2024 HVAC Systems & Equipment: Chapter 38 and 43 – Compressors & Liquid Chilling Systems

    - Publication: Approved by TC8.1 & 8.2 Committees via mail ballot and submitted to ASHRAE Q423

    - Davide Ziviani, Craig Bradshaw, Michael Perevozchikov, Rick Heiden, Scott MacBain

    - 2028 Next Revision

- Membership – roster attached to PP				  Trent

Chair – Drew Turner (rolls off June 30th), V Chair – Trent Hunt (moves up to Chair) , Secretary – Tiffany Bates Abruzzo (moves up to VC), Handbook – Scott MacBain (may move up to Secretary at annual meeting, Jethrow Medina & Estaban interested helping/ being HB Chair), Programs – Mark Rogan, Standards – Phil Johnson, Research – Daryl Showalter, Webmaster – Dan Kemper, Honors and Awards – Ray Good, MTG. LowGWP Liaison – Phil Johnson, MTG. LowGWP Alternate – Ray Good & 2nd Alt Trent Hunt

- Final modifications to TC membership –

  - Deleted – 13 & request from Steve Duda to be removed

  - 6 attendees at Main Meeting not on Roster

  - Action to get Scott & Michael changed from Non-Voting to Voting

  - Action to confirm attendance/ Voting w/ Nick & Brandon

  - How to Import Your TC Roster Information into MS-Outlook - http://www.ashrae.org/TCs

- Webmaster 				     Dan Kemper

  - Slides & Minutes from 2023 seminars published on website https://tc0802.ashraetcs.org

- Honor and Awards- PP sides have more details 				Ray Good

  - Currently Exploring

    - Phil Johnson & Matt Cambio for Standards Achievement Award

    - Members who meet DSA & ESA w/ Tiffany (meeting in March?)

  - Encourage all members to update their ASHARE bios in an effort to qualify for additional honors and awards recognition & Consider others who may qualify as a Fellow or other awards (see Fellow instruction PP from H&A)

- RAC Report		no one present? Drew to distribute?

- Chairs breakfast- TAC training - Chair Breakfast Winter 2024.pptx (basecamp.com)	Tiffany Abruzzo

  - Global organization- GTIC & ISO involvement

  - Decarbonization task force- new platform Center of Excellence for Building Decarbonization (CEBD) & publications, focus on life cycle carbon footprint

  - Encouraging active participation and engaging with new members- explanation of different conf options

  - GAC Update- we are the resources for our politicians!

  - Hybrid virtual meetings are here to stay: Tracks for Indianapolis open/listed online

- New business- Drew Turner

  - Mark Rogan to attend 8.1 main meeting & join

  - Sam from Trane SSPC 205, looking to address HP & Air Source CH/ long range goal

  - Sub-Committee attendees 1.16.24: Mark Rogan, Drew Turner, Mathew Cambio, Justin Prosser, Michael Perevozchikov, Davide Ziviani, Craig Bradshaw, Dan Kemper, Alex Schmig, Tiffany Abruzzo, Phillip Johnson, Chris Miller, Farhan Jurati, Riley Barta, Jethrow Medina, Nicholas Zupp, Margaret Mathison, Erik Anderson, Yintao Wang, Bruno de Carvalho, Heinz Juergensen, Kalen Gabel, Andreas Hoess, James Spalding, Sugun Tej Inampudi, Rick Heiden

  - New members (additions since summer meeting)

    - Esteban Baccini- present in person in Chicago

    - Dr Yintao Wang- present at virtual subcommittee meeting-

    - Andrew Hunter

    - Mingxia Hu

    - Ted Freeman

    - Dr Hanlong Wan

  - Attendees not on roster:

    - Robert Tucker Robert.tucker@atlascopco.com

    - Heath Whiddon heath.whiddon@danfoss.com

    - Sam Sills sam.sills.@tranetechnologies.com

    - Yecan Zhoy joel.chou@yeah.net

    - Heinz Juergeusen Heinz.juergeusen@bitzer.de

    - Brian Davis underwing1000@gmail.com

- Adjourn –  4:25 PM CST