Agenda

TC 5.3 Room Air Distribution

Annual Conference 2025

Phoenix, AZ

Tuesday, June 24 1:00 PM – 3:00 PM EST

- Call to Order/Welcome – 1:01 PM EST						D. Johnson

- Review Scope:

TC 5.3 is concerned with the distribution, diffusion, and conditioning of air within rooms and similarly treated spaces.  It includes consideration of the principles of air distribution, air diffusion and performance characteristics of all types of air terminal devices, fan coils, chilled beams and high/low pressure assemblies (boxes) or components, including associated or related accessories for both supply and extract air.

- ASHRAE Code of Ethics Commitment 					D. Johnson

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity, and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Introductions/Roll Call 							D. Johnson

  - Verify Quorum (1/2 + 1 for a Quorum)				F. Cuaderno

| Member | Present? | Stakeholder Interest | Voting Member until: |
| --- | --- | --- | --- |
| Frank Cuaderno | X | Producer (Manufacturer) | June 30 2028 |
| David Johnson | X | Producer (Manufacturer) | June 30 2026 |
| Kishor Khankari | X | User (Consulting Engineer) | June 30 2025 |
| Zacc Poots | X | General (Sales Rep) | June 30 2025 |
| Andrey Livchak | X | Producer (Manufacturer) | June 30 2026 |
| Zara Sardooee | - | Producer (Manufacturer) | June 30 2028 |
| Nick Searle | X | Producer (Manufacturer) | June 30 2026 |
| Brian Rock | X | General (Academics) | June 30 2026 |
| Solomin Yin | - | User (Academics) | June 30 2027 |
| Craig Wray | X | User (Consulting Engineer) | June 30 2027 |
| Total | 8 |  |  |
| Quorum (Y/N) | Y |  |  |

- Agenda Review – no changes						D. Johnson

- Approval of previous Minutes (Winter 2025, Orlando FL)			D. Johnson

  - Motion #1 – “Move to approve minutes from Winter 2025 meeting.”

  - First – Brian Rock; Second – Craig Wray

  - Vote: 8-0-0 CNV

- Announcements and Section 5 discussion					D. Johnson

  - ASHRAE Structure and the roles of the councils to communicate w/committees

  - ASHRAE 2025-2028 Strategic Plan Download at ashrae.org/strategicplan

    - Position ASHRAE as global leader in advanced solutions to improve IEQ

    - Impact-focused engagement

    - Increase accessibility of ASHRAE content

  - CEBD - Center of Excellence for Building Decarbonization

    - From a Task Force to a Standing Committee as of July 2024

    - 9 published guides with more planned for 2025

    - Strat Planning resulted in (5) Strategic Themes for SY 2025-2026

    - Learn more at: https://www.ashrae.org/about/CEBD-center-of-excellence-for-building-decarbonization

    - New TC 9.13 SPACE (Extraterrestrial and Deep Space Environmental Control Systems)

    - If proposing Program content, consider Strategy topics or CEBD themes

    - YEA looking for mentors to get more involvement in committees

- Membership Report								D. Johnson

  - Leadership Until July 1, 2026:

David Johnson – Chair/Webmaster
Frank Cuaderno – Vice-Chair, Research/Programs Chair
Mike Koupriyanov – Secretary
Jacob Ramos - Handbook Chair

- Upcoming roster changes

  - Three members rolling off, three rolling on

| Member | Rolling Off? | Rolling On? | Roll Date | Stakeholder Interest |
| --- | --- | --- | --- | --- |
| Kishor Khankari | X |  | June 30 2025 | User (Consulting Engineer) |
| Zacc Poots | X |  | June 30 2025 | General (Sales Rep) |
| Zara Sardooee | X |  | June 30 2025 | Producer (Manufacturer) |
| Kishor Khankari |  | X | June 30, 2029 | User (Consulting Engineer) |
| Jacob Ramos |  | X | June 30, 2029 | Producer (Manufacturer) |
| Eugene ‘Gus’ Faris |  | X | June 30, 2029 | Producer (Manufacturer) |

- Honors and Awards	- none							D. Johnson

- Research Subcommittee Report – status reported, see RSC minutes			F. Cuaderno

- Completed Research Projects

  - RP 1741 - Understanding Fan Coil Components And How They Relate To Energy Consumption And Energy Modeling (Solomon Yin) RSC Chair solicited comments

- Current Active Research Projects – none

- Current RTAR’s & Work Statements (Previous topics, actual list from RSC)

  - WS-1936 from MTG.ACR – Evaluating the Impact of ACH on Ventilation Effectiveness for Indoor Spaces (Lead: Kishor K, David J, Duncan P)

  - WS-1882 - Procedure for Estimating Occupied Space Sound Levels in the Application of UFAD Air Terminals and Air Outlets (Nick Searle, Chris Burroughs)

  - TG2.RAST - RTAR co-sponsor w/TC4.03 Role of air distribution on the efficacy of air cleaning strategies? UV, BiPo Ionization. In-Room specifically (Lead: David John / Kishor K-corresponding)

    - Motion #2 – “Move to approve that TC5.03 co-sponsor TG.2RAST -RTAR with TC4.03.”

    - First – Craig Wray; Second – Kishor Khankari

    - Vote: 8-0-0 CNV

  - RTAR 1973 - Improving Zone Air Distribution Effectiveness (Ez Factor) Accuracy for Heating with Ceiling Supply and Return (Craig W)

  - WS-1825 - Effects of Locally Provided Makeup Air on Commercial Kitchens

  - RTAR 1974 - The Effect of Tap Shape on Air Device Performance for Exposed Duct-Mounted Diffusers (Kevin G / Bob Reed)

- New research

  - Definition of Ventilation Effectiveness.

  - Non-isothermal throw and ‘correction factors’

- Standards Subcommittee report						R. Zimmerman

Standards have 3 year cycle.

  - Standard 70 MOT Diffusers (D. John) – 2023 good

  - Standard 79 MOT Fan Coils (B. Hagan) – 2024 good

  - Standard 113 MOT Room Air Diffusion (R. Johnson) 2022, needs withdraw, revise, or reaffirmed.

    - D. John – very important for testing diffusion in room.

    - C. Wray – do references need reviewed do we know if it needs changed.

    - B. Rock – previous chair, took 6 years to create.

    - Motion #3 – “Move that TC5.03 recommend that AHRAE Standard 113 be reaffirmed.”

    - First – Craig Wray; Second – Kishor Khankari

    - Vote: 8-0-0 CNV

  - Standard 129 Estimation of Ventilation Effectiveness for Ventilated Indoor Spaces (T Smith)

    - SPC 129 met Monday 6/23. D. John reported that historically used a very difficult with environmental issues. Tom Smith came up with a new test that works well to add as a field test. They propose to keep part 1 as academic test then part 2 as field test comprised of many tests combined.

  - Standard 130 MOT Terminal Units (R. Zimmerman)

    - Proofs sent to ASHRAE publishing, thanks to Craig for helping with corrections. Looking at a 2025 date if approved.

  - Standard 200 MOT Chilled Beams (M. Koupriyanov) – 2024 good

- Handbook Subcommittee Report 						J. Ramos

  - 2026 is an off year with Refrigeration, 2027 Applications will need approved at annual meeting.

- Programs Subcommittee Report – status reported, see PSC minutes		F. Cuaderno

  - 5-year Plan

  - Programs Report (Tech & Conference Papers, Seminars, Workshops, Panels, Debates & Forums

  - Completed and Current Programs

  - New Programs

- Webmaster Report	- updated with meeting minutes and agendas		D. Johnson

- Historian									C. Peters

  - Made list of past contributors and putting together bios. Unable to find a way through ASHRAE so will send out to certain committee members to review on Basecamp which posts through ASHRAE. Have photos from Ken and Kevin to post on Basecamp for review and put together.

- Liaison Reports 								D. Johnson

  - Standard 55 Thermal Comfort (M Koupriyanov) Guide on how to use CFD as a compliance path.

  - Standard 62.1 Ventilation (R. Johnson) Nothing for room air distribution.

  - Standard 90.1 Energy (Need new liaison – volunteers?) Considering lowering air exchange rates in operating rooms.

  - Standard 170 Healthcare Facilities (Need new liaison – volunteers?) No one

  - Standard 205 Representation of Performance Data for HVAC&R and Other Facility Equipment (Solomon Yin) not here

  - Standard 215 Air Leakage (C Wray) nothing

  - Standard 241 Control of Infectious Aerosols (Kishor K) Reviewing comments. Submitting programs for Design of Duct Systems 800 885 for Vegas update ANSI 12.2 noise criteria publishing table.

  - TC 2.6 Sound and Vibration (N. Searle) nothing

  - TC 4.10 Indoor Environmental Modeling (Duncan Phillips) Mike K. take over at some point. Researching new ideas very successful. Submitting programs on track. No major changes.

  - TC 5.2 Duct Design (K. Gebke) Research discussed already.

  - TC 6.5 Radiant Heating and Cooling (Chris Burroughs) nothing

  - TC 9.6 Healthcare Facilities (Nick Searle) Received go ahead to produce version 3 hospitals. Looking for presenters.

  - GPC 36 High Performance Seq of Op for HVAC Sys (Solomon Yin)

  - MTG.ACR (K Gebke) nothing

  - MTG.CEA (Jake Ramos) nothing

  - TG2.RAST (David John) covered already

  - AHRI Air Handling and Distribution STC

  - AHRI Performance Mapping Working Group (Sarp Hamamcioglu) nothing

- Old business – nothing 							D. Johnson

- New business – nothing 							D. Johnson

- Upcoming Meeting Dates							D. Johnson

| Year | Winter Meeting | Annual Meeting |
| --- | --- | --- |
| 2026 | Jan 31-Feb 4 – Las Vegas, NV | June 27-July 1 – Austin, TX |
| 2027 | Jan 23-27 – Chicago, IL | June 12-16 – New Orleans, LA |

- Adjournment – 3:05 PM							D. Johnson