	[image: image1.png]



	Agenda



	
	TC 7.5 Enabling Technologies Subcommittee

3:15-4:00 pm, Sunday, June 2017
Prepared by Nick Gayeski


	
	

	Objective for this Meeting: Generate ideas for research and program related to Enabling Technologies and assign owners.


Subcommittee Scope: The Enabling Technologies Subcommittee of TC 7.5: Smart Building Systems aims at exploring and developing technologies which will enable the development, implementation and commercialization of smart building applications such as fault detection and diagnostics, model-predictive control and optimization, and smart grid applications such as automated demand response.  Three focal points of this subcommittee are i) smart transducers, such as sensors and actuators which provide diagnostic information, ii) communications, such as wireless devices and protocols enabling greater data exchange, and iii) embedded metadata, such as embedded equipment and system information to enable smart building applications.  On these topics, the scope of this subcommittee includes identifying and sponsoring research projects, evaluating existing technologies, providing recommendations to building operators and practicing engineers, developing supporting tools for researchers in these areas, and organizing programs to disseminate research findings and advancements among ASHRAE members.

Related Committee activities: BACnet committee AP data modeling working group, Facility Smart Grid Information Model, Computer Applications, Emerging Technologies, SGPC20 HVAC process data exchange requirements and SPC 205 Standard Representation of packaged unit models.
3:15 

Introductions / Agenda Revisions / Announcements



3:20

Existing RTARs and research ideas
i. A Review of Metadata and Taxonomies to support FDD. 
1. Work in other TCs is advancing on this topic.  Review ASHRAE Standard 223P, and this presentation by Dave Robin.  https://www.haystackconnect.org/images/presentations/04-DaveRobin_HaystackConnect2017_UseofMetadataandSemanticTagginginBACnetandASHRAEsEffortsonSemantics.pdf.  Has anyone from TC7.5 participated in this effort?
3:30

New research ideas or enabling technologies worthy of committee’s attention? 
1) If we have perfect data on where people are. Can we control the building better?  – Song Li has an existing RTAR “Saving energy national wide…”  on this topic.  The goals are to 1) develop control strategies based on occupancy information; and 2) evaluate energy impact national-wide. Song will resubmit this RTAR.  
2) BEMOSS type low cost control and sensor and their impacts on building control and performances.  – there are some interests but no RTAR ideas etc. 
3:40

Existing Program ideas
i. Update about Cybersecurity program at Long Beach – Glenn Remington or others who attended?

ii. Parked ideas waiting for the right conference track.  Are any upcoming conference tracks right for these?

a. Carlos: Potential program was discussed on the role of cloud-based communication on smart meter technology.  – Glenn Remington. Carlos and Glenn are both interested.  The focus will be 1) the security of the data, and 2) how to get the data and what do you do on this. 
b. Joe Zhou: Open source platforms for HVAC.  Srinivas Katipamula, Jin Wen.  Not accepted for St. Louis.  VOLTRON On Hold.
c. Michael Munroe:  Securing ad-hoc sensor networks.  Autonomous swarms for robots, sensors, control, motion.  On Hold. 
d. Nick Gayeski: “Smart Transducers with Embedded Diagnostics”.  Speakers from Armstrong, Schneider Electric interested. On Hold 
e. Nick Gayeski: Edge computing, Cloud Analytics, and On-Premise Systems – Architectures for Smart Building Systems.  Examples of embedding analytics/smart building applications in devices/transducers, on-premise controllers and servers, or cloud platforms. On Hold
3:50

Should any of the above program ideas be pursued for the next two conferences?  Who will lead?
