


ASHRAE TC 6.3 
Residential and Light Commercial Forced Air Heating and Cooling Systems
TC 6.3 Website: Link
Committee Meeting Minutes
2024 ASHRAE Winter Conference
Tuesday, January 23 1:00 PM – 3:00 PM CST 
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Hybrid Meeting 
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Meeting number:
2333 002 0554
Password:
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1. Call to order	HJORTLAND
1:00 PM
2. Review Scope
TC 6.3 is concerned with those central forced air systems used for residential and light commercial building comfort heating and cooling. Responsibility covers the design and performance of the entire system, including equipment, controls, ducts and the interactions of the system with building heating and cooling loads.
1:00 PM
3. ASHRAE Code of Ethics Commitment 	HJORTLAND
“In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.”    

See full ASHRAE Code of Ethics: https://www.ashrae.org/about/governance/code-of-ethics

1:02 PM
4. Introductions	All
a. Determination of a quorum	HAYDOCK
b. ONLINE PARTICIPANTS: Please indicate your presence in the chat.

VOTING MEMBERS FOR THIS MEETING (Need (5) for a Quorum)  
Quorum met: 8 attending out of 9.  Highlighted were attending.
	NAME
	End Date
	
	NAME
	End Date

	Nicolas AOUAD
	2025-06-30
	
	Payam DELGOSHAEI
	2027-06-30

	Lawrence BRAND
	2025-06-30
	
	Wayne KRAFT
	2027-06-30

	Craig GRIDER
	2025-06-30
	
	Patrick RILEY (online)
	2027-06-30

	Andrew HJORTLAND
	2025-06-30
	
	
	

	Scott CREAMER
	2026-06-30
	
	
	

	Jeffery MUNK (online)
	2026-06-30
	
	
	





BALANCE AS OF 2023-07-01
	Category
	Number of VMs
	% of VMs

	Users
	2
	22%

	Contractors
	1
	11%

	Product Manufacturers
	4
	44%

	Academics
	
	

	Consulting Engineers
	
	

	Government Agencies
	1
	11%

	Independent Sales Representatives
	
	

	Trade Organizations
	
	

	Research Organizations
	1
	11%




5. Agenda additions	All
TC 6.05 has additions to Handbook
6. Chair’s Report	HJORTLAND
a. Announcements and Highlights from TC Chairs Breakfast Meeting
Covered by Doug Reindel TAC liaison
7. Liaison reports (as they arrive)	Liaisons
a. Section 6	REINDL
Doug Reindl – reporting on TAC updates
Strategic plan updating; looking for members
Regional Chapters – Looking to get more regional meeting member coming to annual meetings.  Straw poll – those who regularly attend the local chapter meeting (3 in the room).  Want to increase chapter participants coming to ASHRAE meetings.  Reasons why they don’t attend:  Cost, relevance(?).
Some TCs have subcommittee to generate membership interest; inventive ideas like YouTube videos, Tic-Toc videos, etc. TC – evangelization.
TAC approved TCs for AI and for Space (extraterrestrial)
Chair asked about the “Balance” of committee. 
Any programs not getting accepted?  Yes; a program on A2L refrigerants.  Said there was a 50% acceptance in Chicago.  We didn’t use a
b. RAC	
Matt (RAC Liaison) – WS 1910 will come up in Spring RAC (Apr) meeting; go out to bid with social media this summer.
c. MTG – Low GWP Refrigerants	CRAWFORD
Program co-sponsored program was approved but not included in Chicago
Question – Any research on any A3 refrigerants.
Research is winding down.  One report still open and under review
d. TC 8.11 – Load Based Testing Subcommittee	HJORTLAND
No activity.  Waiting on DOE to issue new standards.
e. Task Force on Building Decarbonization	MERCER
(get report from Kevin Mercer) All of the technical guides are in final phases and do out this fall. By Fall this year, the Decarb work will be completed.  The TF will be disbanded.  Will restructure ASHRAE leadership.  Decarb will feed in through BOD and other feeders.  Center of Excellence for Building Decarbonization will become new 

8. Approval of minutes from 2023 Hybrid Summer Meeting	HJORTLAND
Motion to approve (L Brand) and seconded (S Creamer).  Vote 7/0/0 Chair not voting.
Request for new Secretary Parveen Dhillon volunteered.  Will be official after June.
Request for new Standards Sub Comm Chair – 2-standards supporting (193 and 103).  Wayne Kraft volunteered. 
9. Membership/Roster	HAYDOCK

	Name
	Role
	Voting
	
	Name
	Role
	Voting

	Andrew HJORTLAND
	Chair
	Yes
	
	Lawrence BRAND
	Member
	Yes

	Scott CREAMER
	Vice Chair / 
Program Chair
	Yes
	
	Craig GRIDER
	Member
	Yes

	Paul HAYDOCK
	Secretary
	No
	
	Jeffery MUNK
	Member
	Yes

	Nicolas AOUAD
	Research Chair
	Yes
	
	Payam DELGOSHAEI
	Member
	Yes

	Kevin MERCER
	Standards Chair
	No
	
	Wayne KRAFT
	Member
	Yes

	Randy PALM
	Handbook Chair
	No
	
	Patrick RILEY
	Member
	Yes

	George YAEGER
	Webmaster
	No
	
	
	
	


10. Subcommittee reports	
a. Programs	CREAMER
Chicago – A2L program put in was rejected for Chicago (only 50% acceptance; grumble about “must have decarb in title”).  General agreement to resubmit it to Indianapolis under the Indy Tracks (tbd).  Plan to submit for Indy with some restructure.  Added speaker (makes 3) and changed chair from Roy C to Parveen. Invite 8.11 to co-sponsor.  

TC6.5 Radiant is looking for a program speaker for VRF for VRV.  (Noted, doesn’t fit with TC6.3)

b. Research	AOUAD
· WS-1910 – Evaluation of Standard 103 Transient Components and Thermostat Cycle Times on the Resulting AFUE
Will go back to RAC in Spring (Apr) and out for bid this summer. 
· WS-1909 - In-Tube Condensing Flue Gas Heat Transfer and Pressure Drop with Enhancements for Residential Furnaces (Co-sponsor with TC 1.3)
Asking for re-vote with changes to the WS 1909.  Looks at condensing heat exchanger performance using H2 or H2 blend fuels.  Motion to reapprove (L Brand) and seconded (C Grider). Vote 7/0/0 chair not voting.  Looking for Proposal Evaluation Committee (PES); Will Kowald will take over for Eric Berg on PES.  No other volunteers.
Mentions made at:
· Altitude impact on LFL with H2 blends.
· Propane as refrigerants. And A3 refrigerant mentioned. 
· questioning how vents will change with different blends of H2 and up to 100% H2.  
· How does AFUE change with H2 blends.  Suggested program for future (after RP1910 gets worked out).  
No further action.
c. Handbook	PALM
· Chapter 10 – Small Forced-Air Heating and Cooling Systems
Completed, approved by TC, forwarded to Hbk Liaison last summer (2023).
· Chapter 33 – Furnaces: No changes in printed handbook, need to revise/update online handbook.
Mishap with timing. Ran late on approvals. Will not make it into the 2024 published book but will go into the online book. Need to vote on the changes for the 2024 online version.  Jeff Munk had a concern about a dT conversion (not absolute T) from F to C.  Will do a letter ballot on the final revision.
Next round – for 2027; Furnaces – Ideas for furnaces chapter to include ultra-low NOx, H2 impacts..  
TC6.05 Radiant has a chapter on direct fire radiant heater that needs to be reviewed.  They want to have review from this committee.  Recommended that they go to the ANSI Heavy Duty Heater Subcomittee for CSA.
d. Standards	MERCER
· Standard 103: Methods of Testing for Annual Fuel Utilization Efficiency of Residential Central Furnaces and Boilers, Methods of Testing for Annual Fuel Utilization Efficiency of Residential Central Furnaces and Boilers
2025 Will open for option to approve-no-change, or open the standard for review in 2025.
· Standard 152: Method of Test for Determining the Design and Seasonal Efficiencies of Residential Thermal Distribution Systems – RECOMMENDED TO BE WITHDRAWN
TC approved for withdrawal.  At Standards Comm; on agenda for vote this week to withdraw.
· Standard 193: Method of Test for Determining the Airtightness of HVAC Equipment (TC 4.3 Co-cognizant)
Opening for review and revision.  Scott Creamer will chair.
e. Web site	YAEGER
Basecamp option introduced. TC 6.03 has a BC link.  Chair Andy will send the link out to the committee.  For project like Handbook, Basecamp would be handy to have/use.  No action.
11. Old Business
· Status of recommendation to form ASHRAE SSPC 15.2	CRAWFORD
SSPC 15.2 request was rejected by SLPS. At 15.2 motioned to create a subcommittee.  
12. New Business 
No other roles changes (Subcommittee Chair changes noted earlier)
Procedures issue.  Add Randy Palm as VM.  Remove another member (??).  Affects balance but there is a “spirit” of balance needed for some TCs, but this one is not one.  Chair will talk with Doug Reindl about making roster change.	
13. Adjourn
Motion to adjourn 3:27 pm.  
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