# TC 7.6 Building Energy Performance - Standards Subcommittee

Meeting Minutes

2020 ASHRAE Annual Meeting, Virtual – Austin, TX

June 15, 2020 • 5:00pm – 6:00pm

- Attendance:

10 attendees

- Reports:

  - SSPC 90.1 – Energy Conservation in New Buildings, Except Low-Rise Residential Buildings

- Published at Winter meeting. New SSPC Chair rolling on.

- Chapter 4 Building Envelope has been systematically updated, including air leakage testing.

- Chapter 6 HVAC has been updated, including equipment efficiencies, controls such as humidity control and economizer.

- Chapter 7 Service Hot Water Heating has been updated to eliminate confusion about whether condensing heaters are required.

- Chapter 9 Lighting has been tweaked for lighting power densities and switching controls.

  - SSPC 90.2 – Energy Efficient Design of New Low Rise Residential Buildings

  - SSPC 100 - Energy Conservation in Existing Buildings

    - The standard is on continuous maintenance

    - Being used in Washington state and British Columbia.

    - Contractor working on Users manual – draft due in September

    - Terry Sharp has funding to update EUIs with newer CBECS data

  - SPC 105 - Standard Methods of Measuring and Expressing Building Energy Performance

- SPC has completed review of comments and is voting on going out for public review

  - GPC 14 Measurement of Energy and Demand  and Water Savings

    - Haberl and Landsberg gave update.

    - Revising several sections, including clean up final issues.

    - Have long-term list of items that want to add, in addition to comments that need to be addressed. Targeting end of 2020.

    - Call scheduled for Friday at 9-11am CST. Email meetings@ashrae.org for meeting Zoom.

  - Prop Std 228 on net-zero energy buildings (w/TC 2.8)      				Emerson

    - Chapters are all organized. Waiting on formal approval to add carbon to Title, Purpose, and Scope.

- Adjourn

The meeting was adjourned at 6pm.