Minutes TC 7.6 – Building Energy Performance Commercial Building Energy Audits Sub-committee Sunday, January 29, 2017, 2:00 pm Caesars Palace Las Vegas, NV

Purpose:

TC 7.6 is concerned with the estimation, measurement, analysis, benchmarking, and management of whole building and building systems energy and water performance.

This sub-committee is cognizant in part for the publication “Procedures for Commercial Building Energy Audits”, aka “PCBEA” aka “The Green Book.”

Agenda:

- Introductions, 32 attendees.  All attendees that provided contact information will be included in the project Basecamp site.

- Subcommittee Long Range Plan reviewed and discussion

- Proposed Audits Standard SPC 211

  - Meet Monday January 30th, 8:00 AM to 12:00 PM

  - Project timeline: independent substantive review will be required due to the quantity of changes prompted from the public comment period.  The publish timeline may be as much as another year out from now.

- Special Publication:  “Best Practices for Commercial Building Energy Audits”

  - Procedures for Commercial Building Energy Audits, 2nd Ed. published in 2011.  An updated publication has not yet been proposed to Pub-Ed council.  “Best Practices publication will replace the PCBEA to reduce market confusion.

  - PCBEA content review was performed; alignment and description of scope and purpose for 211 will be included, part one will be expanded to be more specific to which levels of audits should be applied and for what purpose.  A section similar in scope to a user’s guide for 211 will be included but will focus on some of the areas of 211 that could use greater explanation outside of the AHJ language the standard is forced to use.  ALI is looking for curriculum for the BEAP and this could serve that purpose; Nate will contact Karren Murray and Steve Comstock to coordinate and identify if any current efforts are already in the works.  Example filled out forms and example energy audits were also identified as opportunities for inclusion, as well as a better description of the purpose and sequence of performing a PEA.

  - List of items and comments from 211 that were withheld from the Standard to be included in Best Practices publication

  - Committee conference calls / digital meetings schedule development for Spring 2017:  Nate will send out a doodle poll via Basecamp and start regular monthly conference calls.  The first order of business will be the development of an outline/TOC for the new publication and task group identification to work on each section of the best practices book.