ASHRAE TC 7.6 “Federal Buildings” Subcommittee 
2015 Winter Conference
9:00 - noon - Sunday, Jan 25th, 2015
Chicago, IL

Subcommittee meeting notes

31 experts representing academia, government, research and industry attended the WG meeting chaired by Alexander Zhivov (ERDC-CERL):

Alexander Zhivov – ERDC CERL
Mark Wheeler – Honeywell
John Shonder – ORNL
Cyrus Nasseri – DOE FEMP
George Lea – USACE HQ
Mike Case – ERDC-CERL
Lawrence Markell -  Sentech, Inc. 
Kinga Post – GSA
Ravi Maniktala –ME Group
Michael Deru – NREL
Russell Taylor – UTRC
Richard Liesen – ERDC CERL
Bruce Hann – consultant
Phil Smith – Honeywell
Ellen Franconi – RMI
Andris Kreslinis – RTU (Latvia)
Galina Stankevica – RTU (Latvia)
Jan Kosny – Fraunhofer IBT
Ali Falahi – Fraunhofer IBT
Dusan Petras SSTP/STU (Slovakia)
Darryl DeAngelis – Belimo Americas
Katherine Hammack – US Army
Kirsten Englund Thomson –DBRI, AAU (Denmark)
Ove Moerck – Ceneria (Denmark)
Pam Androff – Mitsubishi Electric
Mark Adams – ORNL
Ned Sheppard – USACE
Tom Gilborthon – TAGA
Jason Silken – GSA
Janice Peterson – BPA
Paul Volkman - US Army  
 




Meeting minutes

1. Self introductions, 
2.  Ove Mørck presented the status of the Deep Energy Retrofit Case studies source book and discussed lessons learned and summary; 14 case studies have been already documented following the template prepared by the committee; 6 more case studies are in works to be finalized by Honeywell, RMI and NBI by September 2015
3. Alexander Zhivov has presented a bundle of core technologies selected for DER retrofit modeling results from the USA, Germany, Denmark, Estonia, UK and China to optimize characteristics of these technologies. It was decided that baselines and Scenario 3 for each modeling with PIE charts with their composition effort shall be presented to compare the results. U-values before and after refurbishment shall be documented
4. Finalize documentation of standards used for baseline and scenarios 2 and 3.
5. Richard Liesen presented Scalar Ratio concept to be used for NPV calculation to maximum allowable cost increase compared to the baseline or the base case. Richard has modified SR calculation tool to be used in the Annex 61.
6. John Shonder and Ruediger Lohse presented the status of the “Business Models for Market Implementation” guide and Lessons learned from the First Invetor’s Day in Brussels (Nov 6). The report from the investors’ day will be edited and published before May 2015.  Honeywell will provide a contribution to the Guide based on their experience with recent projects
7.  Cyrus Nasseri discussed the status with ongoing demonstration proejects: GSA, Army, case studies from Germany.  Potential number of demonstraion projecs can be up to 6. 
8. TC 7.6 sponsored 2 technical paper Annex 61 at the 2015 ASHRAE Winter Conference.
9. 3 sessions relevant to the  Annex 61 are planned for the 2016 ASHRAE winter conference covering modeling results, DER Guide and case studies
10. John Shonder announced upcoming Energy Exchange Workshop in Phoenix (August 2016) with two sessions covering business and technical aspects of DER.. This workshop can be potentially combined  with the Second Investors’ Day. 
11. Next Annex 61 meeting location and dates: 
April 13-15 – Reading, UK  - 4th experts meeting
		September 21-23 – Graz, Austria – 5th experts meeting
		January 20-21 – Orlando, FL – interim experts meeting.

Meeting adjourned at noon.

Prepared by Alexander Zhivov 

