TC 2.4 Particulate Air Contaminants/Removal Equipment

DRAFT Main Committee Meeting Minutes

Note that items in italics are likely needs for voting at the time of preparation of this agenda

June 25, 2024

3:30-5:30 pm Central Time

Indianapolis

Also hybrid, Link to Join:

- Call to order…………………………………		Jon Rajala

Call to order at 3:30pm

- Introductions

- Roll call ………………………....…….……	Todd McGrath

18 voting members 16 Attending 2 absent

(for-against-abstain-absent)

- ASHRAE Code of Ethics Commitment..….    	Jon Rajala
In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Chair Comments

  - Update and continuation on discussion of virtual meetings

    - Seems like we are shifting back to more in-person, ASHRAE providing less resources.

  - TC communication

    - Difficult to email entire TC, please check website or reach out for info – sorry.

  - Chairs Breakfast report

    - GTIC – Let us know if you want to be involved in ISO/International Standards process.

    - RTAR/WS process going online.

      - More visibility

    - Government affairs – looking for subject matter experts.

https://www.ashrae.org/about/government-affairs/grassroots-advocacy/accomplishments

ASHRAE has funds to support this.

- Liaison Report

  - Liaison section head here.

- Particle Party……………………………...……	Keith Chesson

Loughmiller s Pub

7:00 pm (after TC 2.4)

- Approval of Winter Chicago Minutes……….….. 	Jeni Wong

  - Minutes need to be edited for some dates

    - Will update and send out to VM

- Record of votes taken since summer meeting … 	Jeni Wong

  - None Taken

- Subcommittee Reports

  - Membership Subcommittee Report…………Jeni Wong

    - All subs have Chair and VC

    - Roster still an issue and working on updating

    - Looking to add progression in future

  - Research Subcommittee Report…………….	John Randtke

10 minutes briefing - Report attached below

Motion for no cost extension for RP1734 to 12-01-24

John Randtke Motion, Geoff Crosby second

15-0-0-2-CNV (for-against-abstain-absent).

RTAR-1948 accepted with comments in February 2024. I missed this in my emails when it happened. Needs to be developed into a work statement and approved by our Research Liaison (Chris Gray) before submission.

VOTE - Approve Co-Sponsorship of TC 2.3 RTAR

Jon sent RTAR info to TC 2.4 voting members on June 6, 2024. Title is “Ozone Removal Efficiency and Generation of Byproducts on VOC-Loaded Gas-Phase Air Cleaning Devices”.

Results:

Motion to approve Co-Sponsorship

John Randtke Motioned, Jeni Wong second

15-0-0-2-CNV (for-against-abstain-absent).

  - Program Subcommittee Report……………..	Jenny Berens

10 minutes briefing

VOTE - Approve Co-Sponsorship of “Applying Airborne Biosensors to Improve Building Occupant Health” seminar submission

Jon Douglas was looking for co-sponsors for a program submission in 241 meeting, I offered to bring it up in 2.4.

Results:

Motion to approve Co-Sponsorship

Jenny Berens Motioned, Brian Krafthefer second

Suggestion to reach out to Jordan Clark about the low cost sensor side from 2.4.

15-0-0-2-CNV (for-against-abstain-absent).

  - Standards Subcommittee Report……………	Bobby Singer

10 minutes briefing

  - Web Master…………………………………	Sina Yousefi

10 minutes briefing

  - Handbook Subcommittee Report…………...	Brian Krafthefer

10 minutes briefing

VOTE - Handbook Subcommittee Approved Version of Chapter 11 for the 2025 Fundamentals Handbook

Jon sent handbook chapter text to TC 2.4 voting members on May 10, 2024. TC 2.3 is lead author (already voted to approve this revision) and as a co-author, TC 2.4 also needs to vote.

Results:

Motion to accept Chapter 11 for 2025 Handbook

Brian Krafthefer motioned, Gemma Kerr second

15-0-0-2-CNV (for-against-abstain-absent).

2.4 has responsibility of Chapter 29, 66

Need reviewers in Orlando

  - Planning Subcommittee Report…………….	Jeni Wong

10 minutes briefing

How do we reinvigorate certain groups.

Looking at Standards and Membership

Look at compiling groups lists with 2.3 and share to get more engagement.

TC 2.4 LinkedIn page

ASHRAE – How to write an RTAR

- Old Business

- New Business

Misc Announcements (Conferences, Awards, etc.)

- Todd McGrath received an email from Greg Baker (Fiber Bond) regarding NESHAP 40 CFR Part 63 and a change in paint used for this test and how it compared old data to new data. Not relevant for 52.2 or any other ASHRAE standard, but can be addressed amongst TC 2.4 community.

- Scott Parris and Kevin Kwong will look into how 2.4 can help out.

- Misc Announcements (Conferences, Awards, etc…)

- Adjournment

  - Marilyn moved, Gemma Kerr second 15-0-0-1 CNV (for-against-abstain-absent) 5:00pm

ASHRAE RESEARCH SUBCOMMITTEE MEETING

TC2.4 – Particulate Air Contaminants/Removal Equipment

Summer 2024

Indianapolis (Research Meeting is in Person)

Monday, June 23rd, 2024

4:00 PM – 5:30 PM Eastern Time

JW Marriott, White River IJ (1)

- Call to order

  - 57 attendees

- Review of agenda

- ASHRAE Code of Ethics

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.  (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Research chair’s comments

  - Goals of TC 2.4 research subcommittee:

    - Always have one funded project

    - Consider particulate air filtration as well as the “nature of particulate contaminants”

  - Reminders:

    - RAC deadlines for RTAR/WS submission (Get “M-M-A-D” at RAC: March 15th, May 15th, August 15th, December 15th)

  - Research subcommittee chairs’ breakfast is Monday, June 24th

    - Update from Summer 2024 RAC breakfast (taken after subcommittee meeting):

      - RAC can approve up to $350k internally

      - RTARs need to be in alignment with research plan

      - There is a new RTAR web portal in beta, RAC is looking for volunteers to test it out.

      - RAC is working on assembling a historical record of how RTAR budgets fall in alignment with final bids to share out.

  - Action Items for Research Chair:

    - Questions for chairs of other TC’s & Groups?

    - Questions for RAC?

      - There seems to be a hold up on Journal articles that Kathleen Owen has submitted to ASHRAE for publishing, and she would like to be released to provide presentations on the subject of her research – specifically to SSPCs 52.2 and 145 who would directly benefit from the findings.  How do we get this moving quicker?

      - Ask status on budgeting tool (Sanjeev needs assistance.)

- Liaison Reports / Updates (detailed discussion of new ideas reserved for the end of the meeting.)

  - RAC

  - SSPC 170 – Jenny Berens or Brendon Burley

    - Nothing related to TC-2.4

  - TC-9.7 – Educational Facilities – Marilyn

    - Drafting a paper on IAQ for educational facilities

      - Jon Rajala to be liaison since he attends their meetings.

  - Other

- Requests for Assistance

  - We need formal reviewers for:

    - RP-1838 – Emerging Gas-phase electronic filtration technologies and ASHRAE 145.2 test Standard

    - RP-1720 – Validation of Gas Phase Air Cleaner Performance Test Method by Laboratory Testing of Commercially Available Filtration

    - Randtke to send names of volunteers to CPreyor@ashrae.org

      - Carolyn “Gemma” Kerr

      - Marilyn Listvan

      - Caitlin Naske – RP-1838

      - Daniel Miller

      - Thad Ptak

      - Satish D

Brainstorming Session

- See attached Research Subcommittee Status table for ideas in progress.

#### TC 2.4 Program Subcommittee Meeting – Report back to TC 2.4

#### Tuesday, June 25th – 3:30 pm-5:30 pm EST

#### Subcommittee Chair reporting back: Jenny Berens

- General:

#### We have 9 ideas on the docket. We have decided to focus on 3 of these ideas and the remainder (6) are on the backburner. Main focus:

    - Ethics in air quality

    - Particles in outer space

    - Urban aerosols

- Status:

  - Ethics in air quality: Submitted for Indianapolis, Summer 2024

#### Title:  "The Luxury of Clean Air: Equity in Air Quality”

#### Team:

#### Chair: Todd McGrath.

#### Presenters (in order of presentations): Sissi Liu, Jenny Berens, Geoff Crossby, Paul Francisco.

#### Submitted: 2/22/2024

#### Rejected: 3/29/2024

  - Particles in outer space: Active search for experts to be part of seminar 2023/2024

#### Team: Evan Connell, Jenny Berens

#### Requested:

- NASA speaker through NASA official request site. Officiel rejection letter received early -24/

- Jeff Siegel (not good timing Summer-24)

- Jeff recommended contacting Marit Meyer,  Claire Fortenberry,  Karen Dannemiller, Francois Levy – no responses and/or availability from any of the suggested parties.

  - Urban aerosols: No update

- Plan forward:

  - Resubmit "The Luxury of Clean Air: Equity in Air Quality"

#### Strategy:

- Reach out to ask Paul whether he is interested in participating in the 2025 Winter Conference or not. Adapt strategy depending on answer.

- Check the new tracks & decide which one would fit.

- Adapt abstracts as needed.

- Submit by deadline: Friday August 2, 2024.

    - “Particles in outer space”

  - Particles in outer space

#### Strategy:

#### Evan Connell to continue effort to reach out to find experts outside of ASHRAE to be part of seminar with support from Jenny Berens

- TC 2.4 Co-sponsored talks

  - Summer-24 programs

- Seminar 3: Wildfires and Their Effect on Building Occupant Health (TC 2.5, co: TC 2.4)

- Seminar 18: We’re Not Blowing Smoke: What You Need to Know About Wildfire Smoke (TC 2.3, co: TC 2.4)

- Seminar 37: Particle and Contaminant Tracking for Health and Safety (TC 4.10, co: TC 2.4, spons: TC 2.3, TC 2.4, EHC)

- Seminar 45: New ASHRAE Standards 185.3, 145.4 and 185.5 for Air Cleaners – What are They and When to Use Them? (TG2.RAST, co: TC 2.4, spons: EHC, TC 2.3, TC 2.9, TRG:IAQP)

- Seminar 49: Current Legislation for Gas Stoves: What Is the Impact and How Should We Proceed? (TC 2.3, co: TC 2.4)\

- Upcoming

#### Motion to approve co-sponsorship of the below idea:

- SEMINAR SUBMISSION, ASHRAE Winter 2025 Conference – Orlando

#### TITLE:  Applying Airborne Biosensors to Improve Building Occupant Health

#### Chair/Moderator:  Jon Douglas, Johnson Controls

#### Session Abstract:

#### The US Government ARPA-H program is commissioning a 5 year R&D program to “combine advances in biosensors, risk assessment, and building controls to create integrated diagnostic and therapeutic indoor air-management systems that automatically detect and react to airborne pathogens and allergens.” In this seminar we will have speakers that will introduce the current state of the art for airborne biosensing and risk assessment tools.

#### (see full details below)

TC 2.4 STANDARDS SUBCOMMITTEE

Minutes

Sunday 2:00PM – 3:00PM, June 23, 2024

JW Marriott White River IJ

ASHRAE Value Statement – In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual. We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all.

PURPOSE:

The focus of the Standards Subcommittee is on the writing and continued maintenance of standards and guidelines written for HVAC&R air filtration.  This group not only reviews ASHRAE standard and guidelines but also keeps an active reporting system of HVAC&R standards and guidelines produced by other organizations and other countries around the world.

This TC is Cognizant for the following standards

- CALL TO ORDER

  - Introductions

  - Chair’s comments

    - Introduced Scott Parris as vice chair

    - Scott Parris conducted the TC2.4 Standards Sub-committee

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - Per Todd McGrath, 52.2 ANSI reprint scheduled for this year.

    - Thad Ptak working with a team to collect data to evaluate 52.2 test equipment accuracy. A survey is being distributed.

    - Kathleen Owen fielded questions from attendees concerning results from the latest round robin data analysis. She is soliciting independent reviews to publish the results.

    - See 52.2 meeting minutes for details.

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

    - Purdue University test lab visit occurred on Thursday June 20, 2024.  Thank you, Brandon Boor for hosting the ASHRAE GPC 35P team.

    - Standard is pending conclusion of RP1734 Phase 2 report, 3rd revision. Reproducing A Representative Urban Atmospheric Aerosol Distribution…

    - See GPC 35P meeting minutes for details.

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Kevin K)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - No update

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - No update

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

      - No update

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

    - SPC 185.3P, Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

      - No update

    - SPC 185.4P Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

      - No update

    - SPC 185.5P Method of Testing HVAC-duct mounted Devices and Systems and In-Room devices for Particle and Microorganism Removal or Inactivation in a Chamber with a Recirculating Duct System

      - No update

  - TC 5.4 Industrial Process Air Cleaning (Need Liaison)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Per Geoff Crosby the standard will be out for public review prior to Winter 2025 conference.

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities (Need liaison)

      - Update per Jenny Berens.

      - Mark Davidson has proposed creating a SSPC170 Filtration Subcommittee

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Jon Rajala)

    - No new information.

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Jon Rajala)

    - Updated filter efficiency requirement to MERV13.

    - Ready to send out for public review.

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings

    - No update

  - SSPC 90.2 – Energy Efficient Design of Low-Rise Residential Buildings (Palo Tronville)

    - Addendum G requiring filter efficiency of MERV13.

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Jon Rajala)

    - Jon to forward updates via e-mail.

  - WG 1 (Terminology) – OPEN APC

  - WG 2 (UV-C) – Katja Auer (APC)

  - WG 3 (General Ventilation) – Don Thornburg (Convener) & OPEN APC

  - WG 4 (HEPA/ULPA) –R. Vijayakumar (Convener) & Andy Stillo (APC)

  - WG 5 (Dust Collectors) – Open APC

  - WG 7 (Durability of Cleanable Filter Media) – OPEN APC

  - WG 8 (Gas Phase) – Matt Middlebrooks (APC)

  - WG 9 (Gas Turbine) – OPEN APC

  - WG 10 (Nuclear) – Satish Dinakaran (APC)

  - WG 11 (Portable Air Cleaners) – OPEN APC

  - WG 12 (Sustainability) – Geoff Crosby (APC) & Jon Rajala (Acting APC)

  - WG 13 (Biological equipment for waste gas) – OPEN APC

  - WG 14 – Test Method for Airborne Microorganism Filtration Efficiency and Decontamination Efficiency

  - SSPC 241 Control of Infectious Aerosols  (Mike Corbat)

    - Committee meeting 6/24/24 3:00pm

  - TC 4.10 (Sina Yousefi?)

    - No update

  - TG2.RAST (Kevin)

    - Draft is complete and needs final edit to get ready for public review. Target Winter 2025 meeting.

- TC 7.3 lead for the following standard (Co-Cognizant)

  - ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

    - No update

2024 0626

IEC/TC59/SC/59N Activities (KJ Choi Updates)

JWG 1

- JWG 1 Reduction of Particles (Stefan Schumacher)

    - IEC 63086 Part 2-1 on Measurement of Reduction of Particles by an Air Cleaner was published. Preparation for future revision.

- SWG 1.1 Performance Change with System Loading (K C Noh)

  - Currently drafting of CD document. Discussion on change to OSD format.

JWG 2

- JWG 2 Determination of gas-phase pollutant reduction (Dr. Atsuo Nozaki / Yoshio Okamoto) CDV draft - IEC 63086-2-2 ED1: Household and similar electrical air cleaning appliances - Method for measuring performance - Part 2-2: Particular requirements for determination of gas-phase pollutant reduction.

- SWG 2.1 Reduction of Ozone (Jinzhu Ma) working on draft CD. Possibly developing a separate standard (IEC 63086-2-7) for static without dynamic.

- SWG 2.2 Performance Change with System Loading Gas Phase Pollutants, currently PWI stage.

JWG 3

- JWG3 Reduction of Microorganisms (Zhang Xiao)

  - Working on CD draft: Part 2-3 (IEC 63086-2-3): Particular requirements for reduction of microorganisms. Comparing CD draft with PAS based on AHAM AC-5.

JWG 4; General Characteristics (John Park (US))

- SWG 4.1 Measurement of Acoustical Airborne Noise

- Lead = Richard Deane (UK)

- Working in conjunction with TC 59/WG 2 to maintain IEC 60704-2-19

  - A CD ballot comment requires RRT to address the concerns on uncertainties.

- 6 labs have volunteered for RRT:

  - Germany (2), Japan (1), Sweden (1), UK (1) and US (1)

  - RRT is ongoing per the schedule labs agreed with.

- Three test units for RRT:

  - Regular Air Cleaner: Philips 800 Series

  - Taller air cleaner: LG Puricare 360

  - Diffuse/directional: Dyson Pure Cool™ purifying fan

- Next meeting is upon the completion of the RRT.

- SWG 4.2 Methods to Operate Round Robin Testing

- Lead = Connor Hoover (US)

- IEC TR 63250 is to be used as the guidance document for the individual Part 2’s.  No formal technical report will be produced.

- Reference unit is Amway Atmosphere Sky 120539.

- Resource files have been created, and under development for use:

  - Laboratory Questionnaire – ready for recirculation

  - Inter Lab Test Program Guidelines – Air Cleaner – under review

  - Laboratory scoring – ready

  - Datasheet for Part 2 on Particles – in review

  - Statistics sheet for analysis – in review

    - ** These are the tools for all SC 59N when conducting RRT. **

- Next meeting = 6/26 (W) tentatively

- SWG 4.4 Measurement in Automatic Mode

- Lead = Dan Miller (US)

- Scope in discussion, focusing on the perspectives of performance control and energy savings by automatic mode:

  - Time to kick-in, clean, and stop; concentration for each step; then energy use for such operations

- New direction from the 4/23 meeting discussion

  - What is the metric, in other words, what are we measuring as to the performance of automode?

- Next meeting = 6/5 (W)

- SWG 4.5 Methods to Measure Energy Efficiency

- Lead = John Park (US)

- IEC 63086-3-XX TS (59N/11/NP)

  - NP approved by 5 NC’s

  - RVNTS submitted

- Discussion on new direction:

  - Energy efficiency than power/energy

  - IEC 63086-2-4 than Technical Specification

  - Cancel 59N/11/NP, and submit a new NP.

- Next meeting = 6/12 (W)

JWG 5; Special types of air cleaners

- SWG 5.1 Fresh Air, Air Cleaners (Shanshan Li)

  - Reached consensus to stop and restart this project due to 5 yr limit.

  - Preparing preliminary NP (Test method verification for fresh-air cleaner)

- SWG 5.2 Robotic/Mobile Air Cleaners

  - Brief introduction about the market, technology and test method of robotic air cleaners was made.

  - Main focus is on the comprehensive cleaning and mobile index and relative test methods.

  - Distributed list of reference standards and CADR test methods, waiting for the feedback before further discussion.

JMT 6; Joint Maintenance Team 6 (Wayne Morris)

- Joint Maintenance Team 6 is responsible for the IEC Part 1 Standard, 63086-1 (published in 2020)

- Recently, IEC 63086-1 was Amended (Amendment 1) which corrected some typographical errors and clarified the scope (published in 2023)

  - There is great desire to update the Part 1 document and to have it considered by ISO TC 142 for dual logo

  - Following Amendment 1, Joint Maintenance Team 6 (JMT6) was reformed with representatives from ISO TC 142

  - Move Part 1 to OSD

  - Includes larger chamber.

  - Discussed a draft NP on new revision including outline of list of sections to be considered for change.

IEC TC 59/SC59N, Decisions of Plenary, 26 April 2024

- ISO 16000-36:20018 Indoor Air—Part 36: Standards method for assessing the reduction rate of culturable airborne bacteria by air purifiers using a test chamber

- ISO 16000-44:2023 Indoor air—Part 44: Test method for measuring perceived indoor air quality for use in testing the performance of gas phase air cleaners

- ISO 16000-43 Indoor Air—Part 43: Standard method for assessing the reduction rate of culturable airborne fungi by air purifiers using a test chamber (under development, passed enquiry stage)

“No future developments of air cleaner performance test method standards should be developed by ISO TC 146. This work should be done together with IEC TC59, SC59N and under direction of SC59N for double-logo standards.

“Experts from ISO TC 146 are invited to participate in Liaison standards development with IEC SC59N as ISO TC 142 has been working with IEC 59, SC59N for 5 years.”

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - Recommend techniques…

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 –

  - Need liaison for IEC & AHAM

  - Brian recommended for the committee to list out cognizant guidelines.

  - Decarbonization Grants to look at system component life. $2 million dollars being allocated.  Looking for research ideas. (Palo Tronville)

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

  - CEN/TC 195 – Cleaning equipment for air and other gases (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – aging procedure with fine particles

  - IEST – Institute of Environmental Sciences and Technology – no update

  - AHRI 680 – Sanjeev and Chrystal. Working on updating

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO – April 29-May 1 2025 Miami Beach

  - NAFA

    - 2024 Annual Convention Oct 1-3 Maui

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Bruce McDonald)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

  - IAQ Meetings (Jeffrey Siegel)

2024

  - FILTECH Expo and Conference

    - Nov 12-14 2024 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be July 7-11 2024 - Honolulu

  - American Association for Aerosol Research

    - 10-21 – 10/25 Alb, NM

  - International Aerosol Conference

    - 2026 China– Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - June 2025 Bordeaux France

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society 2024 Annual Conference, November 4 – 5, 2024 at Jeonbuk National University

  - Waterloo Filtration Institute (Jenny) Dec 3rd 4 Online

  - Healthy Buildings

  - ANEX 2024 May 22-24 Taiwan