M I N U T E S

Official

TECHNICAL COMMITTEE 8.7

2025 Summer Conference

June 23, 2025

Note: These draft minutes have not been approved and not the official, approved record until approved by the Technical Committee.

# 180 Technology Parkway NW, Peachtree Corners, GA 30092

Final Approved

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	8.7						DATE	6/23/2005`

TC/TG/MTG/TRG TITLE		Variable Refrigerant Flow

DATE OF MEETING 	June 23, 2025	LOCATION	Phoenix Arizona

| Attendees | Affiliation | Attend | Int’l |
| --- | --- | --- | --- |
| Voting Members |  |  |  |
| Scott McGinnis, Chair | Direct Expansion Solutions | 1 |  |
| Doug Tucker – Vice Chair | Mitsubishi Electric US | 1 |  |
| Jeff Whitelaw – Secretary | Daikin Comfort Technologies | 1 |  |
| Brian Bogdan Christopher Williams | LG Electronics | 1 |  |
| Badri Patel – Programs | Johnson Controls | 1 |  |
| Shawn Andrews / Greg Kalinyak | AHRI | 1 |  |
| Edward Bent – Handbook | Fujitsu General | 1 |  |
| Kyle Gluesenkamp | Oak Ridge National Lab |  |  |
| Chris Williams | Trane | 1 |  |
|  | Total Voting Members on Committee = 9 | 8 |  |
| Non-Voting Members |  |  |  |
| Joshua Godwin | Midea | 1 |  |
| John Cumming | LG | 1 |  |
| John Pitavage | Modern Energy |  |  |
| Chandra Gallapudi | Samsung |  |  |
| Victoria Massino – Webmaster | Airzone | 1 |  |
| Matthew Setzekorn | Emerald | 1 |  |
| Guests |  |  |  |
| Tom Stiles | Intertek | 1 |  |
| Aniruddha Joshi | Daikin Comfort | 1 |  |
| Edison Shen | MIDEA | 1 |  |
| Travis Lancaster | Intertek | 1 |  |
| Pinjala Sai Sudhir | Intertek | 1 |  |
| Dan Pettway | Retired | 1 |  |
| Dawen Lu |  | 1 |  |
| Pushpinder Rana | Mitsubishi Canada | 1 |  |
| Jeremy Tidd | Mitsubishi | 1 |  |
| Kenny Locke | Oversight District | 1 |  |
| Wei Wang | GA Appliance | 1 |  |
| Marie Vanderviet |  | 1 |  |
| Bernardo Baldosso |  | 1 |  |
| Nitin Rathod | P2s Inc | 1 |  |
| Nicolas Campbell | Solaris | 1 |  |
| Charmaine Rajas | CSA | 1 |  |
| Amy Thomas | CSA | 1 |  |
| Bryan Boyce | Energy Solutions | 1 |  |
| Jeremy Wojtak | Energy Solutions | 1 |  |

| Item | Topic | Resp. | Comments |
| --- | --- | --- | --- |
| 1 | Call to Order | McGinnis | Meeting was called to order at 1:00PM |
| 2 | Quorum | McGinnis | 8/9 members present |
| 3 | ASHRAE Policies | McGinnis | - Value Statement: was read - Code of Ethics – The Chair advised members of the ASHRAE Code of Ethics. - Anti-Trust Policy – The Chair advised members of the ASHRAE Anti-Trust statement. - Recording Policy – Recording (audio, video, screenshots) of ASHRAE meetings, including online meetings, is strictly prohibited. |
| 4 | Welcome / Introductions | McGinnis | - Introductions were made |
| 5 | Minutes of prior meeting(s) | McGinnis | - Minutes from prior meet were reviewed; minor typographical edits - Minutes approved by a Motion #1 and Vote |
| 6 | Agenda review/updates | McGinnis | - Reviewed and no changes proposed |
| 7 | Chair Comments | McGinnis | - New TC – How to design space station HVAC; looking for members - Research: Not getting many projects submitted; several million to spend |
|  | A2L Pipe Shaft Discussion | Williams | - Addendum a to Standard 15 – Passed subcommittee 16-0 - If pipe testing is completed per Section 9.13 then shaft is no longer required; local requirements may vary - 9.12.2.2: Shaft Ventilation: revised - 9.12.1.5.1 Pipe shaft shall be permitted - d: Shaft shall not be required to be ventilated when pipe or tubing is continuous and tested per 9.13 - e: Shaft not required for systems using A2L or B2L refrigerants where there are no hot surfaces (1290F) in the shaft and pipes, tubing, joints or connections are tested per 9.13 (i.e. can have joints) - Official when published on ASHRAE - Schedule: Full 15 possibly 6/24/25; if pass >> 30 day PPR >> address comments >> full committee comment review >> addenda publication - Interpretation Requests: ASHRAE 15 is late in several responses but are focusing on completing them |
| 8 | Subcommittee Reports |  |  |
|  | Handbook Chapter | Bent | - Ned attended training - Approved for Update for 2028 (target 7/1/27); need to start review current handbook chapter to determine changes; update for items such as A2Ls - Ned will start recruiting for support |
|  | Membership | Open | - 87 Members - 9 voting - 3 Members - 30 corresponding - 42 Provisional - 23 International |
|  | Programs | Patel | - 4 sub-committee meetings held - Discussing plans for Las Vegas - Submit panel discussions proposal – Scott to chair - VRF/DOAS application seminar (IAQ Track) – need to determine speakers - Looking for more volunteers to have new ideas for programs - Journal Podcast Season 6: Scott and Chris will support VRF podcast - Education and Training agree ASHRAE 15 training is required - Sub-committee meetings to continue; need more volunteers; contact Badri - ASHRAE 15; Chris submitted Distinguished Lecturer proposal – pending - Consider a workshop on how a design engineer can navigate standards for A2L designs |
|  | Research | Open | - Scott attended the meeting; we have an opportunity to submit ideas by 8/15 - Ideas - Document that can help with design VRF for systems installed in >95F ambient temperatures - Manufacturer guidance based on 95F ambient and, if higher, do better such as spacing, more ventilation; no clear direction - What possible design ideas can be considered to improve design - Consider engaging a firm to help answer questions - Consider coordination with SGPC-41 - Scott agreed to draft the RTAR document; Rana to share example - Project Title Idea: Research thermal stacking affects on VRF equipment in extreme ambient climates - Motion #2: Agreement to draft the RTAR to Research Thermal Stacking effect on VRF Equipment in Extreme Ambient Conditions: Vote: 7-0-1 |
|  | Standards | Gallapudi | - None |
|  | ALI | Rana | - Working on updating training per ASHRAE 15-2024; considering examples - Scott to share examples with Rana - Training course in 3 weeks; online course in September |
|  | Webmaster | Massino | - None |
| 9 | Liaison Reports |  |  |
|  | ASHRAE 90.1 | Cumming | - Insulation research study presented in 90.1 - Section 6.4.1.4: Verification of Efficiency: Interpretation request discussed which could impact certification requirements for products |
|  | ASHRAE 62.1 | Kalinyak | - 62.2 Split systems |
|  | ASHRAE SPC 205P | Whitelaw |  |
|  | ASHRAE SGPC 41 | Kalinyak | - Updates on refrigerant transition dates for each State? - WA provided 2 years; however AIM is until 1/1/27 - NY: <10GWP: 1/1/2030; AHRI sued NY - pending - FED: AIM act unclear if impacted by new Admin. |
|  | ASHRAE 189.1 | Tucker | - Meeting Tuesday - Proposed addendum: Completed PPR with 1 comment; requires Thermostats must be on Energystar thermostat list - Energystar status is uncertain; list may not be maintained |
|  | ASHRAE 15 | McEwin | - None - Under discussion: Multi-splits: 5T limit in ASHRAE 15: Considering elimination or changing to 10T limit; Straw pole re: Elimination Vote: 16-3-0 - Interpretation Request: Clarification on piping vs pipe - Result of response is that any safety shutoff valves, etc. are considered a leak point and handled according to ASHRAE 15 – Vote Passed - There are some working to overturn the decision - pending |
|  | MTG Low GWP | Tucker | - Meeting Wednesday - Lower GWP Refrigerant program <300 GWP; will seek chemical manufacturers and equipment manufacturers. Approved for launch - Oakridge testing A3 refrigerants |
| 10 | Old Business |  |  |
|  |  | McGinnis | - Do we need a Liaison to ASHRAE 170? (Scott) |
| 11 | New Business |  |  |
|  |  | Committee | - Dewan: With refrigerant transitions, is there a document for engineers can use to explain to code officials; consider a program/seminar |
| 12 | ACTION ITEMS |  |  |
|  |  |  | - Ned will start recruiting for support of Handbook Chapter update - Journal Podcast Season 6: Scott and Chris will support VRF podcast - Program sub-committee; please consider joining; contact Badri Patel - Draft the RTAR to Research Thermal Stacking effect on VRF Equipment in Extreme Ambient Conditions (Scott); Rana to share RTAR document to Scott for support - Consider a workshop on where to go to design A2L systems |
| 13 | Adjourn |  | - Motion and seconded to adjourn at 3:29PM |