TG2.IAQMD – 3rd Feb 2026 10am Las Vegas

Carl welcomed as voting member

Nitin volunteers to take notes and proposed as Secretary of the TG

Tony explained the purpose of this group.

Calibration  - Carl informed that the group met. Will send out an interpretation request to 62.1 for confirmation.

Simultaneously working on a draft for the calibration guidelines

Standards & Deployment – Brady will join this group along with Tony Abate.

System Performance - Sissi to lead. Nitin, Brady, Peter Luttick, Christian & Carl will be the other members.

Group to discuss accuracy and performance of sensors

Tony explained that the purpose of this group is to provide information to occupants and not to specify threshold levels or comment on health implications of air quality.

Tony informed that the TG webpage is up and working

Liaison

Carl  - TC9.7 – looking to do a submission for Austin for a seminar on IAQ sensors in schools

Tony volunteered to be a speaker for one session. Nitin also volunteers to be a speaker if required.

IAQ guidance document published. Version 4 work started.

Tony – 241 – working on ANSI approval

Peter Luttik suggested adding Humidity as a session.

Request to TG2.IAQMD to be a co-sponsor. Group voted and motion passed. 4- 0 - 0

62.1 – Carl – Guideline 42 discussions on how to drive more usage and have a user’s manual.

Tony – CMP to remove TEMP & Humidity in the definition for ventilation

EHC – Peter – discussed to do a position paper on humidity

EHC is also setting up a COE for IEQ and has proposed an ASHRAE IEQ standard.

2.3 – will meet later today (Tony)

Interim meeting schedule

Suggested to have 2 meetings before Austin besides the working group meetings

Old Business – as a co-sponsor we need a volunteer from this TG. Carl & Sissi volunteered to work on this RTAR 1846 by SSPC145

New Business – looking for volunteers with experience in writing standards language

Peter suggested an RTAR to make an inventory of health monitoring solutions that can be linked to IAQ performance measurements for evaluating the effectiveness of IAQ programs to promote health.

Possible panel discussion or seminar at Austin?

Sissi proposes a seminar for Austin as the previous one for Vegas did not get approved. Sissi will ask for co-sponsorship from 2.4 and 2.3

Suggested Topic: Understanding IAQ in the Built Environment

Meeting adjourned