MINUTES

TC 5.6 Control of Fire and Smoke

Monday, February 3, 2020	Hilton Orlando, Orlando, FL

- Introductions

| Voting Members Present | Voting Members Absent | Additional Attendance |  |
| --- | --- | --- | --- |
| John Klote | Yuan Li | Yoon Ko | Sarah Nikkel |
| Matthew Davy |  | Dahai Qi | Julian Rochester |
| Paul Turnbull |  | Duane Smith | David Peth |
| James Buckley |  | Scott Hammond | David Hahm |
| Peter McDonnell |  | Tim Orris | Andre Calado |
| Alfred Webb |  | Stephen Carey | Byron Hogan |
| Bill Webb |  | Ahmed Kashef | Collin Olson |
|  |  | Valentina Nedelcu | James Carlin |
|  |  | Mike Watz | Larry Felkner |
|  |  | Jerry Kettler | Sarah Nikkel |
|  |  | Marty Gissel | Jwianr Rochester |
|  |  | Aaron Gunzner | David Peth |
|  |  | Don Bailey | David Hamn |
|  |  | Joseph Chin | Andre Calado |
|  |  | Brian Poe |  |
|  |  | Kent Maune |  |
|  |  | Dave Branson |  |
|  |  | Garrett Cormier |  |
|  |  | Dimitry Kogan |  |
|  |  | TJ Lyle |  |

- Identification of Voting Members

Voting members in attendance are as follows: John Klote, Paul Turnbull, Matthew Davy, Jim Buckley and Peter McDonnell.  Two non-quorum members, Alfred Webb and Bill Webb, were also in attendance   A quorum was present, 7 of 8 voting members were in attendance, including 2 non-quorum members.

- Chairman’s remarks

‘Tip of the spear’ discussions with the Section Head (Larry).

- Approval of Minutes from Jun 2019 (Kansas City)

The motion to approve the minute approved.

- Subcommittee Reports:

- Research – Matt Davy

ASHRAE Strategic Plan is developed.

We will make sure for ‘fire/smoke/safety’ inclusion in the strategic plan.

TRP 1644 - Smoke control in a long atria (heat transfer analysis) research contract was awarded to Jenson Hughes. Progress: preliminary runs completed, thermal transport model checked, and a matrix to be developed

No new RTAR/WS currently under development.

- Program – Valentia Nedelcu

Detailed program updates are attached.

# In this Orlando Winter meeting TC 5.6 organized 1 Paper Session (A New Look at Elevator Pressurization by John Klote &Paul Turnbull) and 1 Seminar Session (Fire Safety Challenges for Green Building Features by Yoon Ko, Dahai Qi and Leon Wang)

# Austin 2020 Conference Paper Session: extended abstract papers submitted for fire safety challenges for green building features

# Chicago 2021 Seminar Session: Back to basics “Getting started at smoke control design”

- Handbook – John Klote

The last revision has made the handbook in better shape, yet two volunteers are needed to go over the handbook for further checks.

- Standards – Liaison needed

Jim Buckley volunteered to chair the Standard sub-committee.

SSPC 3000 were looking for volunteers to develop a guideline for ‘commission’. The Guideline 1.5 commissioning standard will need to be reviewed

Action: Peter and Paul volunteered

- Membership – Larry Felker

The current roster is being revised.

Contact ASHRAE and join as provisional corresponding members (PCM), and after two years participation, PCM could be considered for corresponding members.

- TC 5.6 Web Site – Tim Orris

The website has been updated with this meeting agenda and the minutes from the last meeting which was held in Kansas City.  A volunteer is needed to take over ‘Website sub-committee’. Duane Smith volunteered

- Smoke Management Software – Bill Webb / John Klote

There have been no reported problems with the software.

- Handbook of Smoke Control Engineering – John Klote

A draft version of the new edition of the handbook will be available for members’ review.

- Inter-Society Liaison Reports:

- CIBSE (Chartered Institute of Building Services Engineers) – Liaison needed

There was no report.

- NFPA 80 & 105 (Standard for Fire Doors and Fire Windows) – Duane Smith

The edition in 2018 is being revised. The revised draft version will be voted in Feb. 2020, and public comments will be called out by May 2020.

- NFPA 90A (Air Conditioning and Ventilating Systems) – Jim Buckley

No update.

- NFPA 92 (Smoke Management) – Paul Turnbull

NFPA 92 is in cycle for revisions.  NFPA Smoke Management committee met April 2019.  At last meeting, multiple task groups were formed to look into proposals.

Task groups for Number of Open Doors, and Network Survivability met in January.

Number of open doors group is still working.  Network Survivability task group appears to be planning to drop the survivability proposal. Smoke Management Committee will meet again by phone in March to vote on outcome from task groups.

- AMCA Report – Stephen Carey

AMCA has put together a free industry session “Remote Periodic Testing of Life-Safety Dampers,” which will be presented tomorrow (Tuesday, Feb. 4, from 10:30 a.m. to 11:30 a.m. in Room W311B of the Orange County Convention Center). This entry-level course will be worth one professional-development hour (PDH).

AMCA Partnered with ASHRAE Journal on the hour-long webinar “Update on Codes, Standards, and Certifications for Louvers and Fire/Smoke Dampers” back on Oct. 23, 2019. The portion on fire/smoke dampers focused on remote periodic testing. The webinar was free and worth 1 PDH.

In the Snips magazine, they had published an article “Air Movement and Control Association: Code Required Periodic Testing of Life Safety Dampers” in the October 2019 .

The AMCA IN-Motion Publication that is sent out with the September Issue of ASHRAE Journal had an article “Remote Periodic Testing of Life-Safety Dampers” .

AMCA developed a 90-second animated video on the risks of fire-sprinkler trade-offs. The video can be viewed on the AMCA website.

Also published another article in Snips back in June 2019 titled “Air Movement, Control Association: Code Changes Allow Remote Periodic Testing of Life-Safety Dampers” .

This may have a small interest to this committee, AMCA is working on an document detailing what external duct leakage values to expect on fire dampers, smoke dampers, and combination F/S Dampers.

- UL Report– Stephen Carey

Matthew Schumann of UL was not present to report on UL activities. As far as Fire, Smoke, and Ceiling dampers (UL 555, UL 555S, and UL 555C), there were no new activities or changes made.

UL does have a new website www.iq.ulprospector.com that provides a much-improved search engine for UL products, designs, certifications or just a keyword search feature. You do have to register when you first go to the website..

- SFPE – Matt Davy

The Annual conference this year will be in OCT. 2020 in Atlanta.

- SMACNA – Delaine Deer (absent)

Paul shared that SMACNA kitchen exhaust system standard has been updated.

- Old Business

No discussion

- New Business

- Tip of the spear’ discussions with the Section Head (Larry), and the memo is attached.

It is suggested that ASHRAE should recognize the importance of life safety by making sure of inclusions of programs addressing life/fire safety.

- ASHRAE training courses to guide young engineers to smoke management.

Action: John will reach out to ASHRAE.

- Adjournment

The meeting was adjourned

Minutes recorded by,

Yoon Ko

TC 5.6 Secretary

# Attachment 1 – Program sub-committee meeting minute

# MINUTES

# TC 5.6 Program Sub-Committee

# Orlando

# Sunday (2/02) 3:00 PM – 4:00 PM, Hilton Orlando, LL, Orange F

- The meeting was called to order at 3:00 pm by the Chair.

- Attendance:

| Paul Turnbull | Siemens Technologies | paul.turnbull@siemens.com |
| --- | --- | --- |
| Matt Davy | ARUP | matt.davy@arup.com |
| John Klote | Smoke Control Expert | johnhklote@gmail.com |
| Byron Hagan | Nailor Industries Inc. | bhagan@nailor.com |
| Valentina Nedelcu | Nailor Industries Inc. | val@nailor.com |
| Peter McDonnell | McClure Engineering | pmcdonnell@mcclureeng.com |
| Yoon Ko | NRC | Yoon.ko@nrc-cnrc.gc.ca |
| Dahai Qi | University of Sherbrook | dahai.qi@usherbrooke.ca |
| Tim Orris | AMCA | torris@AMCA.org |
| Larry Felker | Belimo | larry.felker@us.belimo.com |
| Collin Olson | Energy Conservatory | colson@energyconservatory.com |
| Ahmed Kashef | NRC | ahmed.kashef@nrc-cnrc.gc.ca |
| Stephen Dane Carey | TAMCO | dane@tamcodampers.com |
| Gary Nelson | Energy Conservatory | gnelson@energyconservatory.com |
| Larry Felker | Belimo | Larry.felker@us.belimo.com |
| Brandon Bates | Energistics Lab | BBates@energisticslab.com |
| Eric Adams | Handbook | eric7954@att.net |

- Minutes. Reviewed Minutes from Kansas City 2019 Annual Meeting.

- Current Meeting Programs.

Paper Session 3: Presentation 1:  A New Look at Elevator Pressurization.

Sunday Feb 2, 9:45AM- 10:05AM, Hilton Orlando, LL, Orange A

Presenting Author: John Klote, Author: Paul Turnbull

Seminar 30: Fire Safety Challenges for Green Building Features

Monday Feb 3,9:45AM-10:45Am, Hilton Orlando, LL, Orange F

Chair: Peter McDonnell

Track: Ventilation, IAQ and Air Distribution Systems

Sponsored by TC 5.6 and Co-Sponsored by TC 5.9

Presentation 1: Fire Safety Challenges for Green Building Features. Yoon Ko

Presentation 2: Smoke Control for Sustainable Buildings. Dahai Qi

Presentation 3: Urban Hotspots and Building Fire Risks in Current and Future Climates. Leon Wang

| Year | Winter | Annual |
| --- | --- | --- |
| 2020 | Feb. 1–5 – Orlando, FL | June 27–July 1 – Austin, TX |
| 2021 | Jan 23-27 – Chicago, IL | June 26-30 - Phoenix, AZ |
| 2022 | Jan 29- Feb 2, Las Vegas NV | Jun 25-29, 2022 – Toronto, ON |

Future Conference meetings schedule update:

- Announcements/Communications: CEC information for Technical Committees.

Future Conferences Timelines

- Austin Annual Conference, June 2020

Deadlines:

February 10, 2020: Program (Seminar, Forum, Workshop, Debate, Panel) and Abstract Paper Due
February 18, 2020: Conference and Technical Paper Final Accept/Reject Notifications
March 2, 2020: Extended Abstracts Accept/Reject Notifications
March 16, 2020: Debate, Panel, Seminar, Forum, Workshop Accept/Reject Notifications
May 1, 2020:  Upload of presentation open for review
June 1, 2020: Presentation submissions due

- Chicago Winter Conference, January 2021

Deadlines:
Wednesday, March 18, 2020: Conference Paper Abstracts, Technical Papers and Paper Session Req. Due
Wednesday, April 22, 2020: Conference Paper Abstract Accept/Reject Notifications
Monday, June 15, 2020: Website Opens for Seminar, Workshop, Forum, Debate, and Panel Proposals
Wednesday, July 8, 2020: Final Conference Papers Due; Request for Conference Paper Sessions Due
Monday, July 27, 2020: Conference Paper Accept/Revise/Reject Notifications
Monday, August 10, 2020: Revised Conference Papers/Final Technical Papers Due 
Monday, August 24, 2020: Conference and Technical Paper Final Accept/Reject Notifications
Monday, October 5, 2020: Seminar, Workshop, Forum, Debate, and Panel Accept/Reject Notifications

Tracks:

- HVAC&R Fundamentals and Applications

- Systems and Equipment

- Refrigeration and Refrigerants

- Environmental Health Through IEQ

- Building Performance and Commissioning for Operation and Management

- Energy Conservation

- International Design

- Standards, Guidelines and Codes

- Review and update proposed programs for future conferences.

During the Meeting each of the proposed programs and topics was reviewed.

# On our list of future proposed programs, we have:

# Austin:

Conference Session. Fire Safety Challenges for Green Building Features

Authors: Yoon Ko, Dahai Qi, Leon Wang.

(Extended) Abstracts have been submitted and they are undergoing the second review. Final acceptance notice will be received after this conference.

# Chicago

# Seminar. Back to Basics Program.” Getting started at Smoke Control Design.

# Chair: Paul Turnbull

# Possible Speakers:  John Klote, Dane Carey, Larry Felker, Matt Davy

# We have a number of topics proposed that we maintain on our list for future programs:

# Smoke Control in Buildings using Occupant Evacuation Elevator- Matt Davy.

# Getting Started at Atrium Smoke Control Design. John Klote

# Elevator Shafts, Methods of Testing for Leakage. Gary Nelson (Energy Conservatory)

# Remote Damper Testing. Code Changes related to dampers. Larry Felker

- New topics.

# No new topics were introduced during the meeting.

Meeting was adjourned.

Attachment 2- Memo: Section 5 Tip of spear

TC0506 Orlando Minutes 20200520.docx