ASHRAE TC 8.1

Compressor Technology

2026 ASHRAE Annual Meeting

Tuesday 6/30/2026, 3:30 - 5:30 PM CDT

https://events.rdmobile.com/Sessions/Details/3452189

- Call to order	Schmig

- Review Scope

TC 8.1 is concerned with the design, performance, features, operating characteristics, and standards of all types of compressors for use with refrigerants.

- ASHRAE Value Statement 	Schmig

ASHRAE Value Statement – In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual. We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all.

Code of Ethics – Please review prior to meeting

Core Values - Please review prior to meeting

Diversity Statement – Please review prior to meeting

- Introductions	All

  - Determination of a quorum	Shen

VOTING MEMBERS FOR THIS MEETING (Need 6 for Quorum)

| Alex Schmig | 6/30/2026 |  | Connor Hayes | 6/30/2029 |
| --- | --- | --- | --- | --- |
| Riley Barta |  |  | Erik Anderson | 6/30/2026 |
| Jethro Medina | 6/30/2029 |  | Chris Seeton | 6/30/2026 |
| Margaret Mathison | 6/30/2029 |  | Craig Bradshaw | 6/30/2028 |
| Eric Berg | 6/30/2028 |  | Heinz Jurgensen | 6/30/2026 |
| Ray Good | 6/30/2029 |  | Stefan Elbel | 6/30/2028 |

- Agenda additions	All

- Chair’s Report	Schmig

  - Announcements and Highlights from TC Chairs Breakfast Meeting

- Liaison reports (as they arrive)	Liaisons

  - Section Head	Kashif Nawaz

  - TAC	Satheesh Kulankara

  - Research liaison	Carl Huber

  - Handbook Liaison	Kevin Muldoon

- Approval of minutes from Winter Meeting	Schmig

- Membership/Roster	Schmig

Starting August 1st: (All voting members and/or subcommittee chairs)

| Name | Role | Voting |  | Name | Role | Voting |
| --- | --- | --- | --- | --- | --- | --- |
| James Douglas | Chair | Yes |  | Manfred Burke |  | Yes |
| Connor Hayes | Vice Chair | Yes |  | Scott MacBain |  | Yes |
| Bo Shen | Secretary |  |  | Michael Perevozchikov |  | Yes |
| Haotian Liu | Research Chair |  |  | Raymond Good |  | Yes |
| James Douglas | Standards Chair |  |  | Craig Bradshaw |  | Yes |
| Jethro Medina | Handbook Chair | Yes |  | Stefan Elbel |  | Yes |
| Makayla Ianuzzi | Program Chair |  |  | Margaret Mathison |  | Yes |
| Eric Berg | Webmaster | Yes |  |  |  |  |

- Subcommittee reports

  - Programs	Anderson / Ianuzzi

    - Electrification of Heating Chapter 2: Industrial and Healthcare Markets as well as Heat Recovery Applications – Chris Miller possible chair.(should have good jobsite data by June)   Good candidate for Track # 6; Heat Pumps, Refrigerants, and Decarbonization.

    - Electrification of various Heating Applications and the challenges of capacity modulation using different compressor types: Which applications can be served by electrification today and which ones cannot. Rick Heiden as a potential chair.  Good candidate for Track # 6: Heat Pumps, Refrigerants and Decarbonization

    - Application Issues with New Refrigerants and Indoor Chillers: Does Standard 15 (equipment room design) properly cover the flammability issue?  Phil Johnson as a potential chair.  Good candidate for Track # 2: HVAC Systems and Equipment

    - Decarbonization and District Cooling / Heating – Tiffany Abruzzo possible chair. Good candidate for Track # 6; Heat Pumps, Refrigerants, and Decarbonization.

    - Applying Centrifugal Compressors to all Chiller Types. Oil Free Centrifugal Compressors increasing efficiency of Air-Cooled Chillers. Mark Rogan possible chair. Possible speakers mentioned: Ray Good, Tom Watson, Phil Johnson. Good candidate for Track # 2: HVAC Systems and Equipment.

    - Technologies for Data Center Cooling – Air-Cooled vs Water-Cooled : Possible Cosponsors 9.9, 8.1?

    - Service, Maintenance, & Troubleshooting of compressors including Scroll, Screw, Centrifugal, and Reciprocating Proposed by Joe Sanchez in SubCommittee meeting

    - Co-sponsored seminar from TC 1.2 on the history of the 41 series and uncertainty calculation/quantification with Jim Douglas as chair for Las Vegas.

    - Oil-free chillers, bearing technologies for oil free compressors

    - Any other topic ideas? Open to the floor

  - Research	Cambio / Liu

    - 1879-RP – Foamability properties of LGWP refrigerants

    - 1716-RP Oil Concentration of Field Installed Liquid Chillers with Flooded Type Evaporators.”

    - RP1851 – Dielectric Properties of Lower GWP Refrigerants

    - [Ready for Review] - TC 8.1 & 8.2 Effects of sub-atmospheric operation with low GWP, low ambient heat pumps. Leak rates and design suggestions (Matt / Daryl to follow up)

      - System Contaminants

      - Refrigerant breakdown

      - Possibility of electrical arching in a vacuum

      - Potential for combustion in the presence of oil

    - New RTAR ideas:

      - TC8.2 with 8.1 Decarb in heating mode discussed

      - TC8.2 What is the limit of high temperature heat pump vs. vapor recompression? (Bruno)

      - TC 8.1 Davide & Craig submitting - Assessment of Extrapolation Capabilities and Uncertainty Quantification of Multi-Refrigerant Semi-Empirical Compressor Models TC 8.1

      - TC 8.1 Extrapolation of performance mapping of multi refrigerants compressor models

        - Davide to follow up

  - Handbook	Medina

    - Status update of chapters

  - Standards	Douglas

    - Standard 23-2022, Methods for Performance Testing Positive Displacement Refrigerant Compressors and Compressor Units.  Standard 23-2022 has been reaffirmed, so it will be due for periodic maintenance (Revise, Reaffirm, or Withdraw) at the 2028 ASHRAE Winter Conference.

    - Standard 41.4-2015, Standard Methods for Measurement of Proportion for Lubricant in Liquid Refrigerant.  Jim Douglas is the Subcommittee 41.4 Chair. ASHRAE Staff have reaffirmed Standard 41.4-2015 to preserve the ANSI-accreditation.  Subcommittee 41.4-2015R has reached consensus on the normative portion of the working draft, but the uncertainty example in the informative portion of the working draft has not yet been completed.  Jim Douglas and Terry Beck are redoing the previously proposed uncertainty example.

    - Standard 41.9-2025, Standard Methods for Refrigerant Mass Flow Measurement Using Calorimeters. Michael Perevozchikov is the 41.9 Subcommittee Chair. Standard 41.9-2025 is published. Standard 41.9-2025 will be due for periodic maintenance at the 2028 ASHRAE Winter Conference.

    - Standard 41.10-2024, Standard Methods for Refrigerant Mass Flow Measurement Using Flowmeters.  Margaret Mathison is the 41.10 Subcommittee Chair. Standard 41.10-2024 is published. Standard 41.10 2024 will be due for periodic maintenance at the 2027 ASHRAE Winter Conference.

  - Web site	Berg

- Old Business

- New Business

- Adjourn