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1) The Meeting was called to Order by Chairman Carl Hiller at 4:15
-
Self introductions - members and guests

-
Membership/Roster was passed around for update & corrections
-
Determination of quorum 9 / 11   
-
Draft agenda was reviewed 
2) There was a motion by Frank Myers (seconded by  Frank Stanonik) to approve the minutes of the Montreal meeting as corrected. The motion passed 8-0-0 CNV 
3) Carl Hiller gave a report from the TC Chairman’s Breakfast 

ASHRAE has new logo and tagline


The 2011 ASHRAE Hightower Award was given to Don Beady


There is a proposal for speakers to pay $100 to attend the ASHRAE conference

4)  Section Head Report John Dunlap - Web tech, a virtual meeting is being tested at this meeting for TC’s 1.6 and 2.2 

5) Committee liaison reports- None 

6) Subcommittee Reports

a)
Programs (Ben Schoenbauer)

5 papers were submitted for 2 tech paper sections, however ASHRAE initially added one to a different session and put 4 in the poster session.  Chair & Subchair arranged to have the papers instead be in a dedicated technical session.

We have one Technical Paper Session 5 “Laboratory Testing of Heat Pump Water Heaters” 

San Antonio, June 23-27, 2012  Program possibilities:  We have a couple of potential papers on hot water end-uses and combined water / heat equipment . Harvey Sacks to investigate papers on changing the water heating test method or how the method is changing (to work with Ben)

Harvey Sacks to investigate papers on field tests 

Possibly more papers on Heat pump water heaters EEI

Martin – possible paper on evaluating HPWH at Canadian facility

Forum- what is wrong with handbook or what do the members want to see
Dallas papers are due March track- Standards and Codes 

update from 118.2 / test procedures / DOE?

heat pump water heaters

residential

combined systems

plumbing codes

b)
Standards – (Frank Myers)

SPC 118.2 – Jim Lutz reported the committee is “Struggling to come up with number and types of draw patterns and simulated use test”  we may be getting close on final choice of draw patters. We will vote in meeting tomorrow on what test equipment should be used, should we use different size categories and what to do if the water heater cannot meet the demand. We may be able to vote on public review at the June meeting. We have our meeting at 1:00 on Tuesday
SPC 118.1 – Earl Rightmier we have balance on the committee.  The committee voted out the draft - in May we will have comments back for review.  Earl gave a review of what 118.1 is.

SPC 90.1 – Frank Stanonik – Trying to develop  Ver.2013  should save 50% over 2004. 2010 saved 30%  trying to find the other 20% looking at systems not just equipment.  Service water heating still to be discussed looking at 21 items on mechanical systems to be considered

SPC 124 – Martin Thomas established as chair:  Has 4 current members. More potential members to complete paperwork at meeting on Wednesday.  Good meeting at Montreal to look at the old standard.
George Kusterer Vice- chair Jim Lutz  - Secretary

SPC 188P – Frank Myers
Legionella Standard -  received many comments on first review, underwent major changes and was sent out for second public review. Fewer comments have come in to look at during this meeting. Goal to vote out comments at this meeting and publish vote at the next meeting

Guideline 12 – Frank Myers.
ASHRAE moved for SPC 188P to keep guideline 12 on Legionella up to date as well as Std. 188.


DOE 
RESIDENTIAL WATER HEATING TEST PROCEDURE BEING REVISED call for comments
SPC 90.2 Frank Myers a board level group to look at the future direction of 90.2. Should it be an advanced code? While still remaining cost effective.  13 recommendations given not currently looking hard at water heaters, but they are considering the system, (location pipe and size)

SPC 189.1 looking to be like IACC to reduce pipe runs (Harvey Sacks)

SPC191P Water conservation committee Jim Lutz

c)
Handbook – Amin Delagah 



the handbook committee was meeting today. The chapter was last published 2011. We are due to be revised by 2014  There was a roundtable discussion for changes. He will email notes to committee.  Need update on solar and hot water systems.  Table 7 hot water demands needs to be updated, looking for data. Goal is to make the handbook a valid reference tool for today.
d)
Research – Lance DeLaura



Carl Hiller – We have RP1544 monitoring hot water use in hotels. Getting hotel approvals. The comment from the chair’s breakfast is that “the current number of RTAR’s is low”. Looking for more requests to update the handbook chapters. We are trying to get data on commercial water heater sizing.

e)
Membership – Jim Earley



No report
f)
Website – Kevin Stuart



Kevin reported that the website is up to date and ready to add membership and activities
7)
Research Updates for Non-ASHRAE Water Heating 
a) Harvey s ACEEE Hot Water Forum in May, California
b) California EC Funded Work
– Jim Lutz LBNL field research wireless transmitters to understand water use

-
 Field studies working with simulation programs
-
Emissions from water heaters at different types of gas (LNG,gas quality, Biogas, etc.)

-
GTI lab testing hpwh and tank and tankless use to develop models. GTI is working on a guideline to install efficient water heating distribution systems.
c)
Canada – CGA retrofitting water heaters with high efficiency water heaters, and doing before and after metering for 400 sites


Field test with different technologies including HPWH  

manufacturers are being asked to send HW systems for testing

d)
EPRI  - testing HPWH in field test looking to help utilities balance load
e)
DOE-  no report
f)
Fisher Nickel testing on new hybrid water heaters in foodservice applications – 

8)
Old Business NONE
9)
New Business

a)
Frank Stanonik moved (Frank Myers second) to reaffirm Standard 137 with ASHRAE staff to update references. There was discussion on the topic. Vote 7 – 1 – 0 CNV

b)
Casual dinner after the TC meeting – all invited

10)
Adjourn  8-0-0   CNV  6:20

