# 1791 Tullie Circle, N.E./Atlanta, GA  30329

404-636-8400

DRAFT v3

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	TC7.5						DATE	02/28/2021

TC/TG/MTG/TRG TITLE	Smart Building Systems

DATE OF MEETING 01/23/2021			LOCATION Zoom Virtual meeting

| Subcommittee Chairs and Voting Members | Term in Position | Ex-Officio Members and Additional Attendance |
| --- | --- | --- |
| David Yuill, Chair (V) | 2020 - 2022 | See attached attendance list |
| Li Song, Vice Chair (non-V) | 2020 - |  |
| Xiaohui Zhou, Secretary (V) | 2020 - 2023 |  |
| Zheng O’Neill, Research Chair (V) | 2020 - 2021 |  |
| Kristen Cetin, Smart Grid Chair (V) | 2017 - 2021 |  |
| Eric Yang, Program Chair (V) | 2019 - 2023 |  |
| Donghun Kim, Enabling Tech Chair (non-V) | 2020 - |  |
| Liping Wang, FDD Chair (V) | 2019 - 2023 |  |
| Gregory Pavlak, Handbook Chair (non-V) | 2018 |  |
| Bach Tsan, BOD Chair (non-V) | 2018 - |  |
| Michael Galler, Webmaster (non-V) | 2011 - |  |
| Glenn Remington (V) | 2019 - 2023 |  |
| Srinivas Katipamula V) | 2019 - 2023 |  |

(V) = voting member

(non-V) = non-voting member

Note: The complete attendance list from TC 7.5 is enclosed.

| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |
| --- | --- |
| Larry A Smith | SH7@ashrae.net |
| Rich M Heiden (Standard Liaison) | rheiden@train.com |
| David A Ballard (Chapter Technology Transfer Chair) | dballard@tcco.com |
| Bryan Becker (Handbook Liaison) | beckerb@umkc.edu |
| Mike Vaughn, Manager Of Research & Technical Services | MORTS@ashrae.net |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

|  | DRAFT Agenda |
| --- | --- |
|  | #### TC 7.5 General Meeting 1/23/21 11:00 AM to 1:30 PM EST |

https://ashrae-org.zoom.us/j/91953763313?pwd=NVUwdUhZa1B5Vys0NHZURENTVFJNZz09

Prepared by David Yuill

Schedule and links for TC 7.5 Meetings, Winter 2021:

| Committee | Date | Start | End | Chair | Link |
| --- | --- | --- | --- | --- | --- |
| FDD | 1/16/2021 | 1:00 PM | 1:45 PM | Liping Wang | Fault Detection and Diagnosis |
| BOD | 1/16/2021 | 2:00 PM | 2:45 PM | Donghun Kim | Building Operation Dynamics |
| Enabling Technologies | 1/16/2021 | 11:00 AM | 11:45 AM | TBD | Enabling Technologies |
| Handbook | 1/18/2021 | 12:00 PM | 1:00 PM | Joe Zhou | Handbook |
| Smart Grid | 1/18/2021 | 2:00 PM | 2:45 PM | Kristen Cetin | Smart Grid |
| Technical Discussion* | 1/18/2021 | 3:00 PM | 4:00 PM | Liping Wang | Technical Discussion |
| Program | 1/19/2021 | 12:30 PM | 1:15 PM | Eric Yang | Program |
| Research | 1/19/2021 | 4:00 PM | 4:45 PM | Zheng O'Neill | Research |
| Honors and Awards | 1/23/2021 | 10:00 AM | 11:00 AM | Carol Lomonaco | Honors and Awards |
| Main TC | 1/23/2021 | 11:00 AM | 1:30 PM | David Yuill | TC 7.5 Main Committee Meeting |

Remote meeting participation tips:

- Mute yourself.

- Click “Raise Hand” or type a comment if you wish to speak. Unmute yourself when the moderator or chair addresses you.

- Make sure that your display name is accurate and includes first and last name.

- Please sign in on the attendance sheet (link will be provided)

10:01 meeting start

- Welcome – TC 7.5 basecamp intro. Anybody can add/edit people, but be sure he/she needs to be a TC 7.5 member.

- Roll Call and Introductions. Determination of quorum.

  - Current voting members (ending month):

Kristen Cetin (June 2021); Zheng O’Neill (June 2021); David Yuill (June 2022);

Srinivas Katipamula (June 2023); Glenn Remington (June 2023); Liping Wang (June 2023); Eric Yang (June 2023); Joe Zhou (June 2023).

8/8 voting members present.

First time attendees: Chad Rush, Abed Alkhatib, Mike Filler, Prateek Shrestha, Zac Siefker, Joshua Gemmell, Dunstan Macauley.

Chad Ruch: asking to be added to TC 7.5 basecamp. cruch@ibgroupdynamics.com. Joe will help.

Discussion of membership for 2021/2022

- Scope

TC 7.5 is concerned with the performance and interactions of smart building systems, the impact of smart systems on the total building performance, methods for achieving more intelligent control and operation of building processes, interactions of smart buildings with utilities, and documentation of the benefits of smart buildings and smart building systems as they relate to energy consumption, cost of operation, maintenance, occupant comfort, building commissioning, operations, and impact of the SBS on utilities and natural resources.

ASHRAE Code of Ethics Commitment – Chair

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Discussion/Approval of 2020 Annual (virtual Austin) Meeting Minutes: Srinivas moves, Joe seconds the motion. 7/7 approved. Chair not voting.

- Announcements

  - Chairs’ breakfast meeting and other ongoing activities.

    - TC reorganization: vote weather we continue current structure or re-organization/disband/merge. Srinivas moves, Joe seconds the continuation of the TC. All 7 voting members approved.

    - Interim TC meeting procedure: don’t see the need.

    - ASHRAE approved 5 mergers of TCs

    - Research committee meeting not happened.

    - Hightower award nomination by Wed, Sept 1st. – contract Carol Lomonaco.

    - TC website up to date.

    - Email alias: send TC0705@ashrae.net for TC chair.

    - Next conference track announced.

    - Glenn asks to put the announcement to TC 7.5 basecamp.

  - Research Summit (Kristen Cetin)

    - Next conference Research Summit track

    - Support ASHRAE or other on-going research information exchange

    - Seminar presenter, conference paper, extended abstract- submit a summary of research project (3 page). By 2/15.

    - https://www.ashrae.org/conferences/2021-annual-conference-phoenix - Research Summit - Extended Abstracts are Due Feb 15. Let me know if you have any questions - cetinkri@msu.edu

  - Section 7 Head (Satheesh Kulankara)

    - Any feedback to TAG related to this section, please contact Satheesh.

    - Functional evaluation form – survey, discussions, etc. sent to all the TCs.

    - Dave has filled out most of the form. Two forms. Will submit.

- Liaison Reports: Section Head, TC 1.4 (Chariti Young), TC 1.5 (Michael Galler), TC 7.3 (currently Michael Brambley but need new liaison), MTG OBB (Zheng O’Neill), TC 1.9/1.10 (Currently Glenn Remington but need to identify a new liaison)

  - Jin: TC 1.4 occupant-centric control discussion. Will setup a cybersecurity subcommittee – mix cybersecurity with emerging technology. James is the TC 1.4 chair – need to collaborate. Mike Galler: MTG cybersecurity meeting is scheduled. Carol is the TC 7.5 liaison to MTG 280 cybersecurity, and Chair of TC 2.10. Handbook, research on TC 7.5 cybersecurity as well? SGBC on AFDD? SGPC 13 Specifying Building Automation Systems.

  - TC 1.5 Michael Galler: submitting a seminar on cybersecurity for the next meeting. Additive manufacturing. Calling for presenters. Forming a committee GPC 20 – name?

  - TC 7.3 Michael Brambley: has not held the meeting yet. SPC 221 no longer exist, replaced by SSPC 221 Test Method to Field-Measure and Score the Cooling and Heating Performance of an Installed Unitary HVAC System.

  - Newly combined TC 7.3/7.8 – who can volunteer as a liaison? Chad Ruch will talk to Mike Brambley

  - MTG OBB: Zheng. Not met yet. Planning a new chapter for occupant-centric HVAC control. TC 7.5 join Application Guide for Occupant-centric HVAC control effort: Zheng, Kristen, Jin, Bing Dong, Joe.

  - TC 1.9/10: Glenn. Change scope and title to explicitly related to ASHRAE.

- Fault Detection and Diagnosis Subcommittee Report (Liping Wang)

  - 20 attendees on 1/16.

  - Technical discussion 1/18 on AFDD research contribution to ASHRAE guideline

  - Discussion with Richard Lau (90.1) include in 90.1.

  - Kristin Heinemeier – shared her experience in including AFDD in title 24 on residential side.

  - 189.1 and 2021- IECC code. Some description on AFDD. Somebody in Taylor Engineering talked about AFDD in Guideline 36.

  - What is the process to include AFDD in ASHRAE codes/standard? Outcome-based or performance-based approach, and prescriptive approach. Issues with faults diagnosed and high cost.

  - Further debate – which approach? Forum – debate AFDD approach.

  - Seminar ideas: Automated alarm management (Carol). Fault prevalent type and impact by building type (Piljae Im).  Residential FDD (David/Jin) – 2022 Winter. Big data analysis (Jin leads) – ready for next conf. California requirements in FDD (Steve T.) and FDD in Guideline 36 (Jinlin Guan).

  - Case studies in using FDD in standards and guidelines (Eric Yang)

  - WS 1812 – detection and diagnostics of leakage of hydronic systems.

  - RTAR – user experience with FDD (Austin Rodgers)

  - Literature Review and Survey of existing FDD methods and data (Jin, Nick)

- Enabling Technologies Subcommittee (Mike Galler)

  - Met Saturday.

  - New sensing technology (Glenn – power quality). Need speakers. Carol – chair the session?

  - IoT building control and monitoring.

  - Enabling technology for COVID-19 in general (humidity sensor)

  - Building and smart gird interface. Glen put ASHRAE smart grid application guide (90%) on TC 7.5 basecamp.

- Smart Grid Subcommittee (Kristen Cetin)

  - Met earlier this week

  - A number of seminars (in meeting minutes)

  - Data-driven control and optimization (Kristen)

  - Grid-interactive building impact on efficiency. Co-sponsor 1.4 & 7.6. (Mike)

  - Renewables and smart grid. (Abed)

  - RTAR – ASHRAE design and guide of PV

  - RTAR - Linking building modeling with grid modeling.

  - RTAR - Equipment interaction with IoT

- Buildings Operations Dynamics Subcommittee (Donghun Kim)

  - 14 participants

  - One program accepted, the other was rejected.

  - New programs:

    - What to do with optimal controls (Peter Armstrong)

    - Model accuracy and impact study on MPC (Zheng) resubmit to Phenix

    - BOD for Grow Applications (Glen)

    - GEB related to renewable and resilience (Donghun/Li)

  - Research

    - RP- 1661: Development and Validation of Dynamic Models for the Evaluation of Chilled-Water System Control Strategies. One-year no-cost extension.

    - WS- 1809: Updating reference guide for dynamic models of HVAC equipment. Heejin Cho. WS revised and waiting for response.

    - (new) Comparison between MPC & RL. Which approach of MPC and RL is more practical? RL: reinforced learning.

    - (new) How IoT impacts operators (Joe)

    - (new) Link the productivity with occupancy-based control, Occupant in the loop controls. (Ivo)

    - (new) Open-source tool for integrating building and grid simulations (Donghun)

- Research (Zheng O’Neill)

- Research updates from society/RAC

- Currently sponsored projects

- Current RTARs and WS

- Two ongoing projects: RP1661 – May 2021. RP1756 – completed, paper published.

- Three active WS: 1875 virtual sensor, 1809 – dynamic model, rebuttal letter waiting for feedback. 1812 – on hold

- Five RTARs –

- New research idea: Comparison between MPC & RL. Which approach of MPC and RL is more practical? RL: reinforced learning.

- 2.10 TC call for members (Resilience)

- Email TC 7.5 research table to committee members.

- Program (Eric Yang)

  - One workshop and five seminars accepted. Workshop outside the conference.

  - New programs:

    - GEB, what about efficiency

    - IoT security

    - Smart control on data centers

    - Battery control strategies and its impact to life cycle cost

- Handbook (Joe Zhou)

  - Chapter 43 – Supervisory Control Strategies and Optimization – lead by Zheng O’Neill.

  - Chapter 63 – Smart Building Systems – lead by Greg Pavlak.

  - Had bi-monthly subgroup meetings. Progress slow but some significant revisions are planned. Joe will coordinate the subgroup schedules for the next 6 months.

  - Deadline for revision completion by 2/2022. Deadline for TC review and approval by 7/2022.

- YEA (Kristen Cetin)

  - YEA participation discussion – may start a subgroup – after back to in-person meetings.

- Standards (David Yuill)

    - Standard 201 – Facility Smart Grid Information Model (RA2020)

      - 3-year cycle.

    - Standard 207P – Laboratory Method of Test of Fault Detection and Diagnosis for Air Economizers

      - Finally finished. Sent to Society on 1/27 for publication.

- Honors and Awards (Carol Lomonaco)

  - Nominated 2 fellow, 1 ESA. Preparing several more DSA/ESA

  - David -anybody can join the sub-committee.

- Web Page (Mike Galler)

- Old Business

- Update on ARPA-E SENSOR project (Kristen Cetin and Zheng O’Neill) – will update next time.

- Coordination between TCs 7.5 & 1.4 for FDD-related standards/guidelines activity

- Basecamp training available.

- Enabling Technology Subcommittee – new leader Michael Galler.

- 07/1 – 06/30 society year. Update membership: Zheng/Kristen will roll off after the next meeting. Donghun, Mike Galler, Carol, Li, and Greg will roll on voting member. Provisional corresponding member can become a corresponding member after a year. Send David an email.

- 286 members. Undeliverable emails clean up – about 10.

- Carol will be the official chair of honors and awards subcommittee staring 7/1.

- New Business

  - Parastoo Delgoshaei: Standard 223 – semantic modeling. From SPC 195 BACnet. Serve as liaison of TC 7.5.

  - Liping: presentation/discussion of AFDD technical discussion posted on basecamp – documents and files - AFDD.

- Adjournment – 1:20 pm Eastern Time.

|  | DRAFT Agenda |
| --- | --- |
|  | #### TC 7.5 Fault Detection and Diagnostics 1:00 PM-1:45 PM (EST), Saturday, January 16, 2021 Access Information: https://ashrae-org.zoom.us/j/94468508923?pwd=N0tCQlZ1YmpSbzAxdjl3NnVOOEFUUT09 Zoom Meeting ID: 944 6850 8923 Passcode: 959041 Find your local number: https://ashrae-org.zoom.us/u/aend4PQmJv Prepared by Liping Wang |

Subcommittee Scope: explore and develop technologies to detect and diagnose common faults in both commercial and residential buildings.  The scope of this subcommittee includes (a) identifying and sponsoring research projects to develop new FDD technologies, evaluate existing FDD technologies; provide recommendations to building operators and practical engineers, and develop supporting tools for researchers in FDD areas, and b) organizing programs to disseminate research findings and advancements in FDD areas among ASHRAE members.

Agenda:

| 0:00 | Call to Order |  |
| --- | --- | --- |
|  | Self-introduction, announce the subcommittee scope. |  |
| 2 mins | Sessions at current ASHARE conference |  |
| 3 mins | TC7.5 Technical Discussion: How can Automated Fault Detection and Diagnosis (AFDD) Research Contribute to ASHRAE Standards and Guidelines? Panelists: AFDD in Std. 90.1 by Richard Lord AFDD in Std. 189.1 by Scott West SPC 207 and Title 24 by Kristin Heinemeier AFDD in Guideline 36 by Reece Kiriu Schedule: 3:00 pm -4:00 pm (EST) January 18, 2021 Access Information: Meeting ID: 991 7610 5572 Passcode: 621843 Find your local number: https://ashrae-org.zoom.us/u/a8ke5bz0l |  |
| 5 mins | 2021 Annual ASHRAE conference seminar ideas - Fundamental and Applications - HVAC&R Systems and Equipment - Research Summit - Professional Development - Design, Control, and Operation of Critical Environments - HVAC&R for Indoor Plants & Animals - Future Proofing-Renewable, Regenerative, and Resilient. - Hot, Hot, Hot - Mini-track Program Submission due date: Feb 22, 2021 |  |
| 10 mins | Potential Seminar Ideas for 2021 Annual ASHRAE |  |
|  | Automated Alarm Management: DDC alarms used for FDD? Segment the alarm information into useful pieces. The building operator has to go through all the alarms. Make a presentation to collect information to make an RTAR is a goal. TC1.4: program will be the co-host. Carol identified three speakers. Plan to submit the seminar proposal if we will have a virtual conference in 2021 winter ASHRAE. Li Song will follow up. | Carol Lomonaco, Kim Barker |
|  | Fault prevalence types and impacts by building types and system types. 2021 Annual or later. Liping Wang will follow up. | Piljae Im, David Yuill, Guanjin, Jin Wen |
|  | Moving Beyond Data Overload to Effective Use of Fault Detection and Diagnostics Analytics Liping Wang will follow up. | Guanjing Lin |
|  | Residential FDD (multip family residential buildings) review of FDD on residentials. Consider 2022 Winter conference | David Yuill, Jin Wen, Zheng O’Neill, Li Song |
|  | Big data analysis for AFDD 2021 Annual conferences Zheng O’Neill will follow up. | Jin wen (Chair), David Yuill, Liping Wang, Zheng O’Neill, Li Song |
|  | 2021 Annual: California requirement of FDD May consider FDD requirement in standards such as Title 24, Guideline 36, SPC 207. Jon McHugh: include industrial FDD requirement (steam trap, refrigerant warehouse, compressed air…) | Steve Taylor, Kim Barker, Kristin Heinemeier, Jon McHugh, Scott West |
|  | FDD in Guideline (GPC) 36 2021 Annual: Guanjing, David, and Chirag showed interest in this topic. Consider submitting a seminar proposal for 2021 winter ASHRAE. | TC 1.4, co-sponsor 7.5 FDD Chair: Guanjing Lin (LBNL) David Yuill, Chirag Parikh |
|  | New ideas? |  |
|  | Case studies of using FDD in standards and guidelines Co-sponsor TC 7.6 2021 Annual | Eric Yang, Glenn Remington |
| 15 min | Update/Discussion of Active project/RTARs/Work Statement |  |
|  | WS 1812 Detection and Diagnosis of Circulating Fluid Leakage from Hydronic Systems (work statement revision) | Zheng O’Neill and Kristen Cetin |
|  | Evaluation of ASHRAE Standard 207P Interested in co-sponsor 1.4 | David Shipley, Kim Barker, Mike Brambley, Ahmed Abdel-Salam Chirag Parikh, Liping Wang, David Yuill Lead: John House |
|  | Research Ideas |  |
|  | New idea: User’s experiences with FDD? How do users respond to the alarms, correct or false? The group had met and discussed RTAR. Scott West did literature review. Liping will follow up. | Austin Rodgers, PNNL Laura Towsley (laura.towsley@rycom.com). Scott West Eric Yang |
|  | Literature Review and Survey of existing FDD methods and data ATL - FDD literature review and central location for download data/methods etc. (collection of methods) – existing Not only compiling but the assessment of new technologies (indicating last large-scale study is 2005) Characterization (qualitatively) evaluate. IEA 34. | Nick Gayeski, Jin Wen |
|  | User experience and organization adoption of FDD |  |
|  | Automated Alarm Management: DDC alarms used for FDD? (automated analytics to correct alarms or utilize alarms) – return the threshold to reduce false alarms in an automated process. 2020 Annual: Seminar idea first (possibly virtual conference). Plan to propose an RTAR based on the seminsar discussion. | Carol Lomonaco, Reinhard Seidl, Li Song, Te Qi, John Wallace |
|  | What research should TC 7.5 provide to use the FDD results to support the energy-saving requirement for Standards and Guidelines such as Standard 90.1 and 189.1? What is the minimum requirement for 90.1? An internal TC7.5 meeting. Host a meeting for brainstorming by inviting members from other standards. Or discuss this in TC 7.5 main meeting or seminar or forum. What can be done in the future for FDD sections in the standards and guidelines? | Guanjing Lin and Kim Barker, Scott West, Glenn Remington, Li Song |
| 10 min | New ideas and discussions |  |
| Adjourn |  |  |

|  | Agenda |
| --- | --- |
|  | #### TC 7.5 Building Operations Dynamics 2:00-2:45 pm (ET), Jan 16, 2021 Prepared by Donghun Kim |

Subcommittee Scope: •	The Building Operations Dynamics Subcommittee of TC 7.5 is concerned with the dynamic characteristics and interactions of comfort conditions, the active components of HVAC systems, the passive components of HVAC systems, control systems and operation strategies and the building. The committee is concerned with the methods of building system operation which minimize energy used through the consideration of dynamics and interactions. It is also concerned with methods which consider dynamic and interactive characteristics in the design or comfort conditioning systems.

- Meeting Attendance

https://docs.google.com/spreadsheets/d/1aLr9EfaPT0DD55RiIXyVwdLHb2hoqDuM9DDVeYZT7Aw/edit#gid=0

Agenda:

| 5 min | Call to Order |  |
| --- | --- | --- |
|  | Self-introduction, announce the subcommittee scope and other announcements. |  |
| 15 min | Program |  |
|  | Current meeting status and new ideas proposals | See below for more information |
| 15 min | Update/Discussion of Active project/RTARs/Work Statement | See below for more information |
| 10 min | New ideas and discussions |  |
| Adjourn |  |  |

2021 ASHRAE ANNUAL CONFERENCE

https://www.ashrae.org/conferences/2021-annual-conference-phoenix

Summary:

- 14 participants (last: 28)

- 4 Programs are under development, 1 completed

  - 2 program were submitted to Phoenix and 1 accepted

- 1 new program idea

- 1 on-going RP

- 1 on-going WS

- 4 RTARs are under development

- 1 new research idea

Program Discussion (15 min):

| Program | Title | Lead | Previous talks |
| --- | --- | --- | --- |
| 1 | What to do with optimal control? | Peter Armstrong | Orlando: Peter is not in the meeting. No discussions. Virtual Conf (Austin): Peter is not in the meeting. Park this idea Chicago: Zheng will reach out to Peter for this item |
| 2 | Model accuracy impact study on model predictive control | Andreas Athienitis | KC: Complete, conference paper, Plan to organize seminar. Orlando: Dave Blum from LBNL is willing to participate in this seminar (Chicago). Zheng O’Neill will connect them with Andreas. Zheng will connect them with Andreas. Virtual Conf (Austin): David & Jose will contribute to this seminar (Chicago) Chicago: Resubmit to Phoenix |
| 3 | Training plan for facilities | Zhou Joe | Bach to follow up Orlando: No discussions. Park this idea. Park this idea Virtual Conf (Austin): No discussions. Park this idea Chicago: Kim will reach out to Zhou |
| 4 | Building Operations for Grow Applications? | Glen/Bach Tsan | Orlando: No discussions. Park this idea. Reach out to TC 9.12 (?) Virtual Conf (Austin): Liping, Li, Glen and Carol will have a following talk Chicago:Follow-up meeting after Phoenix |
| 5 | Refrigeration Thermal Storage - locating thermal storage specifically in refrigeration systems (TC 6.9, 7.5, refrigeration, others?) | Scott Hackell (Slipstream) -chair | Orlando: Will propose to 2021. (TC 6.9, 7.5, refrigeration, others?) Zheng suggested to talk with 10.7 Virtual Conf (Austin): Joe will follow up with Scott. |
|  | New programs |  |  |
|  | Grid-interactive efficient buildings (related to renewable, resilience) | Li, Zheng, Donghun, Michael, Zoltan, Kriten, David | Chicago: potential contents: update GEB-related on-going projects |

Research Proposals Discussions (25 min):

| Research | Title | Lead | Previous talks (~ Feb/2020, Orlando) |
| --- | --- | --- | --- |
| RP-1661 | RP- 1661: Development and Validation of Dynamic Models for the Evaluation of Chilled-Water System Control Strategies in the ASHRAE Handbook | TBD | Orlando: Li (PMS): need to tune the model, scopes need to be changed. May need another extension. Wangda (contractor): provides updates. Submit 60 pages of documentation to move forward for modeling. Finish implementation, debug controllers. Try to finish the debugging within 1-2 months. Asked for another one year NCE to April 2021. Virtual Conf (Austin): Asked for another one year no cost extension. Made a good progress. On-going: complete initial study (data center, data center + office buildings) and work on developing suboptimal schedule from optimal results Chicago: No cost extension. Made a good progress |
| WS | WS- 1809: Updating reference guide for dynamic models of HVAC equipment | Heejin Cho | Send out to RAC before the RTAR rules changed PTAR (Publication TAR). Co-Sponsored by 1.4 Has been reviewed by all voting members. 1/15/2019 – Approved by all. RAC provided comments back to the author Orlando: no updates from Heejin Cho. Zheng will follow up with Heejin Li and Zheng iterated with Heejin and Virtual Conf (Austin): Zheng will follow up with Heejin. Chicago: WS was revised and waiting for response |

| RTAR | new ideas? Which approach between MPC and RL is more practical for load flexibility and energy efficiency for which building types?: Comparison between MPC & RL) | Zoltan, Donghun, David Blum, Zheng | Chicago: Specific metrics ? benefits & interests to ASHRAE ? narrow down the scope ? |
| --- | --- | --- | --- |
| RTAR1 | If you had “perfect information” on occupant’s comfort preferences and their location within a conditioned space then how would you optimize control and how much value would you be able to realize | Rich Hackner? Li Song? | RTAR completed but did not submit. Internal TC review, and started to award, but search for co-sponsorship. Should check with occupant behavior group. Coordinate with TC 1.4? Circulate the document again via e-mail and repost by Li Song. Wen to communicate with Rich Hackner Voting Members to review on this RTAR and posted on BaseCamp. Organize electronic voting. Voted in KC Orlando: Not submitted yet. Will submitted by Li Virtual Conf (Austin): Bill asked to get vote from MTG.OBB. No feedback yet. Li will iterate with Bing Dong. Drafted 3 years ago but haven’t submitted yet due to delays in MTG.OBB. Chicago: No feedback from MTG.OBB for a while. Li will reach out to MTG.OBB to move it forward |
| RTAR2 | How IoT impacts operators | Joe Carol Liping Wang Scott Hackel | Carol working on outline. How to quantify impact – Li Song Dovetailing with enabling technologies. Update the title Orlando: Carol: No updates Li: should include Residentia application. We will need to have another idea/RTAR and Zheng will help Li Carol: does the new idea include homes or multi-family homes. Need to consider privacy, multi-stories,etc. Virtual Conf (Austin): Carol, Joe and Li will have the following meeting. Chicago: Park this idea |
| RTAR3 | Link the productivity with occupancy-based control; Occupant in the loop controls | Ivo Martinac | Ivo Martinac – professor developing idea. The idea but need to develop the team. Park this idea at this time Orlando: No updates. Park this idea, Zheng will follow up with Ivo. Virtual Conf (Austin): No updates. Park this idea. Chicago: Zheng will follow up with Ivo. |
| RTAR4 | Open Source tool for integrating building and grid simulations | Donghun Kim, Jie Cai, Qun Zhou, Bing Dong, Zoltan Nagy | Orlando: First, we will need to define the scope. Qun Zhou from University of Central Florida talked about her perspectives from grid side Virtual Conf (Austin, Phoenix): Donghun, QZ, Jie Cai and Bing Dong will have the following talk to narrow down the scope of research. |

|  | Meeting Minutes |
| --- | --- |
|  | #### TC 7.5 Smart Grid Subcommittee (Virtual, via Zoom) 2:00-2:45 pm, January 18, 2021 Prepared by Kristen S. Cetin |

Subcommittee Scope: This subcommittee will explore and develop ideas and research work statements to improve the building and utility interactions (and more specifically the electric grid). The research will focus on developing enabling technologies for seamless interaction of smart building components and utilities and other building services. An important aspect of this work is to identify the information that is necessary to support smart building technologies, and to identify the requirements of communication protocols to support the exchange of this information between different building services buildings and utilities, between multiple buildings, with outside service providers.

The importance of a stable and reliable electric power grid to life and the economy in the 21st century has been underscored by two major events over the last decade: a major black out on the east coast of North America and wildly varying electricity prices in California during an attempt at restructuring the electricity marketplace. In response to these events many organization (DOE, EPRI, and CEC) have started research activities to find ways to modernize the grid. However, there a significant gaps in the research activities, especially as they relate to buildings. Since buildings consume over 70% of the electric in the U.S., they have to part of the solution to modernize the grid. ASHRAE has traditionally developed technologies, standards, and guidelines for buildings. Therefore, this subcommittee can play a major role in continuing this effort.

Zoom Link: https://ashrae-org.zoom.us/j/97064340065?pwd=OERJZ2pxVVJSclVtVGN0VWpEZzlPdz09

Attendance: https://docs.google.com/spreadsheets/d/1aLr9EfaPT0DD55RiIXyVwdLHb2hoqDuM9DDVeYZT7Aw/edit?usp=sharing

Minutes:

| 0:00 | Call to Order |  |
| --- | --- | --- |
| 5 min | Introductions, announce the subcommittee scope |  |
| 5 min | Relevant sessions at current ASHRAE conference |  |
|  | Schedule Link: https://events.rdmobile.com/Sessions/Index/13767 | see link |
| 15 min | Summer ASHRAE conference seminar ideas |  |
| 15 min | RTAR Ideas and Updates |  |
| Adjourn |  |  |

Detailed Minutes

Call to Order

- Read scope

- New members – name – affiliation, new member

- Sign In Sheet: https://docs.google.com/spreadsheets/d/1aLr9EfaPT0DD55RiIXyVwdLHb2hoqDuM9DDVeYZT7Aw/edit?usp=sharing

Sessions at Winter 2021 ASHARE conference

- Sessions Link: https://events.rdmobile.com/Sessions/Index/13767

- https://www.ashrae.org/file%20library/conferences/winter%20conference/program-book-12-22-20-v2-.pdf

- Related topics:

  - Future Smart Building Operations for Load Flexibility – Seminar 55 (Bing Dong, Greg Pavlak, others)

  - Techno-Economic Comparison of Energy Storage Technologies (LIVE)– Seminar 11 - Tuesday, February 9, 6:00 PM - 7:50 PM

  - Smarter Together: Integrating HVAC and Lighting Control – Seminar 26 – Scott Hackel

  - Thermal Storage for Grid-Friendly Refrigeration (LIVE) – Seminar 12 – Scott Hackel - Wednesday, February 10, 7:00 AM - 8:50 AM

  - Suggested by Ron What Have You Done for Me Lately? BAS Best Practices for O&M Success (LIVE) - Seminar 13

  - & Seminar 30

  - Technical Discussion – Right after this meeting – FDD Integration with ASHRAE standards and guidelines * Please Join*

ASHRAE conference ideas

Summer 2021 - https://www.ashrae.org/conferences/2021-annual-conference-phoenix - June 26-30, 2021

- Deadlines:

  - Wednesday January 6, 2021: Website Opens for Seminar, Workshop, Forum, Debate, and Panel Proposals

  - Wednesday January 13, 2021: Revised Conference Papers/Final Technical Papers Due

  - Monday February 8, 2021:  Program Submissions Due / Extended Abstracts Due

- Tracks (most relevant)

  - (7) Future Proofing – Renewable, Regenerative, Resilient

  - (5) Design, Control and Operation of Critical Environments

  - (3) Research Summit

- Previous/Current Ideas

  - Data-driven control/optimization – Eric Yang/Kristen Cetin

    - Collaboratively propose with TC 7.6 subcommittee – energy management (Eric Yang) – case study in seminars data driven model approaches (EMIS)

    - Joe Zhou – has contact at LBNL (Jessica)

    - Helia Zandi (from Summer 2020)

    - Jose Candanedo – Annex 81 (data-driven smart buildings) (from Summer 2020)

    - https://annex81.iea-ebc.org/

    - Qun Zhou – MPC using data-driven methods (from Summer 2020)

    - Donghun Kim – speaker/supporter (from Summer 2020)

    - Kristen Cetin will email all interested current and previous to organize further.

    - Anyone interested in championing please let Kristen know

  - Grid-interactive buildings, what’s impact on efficiency? – Kristen Cetin

    - (already had one in June 2020, but still good for future – “hot topic”)

    - Dave Blum – speak or organize seminar

    - Zheng O’Neill – can discuss case study – commercial

    - Mike/Li Song – can speak/find speaker - residential – simulation & testing in unoccupied homes

    - BOD – check for coordination

    - Joe Zhou – DOE demonstration projects & internal testing – commercial (for future)

    - Kristen will email Joe/Mike/Li Song/Zheng/Dave

    - Anyone interested in chairing please let Kristen know

  - Cybersecurity & Smart Grid (from 2020)- Carol Lomonaco, Glenn Remington

    - Glenn – has contacts who could speak

    - Ron Bernstein – TC 1.4 has good amount of work on this and info in guide spec (primary author) – more at system level

    - potential collaboration with TC 1.5

    - integrate with IoT discussion from Enabling Technology subcommittee

  - Renewables and Smart Grid - Abed Alkhatib (winter 2021), Kim (from 2020)

    - How you can maximize use of renewables with smart grid

  - Smart Buildings as a Transactive Energy Hub (Winter 2021)

    - Ron Bernstein - Smart Buildings as a Transactive Energy Hub. August 2020. PNNL-30103 V1- https://www.gridwiseac.org/pdfs/pnnl_30103_smart_buildings_teh.pdf

  - Other topics (not discussed)

    - Smart products for residential and commercial buildings

      - talk with residential TC – net zero building committee

    - Panel discussion on grid interactive buildings

    - Smart grid and building envelope interaction (from 4.4) - as an energy storage feature –

      - How building envelope can impact or interplay with smart grid contributions from buildings

      - Dynamic facades

      - Suggestion to follow up with NBI

    - Utility Grid Battery Control Strategies and Impacts on O&M & LCA (From Atlanta 2019)

      - Large scale batteries

Update/Discussion of RTARs/Work Statement ideas

RTAR Idea: ASHRAE Design and Integration of PV in the Built Environment Guide - Costa Kapsis, Jim Liedel- leidel@oakland.edu; costa.kapsis@uwaterloo.ca (From Summer 2020) – Kristen will follow up

  - Draft is posted in Basecamp

  - Looking for people to review and provide comments

  - Comments:

    - careful with “guide vs guideline” , suggestion to talk to research liason for Section 7

    - Glenn – interested in reviewing

    - Session 62 – related to this

    - PTAR process created after

    - Li Song – seeking co-sponsorship? Yes

- Linking building modeling to grid modeling - Abed Alkhatib, Rushil Desai (Winter 2021)

  - Some existing efforts

  - End user of this work would be policy recommendations for ISOs

  - How to validate models?

  - Kristen emailed both Abed and Rushil

- Equipment Interaction & IOT (maybe an idea to link to research and/or seminar)– Ron Bernstein

  - All devices monitor internal energy

  - All equipment has own internal controls mode for smart grid interactions for DR/load shedding

  - Doing as a trial currently

  - How to manage equipment/energy across multiple sites

  - Smart Buildings as a Transactive Energy Hub. August 2020. PNNL-30103 V1

Development of models for better peak load predictions (some discussion at research subcommittee already)

  - City-scale model validation for predicting demand response - some models exist

  - Need an evaluation of the state of the art, perhaps useful for new city planning

  - Need some more research on demand response capacity prediction

  - Existing software – GridLabD – developed to designing rate cases

- Guidance on smart building equipment / IoT – (something that came up from forum discussion)

  - what are you getting, functionality, products

  - what program functions are necessary to work in different environments

- Instantaneous voltage and current load from buildings

- Energy demand prediction of multiple building scale

TC 7.5 Smart Building Systems

Program Subcommittee Virtual Meeting Minutes

01/19/2021 12:30 PM to 1:15 PM

https://ashrae-org.zoom.us/j/93837903776?pwd=bm5qS1dMMmFSTyszaFcxWHZPK1JXQT09

# Sign in

Ten people attended the meeting.

| Name | TC membership | Organization | Email address |
| --- | --- | --- | --- |
| MIchael Brambley | CM | PNNL | mbrambley@pnnl.gov |
| Scott West | PCM | HFA | scott.west@hfa-ae.com |
| Donghun Kim | member | Lawrence Berkeley National Lab | donghunkim@lbl.gov |
| David Blum | CM | Lawrence Berkeley National Lab | dhblum@lbl.gov |
| Glenn Remigton | VM | Consumers Energy | GlennRemigton@live.com |
| Carol Lomonaco | CM | johnson controls Inc. | carol.lomonaco@jci.com |
| Eric Yang | VM | Energy Systems Group | ericyangcem@gmail.com |
| Patrick Villaume | guest | Patterson-Kelley LLC | Patrick.villaume@spx.com |
| Christie Kjellman | PCM | Kliewer and Associates | kjellman@cox.net |

# Programs presented at Winter 2021 Conference

One workshop and 10 seminars were submitted at this conference and 5 of 10 seminars were accepted as part of the conference and listed below. One workshop was presented as a TC meeting outside of the conference. Scott West shared that there were no communication from ASHRAE in advance. Eric suggested that speakers proactively follow up with the ASHRAE conference manager in the near future or inform Eric in time to avoid this happens again.

| Sponsoring Committee | Program Time | Session Chair | Session Title | Co-Sponsoring Committee |
| --- | --- | --- | --- | --- |
| 7.5 Smart Building Systems | Seminar 55 | Bing Dong | Future Smart Building Operations for Load Flexibility | MTG.OBB Occupant Behavior in Buildings |
| 1.4 Control Theory and Application | Seminar 29 | Chariti Young | Avoid the Headlines! Today's Top 10 Security Best Practices for Controls | 7.5 Smart Building Systems, 1.5 Computer Applications |
| 6.7 Solar Energy Utilization | Seminar 44 | Konstantinos Kapsis | Decarbonization and electrification of the built environment: Designing Canada’s future urban communities | 7.5 Smart Building Systems, 2.5 Global Climate Change |
| 1.4 Control Theory and Application | Seminar 26 | Scott Hackel | Smarter Together: Integrating HVAC and Lighting Control | 7.5 Smart Building Systems |
| 6.9 Thermal Storage | Seminar 11 | Kyle Gluesenkamp | Techno-Economic Comparison of Energy Storage Technologies WITH LIVE Q&A | 7.5 Smart Building Systems |
| 7.5 Smart Building Systems | Workshop (presented as a TC meeting) | Liping Wang | How can Automated Fault Detection and Diagnosis (AFDD) Research Contribute to ASHRAE Standards and Guidelines? |  |

Program proposed, but not accepted in 2021 Winter Conference:

| Session Type | Session Title | Sponsoring Committee | Other Sponsoring Committees | CoSponsoring Committees | Program Chair/Moderator |
| --- | --- | --- | --- | --- | --- |
| Seminar | Brick: Metadata Schema for Portable Smart Building Applications | 7.5 Smart Building Systems |  |  | Gabe Fierro |
| Seminar | Machine-learning-based Data-driven Fault Detection and Diagnosis (FDD) for Continuous Commissioning | 7.5 Smart Building Systems |  |  | Jin Wen |
| Seminar | Application of Machine Learning in Energy Efficient Building Operation | 7.5 Smart Building Systems | 1.4 |  | Jin Wen |
| Seminar | Recent Efforts Towards Scaling the Use of Model Predictive Control in Buildings | 7.5 Smart Building Systems |  |  | Donghun KIM |
| Seminar | What Are Effects of Building Models on the Performance of Model Predictive Control? | 7.5 Smart Building Systems |  |  | Zheng O'Neill |

# Program tracks and timelines for Phoenix, AZ | Jun 26–30, 2021

| 1 | Fundamentals and Applications: Fundamentals are the foundation for understanding applications in engineering. Key components of ASHRAE fundamentals include thermodynamics, psychometrics, fluid and mass flow. This track provides opportunities for papers and presentations of varying levels across a large topic base. Concepts, design elements and shared experiences for theoretical and applied concepts of HVAC&R design are included. |
| --- | --- |
| 2 | HVAC&R Systems and Equipment: HVAC&R Systems and Equipment are constantly evolving to address the changing requirements of the built environment. Papers and programs in this track will focus on the development of new systems and equipment, improvements to existing systems and equipment and the proper application and operation of systems and equipment. |
| 3 | Research Summit: Active research, and the exchange of those research findings, are critical to the development of our HVAC&R industry and built environment. The 8th annual research summit invites researchers to share those results, including ASHRAE-sponsored research and research of interest to the ASHRAE community. Researchers are invited to present papers, extended abstracts, seminars, forums or participate in panel discussions. The Research Summit includes a partnership with ASHRAE's archival journal, Science and Technology for the Built Environment. |
| 4 | Professional Development: As members of a professional organization, we not only participate for the great value of technical exchange, but also the interpersonal exchange. We recognize that the single greatest strength of our organization is its membership. This track is designed to allow those professionals an opportunity to develop in the areas of presentation skills, leadership, team-building, understanding various business operations, interpersonal skills, etc. In short, the Professional Development Track will cover all aspects of business outside of engineering/technical applications and lends itself to interactive session types such as workshops and forums. |
| 5 | Design, Control, and Operation of Critical Environments: Critical environments often present design, control, and operation challenges that require innovation, attention to detail, and a thorough understanding of the intended operational parameters. This track includes innovative designs and strategies that adapt to the standards and special requirements presented by healthcare, cleanrooms, data centers, laboratories, isolation rooms, and pharmacies. Papers and presentations will also address how controls systems, smart building technologies, and security systems and other technologies are adapting to the emerging needs of critical environments. |
| 6 | HVAC&R for Indoor Plants & Animals: This track addresses HVAC&R systems design for controlled environments that host plants & animals. Papers and programs in this track will present the challenges and opportunities associated with energy and water utilization for indoor growing spaces, including standards and regulations that guide the design of plant & animal habitats. Environmental parameters for indoor agriculture, including controlling temperature, humidity, air movement, air quality will be covered. This track will also address reducing consumption of energy & water and compare how crop types and animal species impact HVAC analysis and design. |
| 7 | Future Proofing - Renewable, Regenerative, and Resilient: The HVAC&R industry faces many challenges including climate change, pandemics, natural disasters, catastrophic accidents, and terrorism. Rising to meet these challenges are a host of technologies and strategies, including grid-enabled buildings, demand response, decarbonization, resiliency, zero energy design, energy-efficiency and renewable energy systems. This track invites papers, abstracts, seminars and forums that highlight the innovative technologies and strategies that are reimagining our relationship with the built environment now and into the future. |
| 8 | Hot, Hot, Hot The world is warming. The built environment faces increased challenges to meet the demand for comfortable Indoor and outdoor environments in warmer climates. This track is for papers and presentations that address humidity control, outdoor cooling, passive cooling, water scarcity considerations, other design opportunities, and innovative technologies that help HVAC&R professionals adapt to the hottest climate trends. |
| 9 (Mini-track) | To be announced. |

Deadlines: 
Monday February 8, 2021:  Program Submissions Due / Extended Abstracts Due

Friday March 19, 2021: Program Submissions Accept/Reject Notifications

# Program Discussion in the meeting

# Kristen mentioned two seminars are in the process for 2021 annual conference (smart grid subcommittee):

  - Data-driven controls and optimization for building –Eric, Kristen, Helia, Donghun

  - Mike will propose a seminar on the DOE project on Connected Homes he led.

# Carol mentioned two seminars on IOT Security

  - IOT security (part 1) –Carol/Patrick

  - IOT security (part 2) –Carol/Glenn/Zheng/Jin/Mike Galler/Qun Zhou

# Donghun mentioned one seminar on Enabling Technologies Subcommittee.

# Program Pipeline for future meetings

| Type | Session Chair / Speakers | Proposed Title | Status | Updates |
| --- | --- | --- | --- | --- |
| Seminar | Guanjing Lin, New Heaven University for FDD for Rooftop Unit | Users’ experiences for FDDs in commercial buildings |  | Related to the RTAR. |
| Seminar | Kristen Cetin/Zheng O’Neill | Smart products for residential and commercial buildings |  | In the future |
| Seminar | Donghun Kim | Smart Grid – Building Envelope Interaction/Dynamic Facades |  | In the future (Need a new chair to follow up) |
| Seminar/Debate | Carol Lomonaco | IOT Security (Part 1) | 2021 Annual Conference | Carol/Patrick |
| Seminar | Carol Lomonaco | IOT Security (Part 2 – focused on Smart Grid) | Future | Could be; zheng &Jin can contribute (MTG Mike Galler), Qun Zhou |
| Seminar | Edward Tsui | Best practice of monitoring and instrumentation |  | Glenn Remington; |
| Seminar | Eric Yang | Battery Control Strategies and its impact to life cycle cost | Christie Kjellman, Carol, Glenn Remington, Srinivas Katipamula |  |
| Seminar | Peter Armstrong | What to do with optimal control? |  |  |
| Seminar | Andreas Athienitis | Model accuracy impact study on model predictive control |  | BOD sc. David/Andreas |
| Seminar | Zhou Joe | Training plan for facilities |  | Glenn/Joe |
| TBD | TBD | What data the lawyer would like to know –needs to define scope | In future |  |
| Seminar | Peter Armstrong& Li Song | Building optimal / predictive control | For Future |  |
| Seminar,co-sponsor TC 7.9 | Li Song& Carol Lomonaco | How BAS can Enhance Existing Building Commissioning | For Future |  |
| Seminar | Armstrong | Edge computing, Cloud Analytics, and On-Premise Systems – Architectures for Smart Building Systems | For future |  |
| Seminar | Nick Gayeski / Speakers from Armstrong | Smart Transducers with Embedded Diagnostics | For future |  |
| Seminar | Kristin Heinemeier / Kristin &Jon Douglas, someone from TC 7.9? | Fault Detection and Retro-commissioning: Where is the Line and Does it Matter? | For future |  |
| Workshop | Kristin Heinemeier | Lab Methods for verifying that FDD tools for RTUs really work: Will Standard 2007 really work? | For future |  |
| Seminar | Chris Kinney/Michael Munroe/Glenn Remington | FDD and Clouds? | For future |  |

NEXT IN-PERSON MEETING:  June, 2021 – Phoenix, AZ

ASHRAE TC 7.5:  Smart Building Systems Research Subcommittee Meeting

Tuesday, 1/19/2021

4:00 PM– 4:45 PM Eastern Standard Time (EST)

Minutes

https://ashrae-org.zoom.us/j/92908393542?pwd=dGhxVUFKL1Irem1nM2trRUFmSVdrUT09

| - Roll Call and Introduction | 4:00– 4:05 |
| --- | --- |
| - Announcements/recap of the research subcommittee chair meeting 4:05– 4:10 - The research chair meeting will not happen until later on, updates will be sent out TC members after the research chair meeting. - Li song talked the following readiness table |  |
| Phases; Phase lead; SubPhases; Actions; Deliverables. RTAR phase; Topic Subcommittee chair; Phase 1.1; Topic formulation; RTAR is approved. Phase 1.2; RTAR draft preparation. Phase 1.3; RTAR revision and completion. WS phase; Research subcommittee chair; Phase 2.1; WS preparation; WS is approved. Phase 2.2; WS revision and completion. Project phase; Research subcommittee chair; Phase 3.1; PES review proposals; Final project report. Phase 3.2; PEM review project progress. Phase 3.3; Project closed. |  |
| - Status of current Research Projects 4:10– 4:45 3.1 Two ongoing research projects that are co-sponsored by TC75. - RP 1661: the 2nd 12-month no-cost extension was approved. PEM had a project update meeting in May. The PI had made good progress to troubleshoot the first simulation case. LI: moving on well PMS in Oct, 2020. Wrap the project in May 2021. Next PMS meeting is scheduled in Feb. 2021. - RP 1756: need an update from PEM member Liping or Glenn. Project is done. Paper is published and finalized the technical report. Glenn to provide the actual end date. 3.2 three active work statements. - WS 1783: changed to WS1875. “virtual sensor performance evaluation index” Li is still working on this - WS 1809: an updated version was sent to Bill (section 7 research liaison) “ waiting for Bill’s comments” - WS 1812: Zheng /Kristen “ on hold” – still working on this 3.3 Seven active RTAR (two of them is co-sponsor) – see table attached 3.4 New research candidates a. BOD: compare RL with MPC (Donghum Kim): which is better for which type of buildings. Pros and cons. Clarify the benefits to ASHRAE members. 3.5 RTARs/WS underdevelopment – see table attached |  |
| - TC 7.5 research new ideas and topics 4:45– 4:50 TC 2.10 – sub TC resilience call for members. Call for ideas for resilience. |  |
| - New Business 4:45– 4:58 How TC7.5 to participate in the movement of including FDD in standards for example 189.1 Addendum L? A internal brainstorming meeting is suggested, probably in Chicago. Status and next step: a technical session was organized with four speakers. A more focused debate will be organized in the future. How to move the FDD to standard, what is the best approach? |  |
| - Adjourn | 4:58 |

ASHRAE TC 7.5:  Smart Building Systems Research Plan

Active Project: 0; Co-sponsor Project: 2; Active WS: 3; Active RTAR:3; Co-sponsor WS/RTAR: 2

| Subc | Project | Contributors/PI | Status |
| --- | --- | --- | --- |
| Co-Sponsor | (TC 4.7) RP 1661-Development and validation of dynamic models for the evaluation of chilled water system control strategies in the ASHRAE handbook | PMS Liaison: Li Song | Co-sponsoring with TC – 4.7 and 1.4 WS is returned with comments. Wangda will provide updated WS for TC review during Orlando. STL: the TC voted Yes and submitted to RAC. RAC conditional approved. Las Vegas – Selected a bidder. Miami is the winner Long Beach – contract is being signed. Project starts on August 1st. Wangda is the PI (will be at Boulder) Chicago: The project has begun, and the PMS met with the contractor. Task 1 is complete. Conference call is complete. Houston: The PI gave a report on the progress. Atlanta Update by Wangda: PMS meeting was on Sunday. Identified 9 sequences rather than 3 sequences. Large scale simulation and debugging is ongoing. 12- month extension is requested. Orlando: the 2nd 12-month extension is proposed by the PI and main sponsoring TC. 2021 virtual: LI: moving on well PMS in Oct, 2020. Wrap the project in May 2021. Next PMS meeting is scheduled in Feb. 2021. |
| Co-Sponsor | TC 2.4: RP-1756 evaluation of low-cost particulate sensors for building | Brent Stephens (2.4) 7.5 PMS: Glenn Remington and Liping Wang | ORL: – need co-authorship too – against lab-grade equipment to review their performances… STL: the TC voted YES and submitted to RAC. No feedback yet. Las Vegas – resubmit a WS. Need 1-2 PES volunteers Long Beach – PES met and is selecting winner. Chicago: Project was awarded to Jordan Clark at Ohio State University, and has commenced. There are some initial adjustments to scope requested. Houston: The PMS had their second meeting. Update: Li will follow up with Remington or Li Ping Wang for an update before the main TC meeting. Kansas City update: The PIs made decent progress on the project. They have submitted an STBE paper currently under revision. Orlando: need update from Glen/Liping. Wrap up the final report, which is due in March 2020. PMS chair is satisfied with the report. Glen: no update in the summer virtual meeting. 2021 virtual: Liping: Liping received update in January 2021. Liping will provide an update offline. |
| WS |  |  |  |
| BOD | WS-1809 – Updating Reference Guide for Dynamic Models of HVAC Equipment | Heejin Cho | SEA --Is this tech transfer? Update of Jean LeBrun’s work from 1990’s All kinds of tech transfer hurdles to leap over. Would this be better as a tool kit? BOD discussion on toolkit option, changing scope and budget and timing of research. ATL – need to be revised completely. ORL – Heejin will give a revised version tonight. STL: The revised RTAR is ready for committee to review and vote. Committee voted approval. RAC approved. Need to develop WS. Las Vegas: WS in development. Long Beach: WS in development. Aim at Chicago meeting Chicago: a draft WS has been developed and sent to Zheng. It still needs some significant development. Attendees at the meeting were supportive of continuing this topic. Houston: Heejin expects to get a draft to us by mid-July. The Atlanta update by Zeng: WS was voted and submitted. Kansas City update: Carol mentioned the big-data based modeling approach. Jin will take the lead to communicate with Carol. Will be a new RTAR in BOD. Orlando: Zheng will follow up with the Author. 2020 Summer: Zheng will follow up with Heejin. RAC has two questions 1) whether there is a need for the update and 2) add model validation to the WS. This part was removed due to budget concern. A rebuttal might be needed. 2021 virtual: an updated version and rebuttal letter was sent to Bill (TC 7.5 research Liaison). |
| FDD | WS-1812 – Detection and Diagnosis of the Circulating Fluid Leakage for Hydronic Systems | Zheng O’Neill Kristen Cetin | STL: RTART discussed in sub-committee. Will be voted in mid-July. Committee voted approval. RAC approved. Need to develop WS. Las Vegas: WS in development. Long Beach: WS is ready to be voted. Aim at August deadline. Chicago: TC 6.8 was approached as co-sponsor. They were initially uncertain, but after a visit, they requested a change in title. TC 6.8 voted 9-1-1-1 CNV. Houston: WS was returned with comments. They aim to revise for August 15th deadline. Update by Zheng: First draft was submitted after Chicago meeting. Received comments in May 2018. TC 6.8 research committee has approved revised version. The WS is revised and is ready for vote. Kansas City update: revised WS is returned with comments. Orlando: Zheng will continue working on it. Summer 2020: Zheng has talked with TC4.8. Zheng and Kristen plan to resubmit by December 15, 2020. Need to seek co-sponsorship from TC6.8. FDD clarification is needed. 2021 virtual: Zheng and Kristen are still working on it. |
| ET | WS-1875: Develop cost and performance indices to evaluate effectiveness of virtual sensors in HVAC applications | Li Song | Voted in Atlanta; Submitted for RAC to review. RAC accepted with comments. ORL – WS in preparation STL - WS in preparation Las Vegas – no update Long Beach – no update Chicago: there is still an interest in submitting a WS. Houston: Li will submit WS to RAC by August 15. Update in Kansas City: 1783 Orlando: Li is Still working on it. Summer 2020: Li will get it done by December 2020. 2021 virtual: Li is still working on it. |
| RTAR |  |  |  |
| BOD | Draft RTAR: If you had “perfect information” on occupants comfort preferences and their location within a conditioned space then how would you optimize control and how much value would you be able to realized (Active) | Rich Hackner Li Song | STL: An RTAR is prepared by Li and will be discussed in the committee meeting for comments. Rich will lead on WS if the RTAR is accepted. Need inputs to improve the RTAR. Two volunteers: James Sweeney and Gary Shamshoian. Las Vegas: In development Long Beach: In development Chicago: No update. Houston: Li plans to submit to RAC by August 15. The chair of MTG.OBB has agreed to cosponsor. We hope to vote at the main meeting to submit the RTAR. Atlanta update by Song: Li will upload the RTAR on basecamp and circulate among the TC. Kansas City update: Li will add the cosponsorship to the RTAR and send it Jin for voting on Tuesday. Orlando: The RTAT was submitted to Bill Murphy Update after Orlando: Bill advised that we did to get vote from co-sponsor committee (MTGOBB) and he would provide feedback to this RTAR regardless, but haven’t heard back yet. Summer 2020: Research chair in STCOBB will be reached for voting. 2021 virtual: “ Li” – waiting for MTG. OBB vote |
| SG | RTAR - Development of models for better peak load predictions for building clusters/neighborhood/city (Active) | Michael Bobker Kristen Cetin | Long Beach – initiated the idea Houston: No update The Atlanta update by Kristen: still interested in working on. Helps are welcome. Helia Zandi with Oak Ridge will help Kristen work on it. TC4.1 is interested in co-sponsorship. Kansas City update: Kristen is still interested in working on it. Positive to develop a RTAR. Bing Dong and Zhe Wang volunteered to help. Orlando: still interested. Chicago. Summer 2020: Xiaohui recommended to connect with DOE new connected community solicitation. The funding from ASHRAE might not be sufficient for the study unless we focus on model development. We may wait to see if there is value to do something complimentary. Kristen and Michael will monitor and update the committee. 2021 virtual: Kristen” No updates”, call for new lead author. Joe; is submitting a similar idea for DOE BENEFIT program. |
| SG | RTAR - - Linking building modeling to grid modeling (Active) | Donghun Kim | Long Beach – initiated the idea Chicago: was discussed, there’s still interest. Chicago: Not discussed. Update by Kristen: Kristen will follow up with Donghun Kim. Jie Cai volunteer to participate. Ellen Franconi with PNNL will facilitate the project leaning toward to providing simulation capacity for enhancing code. Kansas City update: Kim is still interested in working on it. Li will follow up with Jie Cai to connect with Kim. Bing Dong volunteered to help. Orlando: Donghum, Jie Cai. Summer 2020: Donghum is still formulating the scope and topic. Qun Zhou, in addition to Bing Dong, has volunteered to participate. 2021 virtual: Donghum to set up a meeting to define the scope Impacts on the grid (distribution level, voltage changes) Who will use this (DR aggregator or individual buildings) Joe: hard to be funded by ASHRAE 200K project although it is useful and has values. Abed Alkhatib <AAlkhatib@willdan.com>; Rushil Desai <rdesai@elementaengineering.com> - these people volunteered to help with this |
| BOD | RTAR - How IoT impacts operators (Active) | Carol Lomonaco Liping Wang Scott West | New at Long Beach Houston: There was discussion about the topic, and there’s still interest in it. A written RTAR is not planned before Atlanta. Update by Carol in Atlanta: Carol still interested in working on this RTAR. Joe and Li are interested to help. No RTAR is developed yet. Kansas City update: Carol will provide an update after the subcommittee meeting. Orlando: After Chicago added Scott Hackel (SHackel@slipstreaminc.org) as a coauthor (Joe Zhou is the contact). Summer 2020: Carol is still interested in working on it. 2021 virtual: Carol: still interested. (IoT devices, BACnet devices) impacts on the operators. Reach to others after May 2021 Scott: interface for FDD. Related to this RTAR?? |
| BOD | TC 1.4 RTAR Current title: "Night setback effectiveness" possible change to "Night preconditioning effectiveness" Orlando: Recommended to change the title to unoccupied-period Preconditioning effectiveness | Peter Armstrong | ORL: Seek co-authorship. Objective: show how to credibly model energy and comfort impacts of night preconditioning. (effectiveness of simple through MPC controls?) Las Vegas – continue development Long Beach: no update Houston: No update Kansas City update: it is dropped by TC1.4. Peter will lead it. Orlando: Helen (University of Toronto). Li will coordinate with peter and will lead. 2021 virtual: No discussion |
| BOD | RTAR: Big data-based approach for HVAC equipment modeling | Carol and Jin | Carol initiated the big data-based modeling approach in Kansas City. Jin will take the lead to communicate with Carol. Will be a new RTAR in BOD. Orlando: A new volunteer, Mr. Shengbo Zhang (U. of Toronto) was introduced to Jin and Carol. Summer 2020: Jin will talk with Carol 2021 virtual: Carol: check with Jin (Zheng will follow up) |
| FDD | Method of evaluation of the FDD standard of air-side economizer on RTU (Active) | David Shipley SP 207P | Kansas City update: David Shipley initiated the topic and will send the draft of the RTAT to Li for improvement in the TC. Orlando: Liping will coordinate with everyone since she is the subcommittee chair. Kim will lead this RTAR and Mike Brambley and Ahmed (ahmed.abdel-salam@rycom.com) will assist. Chirag Parikh is interested in seeing the document and see how he can help. 2021 virtual: Liping: John House will take over to lead this effort. RTAR is not submitted yet. |
| FDD | New in Orlando: User experience about FDD. Operator, building managers. System to be conservative or aggressive. (Active) | Austin Rodger | Orlando: Austin proposed the idea. Not only for energy efficiency also O&M issues. Li will send the RTAT template to Austin to help him started. Li will connect Austin with Laura Towsley (laura.towsley@rycom.com). Summer 2020: Li will follow up with Austin and Laura. Scott west volunteered to help. Liping will coordinate with everyone on the list. 2021 virtual: Liping/Scott West: had the meeting, did some literature review. Will move on for a RTAR. 1633RP is relevant (likely the proposed work will be in this format) 1650 RP. Expect the RATA by annual meeting 2021. Liping will follow up with Austin and Laura |
| Co-Sponsor | Draft: Low-cost indoor pollutant sensor metrics for data-driven control of ventilation in smart buildings | Jordan Clark, Brent Stephens, Kristen Cetin | Houston: In progress. TC4.3 is the main TC. Update by Kristen: RTAR is ready by Jordan. It is built off their existing project. Comments are welcome after TC review. Jin comments TC needs more time to review and vote. Zheng asked for difference between this project and prior project. Li will forward the questions to Jordan and request Jordan to present and answer the questions. Liping is the PMS of the prior project and should be consulted. Kansas City update: It is designed as the follow up project. Orlando: Kristen explained that Jordan Clark is being approved by the TC for submission. 2021 virtual: Kristen to follow up with Jordan |
| Co-Sponsor | Assessment of energy savings of “smart” web-based connected thermostats in new and existing single and multi-family dwellings for inclusion in SSPC90.2 Active) | Li Song | 2021 virtual: Li Song is following up |
| Parking Lot |  |  |  |
| BOD | How smart/connected thermostat impact energy performance? | Li, Jin, Kristen, Glenn, David Shipley, Bing Dong, Han Li (hanli@lbl.gov), Brent Huchuk (Univ. of Toronto), 3 more from 90.2 | Volunteers from 90.2: Mike Lubliner, Washington State University, lublinerm@energy.wsu.edu, 360-956-2082, Richard Watson, SSHC, Inc.,rwatson@sshcinc.com,860-399-5434, Matt Vargo, Carrier Corp, Matt.vargo@carrier.utc.com. Kansas City update: Li will explore the study done by EPA and start the draft of the RTAR Orlando: Mike Brambely provided inputs about the presentation on Sunday. |
| BOD | RTAR - Link the productivity with occupant-in-loop control | Ivo Martinac | New at Long Beach Houston: Topic was discussed. Ivo was not present, but there is general interest among those present. Update by Zeng: update before Houston meeting “no time to get the work done”. Carol added that it was meant for a mini system for local air condition control, personal comfort. Kansas City update: Jin will update the TC after contacting POC. Orlando: Park |
| BOD | RTAR - Smart management of moisture and energy consumption in residential houses, smart ventilation, optimal location for dyer, heat pump water heater, etc. | Andrew Windham; Kristen Cetin | New at Long Beach Houston: Not discussed Update by Kristen: still interested in working on it. Update in Kansas City: Kristen mentioned one discussion with Andrew a year ago. Kristen will clarify the intention with Andrew and update the team. Orlando: drop |
| ET/FDD | Draft RTAR: Metadata and Taxonomy to Support FDD in Smart Buildings | Nick Gayeski Charity Young | SEA NEW submitted for consideration by Subcomms CHI – Nick discussed wants feedback. Explained purpose ATL- Phil did not think the need and significance to ASHRAE are clear. Had discussion in ET subcommittee. Nick will revise ORL – Nick is continuously updating it. Las Vegas – Nick is continuously updating it. Long Beach – no update Chicago: No update. Houston: Dennis Krieger will pick this up to see if there’s potential to move forward. He’s unfamiliar with ASHRAE processes. Update from John Wallace: Will follow up with Dennis Krieger. Jin clarified it included two components: Taxonomy and point mapping. It might be good to organize a program before moving forward with RTAR - John. Orlando: Nick gave up on the RTAR but will move to a program. (David Yuill) Li will follow up with Nick to clarify it will be for a program or an RTAR. He is revisiting with BecNet to see if he can resubmit. Summer 2020: park it. Kristen will follow up with Nick. |
| BOD | Draft RTAR - Design guideline to consider unmeasured disturbance for an implementable MPC | Donghun Kim, David Blum | New at Long Beach Chicago: Still in progress Houston: Still in progress. Update by Zeng: The RTAR draft was prepared by Donghun Kim. David Blum sent the comments back to Donghun Kim January 2019 and no updates since then. Li will follow up. Kansas City update: Donghun Kim will finalize the draft RTAR. Targeted for August 15, 2019 deadline. Orlando: Drop |
| FDD | RTAR: Self-fixing faults once it is diagnosed | Andrew Windham windhamaw@appstate.edu; Jin Wen will help) | New at Long Beach Houston: no update Kansas City update: an ongoing project is funded by DOE. Orlando. park |
| FDD | RTAR: collect, clean, and label existing data for FDD research | Xiwang Li, Liping Wang, Kristen. Shawn Shi (Carleton) | Las Vegas: new idea Long Beach: no update Houston: No update Kansas City update: Park. Orlando: park |
| FDD | WS 1781: – Methods to Evaluate AFDD Methods for Air Handling Unit Systems | Jin Wen | CHI – Jin Wen has new version for submission. Atlanta – Voted; submitted to RAC. RAC accepted with comments for WS. ORL – WS in preparation STL – WS in preparation; 7.3 will co-sponsor. Might seek co-sponsorship with 9.1 Las Vegas – WS in development. Will seek a vote in between meetings. Long Beach - WS is ready to be voted. Aim at submitting it by August deadline Chicago: WS was submitted after vote in LB. RAC returned with comments. Jin, Michael, and David met with Chris Wilkins, RAC liaison, and discussed revisions and resubmitting. Houston: No update. It times out within the next year, but we’re still interested in pursuing this. Update by Jin in Atlanta: WS was inspired by the difficulties of the evaluation of RTU FDD algorithms. The WS was submitted once and comments were collected. Jin will get it done before the February 2019. Kansas City update: drop from the list and park |
| FDD | Idea - FDD for datacenters |  |  |
| FDD | Literature Review and Survey of existing FDD methods and data | Nick Gayeski, Jin Wen | ATL - FDD literature review and central location for download data/methods etc. (collection of methods) – existing Not only compiling but assessment of new technologies (indicating last large-scale study is 2005) Characterization (qualitatively) evaluate. IEA 34. |
| FDD | Idea - Whole Building FDD through smart-meters (champion?) |  |  |
| ET | Ideas -- Connectivity in the home? | Nick Gayeski | CHI – Much discussion no resolution |
| SG | Development of models for better peak load predictions | Kristine; Mike, Srinivas will review | CHI—New idea. |
| SG | Idea – DR guideline related ideas |  | ATL – estimate thermal response etc. |
| SG | Idea --Instantaneous voltage and current load from bldgs. For SG | Ralph Muehleisen Argonne NL | CHI – New Idea |
| Co-Sponsor | Idea - | TC 7.3 | ATL – Mike Brambly mentioned an idea about building maintenance and FDD |
| ET | RTAR -1782: “Learning occupancy presence in residential buildings through smart meter data” | Bing Dong and Zheng O’Neill | Voted in Atlanta; Submitted for RAC to review. RAC rejected. “it is not clear if ASHRAE should lead or others (EPRI, etc.) and how much research is needed to detect or model the occupancy based on smart meter data…” ORL – discussed with Phil and solicited comments (comments on whether available technologies and other literatures have been integrated in the RTAR). Smart thermostat might learn occupancy. Behavior based action from Utility company – if you know occupancy patterns then send messages etc. |
| SG | Guideline on smart building equipment |  | Chicago: New idea Houston: Not discussed. |

## TC 7.5 Handbook Subcommittee Meeting Minutes

Jan 18, 2021 (Monday) 1 PM to 2:00 PM EDT

Virtual Meeting

- Call to order / Intro (3 min)

- Report from TC 7.5 handbook Co-Chair (Joe Zhou) (5 min)

  - Progress since last ASHRAE meeting: two chapters lead by Zheng and Greg met bi-monthly for discussion and task assignments. Progress has been slow due to low attendance. Both chapters do have a new framework structure laid out and the lead assigned. Significant changes will be made to both chapters.

  - Schedule for the next version: deadline for revision – 2/2022. Deadline for TC review and approval 7/31/2022. Need to start editing the content.

  - Recruit new reviewers/editors for the next version: Kristen Cetin volunteers to help with the Smart Building System chapter. Jin Wen will help with the Supervisory Controls chapter.

- Discussion on Chapter 43 Supervisory Control Strategies and Optimization (Zheng O’Neill) (15 min)

  - Status

    - New intro.

    - New chapter structure.

  - Discussion

- Discussion on Chapter 63 Smart Building Systems (Greg Pavlak) (15 min)

  - Status

    - New intro.

    - New updates on the Smart Grid chapter

    - Monitoring-based Cx / AFDD

  - Discussion

- New business (Joe Zhou) (5 min)

  - TC 1.9 electrical system handbook chapter will coordinate with this TC handbook chapter on the Smart Grid section / Smart Grid Application Guide.

- Next handbook subcommittee meeting (2 min)

  - Joe will setup bi-monthly meetings for the next 6 months.

- Adjourn

|  | #### TC 7.5 Honors & Awards Subcommittee Meeting Minutes 10:00AM-11AM EST, Saturday, January 23, 2021 Virtual ASHRAE Zoom Meeting Prepared by: Carol Lomonaco-Subcommittee Chair |  |
| --- | --- | --- |
| - The TC 7.5 Honors & Awards Subcommittee Meeting was called to order at 10am EST. - Introductions by everyone on the Zoom call were completed. There was a Google Docs sign-in sheet for TC 7.5 meetings, and everyone on the Zoom call was asked to sign in for the Honors and Awards meeting. - The Agenda was read by the subcommittee chair. - Since this was the first formal Honors & Awards subcommittee meeting for TC 7.5, the chair reviewed the subcommittee members, the Honors & Awards Subcommittee’s Scope, the Objectives, the specific goals for the subcommittee, and the nominations made thus far: - Subcommittee members are: Carol Lomonaco (Subcommittee Chair), Joe Zhou, Zheng O'Neill, and Natascha Milesi Ferretti - Subcommittee’s Scope: ASHRAE’s Honors and Awards program recognizes the dedicated ASHRAE Members who give freely of their time and expertise to fulfill the Society’s mission of advancing the arts and sciences of HVAC&R to serve humanity and provide a sustainable world See ASHRAE’s Honors and Awards link: https://www.ashrae.org/about/news/2020/ashrae-recognizes-outstanding-achievements-of-members-at-the-2020-winter-conference - The Objectives for the Honors and Awards TC 7.5 subcommittee are: “Give TC 7.5 members an update on this subcommittee’s work, and how many Fellow and Exceptional Service Award (ESA) nominations have been made thus far. The plan will be shared for the other potential Fellow, Distinguished Service Award (DSA) and Exceptional Service Award (ESA) nominations to take place from Jan 1, 2021 until June 30, 2021. Also, discuss plans for after July 1, 2021 and the selection for other potential nominations.” - The specific goals for the subcommittee were to complete the nominations to the ASHRAE Honors and Awards before or on the published deadlines: -six (6)Fellow nominations -six (3) Distinguished Service Award (DSA nominations -three (3) Exceptional Service Award (ESA nominations - The subcommittee thus far has submitted to the ASHRAE Honors and Awards Committee the following: -three (3) Fellow nominations -zero (0) Distinguished Service Award (DSA) nominations -one (1) Exceptional Service Award (ESA) nominations Note: as soon as the subcommittee is notified about any nominations selected by ASHRAE for the Honor or the Award, TC 7.5 members and the whole TC 7.5 membership will be notified. - The subcommittee chair asked the attendees if they had any additional questions or comments. There was one attendee that brought up the case where an active TC 7.5 ASHRAE member was not able to attend for several years because their employer would not pay for their expenses and ASHRAE and membership fees for them to attend. However, the member still participated remotely. The point the person was trying to make is that they may not be able to qualify for many of the ASHRAE Honors and Awards because they were not able to continue their membership for ten or 20 years without any breaks. After some discussion the subcommittee chair stated that the circumstances would be discussed with the ASHRAE Honors and Awards Committee. Also, an update would be given to the TC at the ASHRAE Annual/Virtual Phoenix, AZ meeting in June 2021. - The TC 7.5 Honors & Awards Subcommittee Meeting was adjourned at 10:59 AM EST. |  |

RTAR: Research Topic Acceptance Request