# 1791 Tullie Circle, N.E./Atlanta, GA  30329

404-636-8400

DRAFT v2

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.	TC7.5						DATE	08/03/2021

TC/TG/MTG/TRG TITLE	Smart Building Systems

DATE OF MEETING 06/23/2021			LOCATION Zoom Virtual meeting

| Subcommittee Chairs and Voting Members | Term in Position | Ex-Officio Members and Additional Attendance |
| --- | --- | --- |
| David Yuill, Chair (V) | 07/2020 – 06/2022 | See attached attendance list |
| Li Song, Vice Chair (non-V) | 07/2020 – 06/2021 |  |
| Xiaohui Zhou, Secretary (V) | 07/2020 – 06/2023 |  |
| Zheng O’Neill, Research Chair (V) | 07/2020 – 06/2021 |  |
| Kristen Cetin, Smart Grid Chair (V) | 07/2017 – 06/2021 |  |
| Eric Yang, Program Chair (V) | 07/2019 – 06/2023 |  |
| Donghun Kim, BOD Chair (non-V) | 07/2020 – 06/2021 |  |
| Liping Wang, FDD Chair (V) | 07/2019 – 06/2023 |  |
| Gregory Pavlak, Handbook Chair (non-V) | 07/2018 – 06/2021 |  |
| Michael Galler, Enabling Tech Chair & Webmaster (non-V) | 07/2011 – 06/2021 |  |
| Carol Lomonaco, Honors and Awards Chair (non-V) | 07/2021 – 06/2025 |  |
| Glenn Remington (V) | 07/2019 – 06/2023 |  |
| Srinivas Katipamula V) | 07/2019 – 06/2023 |  |

(V) = voting member

(non-V) = non-voting member

Note: The complete attendance list from TC 7.5 main meeting is attached at the end of the minutes.

| DISTRIBUTION: All Members of TC/TG/MTG/TRG plus the following: |  |
| --- | --- |
| Satheesh Kulankara | SH7@ashrae.net |
| Harris Sheinman (Handbook Liaison) | lyy9@cdc.gov |
| Mike Vaughn, Manager Of Research & Technical Services | MORTS@ashrae.net |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

|  | #### TC 7.5 General Meeting 6/23/21 11:00 AM to 1:30 PM EDT |
| --- | --- |

Schedule and links for TC 7.5 Meetings, Annual 2021:

| Committee | Date | Start | End | Chair | Link |
| --- | --- | --- | --- | --- | --- |
| BOD | 6/21/2021 | 11:00 AM | 11:45 AM | Donghun Kim | Link TBD |
| FDD | 6/21/2021 | 12:00 PM | 12:45 PM | Liping Wang | FDD Zoom |
| Enabling Technologies | 6/21/2021 | 1:00 PM | 1:45 PM | Mike Galler | Enabling Tech Zoom |
| Smart Grid | 6/22/2021 | 11:00 AM | 11:45 AM | Kristen Cetin | Smart Grid Zoom |
| Program | 6/22/2021 | 12:00 PM | 12:45 PM | Eric Yang | Program Zoom |
| Research | 6/22/2021 | 3:30 PM | 4:15 PM | Zheng O'Neill | Research Zoom |
| Handbook | 6/22/2021 | 4:30 PM | 5:15 PM | Greg Pavlak | Handbook Zoom |
| Honors and Awards | 6/22/2021 | 5:15 PM | 6:00 PM | Carol Lomonaco | Honors and Awards Zoom |
| Main TC | 6/23/2021 | 11:00 AM | 1:30 PM | David Yuill | Main meeting Zoom |

Remote meeting participation tips:

- Mute yourself.

- Click “Raise Hand” or type a comment if you wish to speak. Unmute yourself when the moderator or chair addresses you.

- Make sure that your display name is accurate and includes first and last name.

- Please sign in on the attendance sheet (link will be provided)

Dave Yuill: 11:01 am EDT started the meeting. Li Song will monitor the chat for questions.

Google sign in sheet was distributed by Li Song through Zoom chat.

- Welcome.

  - David Yuill: discussion of Basecamp procedures will be done later.

- Roll Call and Introductions. Determination of quorum.

  - Current voting members (ending month) present:

Kristen Cetin (June 2021); Zheng O’Neill (June 2021); David Yuill (June 2022);

Srinivas Katipamula (June 2023); Glenn Remington (June 2023); Liping Wang (June 2023); Eric Yang (June 2023); Joe Zhou (June 2023).

| X | Kristen Cetin |  | Glenn Remington |
| --- | --- | --- | --- |
| X | Zheng O’Neill | X | Liping Wang |
| X | David Yuill |  | Eric Yang |
| X | Srinivas Katipamula | X | Joe Zhou |

David Yuill: we have a quorum (6 of 8).

- Self-introduction for the persons who participate the meeting for the first time.

- Scope

TC 7.5 is concerned with the performance and interactions of smart building systems, the impact of smart systems on the total building performance, methods for achieving more intelligent control and operation of building processes, interactions of smart buildings with utilities, and documentation of the benefits of smart buildings and smart building systems as they relate to energy consumption, cost of operation, maintenance, occupant comfort, building commissioning, operations, and impact of the SBS on utilities and natural resources.

ASHRAE Code of Ethics Commitment – Chair

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Discussion/Vote on Approval of 2021 Winter (virtual Chicago) Meeting Minutes

  - David Yuill: On March 8, 2021, TC 7.5 general meeting minutes (draft) was sent out by email – monitor changes. Xiaohui Zhou will modify handbook chair changes. Xiaohui Zhou made the motion, Zheng O’Neil seconded. Motion passed with all voted yes.

- Announcements

  - David Yuill: Chairs’ breakfast meeting and other ongoing activities

    - No breakfast - virtual

    - Basecamp manager suggested by TAC (Technical Activity Committee). From now on, Dave proposes TC 7.5 will have a basecamp manager served by the current and future TC Vice Chair (currently Li Song). Anybody who want to join TC 7.5 basecamp site needs to send an email to tc0705.vch@ashrae.net to request access.

    - Subfolder ‘Honors and Awards’ materials in basecamp are confidential. Please keep this folder accessible to only the Honors and Awards subcommittee members.

    - Restructured TC MOP – documents for technical committee procedures.

    - George Hightower awards nomination due September 1, 2021.

    - TC 7.5 website has a lot of information. A general rule for TC website vs. basecamp use – public info can be posted on the TC website, non-public info to basecamp.

    - ASHRAE new initiative – membership should be able to contact TAC asktac@ashrae.net for questions or comments. TC can directly make motions for TAC to act on.

  - David Yuill: ASHRAE Task Force on Building Decarbonization (TFBD) – Working Group on Grid-Building Interactions (WGGBI)

    - Grid – Building Intersection working group introduction.

    - Xiaohui Zhou comment: a way of quick response to the industry needs/trends.

    - Questions: how other people can be involved? Can info be posted on basecamp?

      - Dave (short answer) is I don’t know.

      - Exploring right now.

      - 3-month timeline from the start. Whole committee will end in 9 months.

  - Kristen Cetin: two live session with DOE, ARPA-E and NSF program directors

  - https://events.rdmobile.com/Sessions/Details/1136741. Seminar 3. Monday June 28, 2021, 2:00-3:30 pm: Research Programs and Funding Opportunities Part 1: U.S. Department of Energy (DOE) Building America and Advanced Research Projects Agency-Energy (ARPA-E)

    - Speaker 1. ARPA-E Investments in Building Energy Efficiency: Marina Sofos, Ph.D., Advanced Research Projects Agency-Energy, Washington, DC

    - Speaker 2. U.S. Department of Energy Building America Program Overview: Eric Werling, U.S. Department of Energy, Washington, DC

  - https://events.rdmobile.com/Sessions/Details/1136749.  Seminar 21. Wednesday June 30, 2021, 2:00-3:00 pm: Research Programs and Funding Opportunities Part 2: U.S. Department of Energy (DOE) Building Technologies Office (BTO) and the National Science Foundation (NSF)

    - Speaker 1. Research Programs, Initiatives and Opportunities at DOE’s Building Technologies Office: Amir Roth, Department of Energy, Washington, DC

    - Speaker 2. Research Overview and Funding Opportunities within the National Science Foundation: Caglar Oskay, National Science Foundation, Washington, DC

- Liaison Reports: Section Head, TC 1.4 (Chariti Young), TC 1.5 (Mike Galler), TC 7.3/7.8 (need new liaison; Chad Ruch?), MTG OBB (Zheng O’Neill), MTG EBO (Patrick Villaume) TC 1.9/1.10 (Currently Glenn Remington but need to identify a new liaison), SPC 223p (Parastoo Delgoshaei)

  - Chariti Young (TC 1.4 Control Theory and Application):

        - TC 1.4 is organizing a new subcommittee on Disruptive Technologies to address/discuss topics such as cybersecurity and BACnet/SC. Subcommittee will be chaired by Chris Benson. Look for information in the Winter 2022 meeting technical program.

        - BACnet SSPC135

- BACnet/SC addendum released a year ago, has had its own addendum since.

- Much activity around development of SPC223P: Semantic Data Model for Analytics and Automation Applications in Buildings.

        - SPC231P: CDL - A Control Description Language for Building Environmental Control Sequences

- The purpose of this standard is to define a declarative graphical programming language for building environmental control sequences that is both human and machine readable, designed for specification, implementation through machine-to-machine translation, documentation, and simulation.

- Meeting weekly

- Seminar 22 available on-demand Smoother Workflow for Controls Sequence Delivery: Standardizing and Digitizing the Process of Controls Sequences

        - Guideline 36 – High Performance Sequences of Operation for HVAC Systems

Since the G36-2018 version, the committee has

- published addenda a through j, l, o, p, and r through w.

- approved addenda q, x, y, and z, which should be published soon.

- The Guideline will be republished as G36-2021 incorporating all previously approved and published addenda.

- Addendum m (optimal start and zone requests) was voted out for publication at this meeting despite an unresolved comment.

- Two additional addenda are in the works besides addenda m.

- Lab VAV (Jim Coogan, SBT and Steve Taylor, Taylor Engineering)

- Freeze Protection (Rick Stehmeyer and Joe Zhou, Slipstream)

        - Guideline 13 Specifying Building Automation Systems meets Friday 6/25

        - YEA/Education subcommittee: will organize a YEA-focused 30-minute session at the beginning of the main TC 1.4 committee meeting for the next in-person conference.

        - Control Components & Applications (Hot topics in Controls) subcommittee

- Cybersecurity and controls is a growing concern. Topics discussed included:

- How to handle cybersecurity concerns during commissioning?

- How to handle dynamic/static addressing and port scanning?

- Guideline 36 adoption and potential for energy savings.

- Challenge of identifying the right data needed during commissioning/FDD/analytics and getting it. Profiles/semantics/standards.

        - Research subcommittee

- RP1661: Development and Validation of Dynamic Models for control of chiller plants with water side economizer. Extension granted to 4/31/2021.

- RP1865: Optimizing supply air temp control for DOAS. Project awarded to TAMU, but contract not yet signed. Project will probably begin after Jan meeting in 2022. On hold waiting for funding.

- RTAR1925: Building operation and equipment KPIs. Approved and in pipeline.

- WS1809: Updating Reference Guide for Dynamic Models of HVAC Equipment. Research subcommittee recommended that the TC co-sponsor this project. TC1.4 voted to approve co-sponsorship.

  - Carol Lomonaco (TC 1.5 Computer Applications):

        - Met Monday evening. Voted for TC name change – emerging computer applications(?)

        - Jashua New vice-chair now acting chair.

        - Machine to machine application research.

        - Cybersecurity moved to MTG CYB.

  - TC 7.3/TC 7.8 merged. New liaison?

  - Zheng O’Neil (MTG OBB):

        - MTG OBB will be moved to TC OBB.

        - Working on revising handbook 65 occupant-centric control. Related to chapter 43 supervisory control and chapter 63 smart building systems.

        - ASHRAE will revise the commercial building performance measurement protocol (PMP), MTG will help in that effort.

        - Contact Bing Dong if you want to contribute to the ASHRAE global database on occupant behavior.

        - Li Song leads an RTAR on occupant control.

  - Patrick Villaume (MTG EBO - Effective Building operations):

        - Have not met since Jan.

        - Previous discussion includes sensors, analytics, etc. brainstorming in Jan. Setup a class in building optimization.

  - TC 1.9 (electrical systems)/1.10 (combined heat and power): Glen Remington was not present at this meeting.

  - Parastoo Delgoshaei, SPC 223P:

        - Currently serving as the secretary. Meet every other week (Tuesday). Modeling group meet every Friday. Contact Parastoo for more info. Currently develop modeling for FDD, commissioning, auditing, etc.

  - Carol Lomonaco, TC 2.10 resilience and security:

        - Broad topic of security and resilience. Met with Katherine Hammack. Encompasses 10~20 TCs.

- Mike Galler via chat on MTG CBY:

        - MTG is co-sponsoring two seminars, Seminar 4: Solving BACnet/SC Management Challenges with Managed BACnet, and Seminar 5: Impact of IoT on Building Controls.

        - We have been approved to write a short bi-monthly column about cybersecurity in the ASHRAE Journal. The first one will be in the July issue, written by Dave Branson. The next two are in development, volunteers for future columns are welcome.

        - The MTG is part of a new effort to increase collaboration with CIBSE, details still in development. This same information was given to TC 1.5, I hope it appeases TC 1.4 as well.

- Fault Detection and Diagnosis Subcommittee Report (Liping Wang)

  - Met Monday. 18 participants.

  - A few seminars: Seminar 46, 16, scheduled at this conference.

  - A few papers published – in subcommittee meeting notes.

  - New programs: multi-family residential FDD; Move beyond data – anyone interested in these topics as speakers? Big data analysis for FDD.

  - Any new seminar ideas please contact Liping Wang.

  - RTAR ideas: John House – evaluation ASHRAE Standard 207P.

  - Efforts to incorporate FDD into various standards and guidelines. Forum to discuss?

- Enabling Technologies Subcommittee (Mike Galler)

  - Met yesterday.

  - CO2 sensors discussion. Zachry. Ideas from the APAR-E project. Will discuss with Kristen more later.

- Smart Grid Subcommittee (Kristen Cetin)

  - Current conference session on smart grid

  - Seminar ideas: in the notes. New ideas please contact Kristen.

    - Cybersecurity and smart grid

    - Renewables and the smart grid

    - Smart building and the transaction energy hub – Scott

    - Demand flexibility – DOE benefit project

    - Connected community deployment lessons learned.

  - Research ideas

    - Guideline smart equipment and IoT

- Buildings Operations Dynamics Subcommittee (David Yuill reporting for Donghun Kim)

  - What to do with optimal control (Peter Armstrong)

  - Model accuracy impact on MPC.

  - Building operations for grower operations

  - RP-1661, WS-1819, RTAR

  - Zheng O’Neill: Seminar for MPC performance planned.

- Research (Zheng O’Neill)

- Research updates from society/RAC

- Currently sponsored projects

  - RP-1661- PI Wangda Zuo. April 2022 is expected to complete.

  - RP-1756 – PI: Jordan Clark – OSU. Draft report ready. Would complete the project ASAP.

- Current RTARs and WS

  - WS-1875 – virtual sensor

  - WS 1812 – submitted once, RAC return with comments, Zheng/Kristen still working on revision.

  - WS 1809 – submitted once, RAC return with comments. Response RAC comments. Forwarded to TC 1.4 to co-sponsor the WS. Need to add changes and a deliverable suggested by Peter Armstrong. WS posted on basecamp.

- Vote on WS 1809 - Updating Reference Guide for Dynamic Models of HVAC

  - Discussion: need the modification before vote. Zheng withdraw the motion. The committee will vote later after the revision.

- 7 active RTARs

  - Occupancy control ? MTG approved co-sponsorship for this RTAR. 4-years ago posted on basecamp. Will not vote at this meeting.

  - Reminder: new research ideas should be discussed at the research subcommittee meetings.

- Jin Wen: RAC met last week but have not reviewed all the RTAR, etc. RAC will not meet with research chairs – maybe August. No research funding issues discussed yet. RTAR vs. PTAR (any project result in publications).

- Program (Eric Yang)

  - Eric was not present at this meeting.

  - 11 seminars scheduled at this conference.

  - August 2nd is the deadline for next conference seminar ideas.

  - August 6th is the deadline for concept paper submission.

- Handbook (Greg Pavlak)

  - Less than a year out on approval the new version.

  - Applications Chapter 43 – Supervisory Control Strategies and Optimization

    - Review needed and in progress – let Greg know.

  - Applications Chapter 63 – Smart Building Systems

    - Review needed and in progress – let Greg know.

- YEA (Kristen Cetin)

  - Encourage YEA members – try to setup a separate subcommittee in the next meeting.

- Standards (David Yuill)

    - Standard 201 – Facility Smart Grid Information Model (RA2020)

    - Standard 207 – Laboratory Method of Test of Fault Detection and Diagnosis for Air Economizers – finally published 2021.

- Honors and Awards (Carol Lomonaco)

  - Half a dozen participants. Carol Lomonaco, Zheng O’Neill, Xiaohui Zhou, and Natascha Milesi-Ferretti forms the current subcommittee group. Voted to handle 6 fellow, 6 ESA, 6 DSA. Eventually we were successful in submitting 2 fellows, 2 ESA, and 2 DSA applications.

  - Seek new people to join the subcommittee for the next year. Please contact Carol Lomonaco.

- Web Page (Mike Galler)

  - Mike was not present at this meeting.

- Membership (David Yuill)

  - Roster changes coming

  - Provisional member to corresponding member – email Dave.

  - Common process: Secretary (2 year) – Research (2 year) – VC (2 year) – Chair.

  - Interested in subcommittee leadership? Contact Dave.

- Old Business

- Update on ARPA-E Sensor project (Kristen Cetin/Zheng O’Neill)

- New Business

  - Smart Buildings magazine – potentially reach out to committee members for content. Endeavor business media – publisher.

- Adjournment: meeting adjourned at 1:33 pm Eastern Time.

|  | #### TC 7.5 Fault Detection and Diagnostics 12:00:00 PM– 12:45:00 PM EDT, 6/21/2021 Access Information: https://ashrae-org.zoom.us/j/97034955037?pwd=d2MvQnRaL2pxdHZaamJzeElYd0orZz09 Zoom Meeting ID: 970 3495 5037 Passcode: 119569 Find your local number: https://ashrae-org.zoom.us/u/a4L1UROd3 Prepared by Liping Wang |
| --- | --- |

Subcommittee Scope: explore and develop technologies to detect and diagnose common faults in both commercial and residential buildings.  The scope of this subcommittee includes (a) identifying and sponsoring research projects to develop new FDD technologies, evaluate existing FDD technologies; provide recommendations to building operators and practical engineers, and develop supporting tools for researchers in FDD areas, and b) organizing programs to disseminate research findings and advancements in FDD areas among ASHRAE members.

Agenda:

| 0:00 | Call to Order |  |
| --- | --- | --- |
|  | Self-introduction, announce the subcommittee scope. |  |
| 2 mins | Sessions at current ASHARE conference |  |
| 5 mins | Seminars (On-Demand) Seminar 43 Fault Prevalence Types and Impacts by Building Types and System Types Chair: Piljae Im, Ph.D., Member, Oak Ridge National Laboratory, Oak Ridge, TN 1. Quantifying HVAC Fault Prevalence Using the Largest Standardized Fault Dataset Assembled to Date Eliot Crowe, Lawrence Berkeley National Laboratory, Berkeley, CA 2. Impacts of Faults on Unitary Air Conditioners Yifeng Hu, P.E., Student Member, University of Nebraska - Lincoln, Omaha, NE 3. Performance of High-Performance Control Sequences in Handling Various Faults Xing Lu, Student Member, Texas A&M University, College Station, TX Wednesday, June 30, 11:30 AM - 1:30 PM Seminar 16 Fault Detection and Diagnosis in Guidelines and Specifications and Their Application Chair: Liping Wang, Ph.D., P.E., Member, University of Wyoming, Laramie, WY 1. New Resources for Fault Detection and Diagnostics Application in Commercial Buildings Guanjing Lin, Ph.D., Associate Member, Lawrence Berkeley National Laboratory, Berkeley, CA 2. Guideline 36: Automatic Fault Detection and Diagnostics for VAV AHU Justin Mezzadri, Carrier, Charlotte, NC 3. Development and Implementation of Fault-Correction Algorithms in Fault Detection and Diagnostics Tools Yimin Chen, Lawrence Berkeley National Lab, Berkeley, CA Conference Paper Session (On-Demand) Conference Paper Session 5 Energy Audits, Buildings Efficiency and Fault Diagnosis Dynamic Bayesian Network for Fault Diagnosis (VC-21A-A002) Ojas Pradhan, Student Member1 , Jin Wen, Ph.D., Member, Yimin Chen, Ph.D., Teresa Wu, Ph.D. and Zheng O'Neill, Ph.D., P.E., Member Conference Paper Session 11 Advanced Controls, Technologies and Fault Detection for Chillers and Chilled Water System Applications Utilizing New Technology and Analytics to Identify Chiller Deficiencies (VC-21A-C050) Greg Jimmie, Member, ETC Group, Tempe, AZ Conference Paper Session 12 Advancements in the Design, Controls and Fault Detection of Air Handing Units and Ventilation Equipment Effect of Sensor Redundancy on Model-Based Fault Detectability for Air Handling Units (VC-21A-C055) Narges Torabi, P.Eng., Student Member1 , Burak Gunay2 and Liam O'Brien, Ph.D.1 , (1)Carleton University, Ottawa, ON, Canada, (2)Carleton University, Canada |  |
| 3 mins | 2022 Winter ASHRAE conference seminar ideas - Fundamental and Applications - HVAC&R Systems and Equipment - Refrigerants and Refrigeration - Buildings at 360º - Energy System Integration - Environmental Health and IEQ in the International Arena - HVAC for Industrial and Commercial Purposes - Challenges and Opportunities - Refrigerants, Safety, Performances Seminar proposals June 18, 2021 – August 2, 2021 |  |
| 10 mins | Potential Seminar Ideas for 2021 Winter ASHRAE |  |
|  | Automated Alarm Management: DDC alarms used for FDD? Segment the alarm information into useful pieces. The building operator has to go through all the alarms. Make a presentation to collect information to make an RTAR is a goal. TC1.4: program will be the co-host. Carol identified three speakers. Plan to submit the seminar proposal if we will have a virtual conference in 2021 winter ASHRAE. | Carol Lomonaco, Kim Barker |
|  | Fault prevalence types and impacts by building types and system types. Completed: 2021 Annual Conference | Piljae Im (Chicago), David Yuill, Guanjin, Jin Wen |
|  | Moving Beyond Data Overload to Effective Use of Fault Detection and Diagnostics Analytics Liping connect Patric with Guanjing | Guanjing Lin, Patric Villaume |
|  | Residential FDD (multip family residential buildings) review of FDD on residentials. Submit for 2022 Winter or Summer confernece | David Yuill, Jin Wen, Zheng O’Neill, Li Song |
|  | Big data analysis for AFDD Liping follow up with Jin | Jin wen (Chair), David Yuill, Liping Wang, Zheng O’Neill, Li Song |
|  | FDD in Guideline (GPC) 36 Guanjing, David, and Chirag showed interest in this topic. Consider submitting a seminar proposal for 2021 winter ASHRAE. Completed: 2021 Annual Conference | TC 1.4, co-sponsor 7.5 FDD Chair: Guanjing Lin (LBNL) David Yuill, Chirag Parikh |
|  | California requirement of FDD May consider FDD requirement in standards such as Title 24, Guideline 36, SPC 207. Completed: 2021 Winter Conference | Steve Taylor, Kim Barker, Kristin Heinemeier |
|  | New ideas? |  |
| 15 min | Update/Discussion of Active project/RTARs/Work Statement |  |
|  | WS 1812 Development of AFDD for leakage of ground-source heat pumps (work statement revision) | Zheng O’Neill and Kristen Cetin |
|  | Evaluation of ASHRAE Standard 207P Interested in co-sponsor 1.4 John led a discussion the RTAR idea. Can tests be properly dones? What are the expected results? Who will be the users? | Lead by John House David Shipley, Kim Barker, Mike Brambley, Ahmed Abdel-Salam Chirag Parikh, Liping Wang, David Yuill |
|  | Research Ideas |  |
|  | New idea: User’s experiences with FDD? How do users respond to the alarms, correct or false? | Austin Rodgers, PNNL Laura Towsley (laura.towsley@rycom.com). Scott West Eric Yang |
|  | Literature Review and Survey of existing FDD methods and data ATL - FDD literature review and central location for download data/methods etc. (collection of methods) – existing Not only compiling but the assessment of new technologies (indicating last large-scale study is 2005) Characterization (qualitatively) evaluate. IEA 34. | Nick Gayeski, Jin Wen |
|  | Automated Alarm Management: DDC alarms used for FDD? (automated analytics to correct alarms or utilize alarms) – return the threshold to reduce false alarms in an automated process. 2020 Annual: Seminar idea first (possibly virtual conference). Plan to propose an RTAR based on the seminsar discussion. | Carol Lomonaco, Reinhard Seidl, Li Song, Te Qi, John Wallace |
|  | What research should TC 7.5 provide to use the FDD results to support the energy-saving requirement for Standards and Guidelines such as Standard 90.1 and 189.1? What is the minimum requirement for 90.1? An internal TC7.5 meeting. Host a meeting for brainstorming by inviting members from other standards. Or discuss this in TC 7.5 main meeting or seminar or forum. | Guanjing Lin and Kim Barker, Scott West, Glenn Remington, Li Song |
|  | User experience and organization adoption of FDD |  |
| 10 min | New ideas and discussions |  |
| Adjourn |  |  |

#### TC 7.5 Enabling Technology - Chair Mike Galler #### 6/21/21 1:00 PM to 1:45 PM #### https://ashrae-org.zoom.us/j/97246469524?pwd=YzA4bjhqVG5pOHBBdHVNeWNoZTdHQT09

Subcommittee Scope: •	The Enabling Technologies Subcommittee of TC 7.5: Smart Building Systems aims at exploring and developing technologies which will enable the development, implementation and commercialization of smart building applications such as fault detection and diagnostics, model-predictive control and optimization, and smart grid applications such as automated demand response.  Three focal points of this subcommittee are i) smart transducers, such as sensors and actuators which provide diagnostic information, ii) communications, such as wireless devices and protocols enabling greater data exchange, and iii) embedded metadata, such as embedded equipment and system information to enable smart building applications.  On these topics, the scope of this subcommittee includes identifying and sponsoring research projects, evaluating existing technologies, providing recommendations to building operators and practicing engineers, developing supporting tools for researchers in these areas, and organizing programs to disseminate research findings and advancements among ASHRAE members.

Agenda:

| 5 min | Call to Order |  |
| --- | --- | --- |
|  | Introductions; Agenda Overview |  |
| 29 min | Program |  |
|  | Current meeting status and new ideas proposals due for Las Vegas: August 6?? 2021 (Program) | Ideas from last meeting are provided below |
| 1 min | Update/Discussion of Active project/RTARs/Work Statement |  |
| Adjourn |  |  |

New Ideas

Gas sensing technologies – Zach Siefker, Kristen Cetin. Will organize seminar for Winter 2022 meeting.

Discussion on cybersecurity- supporting need for more seminars on topic.

Program Discussions from previous meetings:

Building-Smart Grid Interface Glenn Remington

New Sensing Technology Chair: Carol Lomonaco – Carol not present. Volunteer/potential speaker: Glenn Remington (low cost particle sensor – TC). Mohammad Heidarinejad. Donghun will approach other people to recruit for this. Eric Yang will reach out a potential speaker from CMU.

Impact of IoT on building control & monitoring (June 27, Seminar 5, 7 – 8:30 PM) Chair: Carol Lomonaco Carol not present. 1. Cybersecurity for the Connected Commercial Building Patrick Villaume, Member, Patterson Kelley, East Stroudsburg, PA 2. Cultural Changes Are Needed for IoT Cybersecurity in Commercial Buildings Fred Gordy, Member, Intelligent Buildings, LLC, Villa Rica, GA

Enabling Technologies for COVID 19/ Pandemic in general Chair: Kim Barker Kim not present. Discussion: The scope is on gadgets that could assist in limiting the spread of Coronavirus and other respiratory infectious virus/bacteria. Examples: Touchless booth for temperature measurement etc. Apps to understand IAQ. Mike Galler – TC 1.5 might be interested Maciej Oldziej – control solution and sensor for COVID control Patrick Villaume – remote sensing/control due to pandemic; clogged filter; Kim Barker – will we need extra ventilation/ flushing. Space management and occupancy sensing for social distancing. Carol might have a speaker; Glenn will help with recruiting a speaker on humidity control

Meeting adjourned at 1:25 PM

|  | Meeting Minutes |
| --- | --- |
|  | #### TC 7.5 Smart Grid Subcommittee (Virtual, via Zoom) June 22, 2021 ¦ 11:00 am – 11:45 am Prepared by Kristen S. Cetin |

Subcommittee Scope: This subcommittee will explore and develop ideas and research work statements to improve the building and utility interactions (and more specifically the electric grid). The research will focus on developing enabling technologies for seamless interaction of smart building components and utilities and other building services. An important aspect of this work is to identify the information that is necessary to support smart building technologies, and to identify the requirements of communication protocols to support the exchange of this information between different building services buildings and utilities, between multiple buildings, with outside service providers.

The importance of a stable and reliable electric power grid to life and the economy in the 21st century has been underscored by two major events over the last decade: a major black out on the east coast of North America and wildly varying electricity prices in California during an attempt at restructuring the electricity marketplace. In response to these events many organizations have started research activities to find ways to modernize the grid. However, there a significant gaps in the research activities, especially as they relate to buildings. Since buildings consume over 70% of the electric in the U.S., they have to part of the solution to modernize the grid. ASHRAE has traditionally developed technologies, standards, and guidelines for buildings. Therefore, this subcommittee can play a major role in continuing this effort.

Attendance:  https://docs.google.com/spreadsheets/d/1JipDTkGOozs_foYNmJGaePMSC4Xmaq_nQWqeluX9UlY/edit#gid=866628984

Minutes:

| 0:00 | Call to Order |  |
| --- | --- | --- |
| 5 min | Introductions, announce the subcommittee scope |  |
| 5 min | Relevant sessions at current ASHRAE conference |  |
|  | Schedule Link: https://www.ashrae.org/file%20library/conferences/annual%20conference/program-book-6-3-2021.doc.pdf | see link |
| 30 min | Summer ASHRAE conference seminar ideas |  |
| 10 min | RTAR Ideas and Updates |  |
| Adjourn |  |  |

Meeting Minutes

Call to Order

- Read scope

- New members – name – affiliation, new member

- Sign In Sheet: https://docs.google.com/spreadsheets/d/1JipDTkGOozs_foYNmJGaePMSC4Xmaq_nQWqeluX9UlY/edit#gid=866628984

Relevant Sessions at current ASHARE conference

- Sessions Link: https://www.ashrae.org/file%20library/conferences/annual%20conference/program-book-6-3-2021.doc.pdf

- Scheduled:

  - Grid-Interactive Buildings: Impacts on Energy Use and Comfort – Seminar 17 –Wed June 30 - 11:30-1:30 pm (chair Michael Brambley)

- Research Summit (lightning presentations with Q&A): Wed June 30, 4:30-5:30 pm

  - Grid-Interactive, Flexible, and Low-Carbon Buildings and Building Systems
 - Conference Paper Session 13

- On-Demand Seminars (will be available at the start of the conference)

  - What Are Effects of Building Models on the Performance of Model Predictive Controls – Seminar 75 (chair Zheng O’Neill)

  - Data-Driven Control of Residential and Commercial Buildings for Energy and Cost

  - Savings – Seminar 38 (chair Kristen Cetin)

  - Grid-Interactive Efficient Buildings for Renewable Energy Integration and Decarbonization – Seminar 48 (chair Donghun Kim)

  - Application of Machine Learning in Future Proofing Building Operation - Seminar 28 - (Chair Jin Wen)

ASHRAE conference ideas

Winter 2022 – https://www.ashrae.org/conferences/2022-winter-conference-las-vegas - Jan 29-Feb 2, 2022

Deadlines:

  - Friday June 18,2021: Website Opens for Seminar, Workshop, Forum, Debate, and Panel Proposals

  - Friday August 2, 2021:  Program Submissions Due

- Tracks (most relevant)

  - (4) Buildings at 360 – methods/system/equipment/solutions to satisfy occupant needs for resilience and performance

  - (5) Energy System Integration – integration of various energy sources/grid with buildings to support renewable energy, grid flexibility, smart devices

- Previous/Current Ideas

  - Cybersecurity & Smart Grid - Carol Lomonaco will lead, try for 2022 Winter Conference

    - Please email Carol if interested in contributing - carol.lomonaco@jci.com

    - Zheng O’Neill / Jin Wen – can help, can discuss – have DOE project on this area

    - Eric Yang – help connect with Ron Bernstein at TC 1.4 - has good amount of work on this and info in guide spec (primary author) – more at system level

    - (from previous meeting) Glenn Remington – has contacts who could speak

    - potential collaboration with TC 1.5

    - Kristen will establish email for coordination

  - Renewables and Smart Grid – David Yuill, Scott Hackel - plan for submission for 2022 Annual Conference

    - How you can maximize use of renewables with smart grid

    - ASHRAE has decarbonization task force

      - working group on grid interaction, focused on how to operate buildings to minimize carbon produced.

      - Plan to finish 9 months from now deliverables are resources and identification of gaps/projects and what ASHRAE should do

    - Seminar would provide a presentation on results of task force related to smart grid/buildings

    - Christe Kjellman – involved in a project focused on this topic, including DC air conditioning/lighting project with EPRI, Edison – both could be speakers

  - Smart Buildings as a Transactive Energy Hub– Scott Hackel, Christie Kjellman, Ron Bernstein – plan for submission in Winter or Summer 2022

    - Smart Buildings as a Transactive Energy Hub. August 2020. PNNL-30103 V1- https://www.gridwiseac.org/pdfs/pnnl_30103_smart_buildings_teh.pdf

    - Christie has some ideas on potential speakers from Universal Devices

    - Scott – Slipstream doing work on automation and demand response; suggest to consider a session on automation, ADR, EDIS to automate processes

    - Question on if focus is on building/building or Building/Grid?

    - Kristen will establish email for coordination

  - Demand Flexibility for ongoing projects DOE BENEFIT – Jin Wen - plan for submission in Winter 2022

    - Jin will take care of gathering speakers/submissions

  - Connected Communities Field Deployment and Lessons Learned – Helia Zandi – plan for submission for Winter 2022

    - Helia will take care of gathering speakers/submissions

  - Follow up seminar/panel to Grid-interactive buildings, what’s impact on efficiency? (from Summer 2021 by Mike Brambley) – Eric Yang

    - Suggestion to plan for a follow up seminar or panel on this topic.

    - Eric will follow up with Mike

  - Other topics/ideas (mentioned but not discussed in detail)

    - Smart products for residential and commercial buildings

      - talk with residential TC – net zero building committee

    - Panel discussion on grid interactive buildings

    - Smart grid and building envelope interaction (from 4.4) - as an energy storage feature –

      - How building envelope can impact or interplay with smart grid contributions from buildings

      - Dynamic facades

      - Suggestion to follow up with NBI

    - Utility Grid Battery Control Strategies and Impacts on O&M & LCA (From Atlanta 2019)

      - Large scale batteries

Update/Discussion of RTARs/Work Statement ideas

RTAR Idea: ASHRAE Design and Integration of PV in the Built Environment Guide - Costa Kapsis, Jim Liedel- leidel@oakland.edu; costa.kapsis@uwaterloo.ca (from winter 2021 – not discussed in Summer 2021)

- Draft is posted in Basecamp

- Looking for people to review and provide comments

- Comments:

  - careful with “guide vs guideline” , suggestion to talk to research liason for Section 7

  - Glenn – interested in reviewing

  - Session 62 – related to this

  - PTAR process created after

  - seeking co-sponsorship

Guidance on smart building equipment / IoT – Carol Lomonaco, Scott Hackel

- what are you getting, functionality, products?

- what program functions are necessary to work in different environments?

- Carol – can reach out to one of the consultants that works in this area, has a good feel of this (has looked at some of this already) some people say wont allow the use of IoT because of lack of security/authentication, but maybe this isn’t the case, seems to be a wide range; people don’t understand these features/components – what are the deficiencies?

- Scott - also interested and had ideas on this topic

MPC in real buildings – Jin Wen, Zheng O’Neill, Helia Zandi

- survey finished recently on implemented MPC in real buildings – focused on controls, what are challenges? What strategies being used?

- Could propose literature review of state of the art and survey, use ASHRAE as method for data collection, leverage previous effort

- Helia – has some lessons learned in this area (implementing MPC) that could help

Other ideas mentioned but not discussed in detail:

Development of models for better peak load predictions (some discussion at research subcommittee already)

- City-scale model validation for predicting demand response - some models exist

- Need an evaluation of the state of the art, perhaps useful for new city planning

- Need some more research on demand response capacity prediction

- Existing software – GridLabD – developed to designing rate cases

Instantaneous voltage and current load from buildings

Energy demand prediction of multiple building scale

Linking building modeling to grid modeling

- Some existing efforts

- End user of this work would be policy recommendations for ISOs

- How to validate models?

|  | Minutes |
| --- | --- |
|  | #### TC 7.5 Building Operations Dynamics 11:00-11:45 AM (ET), June 21, 2021 Prepared by Donghun Kim |

Subcommittee Scope: The Building Operations Dynamics Subcommittee of TC 7.5 is concerned with the dynamic characteristics and interactions of comfort conditions, the active components of HVAC systems, the passive components of HVAC systems, control systems and operation strategies and the building. The committee is concerned with the methods of building system operation which minimize energy used through the consideration of dynamics and interactions. It is also concerned with methods which consider dynamic and interactive characteristics in the design or comfort conditioning systems.

Zoom Info:

Link: https://ashrae-org.zoom.us/j/97519864588?pwd=bnJUNm9aYjFoN2lhTTJ4NHl4bExlQT09

Details: Meeting ID: 975 1986 4588

Passcode: 839583

Find your local number: https://ashrae-org.zoom.us/u/abPtia9Ebh

Meeting Attendance:

https://docs.google.com/spreadsheets/d/1JipDTkGOozs_foYNmJGaePMSC4Xmaq_nQWqeluX9UlY/edit?usp=sharing

Agenda:

| 5 min | Call to Order |  |
| --- | --- | --- |
|  | Self-introduction, announce the subcommittee scope and other announcements. |  |
| 15 min | Program |  |
|  | Current meeting status and new ideas proposals | See below for more information |
| 15 min | Update/Discussion of Active project/RTARs/Work Statement | See below for more information |
| 10 min | New ideas and discussions |  |
| Adjourn |  |  |

Summary:

- 12 participants

- 5 programs are under development, 1 completed

  - 2 programs were submitted and accepted to Phoenix

- 1 on-going RP

- 1 on-going WS

- 5 RTARs are under development

Program Discussion (15 min):

| Program | Title | Lead | Previous talks |
| --- | --- | --- | --- |
| 1 | What to do with optimal control? | Peter Armstrong | Orlando: Peter is not in the meeting. No discussions. Virtual Conf (Austin): Peter is not in the meeting. Park this idea Chicago: Zheng will reach out to Peter for this item Phoenix: David will reach out to Peter for this item |
| 2 | Model accuracy impact study on model predictive control | Andreas Athienitis | KC: Complete, conference paper, Plan to organize seminar. Orlando: Dave Blum from LBNL is willing to participate in this seminar (Chicago). Zheng O’Neill will connect them with Andreas. Zheng will connect them with Andreas. Virtual Conf (Austin): David & Jose will contribute to this seminar (Chicago) Chicago: Resubmit to Phoenix Phoenix: Donghun will reach out to Zheng |
| 3 | Training plan for facilities | Zhou Joe | Bach to follow up Orlando: No discussions. Park this idea. Park this idea Virtual Conf (Austin): No discussions. Park this idea Chicago: No discussion Phoenix: No discussion |
| 4 | Building Operations for Grow Applications? | Glen | Orlando: No discussions. Park this idea. Reach out to TC 9.12 (?) Virtual Conf (Austin): Liping, Li, Glen and Carol will have a following talk Chicago:Follow-up meeting for Phoenix or later. Glen is seeking for speakers Phoenix: Liping, Li song, Kelly Cunningham (PG&E) will reach out to Glen |
| 5 | Grid-interactive efficient buildings for renewable energy integration and decarbonization | Li, Zheng, Donghun, Michael, Zoltan, Kriten | Chicago: potential contents: update GEB-related on-going projects Phoenix: submitted and accepted to present in this Phoenix meeting ASHRAE WGGBI(?) is working on the same topic (David). |
|  | New programs idea | (upcoming program proposal due: Monday, August 2, 2021) | https://www.ashrae.org/conferences/2022-winter-conference-las-vegas |

Research Proposals Discussions (25 min):

| Research | Title | Lead | Previous talks (~ Feb/2020, Orlando) |
| --- | --- | --- | --- |
| RP-1661 | RP- 1661: Development and Validation of Dynamic Models for the Evaluation of Chilled-Water System Control Strategies in the ASHRAE Handbook | TBD | Orlando: Li (PMS): need to tune the model, scopes need to be changed. May need another extension. Wangda (contractor): provides updates. Submit 60 pages of documentation to move forward for modeling. Finish implementation, debug controllers. Try to finish the debugging within 1-2 months. Asked for another one year NCE to April 2021. Virtual Conf (Austin): Asked for another one year no cost extension. Made a good progress. On-going: complete initial study (data center, data center + office buildings) and work on developing suboptimal schedule from optimal results Chicago: No cost extension. Made a good progress, move to the next stage of obtaining heuristic controls from optimal control behaviors Phoenix: detailed approach has been changed. On-going discussion for another no cost extension. |
| WS | WS- 1809: Updating reference guide for dynamic models of HVAC equipment | Heejin Cho | Send out to RAC before the RTAR rules changed PTAR (Publication TAR). Co-Sponsored by 1.4 Has been reviewed by all voting members. 1/15/2019 – Approved by all. RAC provided comments back to the author Orlando: no updates from Heejin Cho. Zheng will follow up with Heejin Li and Zheng iterated with Heejin and Virtual Conf (Austin): Zheng will follow up with Heejin. Chicago: WS was revised and waiting for response Phoenix: revision was completed. Vote on the main meeting this Wed. |

| RTAR | Title | Lead | Previous talks (~ Feb/2020, Orlando) |
| --- | --- | --- | --- |
| RTAR1 | If you had “perfect information” on occupant’s comfort preferences and their location within a conditioned space then how would you optimize control and how much value would you be able to realize | Rich Hackner? Li Song? | RTAR completed but did not submit. Internal TC review, and started to award, but search for co-sponsorship. Should check with occupant behavior group. Coordinate with TC 1.4? Circulate the document again via e-mail and repost by Li Song. Wen to communicate with Rich Hackner Voting Members to review on this RTAR and posted on BaseCamp. Organize electronic voting. Voted in KC Orlando: Not submitted yet. Will submitted by Li Virtual Conf (Austin): Bill asked to get vote from MTG.OBB. No feedback yet. Li will iterate with Bing Dong. Drafted 3 years ago but haven’t submitted yet due to delays in MTG.OBB. Chicago: No feedback from MTG.OBB for a while. Li will reach out to MTG.OBB to move it forward Phoenix: Li Song will reach out to Bing Dong & MTG.OBB for co-sponsorship. Maybe submit RTAR without co-sponsorship from MTG.OBB. |
| RTAR2 | How IoT impacts operators | Joe Carol Liping Wang Scott Hackel | Carol working on an outline. How to quantify impact – Li Song Dovetailing with enabling technologies. Update the title Orlando: Carol: No updates Li: should include Residentia application. We will need to have another idea/RTAR and Zheng will help Li Carol: does the new idea include homes or multi-family homes. Need to consider privacy, multi-stories,etc. Virtual Conf (Austin): Carol, Joe and Li will have the following meeting. Chicago: Park this idea Phoenix: No discussion |
| RTAR3 | Link the productivity with occupancy-based control; Occupant in the loop controls | Ivo Martinac | Ivo Martinac – professor developing idea. The idea but need to develop the team. Park this idea at this time Orlando: No updates. Park this idea, Zheng will follow up with Ivo. Virtual Conf (Austin): No updates. Park this idea. Chicago: Zheng will follow up with Ivo. |
| RTAR4 | Open source tool for integrating building and grid simulations | Donghun Kim, Jie Cai, Qun Zhou, Bing Dong, Zoltan Nagy | Orlando: First, we will need to define the scope. Qun Zhou from University of Central Florida talked about her perspectives from grid side Chicago: Donghun, QZ, Jie Cai and Bing Dong will have the following talk to narrow down the scope of research. Phoenix: No discussion |
| RTAR5 | Which way to go between MPC and RL for load flexibility and/or energy efficiency for which types of buildings?: Comparison between MPC & RL | Zoltan, Donghun, Zheng, David | Chicago: Specific metrics ? benefits & interests to ASHRAE ? narrow down the scope ? Phoenix: Donghun will schedule a separate meeting for determining the scope of work and benefits & interests to ASHRAE |
|  | new ideas? |  |  |

TC 7.5 Smart Building Systems

Program Subcommittee Virtual Meeting

## Tuesday, June 22 12:00 PM – 12:45 PM EDT

# Meeting ID: 989 4085 3897
Passcode: 070415
zoom link: https://ashrae-org.zoom.us/j/98940853897?pwd=WlZRWWNoK3BoTGtjZGkwRWROZHRsdz09

# Sign in

https://docs.google.com/spreadsheets/d/1JipDTkGOozs_foYNmJGaePMSC4Xmaq_nQWqeluX9UlY/edit?usp=sharing

| Name | TC membership | Organization | YEA |
| --- | --- | --- | --- |
| Eric Yang | VM | Energy systems group | NO |
| Carol Lomonaco | CM | Johnson Controls | No |
| David Yuill | VM | University of Nebraska - Lincoln | No |
| Srinivas Katipamula | VM | Pacific Northwest National Laboratory | no |
| John House | CM | House Consulting Services | no |
| Michael Brambley | CM | PNNL | No |
| Alireza Behfar | CM | PMC | Yes |
| Christie Kjellman | PCM | Kliewer and Associates |  |
| Yifeng Hu | PCM | University of Nebraska - Lincoln | Yes |
| Zachary Siefker | PCM | Purdue University | Yes |
| Kristen Cetin | VM | Michigan State University | Yes |
| Li Song | CM | University of Oklahoma | No |
| Peter Armstrong | CM | ret Masdar Institute | No |
| Patrick VIllaume | PCM | Patterson-Kelley | YES |
| Helia Zandi | PCM | ORNL |  |
| Mike Galler | CM | NIST | no |

# Programs presented at Annual 2021 Conference

| Sponsoring Committee | Program Time | Session Chair | Session Title | Co-Sponsoring Committee |
| --- | --- | --- | --- | --- |
| Sponsor: 1.4 Control Theory and Application, | Seminar 4 | Chariti Young | Solving BACnet/SC Management Challenges with Managed BACnet | 7.5 Smart Building Systems, MTG.CYB |
| 7.5 Smart Building Systems | Seminar 5 | Carol Lomonaco | Impact of IoT on Building Controls | 1.4 Control Theory and Application , MTG.CYB |
| TC 9.9 Mission Critical Facilities, Data Center | Seminar 8 | Eric Yang | Energy Management Best Practices, Case Studies and Lessons Learned from Real-world Data Center Operation | 9.9 Mission Critical Facilities, Data Center, 7.5 Smart Building Systems, TC 7.3, |
| 7.5 Smart Building Systems | Seminar 16 | Liping Wang | Fault Detection and Diagnosis in Guidelines and Specifications and Their Application |  |
| 7.5 Smart Building Systems | Seminar 17 | Michael Brambley | Grid-Interactive Buildings: Impacts on Energy Use and Comfort | 1.4 Control Theory and Application, TC 7.6 Building energy performance |
| 7.5 Smart Building Systems | Seminar 28 | Jin Wen | Application of Machine Learning in Future Proofing Building Operation | 1.4 Control Theory and Application |
| 7.6 Building Energy Performance | Seminar 29 | Eric Yang | Applying Machine Learning and AI Data-driven Controls: Case Studies, Challenges and Lessons Learned | 7.5 Smart Building Systems , TC 1.4, TC 7.3 |
| 7.5 Smart Building Systems | Seminar 38 | Kristen Cetin | Data-Driven Control of Residential and Commercial Buildings for Energy and Cost Savings | 7.6 Building Energy Performance |
| 7.5 Smart Building Systems | Seminar 43 | Piljae Im, | Fault Prevalence Types and Impacts by Building Types and System Types |  |
| 7.5 Smart Building Systems | Seminar 48 | Donghun KIM | Grid-Interactive Efficient Buildings for Renewable Energy Integration and Decarbonization |  |
| 7.5 Smart Building Systems | Seminar 75 | Zheng O'Neill | What Are Effects of Building Models on the Performance of Model Predictive Controls |  |

| ##### Track | ##### Description |
| --- | --- |
| 1 | HVAC&R Systems and Equipment: HVAC&R systems and equipment are constantly evolving to address the changing requirements of the built environment. Papers and programs in this track focus on the development of new systems and equipment, improvements to existing systems and equipment and the proper application and operation of systems and equipment. |
| 2 | Fundamentals and Applications: Fundamentals are the foundation for understanding applications in engineering. Key components of ASHRAE fundamentals include thermodynamics, psychometrics, fluid and mass flow. This track provides opportunities for papers and presentations of varying levels across a large topic base. Concepts, design elements and shared experiences for theoretical and applied concepts of HVAC&R design are included. |
| 3 | Refrigerants and Refrigeration: Refrigeration systems generate and use cold for a range of processes, from food preparation and conservation, to vaccine preservation, to long-term protection of fragile ancient inks of historic documents and others. Differences in technologies and equipment, performances, refrigerants, etc., may hide synergies from which both industrial and commercial systems might benefit, also, but not only, from the points of view of reducing direct and indirect GHG emissions. |
| 4 | Buildings at 360°: Buildings use a large share of a country's final energy, in particular for heating, cooling and various services. Papers and presentations explaining methods, equipment, systems and solutions to satisfy occupants' needs, to guarantee buildings' performances and resilience, and to save resources (energy, water, etc.) will fit this track. |
| 5 | Energy System Integration: Energy is the omnipresent reality of our daily lives (e.g., electricity for appliances and equipment, heat and cold for industrial processes and commercial purposes). Once used, part of the input the energy is wasted as heat/cold or as exhaust byproducts, thus contributing to the pollution of soil, water and air. The integration of various energy sources/grids with buildings, processes and transportation allows to better exploit the available energy (renewables, in particular) while reducing the said waste through a circular approach to energy usage. Papers on renewables, fossil fuels, grid integration, aggregation, demand-side flexibility, smart devices, IoT, synthetic hydrogen and synthetic fuels, CCUS, electrification would fit this track. |
| 6 | Environmental Health and IEQ in the International Arena: We spend a large part of our days indoors to live, work, practice gym, etc. Indoor environment is essential for our comfort, well-being, health, productivity, but is often treated and regulated differently in various parts of the world due to local conditions, circumstances, history, traditions. Presentations that explain local norms and trends are welcome to increase the knowledge on such an important topic, with an eye also on energy usage. |
| 7 | HVAC for Industrial and Commercial Purposes - Challenges and Opportunities: How to guarantee a set point within the required tolerances in a large industrial facility? How to increase the overall energy efficiency of a commercial facility through HVAC systems? What are the lessons that can be learnt from in terms of equipment, installation, commissioning, etc. and that can be transferred to other types of facilities; and vice versa? This is the track where such topics can find suitable space. |
| 8 | Refrigerants, Safety, Performances: Be it for cooling and refrigeration, be it for heating, refrigerants are at the heart of vapor compression cycles. Space cooling and refrigeration for food cold chains and medical purposes are forecast to grow in the coming decades; the same can be envisaged for residential-, commercial- and industrial-grade heat pumps. The choice of refrigerant plays an important role, along with control and safety features of the equipment, both to maximize performances, and to minimize direct and indirect GHG emissions (the former are usually associated to runtime leakages and end-of-life incomplete recovery of the refrigerant, whereas the latter are associated to the consumed energy). Presentations in this track present advancements and developments about flammability of refrigerants (e.g., HFOs, naturals, etc.), that can reduce the direct emissions, but that may have safety, regulatory and performance issues when deployed on the field. |

Deadlines:

Track 4, 5,and 7 are more applicable to our TC. 
Monday, July 12, 2021: Conference Papers Due

Monday, August 2, 2021: Debate, Panel, Seminar, Forum, Workshop and Debate Proposals Due
Friday, August 6, 2021: Revised Conference Papers/Final Technical Papers Due

Program Pipeline for future meetings

| Type | Session Chair / Speakers | Proposed Title | Status | Updates |
| --- | --- | --- | --- | --- |
| Seminar | Guanjing Lin, New Heaven University for FDD for Rooftop Unit | Users’ experiences for FDDs in commercial buildings |  | Related to the RTAR. |
|  | Patrick Villaume | Using past faults to provide future resiliency |  |  |
|  | What to do with optimal control? | Peter Armstrong |  | Tied with FDD/CX |
|  | Make control system more resilient | Carol |  |  |
|  | Model accuracy impact study on model predictive control | Andreas Athienitis |  |  |
|  | Building Operations for Grow Applications? | Glen |  |  |
|  | Grid-interactive efficient buildings for renewable energy integration and decarbonization | Li, Zheng, Donghun, Michael, Zoltan, Kristen (Next Summer conference) |  | submitted and accepted to present ASHRAE WGGBI is working on the same topic (David). |
| Seminar | Glenn Remington | Cybersecurity & Control& Smart Grid |  | Could be; zheng &Jin can contribute (MTG Mike Galler), Qun Zhou |
| Seminar | Kristen Cetin/Zheng O’Neill/Li Song/Patrick Villaume | Smart products for residential and commercial buildings |  | In the future |
| Seminar | Donghun Kim | Smart Grid – Building Envelope Interaction/Dynamic Facades |  | In the future (Donghun to follow up) |
| Seminar/Debate | Carol Lomonaco | IOT Security |  |  |
| Seminar | Edward Tsui | Best practice of monitoring and instrumentation |  | Glenn Remington; |
| Seminar | Eric Yang | Battery Control Strategies and its impact to life cycle cost | Christie Kjellman, Carol, Glenn Remington, Srinivas Katipamula |  |
| Seminar | Zhou Joe | Training plan for facilities |  | Glenn/Joe |
| TBD | TBD | What data the lawyer would like to know –needs to define scope | In future |  |
| Seminar,co-sponsor TC 7.9 | Li Song& Carol Lomonaco | How BAS can Enhance Existing Building Commissioning | For Future |  |
| Seminar | Nick Gayeski / Peter Armstrong will follow up with Nick | Smart Transducers with Embedded Diagnostics | For future |  |
| Seminar | Kristin Heinemeier / Kristin &Jon Douglas, someone from TC 7.9? | Fault Detection and Retro-commissioning: Where is the Line and Does it Matter? | For future |  |
| Workshop | Kristin Heinemeier | Lab Methods for verifying that FDD tools for RTUs really work: Will Standard 2007 really work? | For future |  |
| Seminar | Chris Kinney/Michael Munroe/Glenn Remington | FDD and Clouds? | For future |  |

NEXT IN-PERSON MEETING:  Jan, 2022 – Las Vegas, NV

ASHRAE TC 7.5:  Smart Building Systems Research Subcommittee Meeting

Tuesday, 06/22/2021

3:30 PM– 4:15 PM Eastern Standard Time (EST)

https://tamu.zoom.us/j/99395578977?pwd=WGdNTHE2WXVFWHJZbitHaDJKYzJ3QT09

Minutes

| - Roll Call and Introduction | 3:30– 3:35 |
| --- | --- |
| - Announcements/recap of the research subcommittee chair meeting The research chair meeting will not happen until later on | (will be updated through email later) |
| - Status of current Research Projects 3.1 Two ongoing research projects that are co-sponsored by TC75. - RP 1661: Development and validation of dynamic models for the evaluation of chilled water system control strategies in the ASHRAE handbook PMS member Li Song: Another NCE to April 2022. - RP 1756: Evaluation of low-cost particulate sensors for building PMS member (Liping Wang): The PI currently has a near-complete draft of the final report for 1756-RP. The plan of the PI is to complete the draft as soon as possible. 3.2 Three active work statements. - WS1875. Develop cost and performance indices to evaluate effectiveness of virtual sensors in HVAC applications Li is working on it. - WS 1809: Updating Reference Guide for Dynamic Models of HVAC Equipment The revision is ready for vote and resubmission with a minor modification: add a deliverable to identify linkage between the guideline and ASHRAE handbook chapters (e.g., Chapter 43) - WS 1812: Detection and Diagnosis of the Circulating Fluid Leakage for Hydronic Systems Zheng /Kristen “ on hold” – still working on this 3.3 Seven active RTARs (two of them is co-sponsor)- see attached table 3.4 New research candidates from last meeting - BOD: compare RL with MPC (Donghum): which is better for which type of buildings. Pros and cons. Clarify the benefits to ASHRAE members. No discussions 3.5 RTARs/WS underdevelopment - see attached table | (3:35 – 4:20) |
| - TC 7.5 research new ideas and topics No discussions | 4:20– 4:20 |
| - New Business None | 4:20– 4:20 |
| - Adjourn | 4:20 |

ASHRAE TC 7.5:  Smart Building Systems Research Plan

Active Project: 0; Co-sponsor Project: 2; Active WS: 3; Active RTAR:3; Co-sponsor WS/RTAR: 2

| Subc | Project | Contributors/PI | Status |
| --- | --- | --- | --- |
| Co-Sponsor | (TC 4.7) RP 1661-Development and validation of dynamic models for the evaluation of chilled water system control strategies in the ASHRAE handbook | PMS Liaison: Li Song | Co-sponsoring with TC – 4.7 and 1.4 WS is returned with comments. Wangda will provide updated WS for TC review during Orlando. STL: the TC voted Yes and submitted to RAC. RAC conditional approved. Las Vegas – Selected a bidder. Miami is the winner Long Beach – contract is being signed. Project starts on August 1st. Wangda is the PI (will be at Boulder) Chicago: The project has begun, and the PMS met with the contractor. Task 1 is complete. Conference call is complete. Houston: The PI gave a report on the progress. Atlanta Update by Wangda: PMS meeting was on Sunday. Identified 9 sequences rather than 3 sequences. Large scale simulation and debugging is ongoing. 12- month extension is requested. Orlando: the 2nd 12-month extension is proposed by the PI and main sponsoring TC. 2021 winter virtual: LI: moving on well PMS in Oct, 2020. Wrap the project in May 2021. Next PMS meeting is scheduled in Feb. 2021. 2021 annual virtual meeting: NCE to April 2022 |
| Co-Sponsor | TC 2.4: RP-1756 evaluation of low-cost particulate sensors for building | Brent Stephens (2.4) 7.5 PMS: Glenn Remington and Liping Wang | ORL: – need co-authorship too – against lab-grade equipment to review their performances… STL: the TC voted YES and submitted to RAC. No feedback yet. Las Vegas – resubmit a WS. Need 1-2 PES volunteers Long Beach – PES met and is selecting winner. Chicago: Project was awarded to Jordan Clark at Ohio State University, and has commenced. There are some initial adjustments to scope requested. Houston: The PMS had their second meeting. Update: Li will follow up with Remington or Li Ping Wang for an update before the main TC meeting. Kansas City update: The PIs made decent progress on the project. They have submitted an STBE paper currently under revision. Orlando: need update from Glen/Liping. Wrap up the final report, which is due in March 2020. PMS chair is satisfied with the report. Glen: no update in the summer virtual meeting. 2021 winter virtual: Liping: Liping received update in January 2021. Liping will provide an update offline. 2021 annual virtual meeting: The PI currently has a near-complete draft of the final report for 1756-RP. The plan of the PI is to complete the draft as soon as possible. |
| WS |  |  |  |
| BOD | WS-1809 – Updating Reference Guide for Dynamic Models of HVAC Equipment | Heejin Cho | SEA --Is this tech transfer? Update of Jean LeBrun’s work from 1990’s All kinds of tech transfer hurdles to leap over. Would this be better as a tool kit? BOD discussion on toolkit option, changing scope and budget and timing of research. ATL – need to be revised completely. ORL – Heejin will give a revised version tonight. STL: The revised RTAR is ready for committee to review and vote. Committee voted approval. RAC approved. Need to develop WS. Las Vegas: WS in development. Long Beach: WS in development. Aim at Chicago meeting Chicago: a draft WS has been developed and sent to Zheng. It still needs some significant development. Attendees at the meeting were supportive of continuing this topic. Houston: Heejin expects to get a draft to us by mid-July. The Atlanta update by Zheng: WS was voted and submitted. Kansas City update: Carol mentioned the big-data based modeling approach. Jin will take the lead to communicate with Carol. Will be a new RTAR in BOD. Orlando: Zheng will follow up with the Author. 2020 Summer: Zheng will follow up with Heejin. RAC has two questions 1) whether there is a need for the update and 2) add model validation to the WS. This part was removed due to budget concern. A rebuttal might be needed. 2021 winter virtual: an updated version and rebuttal letter was sent to Bill (TC 7.5 research Liaison). 2021 annual virtual: Peter Armstrong: explicitly state models for handbook chapter 43. Link the guideline with handbook chapters. Literature review should include ASHRAE handbook chapters (e.g., Chp 43) Zheng: proposed the following motion: The revision is ready for vote and resubmission with a minor modification: add a deliverable to identify linkage between the guideline and ASHRAE handbook chapters (e.g., Chapter 43) |
| FDD | WS-1812 – Detection and Diagnosis of the Circulating Fluid Leakage for Hydronic Systems | Zheng O’Neill Kristen Cetin | STL: RTART discussed in sub-committee. Will be voted in mid-July. Committee voted approval. RAC approved. Need to develop WS. Las Vegas: WS in development. Long Beach: WS is ready to be voted. Aim at August deadline. Chicago: TC 6.8 was approached as co-sponsor. They were initially uncertain, but after a visit, they requested a change in title. TC 6.8 voted 9-1-1-1 CNV. Houston: WS was returned with comments. They aim to revise for August 15th deadline. Update by Zheng: First draft was submitted after Chicago meeting. Received comments in May 2018. TC 6.8 research committee has approved revised version. The WS is revised and is ready for vote. Kansas City update: revised WS is returned with comments. Orlando: Zheng will continue working on it. Summer 2020: Zheng has talked with TC6.8. Zheng and Kristen plan to resubmit by December 15, 2020. Need to seek co-sponsorship from TC6.8. FDD clarification is needed. 2021 winter virtual: Zheng and Kristen are still working on it. 2021 annual virtual: no updates. Zheng and Kristen are still working on it |
| ET | WS-1875: Develop cost and performance indices to evaluate effectiveness of virtual sensors in HVAC applications | Li Song | Voted in Atlanta; Submitted for RAC to review. RAC accepted with comments. ORL – WS in preparation STL - WS in preparation Las Vegas – no update Long Beach – no update Chicago: there is still an interest in submitting a WS. Houston: Li will submit WS to RAC by August 15. Update in Kansas City: 1783 Orlando: Li is Still working on it. Summer 2020: Li will get it done by December 2020. 2021 winter virtual: Li is still working on it. 2021 annual virtual: : Li is still working on it. |
| RTAR |  |  |  |
| BOD | Draft RTAR: If you had “perfect information” on occupants comfort preferences and their location within a conditioned space then how would you optimize control and how much value would you be able to realized (Active) | Rich Hackner Li Song | STL: An RTAR is prepared by Li and will be discussed in the committee meeting for comments. Rich will lead on WS if the RTAR is accepted. Need inputs to improve the RTAR. Two volunteers: James Sweeney and Gary Shamshoian. Las Vegas: In development Long Beach: In development Chicago: No update. Houston: Li plans to submit to RAC by August 15. The chair of MTG.OBB has agreed to cosponsor. We hope to vote at the main meeting to submit the RTAR. Atlanta update by Song: Li will upload the RTAR on basecamp and circulate among the TC. Kansas City update: Li will add the cosponsorship to the RTAR and send it Jin for voting on Tuesday. Orlando: The RTAT was submitted to Bill Murphy Update after Orlando: Bill advised that we did to get vote from co-sponsor committee (MTGOBB) and he would provide feedback to this RTAR regardless, but haven’t heard back yet. Summer 2020: Research chair in STCOBB will be reached for voting. 2021 winter virtual: “ Li” – waiting for MTG. OBB vote 2021 annual virtual: ready for the vote and submission, MTG. OBB voted for the co-sponsorship |
| SG | RTAR - Development of models for better peak load predictions for building clusters/neighborhood/city (Active)/Park | Michael Bobker Kristen Cetin | Long Beach – initiated the idea Houston: No update The Atlanta update by Kristen: still interested in working on. Helps are welcome. Helia Zandi with Oak Ridge will help Kristen work on it. TC4.1 is interested in co-sponsorship. Kansas City update: Kristen is still interested in working on it. Positive to develop a RTAR. Bing Dong and Zhe Wang volunteered to help. Orlando: still interested. Chicago. Summer 2020: Xiaohui recommended to connect with DOE new connected community solicitation. The funding from ASHRAE might not be sufficient for the study unless we focus on model development. We may wait to see if there is value to do something complimentary. Kristen and Michael will monitor and update the committee. 2021 virtual: Kristen” No updates”, call for new lead author. Joe; is submitting a similar idea for DOE BENEFIT program. 2021 annual virtual meeting: no updates. Park for now. |
| SG | RTAR - - Linking building modeling to grid modeling (Active) | Donghun Kim | Long Beach – initiated the idea Chicago: was discussed, there’s still interest. Chicago: Not discussed. Update by Kristen: Kristen will follow up with Donghun Kim. Jie Cai volunteer to participate. Ellen Franconi with PNNL will facilitate the project leaning toward to providing simulation capacity for enhancing code. Kansas City update: Kim is still interested in working on it. Li will follow up with Jie Cai to connect with Kim. Bing Dong volunteered to help. Orlando: Donghum, Jie Cai. Summer 2020: Donghum is still formulating the scope and topic. Qun Zhou, in addition to Bing Dong, has volunteered to participate. 2021 winter virtual: Donghum to set up a meeting to define the scope Impacts on the grid (distribution level, voltage changes) Who will use this (DR aggregator or individual buildings) Joe: hard to be funded by ASHRAE 200K project although it is useful and has values. Abed Alkhatib <AAlkhatib@willdan.com>; Rushil Desai <rdesai@elementaengineering.com> - these people volunteered to help with this 2021 annul virtual: Zheng to follow up with Donghun |
| BOD | RTAR - How IoT impacts operators (Active) | Carol Lomonaco Liping Wang Scott West | New at Long Beach Houston: There was discussion about the topic, and there’s still interest in it. A written RTAR is not planned before Atlanta. Update by Carol in Atlanta: Carol still interested in working on this RTAR. Joe and Li are interested to help. No RTAR is developed yet. Kansas City update: Carol will provide an update after the subcommittee meeting. Orlando: After Chicago added Scott Hackel (SHackel@slipstreaminc.org) as a coauthor (Joe Zhou is the contact). Summer 2020: Carol is still interested in working on it. 2021 virtual: Carol: still interested. (IoT devices, BACnet devices) impacts on the operators. Reach to others after May 2021 Scott: interface for FDD. Related to this RTAR?? 2021 annul virtual: Zheng to follow up with Carol |
| BOD | TC 1.4 RTAR Current title: "Night setback effectiveness" possible change to "Night preconditioning effectiveness" Orlando: Recommended to change the title to unoccupied-period Preconditioning effectiveness | Peter Armstrong | ORL: Seek co-authorship. Objective: show how to credibly model energy and comfort impacts of night preconditioning. (effectiveness of simple through MPC controls?) Las Vegas – continue development Long Beach: no update Houston: No update Kansas City update: it is dropped by TC1.4. Peter will lead it. Orlando: Helen (University of Toronto). Li will coordinate with peter and will lead. 2021 winter virtual: No discussion 2021 annual virtual: Peter Armstrong: Dynamic models -> recover from night setback; Integrated with whole building simulation model (work with TC 4.7) -> annual saving benefits. TC 1.4 is working on the night setback idea as well. Hwakong Cheng (Zheng to send Hwakong’s contact to Peter) |
| BOD | RTAR: Big data-based approach for HVAC equipment modeling | Carol and Jin | Carol initiated the big data-based modeling approach in Kansas City. Jin will take the lead to communicate with Carol. Will be a new RTAR in BOD. Orlando: A new volunteer, Mr. Shengbo Zhang (U. of Toronto) was introduced to Jin and Carol. Summer 2020: Jin will talk with Carol 2021 annual virtual: Carol: check with Jin (Zheng will follow up) 2021 annual virtual: No progress (Jin sent a note to Zheng) |
| FDD | Method of evaluation of the FDD standard of air-side economizer on RTU (Active) | David Shipley SP 207P John House | Kansas City update: David Shipley initiated the topic and will send the draft of the RTAT to Li for improvement in the TC. Orlando: Liping will coordinate with everyone since she is the subcommittee chair. Kim will lead this RTAR and Mike Brambley and Ahmed (ahmed.abdel-salam@rycom.com) will assist. Chirag Parikh is interested in seeing the document and see how he can help. 2021 virtual: Liping: John House will take over to lead this effort. RTAR is not submitted yet. 2021annul virtual. John House is leading this effort now. A new draft to be distributed by John. Goal: have a draft for the vote by TC next meeting LV 2022 meeting) |
| FDD | New in Orlando: User experience about FDD. Operator, building managers. System to be conservative or aggressive. (Active) | Austin Rodger | Orlando: Austin proposed the idea. Not only for energy efficiency also O&M issues. Li will send the RTAT template to Austin to help him started. Li will connect Austin with Laura Towsley (laura.towsley@rycom.com). Summer 2020: Li will follow up with Austin and Laura. Scott west volunteered to help. Liping will coordinate with everyone on the list. 2021 winter virtual: Liping/Scott West: had the meeting, did some literature review. Will move on for a RTAR. 1633RP is relevant (likely the proposed work will be in this format) 1650 RP. Expect the RATA by annual meeting 2021. Liping will follow up with Austin and Laura 2021 annual virtual: Zheng to follow up with Austin and Liping |
| Co-Sponsor | Draft: Low-cost indoor pollutant sensor metrics for data-driven control of ventilation in smart buildings Active) | Jordan Clark, Brent Stephens, Kristen Cetin | Houston: In progress. TC4.3 is the main TC. Update by Kristen: RTAR is ready by Jordan. It is built off their existing project. Comments are welcome after TC review. Jin comments TC needs more time to review and vote. Zheng asked for difference between this project and prior project. Li will forward the questions to Jordan and request Jordan to present and answer the questions. Liping is the PMS of the prior project and should be consulted. Kansas City update: It is designed as the follow up project. Orlando: Kristen explained that Jordan Clark is being approved by the TC for submission. 2021 winter virtual: Kristen to follow up with Jordan 2021 annual virtual meeting: no updates. |
| Co-Sponsor | Assessment of energy savings of “smart” web-based connected thermostats in new and existing single and multi-family dwellings for inclusion in SSPC90.2 Active) | Li Song | 2021 winter virtual: Li Song is following up 2021 annual virtual meeting: no updates. |
| Parking Lot |  |  |  |
| BOD | How smart/connected thermostat impact energy performance? | Li, Jin, Kristen, Glenn, David Shipley, Bing Dong, Han Li (hanli@lbl.gov), Brent Huchuk (Univ. of Toronto), 3 more from 90.2 | Volunteers from 90.2: Mike Lubliner, Washington State University, lublinerm@energy.wsu.edu, 360-956-2082, Richard Watson, SSHC, Inc.,rwatson@sshcinc.com,860-399-5434, Matt Vargo, Carrier Corp, Matt.vargo@carrier.utc.com. Kansas City update: Li will explore the study done by EPA and start the draft of the RTAR Orlando: Mike Brambely provided inputs about the presentation on Sunday. |
| BOD | RTAR - Link the productivity with occupant-in-loop control | Ivo Martinac | New at Long Beach Houston: Topic was discussed. Ivo was not present, but there is general interest among those present. Update by Zeng: update before Houston meeting “no time to get the work done”. Carol added that it was meant for a mini system for local air condition control, personal comfort. Kansas City update: Jin will update the TC after contacting POC. Orlando: Park |
| BOD | RTAR - Smart management of moisture and energy consumption in residential houses, smart ventilation, optimal location for dyer, heat pump water heater, etc. | Andrew Windham; Kristen Cetin | New at Long Beach Houston: Not discussed Update by Kristen: still interested in working on it. Update in Kansas City: Kristen mentioned one discussion with Andrew a year ago. Kristen will clarify the intention with Andrew and update the team. Orlando: drop |
| ET/FDD | Draft RTAR: Metadata and Taxonomy to Support FDD in Smart Buildings | Nick Gayeski Charity Young | SEA NEW submitted for consideration by Subcomms CHI – Nick discussed wants feedback. Explained purpose ATL- Phil did not think the need and significance to ASHRAE are clear. Had discussion in ET subcommittee. Nick will revise ORL – Nick is continuously updating it. Las Vegas – Nick is continuously updating it. Long Beach – no update Chicago: No update. Houston: Dennis Krieger will pick this up to see if there’s potential to move forward. He’s unfamiliar with ASHRAE processes. Update from John Wallace: Will follow up with Dennis Krieger. Jin clarified it included two components: Taxonomy and point mapping. It might be good to organize a program before moving forward with RTAR - John. Orlando: Nick gave up on the RTAR but will move to a program. (David Yuill) Li will follow up with Nick to clarify it will be for a program or an RTAR. He is revisiting with BecNet to see if he can resubmit. Summer 2020: park it. Kristen will follow up with Nick. |
| BOD | Draft RTAR - Design guideline to consider unmeasured disturbance for an implementable MPC | Donghun Kim, David Blum | New at Long Beach Chicago: Still in progress Houston: Still in progress. Update by Zeng: The RTAR draft was prepared by Donghun Kim. David Blum sent the comments back to Donghun Kim January 2019 and no updates since then. Li will follow up. Kansas City update: Donghun Kim will finalize the draft RTAR. Targeted for August 15, 2019 deadline. Orlando: Drop |
| FDD | RTAR: Self-fixing faults once it is diagnosed | Andrew Windham windhamaw@appstate.edu; Jin Wen will help) | New at Long Beach Houston: no update Kansas City update: an ongoing project is funded by DOE. Orlando. park |
| FDD | RTAR: collect, clean, and label existing data for FDD research | Xiwang Li, Liping Wang, Kristen. Shawn Shi (Carleton) | Las Vegas: new idea Long Beach: no update Houston: No update Kansas City update: Park. Orlando: park |
| FDD | WS 1781: – Methods to Evaluate AFDD Methods for Air Handling Unit Systems | Jin Wen | CHI – Jin Wen has new version for submission. Atlanta – Voted; submitted to RAC. RAC accepted with comments for WS. ORL – WS in preparation STL – WS in preparation; 7.3 will co-sponsor. Might seek co-sponsorship with 9.1 Las Vegas – WS in development. Will seek a vote in between meetings. Long Beach - WS is ready to be voted. Aim at submitting it by August deadline Chicago: WS was submitted after vote in LB. RAC returned with comments. Jin, Michael, and David met with Chris Wilkins, RAC liaison, and discussed revisions and resubmitting. Houston: No update. It times out within the next year, but we’re still interested in pursuing this. Update by Jin in Atlanta: WS was inspired by the difficulties of the evaluation of RTU FDD algorithms. The WS was submitted once and comments were collected. Jin will get it done before the February 2019. Kansas City update: drop from the list and park |
| FDD | Idea - FDD for datacenters |  |  |
| FDD | Literature Review and Survey of existing FDD methods and data | Nick Gayeski, Jin Wen | ATL - FDD literature review and central location for download data/methods etc. (collection of methods) – existing Not only compiling but assessment of new technologies (indicating last large-scale study is 2005) Characterization (qualitatively) evaluate. IEA 34. |
| FDD | Idea - Whole Building FDD through smart-meters (champion?) |  |  |
| ET | Ideas -- Connectivity in the home? | Nick Gayeski | CHI – Much discussion no resolution |
| SG | Development of models for better peak load predictions | Kristine; Mike, Srinivas will review | CHI—New idea. |
| SG | Idea – DR guideline related ideas |  | ATL – estimate thermal response etc. |
| SG | Idea --Instantaneous voltage and current load from bldgs. For SG | Ralph Muehleisen Argonne NL | CHI – New Idea |
| Co-Sponsor | Idea - | TC 7.3 | ATL – Mike Brambly mentioned an idea about building maintenance and FDD |
| ET | RTAR -1782: “Learning occupancy presence in residential buildings through smart meter data” | Bing Dong and Zheng O’Neill | Voted in Atlanta; Submitted for RAC to review. RAC rejected. “it is not clear if ASHRAE should lead or others (EPRI, etc.) and how much research is needed to detect or model the occupancy based on smart meter data…” ORL – discussed with Phil and solicited comments (comments on whether available technologies and other literatures have been integrated in the RTAR). Smart thermostat might learn occupancy. Behavior based action from Utility company – if you know occupancy patterns then send messages etc. |
| SG | Guideline on smart building equipment |  | Chicago: New idea Houston: Not discussed. |

## TC 7.5 Handbook Subcommittee Meeting Minutes

Jun 22, 2021 (Tuesday) 4:30 PM to 5:15 PM EDT

Virtual Meeting

(Prepared by Greg Pavlak)

- Web meeting info:

ASHRAE Platform: Zoom

Link: https://ashrae-org.zoom.us/j/95834042840?pwd=cHkzSk91M3pHZHpNK2FDOXRMbU5YZz09

Details: Meeting ID: 958 3404 2840 Passcode: 950417

Find your local number: https://ashrae-org.zoom.us/u/a0dTnyLkl

- Call to order / Intro (3 min)

- Report from TC 7.5 handbook Chair (Greg Pavlak) (5 min)

  - Progress since last ASHRAE meeting

    - Revising two chapters for 2023 Applications. One working group for each has been meeting bi-monthly to organize and draft revisions.

    - Significant changes proposed for both chapters.

  - Schedule for the next version

    - Ideal Process: 1) Send to CMs and VMs, 2) Discussion, 3) VMs vote.

    - Ch 43 – revisions and approvals due to Society staff no later than 3/1/2022. Aim for TC vote at winter 2022 meeting (Las Vegas).

    - Ch 63 – revisions and approvals due to Society staff no later than 7/31/2022. Aim for TC vote at annual 2022 meeting (Toronto).

  - Recruit new reviewers/editors for the next version

- Discussion on Chapter 43 Supervisory Control Strategies and Optimization (Zheng O’Neill) (15 min)

  - Status

    - Outlines complete, but some delays in writing. Should still be able to make deadline.

    - Section 2 “Control oriented models” and Section 3 “Control Strategies and Optimization” need most help. [Jin W. can help]

  - Discussion

    - Coordinate w/ Occupant-based building control chapter (CH 65) regarding control content and sensors (for Chap 63)

- Discussion on Chapter 63 Smart Building Systems (Greg Pavlak) (15 min)

  - Status

    - Intro, AFDD, and Smart Grid Basics sections being revised.

    - Smart Grid Basics section is ready for review and comment. (~90% draft)

    - AFDD and Intro are ~80% and will be ready for review soon.

    - Working documents, outlines, and bi-monthly meeting logs are available on Basecamp

  - Discussion

- New business (Greg Pavlak) (5 min)

- Next handbook subcommittee meeting (2 min)

  - Zheng and Greg will set-up next round of bi-monthly meetings for next 6 months.

- Adjourn (5:10 PM)

#### TC 7.5 Honors & Awards 2021 Annual Phoenix Subcommittee Meeting Minutes 5:15 PM to 6 PM EDT, Tuesday, June 22, 2021 Virtual ASHRAE Zoom Meeting Prepared by: Carol Lomonaco-Subcommittee Chair - The TC 7.5 Honors & Awards Subcommittee Meeting was called to order at 5:16 PM EDT. - Introductions by everyone on the Zoom call were completed. There was a Google Docs sign-in sheet for TC 7.5 meetings, and everyone on the Zoom call was asked to sign in for the Honors and Awards meeting. The Agenda was shared with every on the Zoom call by the subcommittee chair. Six (6) people attended the subcommittee meeting including Carol Lomonaco – the subcommittee chair. - This is our second TC 7.5 Honors and Awards Subcommittee Meeting: - Subcommittee members are: Carol Lomonaco (Subcommittee Chair), Joe Zhou, Zheng O'Neill, Natascha Milesi Ferretti. Note: Zheng O’Neill and Carol Lomonaco were present. - The Objectives for the Honors and Awards TC 7.5 subcommittee are: “Give TC 7.5 members an update on this subcommittee’s work, and how many Fellow, Distinguished Service Award (DSA) and Exceptional Service Award (ESA) nominations have been made thus far. - The specific goals for the subcommittee were to complete the nominations by the ASHRAE Honors and Awards published deadlines: -six (6) Fellow nominations -six (3) Distinguished Service Award (DSA) nominations -three (3) Exceptional Service Award (ESA) nominations - The subcommittee thus far has submitted to the ASHRAE Honors and Awards Committee the following: -two (2) Fellow nominations -two (2) Distinguished Service Award (DSA) nominations -two (2) Exceptional Service Award (ESA) nominations Note: as soon as the subcommittee is notified about any nominations actually selected for the Honor or the Award, TC 7.5 members will be notified. - Several special cases are shared with those on the subcommittee Zoom meeting: - One potential nominee declined to be nominated for the Exceptional Service Award (ESA) nominations - One potential nominee did not have ten (10) years as a Full Member so he could not be nominated - Two people were too busy to be nominated for the Fellow but will be able to help with the nomination by Dec 1, 2021. - The subcommittee chair asked the attendees if they had any additional questions or comments. - The TC 7.5 Honors & Awards Subcommittee Meeting was adjourned at 6:09 PM EDT

TC 7.5 Main Meeting Attendance List

| Name | TC membership | Organization | YEA |
| --- | --- | --- | --- |
| Yifeng Hu | PCM | University of Nebraska - Lincoln | Yes |
| David Yuill | VM | University of Nebraska - Lincoln | No |
| Li Song | CM | University of Oklahoma | No |
| Srinivas Katipamula | VM | Pacific Northwest National Laboratory | No |
| John House | CM | House Consulting Services | No |
| Alireza Behfar | CM | Paul Mueller Company | Yes |
| Jin Wen | CM | Drexel University | No |
| Liping Wang | VM | University of Wyoming | No |
| Xiaohui Zhou | VM | Slipstream | No |
| Ron Bernstein | CM | RBCG Consulting | No |
| Carol Lomonaco | CM | Johnson Controls | No |
| Christie Kjellman | PCM | Kliewer and Associates | No |
| Kristen Cetin | VM | Michigan State University | Yes |
| Chirag Parikh | PCM | Automated Logic | No |
| Greg Pavlak | CM | Penn State | Yes |
| Zachary Siefker | PCM | Purdue University | Yes |
| Prateek Shrestha | PCM | ORNL | Yes |
| Zheng O'Neill | CM | Texas A&M University | No |
| Helia Zandi | PCM | ORNL |  |
| Chariti Young | CM | Automated Logic | No |
| Mohammad Heidarinejad | PCM | Illinois Institute of Technology | No |
| Rupam Singla | CM | TRC | No |
| Satheesh Kulankara | Section 7 Head | Johnson Controls | No |
| Michael Brambley | CM | PNNL | No |
| Rushil Desai | PCM | Elementa Engineering | Yes |
| Drew Samuels | PCM | Resource Innovations | Yes |
| Parastoo Delgoshaei | CM | NIST | No |
| Joshua Gemmell | PCM | Hartford Steam Boiler IIC | No |
| Dan Herzig | Unk | Cannon Design | Yes |
| Patrick VIllaume | PCM | Patterson-Kelley | YES |
| Annie Smith | PCM | Ross & Baruzzini | Yes |
| Yangyang Fu | PCM | Texas A&M University | yes |
| Rae Celestine-Honore |  | Aquicore | No |
| Dave Shipley | CM | Posterity Group | No |
| peter oleske | pcm | Armstrong World Industries |
| Ardeshir Moftakhari | CM | UT Austin | yes |
| Piljae Im | CM | ORNL | no |
| Zhiyao Yang |  | Texas A&M University | no |
| Amanda Pertzborn |  | NIST | no |
| Mike Galler | CM | NIST |  |
| Peter Armstrong | CM | retired Masdar Institute/KU | no |

Research Topic Acceptance Request