AMERICAN SOCIETY OF HEATING, REFRIGERATING AND AIR-CONDITIONING ENGINEERS, INC.

# 1791 Tullie Circle, N.E./Atlanta, GA 30329

404-636-8400

TC/TG/TRG MINUTES COVER SHEET

(Minutes of all TC/TG/TRG Meetings are to be distributed to all persons listed below within 30 days following the meeting.)

APPROVED

# TC/TG/TRG NO.: TC 1.11	DATE: October 22, 2017

TC/TG/TRG TITLE: Electric Motors and Motor Controls

DATE OF MEETING: June 27, 2017	LOCATION: Long Beach, CA

Long Beach Convention Center: Seaside 3B

| Voting Members TC 1.11 |  |  |  |
| --- | --- | --- | --- |
| Name | Position |  | Affiliation |
| Rick Bunch | ALI Coordinator |  | R L Bunch Enterprises |
| Jerry Edwards | Membership |  | Bristol Compressors |
| Rick Heiden | Co-Research |  | Trane |
| Paul Lin | Vice Chair, NEMA Motor Liaison, Webmaster |  | Regal Beloit |
| Tom Lowery | Chair, Handbook |  | Schneider Electric |
| Total Voting Members |  | 5 |  |

Non Quorum Voting Members TC 1.11

| Name | Position |  | Affiliation |
| --- | --- | --- | --- |
| Rainer Grosse-Kracht |  |  | Bitzer |
| Total NQ Voting Members |  | 1 |  |

| Corresponding Members TC 1.11 |  |  |  |
| --- | --- | --- | --- |
| Name | Position | Affiliation | Year |
| Florian Antretter |  | Fraunhofer Institute | 2012 |
| Kim Baker |  | NovaTorque | 2015 |
| Kenneth Bobick |  | Emerson | 2012 |
| Thomas Bourquin | Provisional | Nidec Motor Corp | 2016 |
| Casey Briscoe |  | Ingersoll Rand | 2015 |
| Robert Buckingham | Co-Programs | Baldor | 2014 |
| Kelly Chandler |  | Bristol Compressors | 2014 |
| John Cherney | Provisional | MTE Corp | 2017 |
| Rudy Chervil |  | Johnson Controls | 2008 |
| Jim Chmielewski |  | Emerson | 2004 |
| Rupal Choksi |  | AHRI | 2012 |
| Robert Coleman |  | Trane | 2008 |
| Charles Culp |  | Texas A & M | 2011 |
| Terry Davies |  | Danfoss | 2009 |
| Ashish Desai |  | Metal Industries | 2014 |
| Mark Doty |  | Price Mechanical | 2010 |
| James Dudt |  | Karpinski Engineering | 2012 |
| Christian Ellwein | Provisional | KRIWAN | 2016 |
| Ken Fonstad |  | ABB | 2012 |
| Amr Adel Galal | Provisional | Siemens | 2016 |
| Chandra Gollapudi | Provisional | Emerson Climate Technologies | 2017 |
| James Gu |  | Xylem | 2013 |
| Deep Gupta |  | Ingersoll Rand | 2012 |
| Alex Harvey |  | Control Techniques | 2012 |
| Armin Hauer | Standards | ebm-papst | 2008 |
| Robert Helt |  | NEC Energy Solutions | 2000 |
| Benjamin House | Provisional | Energy Resources Integration | 2016 |
| Phillip Johnson |  | Daikin | 2006 |
| Tim Kline | Provisional | ASHRAE | 2017 |
| David Lee |  | Armstrong Fluid Technologies | 2012 |
| Alex Lifson |  | Carrier | 2006 |
| Timothy Mathson |  | Greenheck | 2016 |
| Paul McCabe |  | Rockwell | 2006 |
| Sally McInerny |  | University of Louisiana | 1998 |
| David Miller |  | Daikin | 2012 |
| Riyaz Papar |  | Hudson Tech | 1999 |
| Donald Perry |  | Ideal Electric | 2006 |
| Hermann Renz |  | Bitzer | 2009 |
| Brian Reynolds |  | Trane | 2013 |
| Billy Rhinehart | Co-Programs | Reliance | 2003 |
| Robert Richard |  | Honeywell | 2006 |
| Richard Robertson |  | Sybro Global | 2014 |
| Kezhen Shen |  | AHRI | 2016 |
| Daryl Showalter |  | FAFCO Thermal Storage | 2002 |
| Li Song |  | University of Oklahoma | 2015 |
| Colin Tait |  | SMS Engineering | 2010 |
| William Tinsley |  | TME | 1999 |
| Michael S. Todd | Secretary | Johnson Controls | 2008 |
| Kurt Vega |  | Emerson | 2008 |
| Derrick Vigil |  | Baldor | 2006 |
| Peter Walter |  | ABB | 2006 |
| Gang Wang |  | University of Miami | 2016 |
| Thomas Watson |  | Daikin | 2000 |
| Michael Westlake | Provisional | UTC Climate | 2016 |
| David Williams | Provisional | Trane | 2016 |
| Adam Willwerth |  | Electro Static Technology ITW | 2013 |
| Mike Wolf |  | Greenheck Fan Corp | 2014 |
| Craig Wray | MTG Liaison | retired | 2007 |
| Huojun Yang | Provisional | North Dakota State University | 2016 |
| Total Corresponding Members |  | 59 |  |

| Attendees at the TC 1.11 Meeting on June 27, 2017 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name | Position | Affiliation |  | E-Mail | VM*, CM*, Guest |
| Bryan Armstrong | Guest | Carel |  | bryan.armstrong@carel.com | Guest |
| John Cherney | Guest | MTE Corp |  | john.cherney@mtecorp.com | Guest |
| Greg Chilcote | Guest | Trane |  | gchilcote@trane.com | Guest |
| Terry Davies | Member | Danfoss |  | tdavies@danfoss.com | CM |
| Chandra Gollatudi | Guest | Regal Beloit |  | chandra.gollatudi@regalbeloit.com | Guest |
| Armin Hauer | Member | ebm-papst |  | armin.hauer@us.ebmpapst.com | CM |
| Robert Helt | Member | NEC Energy Solutions |  | rhelt@neces.com | CM |
| Sanaee Iyama | Member | LBNL |  | ssiyama@lbl.gov | CM |
| Sam Jasinski | Guest | Navigant |  | samuel.jasinski@navigant.com | Guest |
| Alex Lifson | Member | Carrier |  | alex.lifson@carrier.utc.com | CM |
| Yunhua Li | Guest | Iowa Energy Center |  | yunhuali19@gmail.com | Guest |
| Paul Lin | VC/Webmaster | Fridgewize, Inc |  | paul@fridgewize.com | VM |
| Tom Lowery | Chair/Handbook | Schneider Electric |  | tom.lowery@schneider-electric.com | VM |
| Tim Mathson | Member | Greenheck Fan |  | tim.mathson@greenheck.com | CM |
| Kezhen Shen | Guest | AHRI |  | kshen@ahrinet.org | Guest |
| Michael Todd | Secretary | Johnson Controls |  | michael.s.todd@jci.com | CM |
| Gang Wang | Guest | University of Miami |  | g.wang2@miami.edu | Guest |
| Grant Wheeler | Guest | NREL |  | grant.wheeler@nrel.gov | Guest |
| David Williams | Member | Trane |  | david.williams@irco.com | CM |
| Total Attendees |  |  | 19 |  |  |

VM = Voting Member

CM = Corresponding Member

DISTRIBUTION:

ALL MEMBERS OF THE TC/TG/TRG

TAC SECTION HEAD: Amir Jokar

CHAPTER TECHNOLOGY TRANSFER: Christopher Phelan

LIAISONS:

RAC RESEARCH LIAISON: Shinsuke Kato

ALI/PDC: James Bochat

SPECIAL PUBS: Daniel Pettway

STANDARDS: Rick Heiden

MANAGER OF STANDARDS: Stephanie C. Reiniche

STAFF RESEARCH & TECHNICAL SERVICES: Michael R. Vaughn

ADDITIONAL DISTRIBUTION: All corresponding members

# ASHRAE TC/TG/TRG ACTIVITIES SHEET

DATE: June 27, 2017

TC/TG/TRG NO.: TC 1.11 	TC/TG/TRG TITLE: Electric Motors and Motor Controls

CHAIRMAN:	Thomas F Lowery   VICE CHAIRMAN:  Paul Lin

SECRETARY: Michael Todd

| TC/TG/TRG MEETING SCHEDULE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location-Past 12 Months |  | Date | Location-Planned Next 12 Months |  |  | Date |
| Las Vegas Long Beach |  | 1/2017 6/2017 | Chicago Houston |  |  | 1/20-1/24 2018 6/23-6/27 2018 |
| TC/TG/TRG SUBCOMMITTEES |  |  |  |  |  |  |
| Function |  |  |  |  | Chairman |  |
| Standards Research Program Handbook Web-master Membership ALI coordinator (ASHRAE learning institute) |  |  |  |  | Armin Hauer Rick Heiden Rob Buckingham & Billy Rhinehart Tom Lowery Paul Lin Jerry Edwards Rick Bunch |  |
| RESEARCH PROJECTS-CURRENT |  |  |  |  |  |  |
| Project Title none | Contractor |  |  | Monitoring Comm. Chpt. | Report Made At Meeting |  |
| LONG RANGE RESEARCH PLAN |  |  |  |  |  |  |
| Rank Title | W/S Written |  |  | Approved | To RAC |  |
| - RTAR 1768 – Standby Power - RTAR 1793 – MOT for motor thermal properties | No – Heiden/Briscoe No – Heiden |  |  | No No | No No |  |
| STANDARDS ACTIVITIES-List and Describe Subjects |  |  |  |  |  |  |
| AHRI Standard 1210 / 1211 Performance Rating of Variable Frequency Drives, MOT will become ASHRAE 222p, which is scheduled for public review 06/2019 |  |  |  |  |  |  |
| TECHNICAL PAPERS from Sponsored Research-Title, when presented (past 3 yrs. present & planned) |  |  |  |  |  |  |
| TC/TG Sponsored Transactions-Title, when presented (past 3 yrs. Present & planned) |  |  |  |  |  |  |
| TC/TG Sponsored Seminars (past 3 yrs. Present & planned) |  |  |  |  |  |  |
| 1/15 Seminar 39 - Efficiency Prediction of Motors and Variable Speed Drives with Compressors and with Fans 1/17 Seminar 12 - Variable Speed Drives and Chillers - Back to Basics |  |  |  |  |  |  |
| TC/TG Sponsored Forums-Title, when presented (past 3 yrs. Present & planned) |  |  |  |  |  |  |
| TC/TG Sponsored Workshops-Title, when presented (past 3 yrs. Present & planned) |  |  |  |  |  |  |
| JOURNAL PUBLICATIONS, when published (past 3 yrs. present & planned) |  |  |  |  |  |  |

ASHRAE TC 1.11 Electric Motors and Motor Controls

Minutes for the Meeting at

Long Beach Convention Center, Seaside 3B

Long Beach, California

Tuesday, June 27, 2017

- CALL TO ORDER

Introduction of Members and Guests.

Technical Committee 1.11 was called to order at 1:05 PM by Chair Tom Lowery.  Tom first reviewed the ASHRAE ethics commitment.  Technical Committee member and guest introductions were made and an attendance sheet was circulated.  Tom asked for additions to the agenda and there were none.  The membership list was reviewed and a quorum was not established with 2 of 5 voting members present.

- APPROVAL OF MINUTES AND REVIEW OF ACTION ITEMS

Tom asked if everyone reviewed the minutes from Las Vegas and if there were any additions/corrections.  None were discussed.  Since a quorum was not present, a future conference call to vote on these minutes will likely be called before the next meeting in Chicago.

Report Action Items:

None.

3/4.  TC MEMBERSHIP and COMMITTEE APPOINTMENTS

Tom suggested to add John Cherney as a corresponding member and appointed him to take over the membership subcommittee effective July 1.

Terry Davies will become co-chair of Programs with Chandra Gollapudi effective immediately.

- CHAIR REPORT: Tom Lowery

Provisional members can sign up for TC’s on the ASHRAE website.  Tom suggested this TC try a remote participation meeting (RPM) for the next summer meeting with no objections.  Mike T. reminded the TC that 30 days of notice is normally required along with a valid reason (i.e. in order to have a quorum) when requesting a RPM.  The section one breakfast meeting notes are included in Appendix I (along with Publications & CEC notes).  Final roster updates have been extended until July 8 for the 2017/2018 year.  Tom reminded everyone to keep their ASHRAE bio up to date.  CEC is encouraging TC’s to communicate with the CEC regularly.  The session chair has the key responsibility for communication to CEC and to the presenters/authors.  If a program is accepted, CEC communicates to the session chair and each speaker; however, if a program is rejected, CEC only notifies the session chair.  The session chair must then notify the speakers.  The program submission deadline for Chicago is August 1.

Up and coming meetings: Chicago, Illinois – January 20 to 24, 2018

- SUBCOMMITTEE REPORTS

    - Standards: Armin Hauer

## Ashrae SPC 222 - Standard Method of Test for Electrical Power Drive Systems

  - Met for fourth time this past Sunday in Long Beach

  - Next meeting scheduled for end of July

  - Progressing reasonably well

  - Coordinating with latest revision of AHRI 1210 rev 2017 for their requirements

## AMCA 207 - Fan System Efficiency and Fan System Input Power Calculation

  - Approved and published in May 2017

## Department of Energy NODA3 for commercial/industrial fans

  - Currently dormant

- AMCA 208 – Calculation of Fan Energy Index

  - Completion expected by end of 2017

    - Research: Rick Heiden

RTAR’s

- RTAR 1768 - Assessment of HVAC Equipment Idle Power Consumption as a Percentage of Built Environment Energy Load (5 – 1500 kW)

  - Currently no PMS, Rick suggested to withdraw

- RTAR 1793 - Development of Method of Test for Motor Component Thermal Conductivity

  - Current cost is $120K, awaiting co-funding (IEEE, UL, ASME, NEMA) and then plan to submit

Ideas – discussed at the meeting

- Power quality trends by region and technology (surges, sags, etc) – currently no interest within the TC

- Data Center trends (i.e. 600 VDC ABB case) maybe a seminar – yes, TC interest as a future program

- Effects of motor type on VFD efficiency.  How does the MOT for VFD need to be changed for motors other than asynchronous? – yes, TC interest, but go both ways, VFD to motor and motor to VFD

- Survey available literature and databases used for motor-VFD performance modeling in HVAC design – currently no interest within the TC

  - Motor-VFD performance rating updates for DOE MotorMaster Plus Database – currently no interest within the TC

Completed Projects Sponsored by TC 1.11

RP-1078 -- Early Detection of Insulation Degradation in Low Voltage Motors

RP-1076 -- Diagnostic Test and Analytical Methods for Resolving Fan/Motor Vibration Problems in Air-Conditioning Units

RP-1095 -- Measurements of Electrical Power Inputs to Variable Speed Motors and Their Solid State Power Converters: Phase I

RP-667 -- Measurements of Electrical Power Inputs to Variable Speed Motors and Their Solid State Converters

RP-685 -- Test and Analysis Methods for Resolving Fan/Motor Vibration Problems in Air-Conditioning Units

RP-770 -- Measurement of Electrical Power Inputs to Variable Speed Motors and Their Solid State Power Converters

    - Programs: now co-chairs Chandra Gollapudi & Terry Davies

Ideas and Discussion

- New motor technology advancement seminar – planning seminar for Chicago

  - Paul Lin agreed to chair

  - Possible title: Advances in HVAC Motors and Motor Controls

    - Motor types overview – Ken Fonstad volunteer

    - Fan or pump or compressor application – Rick? (compressor) & Chandra (PM motor) & Terry (pump guy) to find two additional speakers, also possible high speed switched reluctance motors from Grant

    - Test standards for different type of motors – Dan Delany (Regal)

- SPC 222 now taking over MOT for AHRI 1210 – potential for Kansas City if MOT ready

  - 1st draft (abstract) of seminar target by Chicago

  - Potential chair – Ken Fonstad with potential speakers: Tom, Armin, public university customer (found by Paul), Bill to find another speaker (Terry to check with Bill)

  - Proposed forum as a method for collecting information to help with the standard was deemed not needed by discussion at Long Beach

  - Inside AHRI Standard 1210 was also discussed at the AHRI summer meeting

Seminar and Forum proposals for Chicago are due by Tuesday, August 1st, 2017

The following are the tracks for the next two meetings.

Chicago – Winter 2018

- Track 1: Systems and Equipment

- Track 2: Fundamentals and Applications

- Track 3: Standards, Guidelines and Codes

- Track 4: Earth, Wind & Fire

- Track 5: Transportation IAQ and Air Conditioning

- Track 6: Tall Buildings

- Track 7: Modeling Throughout the Building Life Cycle

- Track 8: Heat Exchange Equipment

- Track 9: Refrigerant Mini Track @ Expo

- Track 10: Residential Mini Track @ Expo

Houston – Summer 2018

- Track 1: HVAC&R Systems and Equipment

- Track 2: Fundamentals and Applications

- Track 3: District Energy and Cogeneration Plants

- Track 4: Safeguarding our HVAC&R System

- Track 5: Residential: Modern Buildings in Hot & Humid Climates

- Track 6: Professional Skills

- Track 7: Research Summit

- Track 8: HVAC&R Control Freaks

- Track 9: HVAC&R Analytics

    - Handbook Chapter 45: Tom Lowery & Deep Gupta

Chandra would like to make updates to the motor section.  Tom to send this section to Chandra after the meeting.

    - Membership: Jerry Edwards

None.

- WEB SITE http://tc111.ashraetcs.org: Paul Lin

Up to date.

- LIASION REPORTS

Section Head: Amir Jokar

- None.

RAC: Shinsuke Kato

- None.

NEMA/UL Motor Committee Liaison – Chandra Gollapudi

- IEC 61800-9 recently updated

- NEMA just released update for MG-1, new MOT for air over motor

- August 9 meeting with DOE to explain CCE rules changes

- Small motor rule 2 is likely not happening

NEMA/UL Committee Liaison – Terry Davies

- Discussing MOP sizing of wires going into and out of the VFD, next meeting scheduled for September

- OLD BUSINESS

None.

- NEW BUSINESS

None.

- ANNOUNCEMENT OF NEXT MEETING

Chairman Tom Lowery announced that the next meeting would be held in Chicago, Illinois in January 2018 at the same time on Tuesday.

- ADJOURNMENT

The meeting was adjourned at 2:46PM.

Respectfully Submitted,

Michael Todd

Secretary, TC 1.11

# Appendix I – Section 1 Breakfast Minutes & CEC Info