180 Technology Parkway NW, Peachtree Corners, Georgia 30092 US

404-636-8400

DRAFT

# TC/TG/MTG/TRG MINUTES COVER SHEET

(Minutes of all Meetings are to be distributed to all persons listed below within 60 days following the meeting.)

TC/TG/MTG/TRG No.		TC 8.2					DATE February 2, 2026

TC/TG/MTG/TRG TITLE		Vapor Compression Cooling and Heat Pump Chillers

DATE OF MEETING 	February 2, 2026		LOCATION  In Person Las Vegas /Virtual hybrid

| VOTING MEMBERS PRESENT | MEMBERS ABSENT | EX-OFFICIO MEMBERS AND ADDITIONAL ATTENDANCE |
| --- | --- | --- |
| Trent Hunt, Chair | James Spalding | Eric Anderson eanderson@aenpi.com |
| Tiffany Abruzzo, Vice Chair |  | Shawn Hern shern@climacoolcorp.com |
| Scott MacBain, Secretary |  | Miguel Boscan mboscon@bitzer.com |
| Chris Miller |  | Makayla Ianuzzi makayla.laurenlouise.ianuzzi@jci.com |
| Michael Perevozchikov |  | Sarah Hamilton sarah.e.hamilton@jci.com |
| Tom Watson |  | David Bradshaw David.Andrew.Bradshaw@jci.com |
| Jethro Medina, Handbook Subc. Chair |  | Seth Gladfelter seth.k.gladfelter@jci.com |
| Daryl Showalter, Research Subc. Chair (Virtual) |  | Mike Robinson Mike.robinson@atlascopco.com |
| Phil Johnson, Stds SubC Chair, LowGWP MTG |  | Robert Tucker Robert.tucker@atlascopco.com |
| Ray Good, Honors & Awards |  | Matt Cambio mcambio@trane.com |
| Dan Kemper, Website (Virtual) |  | Ronald Shaghart ron.shaghart@htpg.com |
| Mark Rogan Program Subc. Chair |  | Drew Turner drew.turner@danfoss.com |
| Mike Dallon |  | Zachary Siefker zacharysiefker@gmail.com |
| Non-Voting Members Present: |  | Peter Meece pmeece@ahrinet.org |
| Justin Prosser justin.prosser@danfoss.com |  | Chris Curry Christopher.1.Curry@jci.com |
| Edison Shen Edison.Shen@LG.com |  | Timothy Svirbly timothy.svirbly@jci.com |
| Turner Thornton turner.thornton@danfoss.com |  | King Tung king.tung@enwave.com |
| Igor Vaisman igor.vaisman@hll.com |  | Tonnaso Dallavalue T.Dallavalue@diseitalia.it |
| ABM Imran Chowdhury imranc009@gmail.com |  | Mohammadreza Azaddel mazaddel24@gmail.com |
| Wenjie Yin yin.wenjie@copeland.com (Virtual) |  | Joe Sanchez jsanchez@bitzerus.com |
| Esteban Baccini estebanbaccini@ghotmail.com |  | Andreas Hoess ahoess@purdue.edu |
| Bruno Carvalho bruno.carvalho@solstice.com |  | Wasim Aknam Wasim.aknam@tranetechnologies.com |
| Sean Gao xingshun.gao@jci.com |  | Mike Benco mbenco@trane.com |
| Alex Schmig Alexander.Schmig@trane.com | Florian Simon(Virtual) | Bernardo Oliver (Virtual) |

| TAC Section Head: Nawaz Kashif | SH8@ashrae.net |
| --- | --- |
| All Committee Liaisons As Shown On TC/TG/MTG/TRG Rosters (Research, Standards, ALI, etc.) | See ASHRAE email alias list for needed addresses. |
| Steve Hammerling, Manager Of Research & Technical Services | MORTS@ashrae.net |

Note: These draft minutes have not been approved and not the official, approved record until approved by the TC.

### MINUTES

- Call to Order at 2:23 PM (PST) & screen shared for virtual attendees of meeting by Chair, Trent Hunt.  Trent Hunt reviewed the agenda.

- ASHRAE Values Statement - Chair reviewed

- Introduction of Attendees, Liaisons, Officers and Guests, 13 of 14 voting members in attendance, and Tiffany Abruzzo, Vice Chair, confirmed a quorum was established.  Scott MacBain, Secretary, noted 42 attendees were present in Las Vegas and 5 attendees were present virtual.

- TC Mission Statement & Scope – Trent Hunt read aloud the mission statement and scope of TC 8.2.  Tom Watson noted an inconsistency in the mission statement and Trent Hunt corrected it online.  Tiffany Abruzzo made a motion to reaffirm with the corrections and, Mark Rogan 2nd to reaffirm the mission statement.  The vote tally was 11-0-0 chair not voting.

- Phoenix meeting minutes:  Chair entertained a motion to approve minutes, Scott MacBain made a motion to approve the minutes, Tiffany Abruzzo 2nd. -no comments, no votes against, approval passed 11 0 0 chair not voting.

- Standards:  Phil Johnson, reported on standards. (see meeting agenda slides in PP)

  - TC 8.2 is cognizant:  (Details shown in PPT)

    - Std 30-2025 (Method of Testing Liquid Chillers) 8.5 co-cognizant-  Phil Johnson reported standard 30 did not meet in Las Vegas, and that the committee is waiting for data provided by AHRI as shown in the ppt.

    - Std 184-2020 (Method of Test for Field Perf of Liquid Chilling Systems)   Mark Rogan is chair.  P. Johnson reported it was published in November.

  - TC 8.2 Monitors:

    - ASHRAE Standard 90.1.  Phil Johnson reported 90.1 2025 included over 70 addenda to the 2022 version.  The 90.1 Mechanical Subcommittee Hydronics working group is developing a 2028 work plan and is requesting that TC 8.2 evaluate the potential for more stringent air cooled chiller efficiencies.  Trent Hunt queried the room about volunteers for a subcommittee meeting on this topic, noting that volunteers can provide their information to the Vice Chair.  Scott MacBain volunteered to discuss the topic with Dick Lord for assistance with AHRI related to the working group request.

    - Guideline 22- (Instrumentation for Monitoring Central Chilled-Water Plant Efficiency-9.1 cognizant)

    - SPC 196 (Method of Test for Measuring Refrigerant Leak Rates”      .

    - ASHRAE 205.

    - Standard 23-2022 Methods for Performance Testing Positive Displacement Refrigerant Compressors and Compressor Units (8.1 cognizant) Scott MacBain, Chair SPC23.

    - AHRI Standard 550/590 551/591.

    - AHRI Std 1520- 2022 Performance Rating of Centrifugal Refrigerant Compressors- Matt Cambio lead.   Matt Cambio reported that there was no new information to report.

    - ISO/ TC 86 (Refrigerant & air conditioning)/SC 4 (Testing and rating of refrigerant compressors)- WG2 (ISO/AWI 18501: Positive displacement refrigerant compressors harmonizing AHRI 540, EN 12900), WG3 (ISO 18483: Centrifugal refrigerant compressor harmonizing AHRI 1520), & WG4 (ISO 18976: Testing of refrigerant compressors harmonizing ASHRAE 23 & 225, EN 13771-1.  Justin Prosser monitors

    - MTG Low GWP- Phil Johnson Liaison for TC8.2, Ray Good Alt 1 & Trent Hunt Alt 2.

- Research: Daryl Showalter, Research Subcommittee Chair, reported on research activities as shown in the agenda ppt viewed in the room and online.

  - 1716.  Phil Johnson is the PMS chair, and he reported that the project has been stalled with the PI being unavailable.  He noted we need to review the status with PMS.  The PI requested a no cost extension until March.  Matt Cambio reported that the PI had been paid in full for the work.  Trent Hunt requested Phil Johnson update the research liaison.  Daryl relayed that he would reach out for that purpose.

  - 1793,  Daryl Showalter reported that this is paused and will be removed from the agenda going forward.

  - 1879, Sponsored by 3.4, co-sponsored by 8.2,  was discussed and Matt Cambio reported that a final report was submitted in December.

  - Daryl Showalter reviewed the ppt agenda items showing proposed RTARs.  Joe Sanchez recommended scratching the first agenda suggestion related to decarbonization in heating mode.  Bruno Carvalho and Andreas Hoess discussed the RTAR proposal on theoretical high temperature limits of heat pumps with vapor compression.  Daryl Showalter took an action item to follow up with them on this topic separately.

- Programs: Mark Rogan.  Mark Rogan provided an update on programs to those in the room & online and summarized the discussion from the joint 8.1/8.2 subcommittee meeting.  Mark conveyed that 8.2 did not have any programs approved for Las Vegas.  He provided an overview of future program ideas that were shown in the room and online in the agenda PPT.  Next discussed was a review of the program proposed by Rick Heiden on capacity modulation in heating machines, and that it could be a fit for Track 8 in Austin.  He queried the group for potential speaker volunteers.  It was commented that Michael Perevozchikov and Matt Cambio were potential speakers, with Rick Heiden chairing.  The next topic discussed was a potential seminar on Standard 15 and machine room requirements for flammable refrigerants.  Mark noted that the subcommittee meeting discussed that this could be better suited for a panel discussion than a seminar.  Phil Johnson conveyed that the machinery room requirements in Standard 15 will be rewritten for public review in the near future.  With that noted, Mark suggested that the committee hold off on that proposal until the Austin meeting.  The next topic discussed was a proposal for a seminar on decarbonization and district heating/cooling.  It was conveyed that Tiffany Abruzzo would chair the seminar and that Jay Egg may be a speaker, along with Drew Turner.   The next potential seminar discussed was one with the topic of best practices in application of compressors to all chiller types, with Mark Rogan as chair.  Tiffany Abruzzo added that there was potential for a similar topic that could be sponsored by TC 8.2 and 8.1 related to chillers with new compressor technologies.  Alex Schmig noted that 8.1 could provide a speaker.  Tom Watson commented that he had a topic that could be potentially included in such a seminar.  It was mentioned that an additional source of a speaker could come from EBM.  A seminar with the topic of application directions for data center cooling; air cooled vs. water cooled was discussed next.  Tiffany Abruzzo agreed to chair a seminar on that topic.  She relayed she will reach out to the college of fellows to co-sponsor.  Phil Johnson commented that he may be able to provide a speaker on that topic for Austin.  The next seminar topic discussed was one with the topic on service, maintenance & troubleshooting of compressors, including scroll, screw, centrifugal, and reciprocating that had been proposed by Joe Sanchez.  Joe noted that he would discuss that topic at TC 8.1 for potential speakers.  The final topic was a seminar on Standard 30 that was proposed by Phil Johnson.  It was decided that it would be best to submit that topic for Chicago.  In closing Mark Rogan asked the room for suggestions on new topics.  Tiffany Abruzzo noted that the deadline was 2/25 for abstract submission with chosen speakers, bios, abstracts & the quiz provided.

- Handbook: Jethro Medina.  Jethro Medina reported on handbook chapters 38 and 43, and that the next revision is 2028, with updates due in July 2027.   Jethro then requested volunteers from the TC, and provided his contact information

- Membership – Tiffany Abruzzo reported an update on membership, noting that she will become chair, Mark Rogan will become Vice Chair, Scott MacBain will be secretary, and that the TC has an open position for a program subcommittee chair.  Scott MacBain reported on the current list of the 14 voting members of the TC.  Tiffany noted that James Spalding had changed roles and will likely come off as a voting member.  Trent Hunt discussed adding an AHRI representative as a voting member.

- Webmaster- Dan Kemper provided an update on the TC website and said that he would post the draft minutes upon availability.

  - Slides & Minutes published on website https://tc0802.ashraetcs.org

- Honor and Awards- Ray Good provided an update on the process used for ASHRAE honors and awards.

- Chairs breakfast- Tiffany Abruzzo provided an update on the chairs breakfast.  She reviewed details that were shown in the PPT agenda to those online and in the room.  She reported that subcommittees were unlikely to receive meeting space in the future.

- Old Business.  None reported.

- New business- Trent Hunt queried the room for new business to discuss.  Peter Meece suggested potential for research or a seminar related to transcritical operation of chillers.  Tiffany Abruzzo agreed to look for prior related research on that topic, and Daryl Showalter also agreed to review.

- Adjourn – Trent Hunt adjourned the meeting at 4:14 PM