| Shaping Tomorrow’s Built Environment Today TC 7.6 Building Energy Performance Research Subcommittee www.tc76.org Sunday, January 24, 2012, 12:00-2:00 pm, Sandburg 3 (7), Chicago |  |
| --- | --- |
| By Reid Hart research chair; (David Eldridge new Research Chair in Summer 2012) - Introductions |  |
| - Brief Review of ASHRAE Research Process |  |
| - Summary of Research Chair Breakfast Information: |  |
| 71 contracts, 16 completed, 10 bidding in the fall; 5 bid spring 5 Unsolicited Research Proposals under consideration (considered high) 53 topics under development (64 last year) RTAR (Research Topic Acceptance reports) count considered low New cover sheet for RTARs (At main 7.6 Meeting) Reinhard Seidl reported from MPS on URP 1633: Scope Literature Review different dashboard metrics; Market research; 30 interviews with metrics & questionnaires; make mock up dashboards; take samples back for usability study; rank results; 70% done first part; intent allow specifying engineers to have metrics to pick from for EMS specifications |  |

Research Subcommittee meeting Attendees: 13

Status of research items:

|  |  | ASHRAE RESEARCH |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1/22/2012 |  |  |  |  |
|  |  | TC7.6 BUILDING ENERGY PERFORMANCE - RESEARCH ACTIVITY LIST |  |  |  |  |
| DOC | MORTS | DOCUMENT |  | 1/22/2012 |  | CO- |
| TYPE | NUMBER | TITLE | AUTHOR | Status Action | SPONSOR | SPONSOR |
| Active Research |  |  |  |  |  |  |
| TRP | 1651 | Development of Maximum Technically Achievable Energy Targets for Commercial Buildings (Ultra Low Energy Use Case) | Martha Hewitt, Dru Crawley | In Progress; bid under review | MTG-ET | not 7.6; |
| sup - WS | (1502) replaced by unsolic'td proposal #1633 | Dashboard: User Interface Design for Advanced System Operation |  | Contracted and work has just started. Vendor is KGS Buildings. Jim Kelsey & Reinhard Seidel on PMS. | TC 1.4 | TC 7.6; 7.5; 7.9 |
| CO - WS | 1608 | Comprehensive Performance Rating (CPR) for Light Commercial Unitary HVAC, Phase 1 | Hart | Still reworking from RAC comments | TC8.11 | TC7.6 |
| CO-RTAR | 1627 | Measurement of Energy Performance of ASHRAE Energy Design Guides (AEDG) | Andrew Price; E. Mitchell Swann | Submitted to RAC. Returned with comments. Need to address comments | TC 2.08 | TC 2.8, TC 7.1, TC 7.6, TC 7.8, TC 7.9 |
| RTAR | 1647 | Economic Envelope Cost Data Base in Support of Standard 90.1 | Len Sciarra; (Keith Emerson) | Returned by RAC June 2011 to TC for comments; ?? Resubmit or drop? | TC7.6 | SSPC 90.1 |
| Recently Rejected/ Dropped Research |  |  |  |  |  |  |
| RTAR | 1648 | Building Energy Q - (rel to standard 105) piloting asset rating - multiple modelers - modeling coefficients to create benchmark models correlate with CBECS | Mark Case, Ross Montgomery | rejected by RAC June 2011 | 7.6 | SSPC 105, 90.1/ 100 |
| Assigned Research Topic Acceptance Request (RTAR) Development |  |  |  |  |  |  |
| DOC | MORTS | DOCUMENT |  | 1/22/2012 |  | CO- |
| TYPE | NUMBER | TITLE | AUTHOR | Status Action | SPONSOR | SPONSOR |
| RTAR |  | Service HW residential; consumption; (what ever happened to open WS) | Joshua Rhodes | RTAR volunteer 1/2012 |  |  |
| RTAR |  | What are energy impact sensitivities of various modeling parameters affecting prediction/calibration of Building Energy Performance, especially in new construction |  | (prior RP 1051) RTAR submitted to RAC ?? RTAR#? Review RP to see if more to do | TC4.7 |  |
| RTAR |  | Post performance Solar Decathelon residential analysis | Ulrike Passe; Mike or Chris Wassimer |  | TC7.6 |  |
| RTAR |  | Standard Plug Load & Lighting Load Profiles | Michele Fredricks (DERU; ; Eric; Joshua) Don Winston | Michael will submit, Michele will assist; RTAR submitted? | TC7.6 | TC 4.7 |
| RTAR |  | Demand Modeling basis for cost effectiveness in 90.1 | Keith E |  | TC7.6 | 90.1 |
| RTAR |  | modeling bldg demand methodology | (Dennis L; Habrel) |  | TC7.6 | G14, 90.1 |
| RTAR |  | understand energy and water factors tradeoff cooling evap vs dX including water use in power generation | Soolyeon; DERU | RTAR will be started by Michael | TC 7.6 | Possible T C 5.7, TC 6.6, TC 8.6 |
| RTAR ideas without assigned leads |  |  |  |  |  |  |
| DOC | MORTS | DOCUMENT |  | 1/22/2012 |  | CO- |
| TYPE | NUMBER | TITLE | Suggestor | Status Action | SPONSOR | SPONSOR |
| idea |  | Adapting inverse model tool kit for water savings | (Jeff Haberl) |  | TC7.6 | G14 |
| idea | xx | Carbon Emissions regional data - marginal vs base load - CHP plants not moving ahead | ? Mike Deru; Don Winston (not Volunteering) |  |  |  |
| idea | xx | Optimal window to wall ratios; Ranges plug & process loads; building characterization | Anthony Hardman |  |  |  |
| idea |  | Using digital pictures (autodesk photofly; MS photosynth) - initial research; validating takeoffs - Take validation to next step; multiple manufacturers - Owner's perspective | John Kennedy |  |  |  |
| idea |  | Methods for water modeling | Keith |  | TC7.6 | 90.1 |
| idea |  | Variable data interval: correlating 15 minute demand data versus hourly weather data | Keith |  | TC7.6 | 90.1 |
| idea | dup | Site & Source Energy | Keith |  | TC7.6 | 90.1 |
| idea |  | Load profiles for water use | DERU |  |  |  |
| idea |  | Compare Benchmarks as a predictor of potential savings: Building Screening | Hart |  |  |  |
| idea |  | Automated Metrics for interval data | Hart |  |  |  |
| idea |  | Reality vs. modeling: Small office buildings | (4.7;Hart) |  |  |  |
| idea |  | 1: Cf simulation Access to data - new constructed building with monitored space cf model: focus on zones | Panagiota Karava, Purdue |  |  |  |
| idea |  | 2: Something around inverse modeling meeting simulation monitoring; understand big factors | Panagiota Karava, Purdue |  |  |  |
| idea |  | Performance monitoring protocol - compare to ASHRAE HQ (May be BEQ comparison) | Steve Carlson | New- Steve can’t remember what this is. Michael can ask 2.8 about this. | TC7.06 | TC2.08 |
| idea |  | 12000 energy audits; 300 home audits with monitoring | Joshua Rhodes | Clarify idea |  |  |
| idea |  | ASHRAE partner with USGBC to do green building savings validation | Ulrike Passe | Look at NBI LEED study and clarify idea |  |  |
| idea |  | Lab buildings plug loads study | Ulrike Passe |  |  |  |
| Dropped, rejected or very old items, ideas, RTARs |  |  |  |  |  |  |
| CO-WS | 1445 | Energy use for air conditioning and its effects on office productivity in hot-humid tropical regions | Lebbin | dropped | TC2.1 | TC2.5, TC5.12 |
| Protocol |  | Performance Metric Protocols; Performance Measurement Protocols Best Practices: May have some unfinished questions | (Jeff Haberl) | ? |  |  |
| old idea |  | Research literature review | Mark Case; (Hart) |  |  |  |
| old idea | xx | Sizing DHW Heaters | Dick Pearson |  | TC6.6 |  |
| drop |  | understanding water component of energy production for combined source energy | Soolyeon Cho; M. Deru; Dennis L | - wait for NREL results | TC7.6 | G14 |
| CO- RTAR |  | Develop A Mathematical Model To Determine The Optimum Air Flow Requirements For A Safe Energy Efficient Laboratory Environment | George Sestak | ? Lost contact with George Sestak | TC9.10 | TC7.6; TC4.10 |
| RTAR |  | Comparative Field Evaluation of Building Pressure Control Methods | Len Damiano | ? | ? | ? |