Forum Discussion – Notes from Discussion

Future Smart Buildings: What Data Do We Need to Collect and How?

Long Beach ASHRAE meeting - June 27, 2017, 9:45-10:45 am

Summary: The future of smart buildings and smart homes face challenges of integrating data from multiple sources and systems for smart decisions to achieve better comfort and energy/cost savings. Future buildings also should be able to communicate and transact with the smart grid. What data should be collected and how should they be integrated using a common communication platform? This forum discusses the state of the industry (smart meters, smart thermostats, connected appliances, IoT, BEMOSS, VOLTTRON...) and determines a path that the ASHRAE community can contribute towards moving forward.

More specifically, we will discuss and welcome input from all attendees from a diversity of backgrounds on topics such as:

- Barriers and opportunities to ease of data collection and storage in individual buildings and systems: communication standards, connectivity, data privacy, data storage, battery life

- Reducing research barriers towards smart building innovations: improving collaboration and sharing of data among buildings, among systems, companies, utilities, manufacturers, researchers; can ASHRAE help facilitate this?

- Barriers and opportunities to enable real time data collection, analytics building-grid interactions: data frequency, data quality, compatibility, interoperability

Main ideas that came from forum discussion (and potential RTAR ideas)

  - We are already collecting a lot of data but not doing a good job of using it

    - Use buildings with lots of data collection to figure out how to minimize number of sensors to the essential sensors needed for building operations (we can put tons of sensors in buildings but do we need this?

    - RTAR idea: what data should be measured to monitor building performance correctly; what data should be measured to operate building correctly? What data should be measured to make building smarter?

  - Lack of understanding of what are the issues in buildings that need to be solved with the data that can and is being collected

  - Disconnect between data collection, display/output, and capabilities of existing systems and operators interpretation and action based on results

    - Lack of trust from operators for automated solutions

    - is transparency important – e.g. in cars we don’t know how they operate but we’re ok with that, in buildings is it the same (some people think so, others don’t)

    - how can we understand the reasons for lack of trust and what can be done about it? Who needs to change – the algorithms or the operators? More training needed

  - What data are we not collecting that we should be – i.e. missing data that should be collected

    - Occupant satisfaction (opinions) about how they feel (what’s good and what’s not) so we can gauge how well systems are working (beyond PPD, or PMV)

    - Comfort data – visual comfort – not collected

    - For many research projects we are collecting lots of data from lots of buildings – but maybe there are there other things we should be collecting that can enable full or more complete datasets?

    - RTAR Idea – Provide guidance on the types of data that would be helpful to collect?  Maybe some are free or easy to collect and could help the greater ASHRAE community? Shared set of tools/equipment to facilitate collection for those measurements that are not free

    - RTAR idea – sharing of building data – what will motivate people to share data to researchers, and enable researchers to work with them related to data

  - Challenge with standards for smart devices – e.g. smart powerstrips are not all the same standards – can ASHRAE help develop guidance on different smart technologies used in buildings (e.g. functionality, what are you getting, what’s valuable for what)?

    - RTAR Idea – development of guidance on features of smart devices for users

    - RTAR idea – standard for sensors for smart buildings (maybe better for electrical engineering smart grid community)

  - Missing data/incomplete datasets – what is the standard way to handle missing data