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TC 7.6 Building Energy Performance - Standards Subcommittee
Meeting Minutes
June 30, 2014, ASHRAE Annual Meeting, Seattle WA
Attendance:
Bruce Hunn	VM, Sec 7.6	hunnbuildingenergy@gmail.com 
Janice Peterson	VM	Janice@wolfepac.net 
H. Jay Enck	VM	hjenck@cxgbs.com 
Davor Novosel	Chair, Stds Subcomm. 	dnovosel@nemiconline.org 
Dennis Landsberg	VM	dlansberg@ls-energy.com 
David Eldridge	VM, Research	DSE@grummanbutkus.com 
Hashem Akbar		hashem.akbari@concordia.ca 
Hyojin Kim		kiml@cua.edu 
Jim Kelsey	Chair SPC211	kelsey@kw-engineering.com 
Som Shrestha		shresthass@ornl.gov 
Xiufeng Pang		xpang@lbl.gov 

Announcements:
Davor Novosel replaced Kimberly Pierson as chair of the TC 7.6 Standards Subcommittee at the close of the 2014 ASHRAE New York City meeting. 
Reports:
SSPC 90.1 – Energy Conservation in New Buildings, Except Low-Rise Residential Buildings 
(Report by David Eldridge)

· The 2013 version of the standards has been published.
· 40% savings in 90.1-2013 vs 90.1-2004, 
· 90.1 looking at systems instead of components, 90.1 looking to close some of the loopholes
· An updated report will be published after this meeting

SSPC 90.2 – Energy Efficient Design of New Low Rise Residential Buildings

· An updated report will be published after this meeting

SPC 100 - Energy Conservation in Existing Buildings 
(Report by Dennis Landsberg)

· Final draft that has been voted out of the Standards Committee has been on hold due a potential appeal.
SPC 105 – Standard Methods of Measuring, Expressing and Comparing Building Energy Performance and Greenhouse Gas Emissions
· The 2014 version of the standard has been published
· Seminar Using ASHRAE Standard 105-2014 for Determining, Expressing, and Comparing Building Energy Performance and Greenhouse Gas Emissions which was held Monday, June 30, was attended by 55 participants.

SPC 211 – Standard for Commercial Building Energy Audits 
(Report by Bruce Hann)

· The first draft of the standard in mandatory language is about 80 to 90 percent complete. 
· Expect to have the Advisory Public Review completed by the 2014 Winter Meeting in Chicago.

Guideline 14 – Measurement of Energy, Demand and Water Savings 
(Report by Dennis Landsberg) 

· All comments from the Public Review Draft have been resolved
· Committee is awaiting galley proofs
· Standard to be available by the 2015 Winter Meeting in Chicago

Guideline 34P – Energy Guidelines for Historic Buildings and Structures 

· An updated report will be published after this meeting

Other:
· SPC 214 P Standard for Measuring and Expressing Building Energy Performance in a Rating Program.  This is a newly formed SPC.
· [bookmark: _GoBack]An updated report will be published after this meeting
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