# Draft Minutes for Technical Committee 10.5

2015 ASHRAE Annual Meeting, Atlanta, GA

Tuesday, June 30 - 3:30 to 6:00 PM

- Call to Order

- Establish Quorum (7 total incl VNQ, 3 required as minimum)

  - Voting members

Dettmers, Daniel 	Chair, Webmaster

Smith, Eric	Vice Chair

Fisher, Alan	Secretary

Blacklock, Don		Member

Young, Jim	Member

Borrowman, Wayne 	Handbook Subcommittee Chair

Scott, Doug	Research Subcommittee Chair

Love, Richard (VNQ)	Program Subcommittee Chair

  - Other positions (CM)

- Greet Guests/Visitors – Dan extends a greeting to all our guests.

| Name | Affiliation | Member1 |
| --- | --- | --- |
| Alan Fisher | Pacific Gas & Electric | VM |
| Benjamin Skelton | Cyclone Energy Group | CM |
| Dan Dettmers | University of Wisconsin | VM |
| Danielle Dragon | Pacific Gas & Electric | Guest |
| Daryl Stauffer | Johnson Controls | Guest |
| Dave Rule | IIAR | Guest |
| Don Fenton | Kansas State University | CM |
| Doug Scott | Vacom | VM |
| Eric Ramon | Mayekawa USA | CM |
| Eric Smith | IIAR | VM |
| Greg Scrivener | Cold Dynamics | CM |
| Jim Caylor | Caylor Engineering | CM |
| Jim Young | ITW Insulation Systems | VM |
| John Davis | University of Wisconsin | Guest |
| John Gallaher | Hill Phoenix | Guest |
| Ken Cooper | TAC Section Head | Retired |
| Mukesh Khattar | Electric Power Research Institute | Guest |
| Ray Cole | Axiom Engineers | Guest |
| Richard Love | Massey University | VM |
| Ron Vallort | Ron Vallort & Associates | CM |
| Vishal Sarwa | Oak Ridge National Laboratory | Guest |
| Wayne Borrowman | Cimco Refrigeration | VM |
| 1 Voting Member (VM), Corresponding Member (CM), (VNQ) Voting Non-Quorum |  |  |

- Approval of Minutes from 2015 Winter Meeting in Chicago, IL

Motion to approve: Jim Young motioned, Doug Scott 2nd the motion.  Minutes unanimously approved.

- Announcements/Additions to the Agenda

None mentioned

- Reports & Discussions

  - Reports from Liaisons

    - Refrigeration Committee – Ray Cole

Ray discussed updates including: existing members rolling off and most of the new members are international; there were additional discussions on realigning the boards, text, and submission criteria for comfort cooling and industrial refrigeration board.

    - Handbook Liaison – (none)

    - Global Cold Chain Alliance – Ron Vallort/Benny Skelton

Ron discussed that the report was sent to the refrigeration committee; discussed refrigeration trends low charge ammonia systems and ammonia CO2 refrigeration systems have been partially an answer to decreasing government regulations.  On construction trends – there was a talk on building information modeling and 3D virtual design showing conflicts during design so you can see them before construction.  Other items – discussed fluctuation of (storage) temperatures resulting in increased energy usage.  Benny discussed an update with the USGBC – they met in May with the technical advisory group to discuss baseline guidance for LEED modeling for cold storage warehouse; the group only had one issue with baseline selection type but concerns were alleviated; no official guidance but it looks like the proposal meets the advisory group’s requirements and the report should come out shortly.

    - Section 10 Head – Ken Cooper

Ken discussed TC Chair’s responsibility and duties and the hard work it is to be TC Chair.  Ken recognized Dan Dettmers for his contributions as Chair to TC 10.5.

    - MTG: Alternative Low GWP Refrigerants

Doug Scott will attend the next MTG meeting.  The meeting will provide an update on the testing of alternative Hydrofluoroolefin (HFO) and HFO blend refrigerants.

    - Refrigeration Commissioning Guide- (none)

  - Chair report on Section 10 Breakfast Meeting

    - Thank you letter

Dan asked if anyone needed a thank you letter from the ASHRAE president please contact him.

ii.	Chair reiterated all ASHRAE members to follow the ASHRAE Code of Ethics.

iii.	Chair asked if everyone favors continuing this committee – motion (4-2) carries, chair not voting.

  - Proposed Title/Scope change

Technical Committee 10.5 Refrigerated Distribution and Storage Facilities

Current

Title: Technical Committee 10.5 Refrigerated Distribution and Storage Facilities

Scope: TC 10.5 is concerned with the application of standard and special refrigeration for processing, handling and storage of foods and beverages, in both public and private operations. This involves the design of the food refrigeration process, warehouse structure, the insulation system, the handling methods, equipment, the storage methods and the recommended environment for commodity storage.

Proposed

Title: Refrigerated Processing and Storage

Scope: TC 10.5 is concerned with the application of packaged and customized refrigeration systems for the industrial processing, packaging and storage of foods, beverages and other products.  This scope excludes all refrigerated storage facilities less than 3,000 ft2 and systems used in the transport of refrigerated products.

The Chair motioned to approve the new title and scope - Eric Smith motioned.  Wayne Borrowman 2nd the motion; 7-0 voted for the motion (chair voting), no abstention.

  - Program – Richard Love

Richard/Dan Dettmers gave an update on potential new topics for presentations: program palooza; session on exotic fruits, reviving IIAR sessions, planning on Orlando & St Louis, lightning round (Danielle Dragon potential speaker), back-to-basics conference papers potential papers: Greg – load charge package systems, Benny – what it takes to be LEED, and refrigeration and dairy processing systems.

  - Research – Doug Scott’s update

TC 10.8 will take over lead on Work Statement 1434.  The project, Infiltration Reduction Methods in Doorways in Refrigerated Warehouse, is looking at a field test that will be sited in facilities that have at least 5000 ft2 that could operate as a freezer/cooler box.  Testing is proposed to cost about $200k.

Air Circulation Efficacy (in a refrigerated space) – update from last meeting – looking at a better parameter of air quality and a way to test.  Also, what would be the method of test or passing grade for how to score?  Doug will submit test for RTAR – Richard/Doug Reindl/Ray volunteers.

On Dock Doors – Dan Dettmers gave an update on the summary, background, and research need to calculate infiltration loads on loading door docks and their ability to save energy.  Also, other research topics discussed included reducing potential peak demand and load shifting.  Will discuss more at next session; refrigeration myth busters – (potential topic for discussion).

  - Handbook –  Wayne Borrowman/Don Fenton

Discussed 2014/2018 updates – looking at using BaseCamp (software) to make it easier to track what happens with Chapters as it goes through revisions.  Don noted that for veg/juice/beverages – we have no reviews completed.  Of the 19 Chapters there is: 9 actual completed reviews, 5 promised, and 5 “iffy”; at next meeting – we may need projector at the next meeting to review remaining Chapters.

  - Update on website – Daniel Dettmers

Website is updated; we will soon get a new one.

  - Membership Updates – Eric Smith/Dan Dettmers

At the Winter meeting the following changes will occur:

Eric Smith – Chair (and Standards SubChair), Richard Love – Member Non-Quorum (and Program SubChair), Alan Fisher – Vice Chair (voting), Dan Dettmers (Webmaster & non-voting), Greg Scrivener (voting) – Secretary, Eric Ramon (voting), Wayne Borrowman (voting & Handbook), Jim Young (voting), Doug Scott (voting & Research).

  - Other Reports –

90.1 – (standards section) – added requirements for commercial refrigeration.  The added requirements were taken from California’s T24 code.  Modeling standards will be the next item for CEC.  Doug will discuss with ASHRAE staff on potential modeling opportunities.

GCCA – TC 10.5 is looking to get on GCCA’s agenda to solicit GCCA’s input for research.

- Next meeting in Orlando, Jan 2016

- Adjournment (5:30 PM)