## Slide 1
Hoyt Tyler & Schiavon Stefano et al. 2017, CBE Thermal Comfort Tool for ASHRAE-55. http://comfort.cbe.berkeley.edu/

## Slide 2
Thanks to Toby Cheung!

## Slide 3: Ankle draft risk
Liu, Schiavon, Kabanshi, Nazaroff Predicted Percentage Dissatisfied with Ankle Draft Indoor Air

## Slide 4: Percentage of commercial buildings showing at least 80% occupant satisfied with their thermal environment
Caroline Karmann, Stefano Schiavon, Ed Arens
CBE – UC Berkeley

## Slide 5: Long-term occupant satisfaction survey
Karmann C., Schiavon S., Arens E., 2018, Percentage of commercial buildings showing at least 80% occupant satisfied with their thermal comfort (submitted)
351 office in North America, 52980 occupants

## Slide 6: Long-term occupant satisfaction survey
Karmann C., Schiavon S., Arens E., 2018, Percentage of commercial buildings showing at least 80% occupant satisfied with their thermal comfort (submitted)
Bar chart showing the distribution of temperature satisfaction votes based on surveys from 52,980 occupants (in 351 office buildings)

## Slide 7: Long-term occupant satisfaction survey
Karmann C., Schiavon S., Arens E., 2018, Percentage of commercial buildings showing at least 80% occupant satisfied with their thermal comfort (submitted)
Percentage of buildings meeting given percentages of occupants satisfied with temperature, based on surveys from 351 office buildings (52,980 occupants).
3 satisfaction criteria:
“-1 to +3”,
“0 to +3”,
“+1 to +3”

## Slide 8: LEED v4 EBOM EQc10
Intent: To assess building occupants’ comfort.
Performance: Administer at least one occupant comfort survey to collect anonymous responses regarding at least the following: acoustics; building cleanliness; indoor air quality; lighting; thermal comfort
Document survey results. Develop and implement a corrective action plan to address comfort issues if the results indicate that more than 20% of occupants are dissatisfied.
Perform at least one survey and implement corrective actions. At a minimum, perform one new survey at least once every 2 years.
Notes: The responses must be collected from a representative sample of building occupants making up at least 30% of the total occupants.

## Slide 9: WELL feature 86
In buildings with 10 or more occupants, the Occupant Indoor Environmental Quality (IEQ) Survey™ from the Center for the Built Environment at UC Berkeley (or approved alternative) is completed by a representative sample of at least 30% of occupants at least once per year unless otherwise noted
Notes: The survey covers the following topics of occupant satisfaction: Acoustics; Thermal comfort, including humidity and air flow, at least twice a year (once during the cooling season and once during the heating season); Furnishings; Workspace light levels and quality; Odors, stuffiness and other air quality concerns; Cleanliness and maintenance; Layout.

## Slide 10: ASHRAE Standard
“The purpose of this standard is to specify the combinations of indoor thermal environmental factors and personal factors that will produce thermal environmental conditions acceptable to a majority of the occupants within the space.”
“environment, acceptable thermal: a thermal environment that a substantial majority (more than 80%) of the occupants find thermally acceptable.”
“comfort, thermal: that condition of mind that expresses satisfaction with the thermal environment and is assessed by subjective evaluation.”
Notes: Environment is assessed with right-now survey using Thermal sensation and Thermal acceptability, long term is Thermal satisfaciton

## Slide 11: ASHRAE Standard
7.4.1 Evaluation Based on Survey Results
a. The probability of occupants satisfied shall be predicted from seven-point satisfaction survey scores by dividing the number of votes falling between -1 and +3 inclusive, by the total number of votes.

## Slide 12: ASHRAE Standard – Appendix L
“An example thermal satisfaction survey is included in Figure L-2. It asks occupants to rate their satisfaction with their thermal environment (from “very satisfied” to “very dissatisfied”) on a seven-point satisfaction scale. Acceptability is determined in two ways: by the percentage of occupants who have responded “neutral” through “very satisfied” (0, +1, +2, or +3) with their environment or by taking a slightly broader view of acceptability, including the percentage who have responded (–1, 0, +1, +2, +3).”

## Slide 13: ASHRAE Standard – Appendix L – Table 3
Measurement Method | Nature of Application |  | 
 | Short-Term Long-Term |  | 
 | Occupant Surveys | Right-Now/Point-in-Time Survey (must survey relevant times and population): Binning (TSENS scores) leads to % comfort exceedance during period of survey. Needs coincident temperature to extrapolate to full range of conditions (Used for research, problem diagnostics) | Occupant Satisfaction Survey: Survey scores give % dissatisfied directly. (‘dissatisfaction’ may be interpreted to start either below -1, or below 0) Time period of interest can be specified to survey takers. (Used for building management, commissioning, rating operators and real estate value, compliance with green building rating systems)
 | Environmental Measurements | Spot Measurements, Temporary (Mobile) Sensors (must select a relevant time to measure): Use measurements to determine PMV (Sections 5.3.1, 5.3.3) Use measurements to determine compliance with adaptive model (Section 5.4). (Used for real-time operation, testing and validating system performance) | Logging Sensors over Period of Interest, or Trend Data from Permanently Installed (BAS) Sensors: Exceedance hours: sum of hours over PMV or Adaptive Model limits. Binned exceedances may be weighted by their severity. Instances of excessive rate-of-temperature change or of local thermal discomfort can be counted (Used for evaluating system and operator performance over time)

## Slide 14: ASHRAE Standard – Appendix L
Criteria for Passing
i. From neutral (0 scale unit) to +3. (Votes below this range generally comprise 40% of a building’s total votes in the CBE survey benchmark database [ASHRAE 2013]).
ii. Scale units –1 to +3. (Votes below this range generally comprise 20% of a building’s total votes in the CBE survey benchmark database).