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180 Technology Pkwy NW, Peachtree Corners, GA 30092    404-636-8400  Fax 404-321-5478

Technical Committee 8.01 – Compressor Technology
Technical Committee 8.02 – Vapor Compression Cooling and Heat Pump Chillers

AGENDA – 2026 ASHRAE Annual Meeting  

TC 8.1 Main Committee [Hybrid]: Austin, TX Tuesday June 30, 2026, 3:30 – 5:30 PM CDT 
In Person Location:  JW Marriott Austin, JW - 204 - L2

TC 8.2 Main Committee [Hybrid]: Monday, June 29, 2026, 3:00 – 5:00 PM CDT 
In Person Location: JW Marriott Austin, JW - 307 - L3
Trent Hunt is inviting you to a scheduled Zoom meeting.
Join Zoom Meeting
https://us06web.zoom.us/j/85280579521?pwd=mCFejbCD8bNezbVBcYLBfsktb6aMfP.1
Meeting ID: 852 8057 9521
Passcode: 538351

1) CALL TO ORDER - Alex Schmig / Trent Hunt (Chair)

ASHRAE VALUE STATEMENT
In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all.
 
Code of Ethics - https://www.ashrae.org/about/governance/code-of-ethics
Core Values - https://www.ashrae.org/about/ashrae-s-core-values
Diversity Statement - https://www.ashrae.org/about/diversity-equity-and-inclusion-dei

ASHRAE’s Antitrust policy: ASHRAE agrees to comply with the Antitrust Policy as stated in ANSI Essential Requirements. Antitrust guidelines presentation: https://youtu.be/ykisOzjHyZM.

Recording (Audio, Video, Screenshots) of ASHRAE meetings, including online meetings, is strictly prohibited.

2) Introductions

3) TC8.1 / TC8.2 Scope:
· Title: TC 8.1 Compressor Technologies
· Scope: TC 8.1 is concerned with the design, performance, features, operating characteristics, and standards of all types of compressors for use with refrigerants.

· Title: TC 8.2 Vapor Compression Cooling and Heat Pump Chillers
· Scope: TC 8.2 is concerned with cooling and heat pump chillers that involves centrifugal or positive displacement compressors, including those with heat exchangers, drivers, controls, split evaporators and condensers, and other accessories.

5) Membership
· TC 8.1 & TC 8.2 
· For members wishing to transfer Corresponding Membership to 8.1 or 8.2 please contact Alex Schmig (Alexander.Schmig@trane.com) & Trent Hunt (trenth@mpnsw.com)

6) Standards- 
· TC 8.1 - James Douglas 8.1 Standards Subcommittee Chair 
· Standard 23
· Standard 225
· SSPC 41
· TC 8.2 – Phil Johnson 8.2 Standards Subcommittee Chair 
· Guideline 22 
· Standard 30 
· Standard 184
· 90.1
Matt’s Updates- will be absent:
ASHRAE 225 – Method of Test for Centrifugal Compressors
· An ad-hoc WG reviewed 225 in 2025 and determined there are changes required.
· This work can be started in Q3 2026.
· I wouldn’t imagine that it should take more that 6 months to complete
· What is the process to get that started?
AHRI 1520 – Performance Rating of Centrifugal Compressors
· Once ASHRAE 225 is revised changes will be made to AHRI 1520.
· These changes will reflect the changes to 225 as well bringing more clarity to the standard
· The AHRI process is more cumbersome the ASHRAE so I won’t put a timetable on this activity.
AHRI 540 – Performance Rating of Positive Displacement Compressors
· AHRI 540 has been modified to define the published performance of vapor injected compressors
· The published information is in single point only format.  There is no defined polynomial for vapor injected operation.
· The standard is out for its second public review.  I will be published before the end of the year.
· It is understood that there is a need to publish a vapor injection characteristic for the operating envelope.
· An idea is being considered to publish a separate standard for modeling positive displacement compressors in systems.
· This would preserve the 10-coefficient legacy for compressor comparison.

7) Programs- Mark Rogan TC 8.2, Erik Anderson TC 8.1
· Austin
· Seminar 46: Energy Storage Evolved (transferred to Chicago Winter- COF & 8.2)



· For 2027 Winter Conference in Chicago, IL (Deadline Aug, 3rd)
· Track 1: Fundamentals and Applications (Track Chair: Jon Cohen | jonjcohen1@gmail.com)
· Track 2: HVAC&R Systems and Equipment (Track Chair: Richard Gunpat | richard.gunpat@gmail.com)
· Track 3: Refrigeration & Refrigerants (Track Chair: Anuj Gupta | anuj@design2occupancy.com)
· Track 4: Research Summit (Track Chair: Haotian Liu | Haotian.liu@okstate.edu)
· Track 5: Residential HVAC Research and Demonstration (Track Chair: Vinod Venugopàl | vinodpvgopal@gmail.com)
· Track 6. Thermal Network Systems and Energy Storage (Track Chair: Dennis Alejandro | denzjac@yahoo.com)
· Track 7. Nexus of Real and Artificial Intelligence (Track Chair: Joshua Vasudevan, joshuavasudevan2011@gmail.com)
· Track 8. Decarbonization Retrofits (Track Chair: Kevin Brown | kevin@kbsquared.net)
· Track 9. Application Notes in Professional Practice (NA)

9) Future Program Ideas – Beyond Austin
· Electrification of Heating Chapter 2: Industrial and Healthcare Markets as well as Heat Recovery Applications – Chris Miller possible chair.(should have good jobsite data by June)   Good candidate for Track # 6; Heat Pumps, Refrigerants, and Decarbonization.
· Electrification of various Heating Applications and the challenges of capacity modulation using different compressor types: Which applications can be served by electrification today and which ones cannot. Rick Heiden as a potential chair.  Good candidate for Track # 6: Heat Pumps, Refrigerants and Decarbonization
· Application Issues with New Refrigerants and Indoor Chillers: Does Standard 15 (equipment room design) properly cover the flammability issue?  Phil Johnson as a potential chair.  Good candidate for Track # 2: HVAC Systems and Equipment
· Decarbonization and District Cooling / Heating – Tiffany Abruzzo possible chair. Good candidate for Track # 6; Heat Pumps, Refrigerants, and Decarbonization.
· Applying Centrifugal Compressors to all Chiller Types. Oil Free Centrifugal Compressors increasing efficiency of Air-Cooled Chillers. Mark Rogan possible chair. Possible speakers mentioned: Ray Good, Tom Watson, Phil Johnson. Good candidate for Track # 2: HVAC Systems and Equipment.
· Technologies for Data Center Cooling – Air-Cooled vs Water-Cooled : Possible Cosponsors 9.9, 8.1?
· Service, Maintenance, & Troubleshooting of compressors including Scroll, Screw, Centrifugal, and Reciprocating Proposed by Joe Sanchez in SubCommittee meeting
· Co-sponsored seminar from TC 1.2 on the history of the 41 series and uncertainty calculation/quantification with Jim Douglas as chair for Las Vegas. 
· Oil-free chillers, bearing technologies for oil free compressors
· Any other topic ideas? Open to the floor

8) [bookmark: _Hlk29676008]Research – Daryl Showalter chair 8.2, Matt Cambio chair 8.1
· 1879-RP – Foamability properties of LGWP refrigerants
· 1716-RP Oil Concentration of Field Installed Liquid Chillers with Flooded Type Evaporators.” 
· RP1851 – Dielectric Properties of Lower GWP Refrigerants
· [Ready for Review] - TC 8.1 & 8.2 Effects of sub-atmospheric operation with low GWP, low ambient heat pumps. Leak rates and design suggestions (Matt / Daryl to follow up)
· System Contaminants
· Refrigerant breakdown
· Possibility of electrical arching in a vacuum
· Potential for combustion in the presence of oil
· New RTAR ideas:
· TC8.2 with 8.1 Decarb in heating mode discussed 
· TC8.2 What is the limit of high temperature heat pump vs. vapor recompression? (Bruno)
· TC 8.1 Davide & Craig submitting - Assessment of Extrapolation Capabilities and Uncertainty Quantification of Multi-Refrigerant Semi-Empirical Compressor Models TC 8.1
· TC 8.1 Extrapolation of performance mapping of multi refrigerants compressor models
(1) Davide to follow up

9) Old Business
· Award nominations?
· 
10) New Business
· 
· 
11) Adjourn  
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