Votes: Font is Bold, Black

Task Groups: Font is Bold, Blue

Action Items: Font is Bold, Red

Secretary Minutes, all other items: Purple

©2021 ASHRAE.  All rights reserved. This is a draft document for review only by the cognizant ASHRAE groups and other designated reviewers and is not intended for distribution to any private interests, individuals, or third parties that are not designated as ASHRAE reviewers for this document.  This document may not be distributed in whole or in part in either paper or in digital form without the express permission of the chair of the committee originating this document.

The appearance of any technical data or editorial material in this draft document does not constitute endorsement, warranty, or guaranty by ASHRAE of any product, service, process, procedure, design, or the like, and ASHRAE expressly disclaims same.

- Call to Order – 5 min

- Chair Remarks –  3 min

- ASHRAE Value Statement - “In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all.”

- Roll call for voting committee members - 7 min

18 presents out of 19 total VM = quorum. See last page for details.

(Secretary comments: 78 attendants on sign-in sheet)

- Review of this agenda – 3 min

- Review of “Draft” Indy 2024 Minutes – 5 min

Motion to approve Minutes: Bobby Singer. Second: Jim Rosenthal. Motion carries: 17/0/2/19, CNV (Yes/No/Abstain/Total voting members, Chair Not Voting)

- Membership – 5 min

Current VM roster reviewed together with VM roll-off and roll-on after ASHRAE Annual Conference 2025 (Pheonix, AZ June 21-25, 2025). Additional topic to be covered in-depth under 11b.

- Website – Todd McGrath – 3 min

  - http://sspc522.ashraepcs.org/   to find minutes, agendas + meeting times & locations, letter regarding the fact that MERV  17 does not exist.

(Secretary’s comment, see link: Index | ASHRAE 52.2 Method of Testing General Ventilation Air-Cleaning Devices for Removal Efficiency by Particle Size)

- Liaison Report – Dr. Bill Healy william.healy@nist.gov mailto:gjkettler@air-engineer.com – 5 m

ASHRAE trying to standardize.

- 62.2 & 62.1 Liaison report – Vijay / Wane Baker / Randy Cooper – 5 min

Wayne Baker: MERV-A coming in filtration credit, so MERV-13 requirement will become MERV-13A requirement, 9-16 will become 9A-13A. Reference tables to be added in 62.2, 62.1, 241. Table contains corresponding pressure drop for 1-, 2-, and 4-inch filter depths at 250-500 fpm.

Regarding pressure drop, the initial pressure drop is what will be reported.

No other Liaison reports.

- Any other known Standards Involving 52.2 to report

Mike Corbatt: ASHRAE Standard 241 to go up for public review, ~middle of year. Intent is to become an ANSI approved standard. Current proposal is to keep App J rating (MERV A), but lower the efficiency requirements.

- Open Action Items –  48 min

  - ANSI Reprint – 8 min

Background: Letter ballot went out last prior to current meeting with approval to reprint. However, two additional public review comments exist that have not yet been addressed. Both comments submitted by Vijay. Vijay proposes resolution through 13i below.

    - “Vote to Approve Republication with 2 Unresolved Comments”

Marisa motions to approve. Jim seconds.

Vote: 18/0/1/19, CV.

Chair to reach out to absent VM Brandon Boor for missing vote.

  - Youtube videos.  “Explain MERV” -  WG: Zied D, Marisa J-S,  - 12m

Chair updates: i and ii right below.

    - Need to remove Logos

    - Rewrite to highlight Purchasing the Document from ASHRAE Bookstore

shared link w Todd right before current conference Marisa has not heard from Ziad, so no updates from Marisa’s side. Ziad

Plan forward: Todd to share link (video is too large to easily share as attachment). Everyone review. Discuss during ASHRAE Annual Conference, 2025.

  - Thad Ptak - Instrument Accuracy – 24 min

    - Letter sent to labs

    - Presentation on “Statements on method variability based on the last RR test” – presentation to be added to basecamp/attached to minutes.

Discovery: App J can be finished under 2 separate conditions. Standard interpretation is not clear. Measurement of flow rate/pressure drop potentially not consistent between labs.

R&R studied in 2 separate RPS:

1088-RP (2005. Only 2 samples used)

1784-RP (Kathleen’s study)

General discussion/comments:

Todd: Kathleen Owen to give formal presentation, Mon Feb 10, 8:00AM.

Vijay & Thad: Where do we add a variability/accuracy statement? “It is what it is and this is why” Perfectionism is hard to obtain.

Added to foreword or addendum?

Focus: Initial efficiency & loading.

Thad: Generate a work group

Mike: Run test for 1 individual filter?

General request to Chair: Kathleen to present 1784-RP in SSPC 52.2 summer meeting.

Ashley: Work on variability statement

  - Jenny Berens - WG “Rewrite 52.2 to incorporate RP 1784 to make standard easier to interpret and lower cost to run”. – 4 min

    - Resubmit volunteers to write

    - ~8 members, the rest to stay informed

Jenny: Request that interested parties stay after meeting to sign up for WG.

Secretary’s comment: Interested parties who signed up directly after meeting: Thad Ptak, Dean Bonessi, Keith Chesson, Daniel Miller, Don Thornburg (5 + WG Chair)

- New Business – 81 min

  - Interpretation request – 12 min

    - “The application’s upper limit airflow must align with one of the seven (7) face velocities.”

Long discussion: Conclusion to provide short and simple answer: Yes, have to align and have to run in accordance to standard in order to get certified MERV ratings.

  - Redefine the Classification terms “User, General, Media & Filter Manufacturer” – 46 min

    - Current def. of Classifications are not clearly defined enough and need editing

General discussion:

Dan Miller: Ex vacuum filter – if you supply filter into vacuum cleaner, you are counted as manufacturer. If you supply 1% of component in the product, you are classified as mfg. (ASTM F11).  Responsibility lies with the committee itself, during roster collection new members are asked what they do, specifically. Consequences if new member lies – they get knocked off the committee. Intent is a balanced interest.

Todd (answering questions): 1 group cannot become more than 50% of the voting populations in order to be a balanced committee. When asking for consultation from ASHRAE staff, response is “find some users” and “you decide how to define the groups”. We do already have 2 separate mfg groups: Media mfg and Filter mfg.

Who is the user? Is it the filter consumer or the user of the standard? Proposal – ASHRAE to check.

VG: Todd to coordinate.

  - Jim Rosenthal – 13 min

    - Presentation of “How Much Does Filter Use Affect Electret Filter Efficiency?”

Jim (in addition to presentation):  Wildfire standard now recommends particle counters in rooms. A good counter is ~$150 and will also provide CO2 readings.

  - Vijay – 6 min

    - General: We are not experts in particle counters, why do we specify device? No other standard does this. Possibly place in Appendix.

Jenny to look at and help write up response to Vijay’s comment. Brian K and Dan Miller to help.

    - Isokinetic sampling vs isokinetic velocity. Vijay will work on a change proposal.

    - Include Thad’s research and Ashley’s variability statement (12cii above)

  - PP Keith – 4 min

    - Particle Excitement: Tuesday, Feb 11, 6:30 PM at Kabas and Tequilas

  - Adjourn 52.2 Main meeting

- SSPC 52.2 Research – Jon R – 10 min

  - Update on current projects

VMs present: