Agenda

TC 5.3 Room Air Distribution

Main Committee

Winter Conference 2026, Las Vegas, NV

Tuesday, February 3, 1:00 PM – 3:00 PM EST

- Call to Order/Welcome – 1:01 PM PST					D. Johnson

- Review Scope:

TC 5.3 is concerned with the distribution, diffusion, and conditioning of air within rooms and similarly treated spaces.  It includes consideration of the principles of air distribution, air diffusion and performance characteristics of all types of air terminal devices, fan coils, chilled beams and high/low pressure assemblies (boxes) or components, including associated or related accessories for both supply and extract air.

- ASHRAE Code of Ethics Commitment 					D. Johnson

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity, and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Introductions/Roll Call 							D. Johnson

  - Verify Quorum (1/2 + 1 for a Quorum)				F. Cuaderno

| Member | Present? | Stakeholder Interest | Voting Member until: |
| --- | --- | --- | --- |
| Frank Cuaderno | X | Producer (Manufacturer) | June 30 2028 |
| David Johnson | X | Producer (Manufacturer) | June 30 2026 |
| Kishor Khankari | X | User (Consulting Engineer) | June 30 2029 |
| Jacob Ramos |  | Producer (Manufacturer) | June 30 2029 |
| Andrey Livchak | X | Producer (Manufacturer) | June 30 2026 |
| Eugene “Gus” Faris | X | Producer (Manufacturer) | June 30 2029 |
| Nick Searle | X | Producer (Manufacturer) | June 30 2026 |
| Brian Rock | X | General (Academics) | June 30 2026 |
| Solomin Yin |  | User (Academics) | June 30 2027 |
| Craig Wray | X | User (Consulting Engineer) | June 30 2027 |
| Total | 8 |  |  |
| Quorum (Y/N) | Y |  |  |

- Agenda Review – no changes								D. Johnson

- Approval of previous Minutes (Annual 2025, Phoenix, AZ)			D. Johnson

  - Motion – Frank C.; Second – Brian R.

  - Vote: 8-0-0 CNV

- Announcements and Section 5 discussion					D. Johnson

  - The Basics of Air Distribution Design Guide status.

    - The guide combines two earlier ASHRAE publications: The Designer’s Guide to Ceiling-Based Air Diffusion (2002) and System Performance Evaluation and Design Guidelines for Displacement Ventilation (2003).

    - In November ASHRAE required the authors to get reaffirmation from ASHRAE TC 5.3 that it is cognizant of the guides draft development and approves the work to continue.

    - A letter ballot of voting members was held on the motion – “TC 5.3 recommends to the ASHRAE Publications Committee that work continue to revise and combine the following two ASHRAE design guides “Designer's Guide to Ceiling Based Air Diffusion” (2002) and ”System Performance Evaluation and Design Guidelines for Displacement Ventilation” (2003) to create a single new ASHRAE special publication entitled “Designer’s Guide for Room Air Distribution”, with TC 5.3 acting as the cognizant technical committee to oversee production, review, and approval of the technical content of this work.”

    - Passed 8-0-0 CNV

    - The authors want TC 5.3 input using comment matrix (Chair note: they are not required to implement proposals).

    - A draft will be uploaded to Basecamp and there will be a 30-day deadline from posting. Note the document is confidential and cannot be shared

    - The final draft requires TC 5.3 ASHRAE approval for publishing. (confirm)

  - Discussion of TC/TG/TRG/MTG continuation – all TCs are required to hold a discussion annually on continuing, merging or disbanding.

  - Diversity, Equity and Inclusion (DEI) Update

    - Value Statement includes reference to a culture that is one of inclusiveness, acknowledging the inherent value and dignity of each individual.

    - Moved from a BOD DEI Advisory Subcommittee to Members Council DEI Standing Committee will launch in July, that reports to the Members Council.

    - It is not:

      - A political initiative, driven by a liberal agenda

      - A quota system that prioritizes checking boxes over merit, excellence or intelligence.

      - Discriminating against one group while providing unfair advantages to other groups.

    - What it is:

      - An initiative that promotes a culture that welcomes and engages all volunteers and members

      - An initiative that works to reduce barriers so that all members and volunteers have the same opportunity for success

      - An effort to build the strongest organizations, poised for success, while not allowing unconscious biases to cloud our judgement

  - There was a summary of Procedures for Regular and Cooperative Special Projects.

  - The Research Advisory Panel reported:

    - Current funding is $2M-$3M per year w/most projects value of $100,000 -$350,000.

    - At any given time, about 40-50 research projects are being conducted in parallel.

    - TCs play the lead role in most research projects.

    - TC Research Subcommittees originate and manage research projects based on the needs of their technical area of expertise.

    - Projects must address a well-defined technical need and demonstrate value to ASHRAE and the industry.

    - Feedback from TCs is Critical to our effort!

    - A short questionnaire was developed for feedback.

  - There was a call to action for ASHRAE to play a role and a need to be involved and engaged in the development of International Standards. Contact TAC.

  - Update on Government Affairs Activities, Washington DC office.

    - Mission: To establish ASHRAE as a leading source for expertise in the built environment and a resource for policy-makers in the development of legislation and regulations affecting the public, the HVAC&R community, and the engineering profession.

    - Subscribe and read the latest at www.ashrae.org/government-affairs

  - TECHNICAL COMMITTEE MEETING CHANGES

    - For hybrid meetings, committee must provide their own meeting link.

    - A USB plug-in speaker/microphone is available upon request.

  - Subcommittee Meetings

    - Following the 2026 Winter Conference, TC, TRG, TG, MTG subcommittees will not be permitted to request an in-person meeting space at conferences

    - Reasons prompting changes from ASHRAE Meetings Department included:

      - cost of meetings exorbitant,

      - space needs limit options in hotel/city locations,

      - limited meeting room availability,

      - quality of hybrid meetings is limited

      - decline of in-person meeting attendance with proliferation of hybrid meetings

      - committee meeting time requirements restricting members from participating in other events (technical program, Expo, social events, other meetings, etc.),

    - TAC and ASHRAE Meetings dept. would like to hear about your Winter Meeting experiences and your feedback with these changes. Please communicate with your Section Head or Staff at shammerling@ashrae.org

  - Reported that ASHRAE Board approved a $0.5 million spend on incorporating AI.

- Membership Report								D. Johnson

  - Leadership Until July 1, 2026:

David Johnson – Chair/Webmaster
Frank Cuaderno – Vice-Chair, Research/Programs Chair
Mike Koupriyanov – Secretary
Jacob Ramos - Handbook Chair (left industry need new chair) K. Gebke took over as temp until new volunteer. Bret Coffey has volunteered to take over as Handbook Chair.

- Upcoming roster changes

  - One member left, need a minimum of one new.

| Member | Rolling Off? | Rolling On? | Roll Date | Stakeholder Interest |
| --- | --- | --- | --- | --- |
| Jacob Ramos | X |  | Sept 5, 2025 | Producer (Manufacturer) |
| Brett Coffey |  | X | June 30, 2025 | (Producer Manufacturer) |

- Honors and Awards								D. Johnson

  - ASHRAE HALL OF FAME – honors members who have passed away and made milestone contributions to the growth of ASHRAE-related technology or the development of ASHRAE as a society. Plenary session Jan 31, 2026.

    - Kenneth Loudermilk, Life Member ASHRAE, 1954-2023

- Research Subcommittee Report						F. Cuaderno

  - Frank provided a summary of the subcommittee meeting. See subcommittee report.

- Completed Research Projects

- Current Active Research Projects

- Current RTAR’s & Work Statements (Previous topics, actual list from RSC)

  - WS-1936 from MTG.ACR – Evaluating the Impact of ACH on Ventilation Effectiveness for Indoor Spaces (Lead: Kishor K, David J, Duncan P)

  - WS-1882 - Procedure for Estimating Occupied Space Sound Levels in the Application of UFAD Air Terminals and Air Outlets (Nick Searle, Chris Burroughs)

  - TG2.RAST - RTAR co-sponsor w/TC4.03 Role of air distribution on the efficacy of air cleaning strategies? UV, BiPo Ionization. In-Room specifically (Lead: David John / Kishor K-corresponding)

  - RTAR 1973 - Improving Zone Air Distribution Effectiveness (Ez Factor) Accuracy for Heating with Ceiling Supply and Return (Craig W)

  - WS-1825 - Effects of Locally Provided Makeup Air on Commercial Kitchens

  - RTAR 1974 - The Effect of Tap Shape on Air Device Performance for Exposed Duct-Mounted Diffusers (Kevin G / Bob Reed)

- New research – no new research has been proposed.

- Standards Subcommittee report – 5-year cycle				R. Zimmerman

  - Standard 70 MOT Diffusers (D. John) – 2028 (good)

  - Standard 79 MOT Fan Coils (B. Hagan) – 2029 (good)

  - Standard 113 MOT Room Air Diffusion (R. Johnson) – 2027 may need fixes for compliance.

  - Standard 129 Measuring Air-Change Effectiveness (T Smith) – (RA2002) under review

  - Standard 130 MOT Terminal Units (R. Zimmerman) – 2025 approved and published.

  - Standard 200 MOT Chilled Beams (M. Koupriyanov) – 2024 (good)

- Handbook Subcommittee Report						B. Coffey

  - Brett provided a summary of the Handbook Committee meeting. Applications is currently under review with edits due by June 5, 2026.

  - Note, to balance content of four ASHRAE Handbooks for staff, sections from Application handbook (including TC5.3) will be moving to its own chapter in Systems and Equipment.

- Programs Subcommittee Report						F. Cuaderno

  - Frank provided summary of the subcommittee meeting. See subcommittee report.

  - 5-year Plan

  - Programs Report (Tech & Conference Papers, Seminars, Workshops, Panels, Debates & Forums

  - Completed and Current Programs

  - New Programs/Topics

  - Key Dates

- Webmaster Report								D. Johnson

  - Meeting schedules, documents, and links were post on the TC’s webpage. Kenneth Loudermilk, Life Member ASHRAE HALL OF FAME – honors will be posted before the next meeting.

- Historian									C. Peters

  - Continues to gather pictures and stories as they are found.

- Liaison Reports 								D. Johnson

  - Standard 55 Thermal Comfort (M Koupriyanov) – voting on 2 addendums.

  - Standard 62.1 Ventilation (R. Johnson) – was published months ago many conversations on ventilation has nothing to due with humidity and temp control. Not voted on. Mechanical movement of air to remove particles, on humidity, and on temp but they are only concerned with particle dropping psychometrics.

  - Standard 90.1 Energy (Need new liaison – volunteers?) – nothing for RAD.

  - Standard 170 Healthcare Facilities (Need new liaison – volunteers?) – new version published in Dec 2025.

  - Standard 205 Representation of Performance Data for HVAC&R and Other Facility Equipment (Solomon Yin) – nothing

  - Standard 215 Air Leakage (C Wray) – being reaffirmed, written in 2018, reaffirmed in 2021. Making changes to references and bibliography references.

  - Standard 241 Control of Infectious Aerosols (Kishor K) – reviewing comments for next version.

  - TC 2.6 Sound and Vibration (N. Searle)

    - Has a seminar presentation in Austin, TX. Understanding Acoustical Ratings and would like TC5.3 to Co-sponsor.

    - Motion – Nick S.; Second – Gus F.

    - Vote: 8-0-0 CNV

  - TC 4.10 Indoor Environmental Modeling (Duncan Phillips) - nothing

  - TC 5.2 Duct Design (K. Gebke) – asked to take handbook and combine, consider 3 chapters in the future.

  - TC 6.5 Radiant Heating and Cooling (Chris Burroughs) - nothing

  - TC 9.6 Healthcare Facilities (N. Searle) – one member attended U.N. call for healthy indoor air. Join airclub.org as individual or company research 180M involves 62.1 in healthcare facilities. Complete coming out soon.

  - GPC 36 High Performance Seq of Op for HVAC Sys (Solomon Yin) - nothing

  - MTG.ACR (K Gebke) – reported in Research.

  - MTG.CEA (Need new liaison – volunteers?) - changing from a CEA (Certified Energy Auditor) to a CEH (Controlled Environment Horticulture) transition focus from standard commercial building energy audits to the specialized design of agricultural cultivation. Highlight was presentation on plants and animals in TC2.2. Walter Star gave presentation on air distribution has environment like indoor farm. Coming full circle to eliminate microclimate. Having air flows uniform is important.

  - TG2.RAST (David John) - nothing

  - AHRI Air Handling and Distribution STC - nothing

  - AHRI Performance Mapping Working Group (Sarp Hamamcioglu) - nothing

- Old business - nothing							D. Johnson

- New business - nothing							D. Johnson

- Upcoming Meeting Dates							D. Johnson

| Year | Annual Meeting | Annual Meeting |
| --- | --- | --- |
| 2026 | - | June 27-July 1 – Austin, TX |
| 2027 | Jan 23-27 – Chicago, IL | June 12-16 – New Orleans, LA |
| 2028 | Feb 5-9 – Orlando, FL | June 24-28 – St. Louis, MI |

- Adjournment – 3:01 PM PST						D. Johnson