TC 2.4 Particulate Air Contaminants/Removal Equipment

DRAFT Main Committee Meeting Minutes

Note that items in italics are likely needs for voting at the time of preparation of this agenda

Tuesday February 11, 2025

3:30-5:30 pm Eastern Standard Time

Hilton Orlando, Orange D (Lower Level)

Also hybrid, Link to Join:

- Call to order…………………………………		Jon Rajala

Call to order at 3:30pm

- Introductions

- Roll call ………………………....…….……	Todd McGrath

18 voting members,  Attending 16 (Kevin Arriving later 17 today,  absent 2 (1)

(for-against-abstain-absent)

- ASHRAE Code of Ethics Commitment..….    	Jon Rajala
In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Chair Comments

  - Update and continuation on discussion of virtual meetings

    - Seems like we are shifting back to more in-person, ASHRAE providing less resources.

    - Will try and provide hybrid options for monitoring

  - TC communication

    - I made the decision to log into the TC 2.4 Basecamp site and add the people on our roster who already have an ASHRAE Basecamp account.

    - The Basecamp was previously unused and had few people with access to it.

    - Hopefully this will be a way to improve TC communication and share files.

    - We will work to keep website updated as well as a primary source for TC info.

  - Chairs Breakfast report

    - Great sandwich

    - ASHRAE Connect - YEA Mentorship Program

      - https://www.ashrae.org/communities/young-engineers-in-ashrae-yea/yea-events-and-programs/ashraeconnect

    - 2025-28 ASHRAE strategic plan

      - https://www.ashrae.org/file%20library/about/strategic%20plan/2025-28strategicplan.pdf

    - ASHRAE Government Affairs Staff

      - Focusing on shifts in policy focus and what that means for ASHRAE.

      - Can apply to become “experts” ASHRAE will fund you to speak on topics

    - Special Publications

      - Also periodically receive requests to review journal articles. Let me know if you are interested in being a reviewer.

      - If interested in reviewing articles please let 2.4 know.

- Liaison Report

  - Liaison section head here.

- Particle Party……………………………...……	Keith Chesson

Kavas

7:00 pm (after TC 2.4)

- Approval of Winter Chicago Minutes……….….. 	Jeni Wong

  - Minutes need to be edited for some dates

    - Motion to Accept Tom Justic, second Jenny Berens

    - (15,0,0,2) CNV

    - (for-against-abstain-absent)

- Approval of Summer Indy  Minutes……….….. 	Jeni Wong

  - Minutes need to be edited for some dates

    - Motion to Accept Tom Justic, second Jenny Berens

    - (15,0,0,2) CNV

    - (for-against-abstain-absent)

    - (for-against-abstain-absent)

- Record of votes taken since summer meeting … 	Jeni Wong

  - October 2024: TC2.4 to accept the recommendation from the PMS for 1734-RP “Reproducing a Representative Urban Atmospheric Aerosol Distribution at High Concentration in the Laboratory for Air Filter Aging to be used in ASHRAE GPC 35P for Determining the Energy Consumption Caused by Air Filters” to approve the final report.

    - 15-0-0-2-CNV (For-Against-Abstain-Absent)

- Subcommittee Reports

  - Membership Subcommittee Report…………Jeni Wong

    - 3 VM Rolling off

    - Looking for new Webmaster

    - If interested in becoming VM please see Jeni

    - Also if wanting to be more involved with subcommittee

    - Please keep your ASHRAE Profile update

  - Research Subcommittee Report…………….	John Randtke

10 minutes briefing - Report attached below

    - RP1734 is available in ASHRAE in portal

    - RP 1756 – Was finished but report hasn’t been uploaded yet. Paolo working with on following up on getting the clean report to RAC.

VOTE – Re-Approve Co-Sponsorship of TC 2.3 WS

Jon sent RTAR info to TC 2.4 voting members on February 9, 2025. Title is “Evaluation of HVAC ventilation effectiveness in reducing semi-volatile organic compounds (SVOCs) in indoor spaces”. Caitlin Naske, Research Subcommittee Chair 2.3, asked us to re-vote on co-sponsorship since it was dropped from RAC due to inactivity.

Motion to Co sponsor – Gemme, Second Brian

- 16-0-0-1-CNV (For-Against-Abstain-Absent)

- Kevin Kwong Submitted vote pre meeting

  - Program Subcommittee Report……………..	Jenny Berens

- minutes briefing

Motion to Co-Sponsor Seminar -  Brian, Second Gemma

15-0-0-2-CNV (For-Against-Abstain-Absent)

  - Standards Subcommittee Report……………	Bobby Singer

10 minutes briefing, see minutes attached

  - Web Master…………………………………	Sina Yousefi

10 minutes briefing, see minutes attached

  - Handbook Subcommittee Report…………...	Brian Krafthefer

10 minutes briefing, see minutes attached

Action item Jon Rajala - WS-1895 – Handbook / Brian K needs

dates when 2.4 voted to Co-Sponsor on this?

  - Planning Subcommittee Report…………….	Jeni Wong

10 minutes briefing, see minutes attached

How do we reinvigorate certain groups.

- Old Business

  - Had a question from last meeting regarding NESHAP 40 CFR Part 63 and a change in the paint used from old tests to what is currently being used.

    - Any questions on this see Scott Parris?

- New Business

Misc Announcements (Conferences, Awards, etc.)

  - Misc Announcements (Conferences, Awards, etc…)

  - Special publication needs to be reviewed by TC 2.4, Kevin Kwong brought it up during TC 2.3 meeting, waiting to hear back from ASHRAE to get access and review.

  - Marilyn and Gemma agreed to review.

- Adjournment

  - Marilyn moved, Gemma Kerr second 17-0-0-1 CNV (for-against-abstain-absent) 5:00pm

TC 2.4 Orlando Winter Membership 2025 Report

- Rolling off after summer meeting

  - Jon Rajala

  - Brian Kraftheffer

  - Marisa Jimenz-Sergovia

- Need:

  - Webmaster

- Anyone who wants to join the TC – do so online as we can’t do it for you. That being said, if you would like to get more involved with anything and don’t know how or what is best suited to you, please reach out to me or any of the members.

- As a reminder, we are not sending out emails anymore to everyone with schedules as managing the emails was difficult and often not inclusive of all members who joined. Everything is on the ASHRAE website (schedule and documents).

  - Please update your ASHRAE profile

Roster issues:

- Still working through roster issues and will continue to do so

ASHRAE RESEARCH SUBCOMMITTEE MEETING

TC2.4 – Particulate Air Contaminants/Removal Equipment

Winter 2025

Orlando (Research Meeting is Virtual)

Tuesday, January 28th, 2025

3:00 PM – 5:00 PM Eastern Time

Microsoft Teams

- Call to order

- Review of agenda

- ASHRAE Code of Ethics

In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Research chair’s comments:

  - Goals of TC 2.4 research subcommittee:

    - Always have one funded project

    - Consider particulate air filtration as well as the “nature of particulate contaminants”

  - Reminders:

    - RAC deadlines for RTAR/WS submission (Get “M-M-A-D” at RAC: March 15th, May 15th, August 15th, December 15th)

  - Research subcommittee chairs’ breakfast is Monday, June 24th

    - Update from Winter 2025 RAC breakfast (taken after subcommittee meeting):

      - RAC can approve up to $350k internally – No Change

      - There were no new RTARs last round.

      - There is a new 2025 – 2028 strategic plan that RTARs need to be in alignment with .

      - RTAR web portal still in beta; submit RTARs to RAC liaison for now.

      - Some budget guidance has been provided in the presentation (https://drive.google.com/file/d/1Pe5sE2rHfBuxPeJJQxvIHD1FCTeLS26a/view?usp=sharing.)  Randtke will work on putting together a template with the recommended line items to consider in the budget.

      - 2 RAC members required at PES meetings.

      - PES training is required for members in PES meetings.  Training is available online, and there will be in-person PES training in Phoenix.

  - Action Items for Research Chair:

    - Questions for chairs of other TC’s & Groups?

    - Questions for RAC?

      - Ask status about web portal submittal and procedure.

      - Ask status on budgeting tool.

      - Ask for status update on 1895.

- Liaison Reports / Updates (detailed discussion of new ideas reserved for the end of the meeting.)

  - RAC

  - SSPC 170 – Jenny Berens or Brendon Burley

  - TC-9.7 – Educational Facilities – Jon Rajala

    - Drafting a paper on IAQ for educational facilities

  - Other

- Status of Active Work

  - See project matrix for complete details: https://docs.google.com/spreadsheets/d/1QiSOw79NzSrA4qisZeTrgOSUV5X9q-KoRu36xUvtXd8/edit?usp=sharing

  - RP-1928 - Phase 1 testing is complete PMS Meeting at end of February for selection of technologies.  Approximately 1.5 years to completion.

Brainstorming Session

- See attached project matrix at link above for all ideas being discussed for potential RTARs.

- GPC 35 would like to know how much mass a filter can absorb for an allowable pressure drop.  Ratio of pressure drop to absorbed mass:  Does this vary between manufacturers, types of filters, locations, RA vs. OA, types of dust/aerosols and design velocities?  Should mass or pressure drop determine filter life?

- It’s time to move forward an RTAR on the Impact of Age on Reactive Air Cleaner Effectiveness.  185.5 and 145.4 are far enough along that they should be available by the time a work statement is approved.  The following people have expressed interest in reviewing the draft: Jeff Siegel, Marilyn Listvan, Peter McKinney, Marwa, Jeff Roseberry, Kathleen Owen, Jianshun, and Brian Krafthefer.

TC 2.4 Program Subcommittee Meeting

Minutes, Sunday, February 9th – 3:00pm-4:00pm EST

Last meeting’s notes in Green, Cursive

This meeting’s notes in Purple, Cursive

Action Item Owners in Red, Bold

Highlighted areas will be reported back to 2.4

Notes after meeting in blue, cursive

Subcommittee Chair: Jenny Berens

- Call to Order a

- ASHRAE Code of Ethics

ASHRAE Value Statement – In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual. We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all. a

- Introductions a

Attendance list a

- Submissions

  - Indianapolis, Summer 2024

- Title:  "The Luxury of Clean Air: Equity in Air Quality" (① in table below)

Submitted: 2/22/2024 & Rejected: 3/29/2024 (See details at end of doc)

  - Upcoming? a

    - "The Luxury of Clean Air: Equity in Air Quality" (① in table below)

- Meeting supports proposal to resubmit same program (a. above). We have until Feb 26.

Strategy:

- Reach out to ask the 4 speakers whether they are interested in participating in the 2025 Summer Conference or not. Adapt strategy if all speakers are not available

- Check the new tracks & decide which one would fit.

- Adapt abstracts as needed.

- Jenny to contact team  (target to send 2/10/2025)  on 2/10/2025

    - “Particles in outer space” (② in table below)

- Leaving as-is right now, even though interest in air-filtration in space has been added to the 9.13 (formerly known as 9.space) docket.

- NEW PROPOSAL Portable filter seminar (potentially to be added in table below – title tbd.)

- Background (ref. email from Jeff on Fri 2/7/2025 “Portable filter seminar at ASHRAE in Pheonix?”: Jeff Siegel’s student Alex Mendell has a grant-in-aid (means he has to attend ASHRAE) and has a collection of great data on portable air cleaners (spec. different control approaches).

- Subcommittee agrees great topic and proposes the following:

- Kathleen offers to Chair seminar

- Thad offers to provide presentation, Jenny can reach out to Bob (not sure who this Bob might be) and Jim Rosenthal, Kathleen to reach out to Daid from University of NB. Jeff help put together program submission.

- Jenny will send collective email (target to send 2/10/2025) to all interested parties who has offered to support above. on 2/10/2025

- NEW PROPOSAL “Why you shoudn’t lick your filter 2” (potentially to be added in table below – title tbd.)

- Background (ref. email from Jeff on Thu 1/16/2025 “Idea for TC 2.4 program”

- Plan for Las Vegas (Winter-26)

- Jeff to chair, 3 speakers lined up (titles tentative):

1. Ian Coussons @ UofT Filter dust from the International Space Station: How does it compare to terrestrial environments?

2. Nehul Argawal (potentially Jeff depending on Nehaul’s availability) @ UofT Fungal and bacterial concentrations from filter forensics in occupied and unoccupied buildings (Nehul has a ASHRAE Graduate Student Grant-in-Aid)

3. Amy Li @ UWaterloo Quantitative filter forensics on SVOC and Allergens in Toronto Homes (this used the filters from the RP1649 project)

- Subcommittee agrees great topic and are all in support.

- No proposal for additional speakers as of yet.

-  Thought: Possible to make the seminar about filtration in extreme environments? Submarines were mentioned. (We can also look at filtration in mining vehicle cabs, turbo machinery in extreme cold climates/shore locations, etc.)

- Jenny to respond to Jeff  (target to send 2/10/2025)  on 2/10/2025

- Next conferences:

- 2025 Annual Conference, June 21-25, 2025 – Phoenix, AZ

  - Wednesday, February 26, 2025 | Debate, Panel, Seminar, Forum, Workshop, and Debate Proposals Due

  - Wednesday, March 5, 2025 | Conference Papers and Extended Abstracts Due

  - Wednesday, April 2, 2025 | Conference Paper Accept/Revise/Reject Notifications

  - Wednesday, April 2, 2025 | Extended Abstract Accept/Reject Notifications

  - Wednesday, April 9, 2024 | Revised Conference Papers Due

  - Friday, April 11, 2025 | Debate, Panel, Seminar, Forum, Workshop Scheduling Notifications

  - Wednesday, April 23, 2025 | Conference Paper Final Accept/Reject Notifications

- 2026 ASHRAE Winter Conference and AHR EXPO, Feb. 8-12, Jan. 31-Feb. 4, 2026 – Las Vegas, NV

IMPORTANT TO KNOW

- Current:

  - Potential updates from CEC TC Program Sub-Committee Training, Tuesday Tuesday February 11,2025, 11:15AM – 12:00PM, Clear Lake (Lobby Level)

Document to be added to Minutes as Appendix, if/when available

- General:

  - Seminar consists of 3 speakers, 20 min each for a total of 60 min.

  - Seems preferred to have 4 speakers rather than 3 in a seminar

  - Submittal: 1 abstract per speaker, 100 words, plus 4 questions submitted by committee via ASHRAE’s usual channels

  - ~50% of the seminar proposals submitted for Winter 2024 were accepted

  - Important to understand what would appeal to ASHRAE

    - Fit into tracks – possible to contact corresponding track chair before submitting proposal to get feedback on topic, headline, etc. (8 tracks, already announced(

    - Look at trends (ex. Reduction of carbon footprint/decarbonization)

    - Pull together a strong title (ex. Why you shouldn’t lick your air-filter)

  - Potentially ‘bumped up’ on the priority list of submitted program proposals is rejected in the past.

To be reported back to TC 2.4 February 11, 2025:

- Co-sponsorship

On 2/22/2024, we agreed to cosponsor TC2.5: Wildfires and their Effect on Building Occupant Health in TRACK 8 Legislation, Standards, Codes, and Guidelines.  Track Chair: Cindy Callaway  cindy.callaway@p2sinc.com (completed!) (rejected)

- 2.3 Program Chair: KJ Choi kchoi228@gmail.com

- 2.4 Program Chair: Jenny Berens jenny.berens@freudenberg-filter.com

- EHC Chair: Bill Bahnfleth wbahnfleth@psu.edu

Other than that, does not seem like there are any new updates

- Proposals in Progress – Working list notes a

- Total proposals: 9+2

  - Proposals we decided to work on actively: 3 (in list below) + 2 new ones (iii and iv above)

  - Proposals we are placing on backburner: 6 (moved to appendix)

- Proposal lista

| Topic Type Subject | Title | Co-sponsor | Chair |
| --- | --- | --- | --- |
| ① Topic: Ethics of Air Quality What: Seminar When: Indianapolis | Submitted on 2/22/2024 "The Luxury of Clean Air: Equity in Air Quality" - Request details from Jenny if curious - Presenters: Sissi Liu, Jenny Berens, Geoff Crossby, Paul Francisco (in order or presentation) - Submitted by Todd McGrath Rejected Decision to resubmit after strategy discussion (4b above). | EHC (ASHRAE Environmental Health Committe. Contact: Bill Bahnfleth wbahnfleth@psu.edu) EA (Young Engineers of ASHRAE. Contact: McCray, Jeanette <JMcCray@ashrae.org>) | Todd McGrath Chair |
| ② Topic: Particles in Outer Space What: Talk / Seminar When: Future idea Toronto TBD | New Action Items (from meeting 1/22/2024) Jeff S: Contact Karen Dannemiller to see if/when she is available Jeni: Ask Mike C if he would be willing to present Jeff S: Committed to present a Jenny: Check with Vijay if he is available to present when Karen is Old Action Items: Reported back in meeting 1/22/2024 (Jenny): Completed by Evan Connell and Jenny Berens. Evan got response back from NAFA that they are not interested. After finding out that trip/presentations will not be sponsored, our other contacts (Clair Fortenberry, Marit Mayer) did not get back to us either. Roads keep leading back to Vijay and we have started discussions with him. He proposes a drumming up of interest during the Expo to prepare people for a seminar during the Summer meeting. Jenny was in charge of summarizing and did not execute. | TC 9.SPACE (?) | Jeni - cochair Vijay, Mike Corbat (NASA) |
| ③ Topic: Urban Aerosols What: Conf Paper and … ??? When: ? | 2/22/2024: Proposed/potential speakers (targeting 4): - Brandon Boor? - Geoff? - Jeff: Amy Lee U. of FL (former student) - John: Offers to speak about energy consumption & filters Urban Aerosols … wait for RP1734 *Waiting for research projects to finish. Finish research by April. Finish paper by August. Wait until after paper completed. December -24 earliest No change |  | Jeff willing to chair Todd willing to chair Brandon Boor, Zied |

- Any new proposals?

Yes

- Would we like to review proposals in the Appendix?

Was not offered by Chair and did not happen

- Adjournment

TC 2.4 STANDARDS SUBCOMMITTEE

Minutes

Sunday 2:00PM – 3:00PM, February 9, 2025

Hilton Orlando - Championsgate

- CALL TO ORDER

  - Introductions

  - Chair’s comments

    - None

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - Per Todd McGrath, 52.2 ANSI reprint scheduled for this year.

    - Thad Ptak presented on 52.2 test equipment accuracy. A survey is being distributed. Ashley Scott to write statement on current variability/confidence.

    - Jim Rosenthal presented on CR Box and M11 Filters testing. Multi pass at higher ACR results in better particle removal. Filter testing APP J vs 52.2. show M11 Charged didn’t drop as much as APP J showed

    - See 52.2 meeting minutes for details.

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

    - Purdue University test lab visit occurred on Thursday June 20, 2024.  Thank you, Brandon Boor for hosting the ASHRAE GPC 35P team.

    - Had not met as of this meeting

    - See GPC 35P meeting minutes for details.

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Kevin K)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - No update

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - No update

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

    - SPC 185.3, Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

      - Published

    - SPC 185.4P Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

      - No update

    - SPC 185.5 Method of Testing HVAC-duct mounted Devices and Systems and In-Room devices for Particle and Microorganism Removal or Inactivation in a Chamber with a Recirculating Duct System

      - Published

  - TC 5.4 Industrial Process Air Cleaning (Geoff Crosby)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Per Geoff Crosby the standard will be out for public review prior to Winter 2025 conference.

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities (Need liaison)

      - Update per Jenny Berens.

      - Mark Davidson has proposed creating a SSPC170 Filtration Subcommittee

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Jon Rajala)

    - No new information.

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Jon Rajala)

    - Updated filter efficiency requirement to MERV13.

    - Ready to send out for public review.

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings

    - No update

  - SSPC 90.2 – Energy Efficient Design of Low-Rise Residential Buildings ()

    - Addendum G requiring filter efficiency of MERV13.

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Mike Corbat)

    - Mike to forward updates via e-mail.

WG 1 (Terminology) – OPEN APC

WG 2 (UV-C) – Katja Auer (APC)

WG 3 (General Ventilation) – Don Thornburg (Convener) & OPEN APC

WG 4 (HEPA/ULPA) –R. Vijayakumar (Convener) & Andy Stillo (APC)

WG 5 (Dust Collectors) – Open APC

WG 7 (Durability of Cleanable Filter Media) – OPEN APC

WG 8 (Gas Phase) – Matt Middlebrooks (APC)

WG 9 (Gas Turbine) – OPEN APC

WG 10 (Nuclear) – Satish Dinakaran (APC)

WG 11 (Portable Air Cleaners) – OPEN APC

WG 12 (Sustainability) – Geoff Crosby (APC) & Jon Rajala (Acting APC)

WG 13 (Biological equipment for waste gas) – OPEN APC

WG 14 – Test Method for Airborne Microorganism Filtration Efficiency and Decontamination Efficiency

  - SSPC 241 Control of Infectious Aerosols  (Mike Corbat)

    - Had not met as of this meeting

  - TC 4.10 (Sina Yousefi?)

    - No update

  - TG2.RAST (Kevin)

    - Draft is complete and needs final edit to get ready for public review. Target Winter 2025 meeting.

- TC 7.3 lead for the following standard (Co-Cognizant)

  - ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

    - No update

- IEC/TC59/SC/59N & ISO/TC142/JWG11 Activities

JWG 1

• JWG 1 Reduction of Particles (Stefan Schumacher)

• IEC 63086 Part 2-1 on Measurement of Reduction of Particles by an Air Cleaner was published. Preparation of the first revision of IEC 63086-2-1. Discussing the necessity of RRT. JISC suggested considering PM2.5. Starting Revision 2

• SWG 1.1 Performance Change with System Loading (K C Noh)

• 63086-2-5, working on CD comments received from IEC/ISO. Discussing the possibility of RRT. CDV targeted for May 2025.

JWG 2

• JWG 2 Determination of gas-phase pollutant reduction (Dr. Atsuo Nozaki / Yoshio Okamoto)

• IEC 63086-2-2: Particular requirements for determination of gas-phase pollutant reduction. Latest CD version have moved to OSD. Preparing the CDV

• SWG 2.1 Reduction of Ozone (Jinzhu Ma / Hong He)

• Possibly developing a separate standard IEC 63086-2-7 Particular Requirements for Determination of Ozone Reduction

• Make Normative Annex G to IEC 63086-2-2→Add sealed chamber method.

• Air flow through method to Test Report (TR), Test Specification (TS) or International Standard (IS)

• SWG 2.2 Performance Change with System Loading Gas Phase Pollutants (Yinping Zhang)

• Currently PWI stage.

JWG 3

• JWG3 Reduction of Microorganisms (Zhang Xiao)

• Working on CD draft: IEC 63086-2-3: Particular requirements for reduction of microorganisms. Committee approved to submit CD voting. Preparing the CDV

• Discussing impinger over impactor for microorganism sampling method.

JWG 4; General Characteristics (John Park (US))

• SWG 4.1 Measurement of Acoustical Airborne Noise

• Lead: open

• Working in conjunction with TC 59/WG 2 to maintain IEC 60704-2-19

• 6 labs have volunteered for RRT with regular, taller and diffuse/directional air cleaners. Data evaluation and review RRT results

• Finalizing the Round Robin Protocols

• SWG 4.2 Methods to Operate Round Robin Testing

• Lead = Connor Hoover (US)

• IEC TR 63250 is to be used as the guidance document for the individual Part 2’s.

• Reference unit is Amway Atmosphere Sky 120539

• Next step: Support for the RRT of particle reduction per IEC 63086-2-1

• Finalizing the 60704-2-19 for sound measurement

• SWG 4.4 Measurement in Automatic Mode

• Lead = Dan Miller (US)

• Goal is to write a technical report: Introduction of procedures for investigative testing

• Lab invitation letter will be circulated to SC 59N

• First phase testing:

• Conduct standard test as published for each challenge type and determine CADR for the unit when operated in Maximum performance mode with automatic mode OFF; and measure power.

• Repeat test for each challenge with the unit set to Automatic mode:

• Initial challenge introduction

• Once the initial concentration of a particle is reached, turn ON a DUT with the automatic mode ON, and allow to operate until the DUT turns OFF automatically. Record power consumption and concentration when device turns off.

• Calculate both CADR’s and energy consumption for both operation modes.

• Second phase testing:

• Generate particles in the chamber at a much lower rate of induction continuously (begin with dust and KCl) for the duration of the test with a goal of achieving thestarting concentration of the DUT.

• Record the concentration at which the DUT turns ON automatically.

• Working on a procedure for testing automatic mode air cleaners

• SWG 4.5 Methods to Measure Energy Efficiency

• Lead = John Park (US)

• Working on a procedure for energy efficiency measurement. Write a Technical Report on how to calculate the energy efficiency using estimated annual usage hours, and the suggested definition of PM 2.5 CADR as proposed.

• Different approaches in each country to be included in the report if readily available.

JWG 5; Special types of air cleaners

• SWG 5.1 Fresh Air, Air Cleaners (Jinhan Mo/Shanshan Li)

• intended to develop the standard to include type 1 or (possibly type1 and type 2) FAAC in a sealed chamber. Working on NP.

• For flow-through chamber, mass balance especially loss in flow rate due to the back pressure, more tests and discussion are needed.

• SWG 5.2 Robotic/Mobile Air Cleaners

• CADR method was shared for the robotic air cleaners. and a questionnaire was expected to be sent out to all SC59N members.

• Next meeting will be held under JWG5 to discuss the main parameters of this standard.

JMT 6; Joint Maintenance Team 6 (Wayne Morris)

• Joint Maintenance Team 6 is responsible for the IEC Part 1 Standard, 63086-1 (published in 2020)

• Recently, IEC 63086-1 was Amended (Amendment 1) which corrected some typographical errors and clarified the scope (published in 2023)

• Reviewing comments from the NP for Revision 2 of 63086-1. Will includes larger chamber

• Move it to OSD

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - Recommend techniques…

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 –

  - Need liaison for IEC & AHAM

  - Brian recommended for the committee to list out cognizant guidelines.

  - Decarbonization Grants to look at system component life. $2 million dollars being allocated.  Looking for research ideas. (Palo Tronville)

  - Jeff Siegel – Availability of ASHRAE standards to academic institutions. Recent changes in standards suppliers have resulted in large price increases

  - Brian K – TC 9.13 (9 . Space)

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

  - CEN/TC 195 – Cleaning equipment for air and other gases (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – aging procedure with fine particles

  - IEST – Institute of Environmental Sciences and Technology – no update

  - AHRI 680 – Sanjeev and Chrystal. Working on updating

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO – April 29-May 1 2025 Miami Beach

  - NAFA

    - 2025 Technical Seminar Tempe, AZ April 1-3

    - 2025 Annual Convention Newport, RI Oct 21-23

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Dan Miller)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

  - IAQA Meetings (Jeffrey Siegel)

Lexington Ky May-June

  - FILTECH Expo and Conference

    - Jun 30- Jul 2, 2026 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be July 7-11 2024 - Honolulu

  - American Association for Aerosol Research

    - 10-21 – 10/25 Alb, NM

  - International Aerosol Conference

    - 2026 China– Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - June-July 2025 Bordeaux France

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society 2024 Annual Conference, Oct

  - World Filtration Institute (Jenny) Feb 11 2025 HERE!! Fastbreak !!:45 am

  - Healthy Buildings

  - ANEX  Taiwan

  - IFTEX Istanbul Aug 2025

TC 2.4 Handbook Subcommittee Meeting Minutes

Chapter 66, In-room Air Cleaners,

in the 2027 HVAC Applications Volume

and

Chapter 29, Air Cleaners for Particulate Contaminants,

in the 2028 HVAC Systems and Equipment Volume

Sunday, February 9, 2025, 3:00 – 4:00 EST

Hilton, Championsgate

The meeting was called to order by Subcommittee Chair Brian Krafthefer at 3:02 pm.

Brian read out the ASHRAE values statement: In this and all other ASHRAE meetings:

- We will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others.

- This will exemplify ASHRAE’s core values of excellence, commitment, integrity, collaboration, volunteerism and diversity.

- We shall avoid all real or perceived conflicts of interests.

The 24 attendees introduced themselves.  Gemma Kerr agreed to act as minute taker.

Chapter 66 discussion.

- The Chapter is due into ASHRAE in June 2026

- At the present time no external comments have been received regarding the chapter

- Kathleen Owen will lead the revision with Brian and Gemma acting as backup

- The chapter was first published in 2023 in a hurry to address Covid issues, and needs significant revision:

  - It needs to be harmonized with the duct-mounted air cleaner chapters S29 and A47 and chapters on UV disinfection, climate change and environmental health;

  - Results of Covid research need to be added;

  - Info from recent research papers on IRAC need to be added. Jim Rosenthal, Brent Stephens, Daniel Miller and David Yuill agreed to work on this;

  - Details of the Corsi-Rosenthal box need to be added now that there are published studies to refer to. Daniel Miller and Jim Rosenthal will help with this;

  - Other air-cleaning technologies need to be added;

  - The sizing and selection sections need to be updated;

  - The performance section needs to be updated re standards 145.4, 185.3, 185.4 and recently published AHAM standards

  - The performance metrics ECA, CADR and EACS need to be discussed and harmonized

  - Need to mention Portable Room Air Cleaners

  - Do a review of the references

- John Randtke and Peter McKinley agreed to review the chapter and send comments to Kathleen;

- Updates will be included in revision “A” of Chapter 66.

Start the review of Chapter 29

- The Chapter is due into ASHRAE in June 2027;

- Tom Justice, Marisa Jiminez-Segovia, Daniel Miller, Jenny Berens and Jon Rajala will review the chapter and send comments to Brian;

- It was decided to change the chapter title, adding “Duct-mounted” at the beginning to differentiate it clearly from Chapter 66;

- More detail should be added to the Table of Contents;

- A sentence should be added near the beginning referring to Chapter 66;

- Consider some rearrangement of the sections. Currently some of the filter installation material is in the Selection and Maintenance section. Probably should have separate sections for Selection, Installation and Maintenance;

- Possibly add more info on 52.2;

- Gather all of the cost info in one place (new section needed?);

- A review of the references is needed.

There was no New Business.

The next virtual meeting will be March 24. It will be a 2-hour meeting with 1 hour devoted to each chapter.

The next in-person meeting will be in Phoenix, AZ. Brian will check if it can be run as a hybrid meeting.

The meeting was adjourned at 3:55 pm.