SIGN IN SHEET

https://tinyurl.com/tc403

ASHRAE TC 4.3

Zoom Link: https://dmgn.zoom.us/j/81100473995?pwd=k5lvlrTJ5Ghuvqbyyetr4g1bcQa8kp.1

Meeting ID: 811 0047 3995 	Passcode: 640972

Ventilation Requirements & Infiltration

Agenda

2025 Annual Meeting – Hybrid

June 23, 2025, 5:30pm – 7:30pm MST

- Call to order	Simpson

- Review Scope

TC 4.3 is concerned with ventilation requirements and the analysis of infiltration, airflow around buildings, exhaust, and the re-entry of exhaust, including their interactions with indoor air quality and energy calculations for buildings and HVAC system design and operation performance and energy consumption. https://tc0403.ashraetcs.org/

- ASHRAE Values Statement 	Simpson

In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest.

Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  
We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. 
We respect and welcome all.

Code of Ethics - https://www.ashrae.org/about/governance/code-of-ethics

Core Values - https://www.ashrae.org/about/ashrae-s-core-values

Diversity Statement - https://www.ashrae.org/about/diversity-equity-and-inclusion-dei

AI Policy - ashrae-ai-policy-feb-2025.pdf

- Introductions (10’)	All

  - Determination of a quorum	Lozinsky

VOTING MEMBERS FOR THIS MEETING (Need (4) or ½+1  for a Quorum)

|  | Name | Position | Company | Roll Off (June 30) | Present? |
| --- | --- | --- | --- | --- | --- |
| 1 | Isaac Simpson | Chair | DMG | 2026 | X |
| 2 | Anthony Abate | Member | Clean Air Group | 2025 |  |
| 3 | Duncan Phillips | Member | RWDI | 2025 | X |
| 4 | Nuria Casquero-Modrego | Webmaster | LBL | 2028 | X |
| 5 | Marianne Touchie | Member | University of Toronto | 2025 |  |
| 6 | Meghan McNulty | Member | PNNL | 2028 | X |
| 7 | Frank Godbout | Member | EffectivHVAC | 2028 | X |
| Non-Voting Officers |  |  |  |  |  |
| Ryan Parker |  | Vice Chair | RWDI |  | X |
| Cara Lozinsky |  | Secretary | Carleton University |  | X |
| Nitin Naik |  | Programs | Dewpoint |  | X |
| Neetha Vasan |  | Handbook | RWDI |  | X |
| Jordan Clark |  | Research | Ohio State University |  | X |
| Steven Emmerich |  | Standards | NIST |  | X |
| Hossam Abdelkader |  | Honors & Awards | Delta for Construction and Manufacturing (DCM) |  |  |
| Jason Degraw |  | Membership | ORNL |  | X |

- Invitation to TC Dinner	Simpson/Parker

- Round of introductions 	All

- Welcome to all (2‘)	Simpson

- Agenda additions	All

Nothing to add

- Approval of minutes; Winter 2025 and Spring 2025.	Simpson

The minutes of the Winter meeting were not issued prior to the Spring Interim meeting. A vote to approve the minutes was moved to this meeting.

The minutes for the Spring interim meeting were posted to Basecamp and the website prior to this meeting.

Motion to accept the Winter 2025 and Spring Interim 2025 meeting minutes: 1st (Meghan McNulty), 2nd (Nuria Casquero-Modrego). Vote: 5-0-0.

- Chair’s Report (5’)	Simpson

  - Chair’s Goals

    - Welcome!

  - Announcements

    - ASHRAE Simplified Rules of Order

    - *ASHRAE Government Affairs Committee – Subject Matter Expert Pilot Program https://www.ashrae.org/about/government-affairs/grassroots-advocacy/accomplishments/ashrae-smes-for-goes-pilot-program-application

    - Access to Basecamp – request to be added: email caralozinsky@cunet.carleton.ca

- Membership/Roster (5’)	Simpson

  - Regular attendance is expected, active participation encouraged.

  - Digital sign-in sheet: tinyurl.com/tc403

  - Guests, consider joining as a Provisional Corresponding Member (PCM). This is the only way to officially join TC 4.3: https://eweb.ashrae.org/eweb/TS_ProvisionalSignup.html

  - SY24-25 roster was updated July 1, 2024. Jason DeGraw provided the following roster update: TC4.3 currently consists of 234 members (189 corresponding members, 30 provisional corresponding members, and seven voting members (voting terms noted in the attendance table)). There are currently 63 YEA members.

  - If members are interested in becoming more involved in the committee, members can make note of this in the digital sign-in sheet. The committee welcomes involvement from all members.

- Subcommittee reports

  - Programs (10’)	Naik

    - Conference tracks for Las Vegas (Winter 2026 Conference) are:

      - Fundamentals and Applications

      - HVAC&R Systems and Equipment

      - Refrigeration and Refrigerants

      - Research Summit

      - Energy Storage and Grid Resiliency

      - Pathways to Building Decarbonization

      - Artificial Intelligence

      - IEQ for Healthy Buildings

      - Future-Proofing the Built Environment

    - Five proposals will be put forth for Las Vegas (Winter 2026 Conference), summarized in the “Active Proposals” table below.

    - The deadline to submit program proposals to ASHRAE is August 1, 2025. Program leads should forward their finalized program proposals to TC4.3 Programs Chair prior to August 1, 2025, to allow for TC review before formal submission to ASHRAE.

    - Omnibus Programs vote to sponsor/co-sponsor the following programs: 1st (Duncan Phillips), 2nd (Meghan McNulty). Vote: 5-0-0.

      - Co-sponsor “How Should the Zone That is Naturally Ventilated be Defined Using ASHRAE Stds 55 and 62” (Duncan Phillips)

      - Sponsor “Health Implications of Non-Energy Impacts of Residential Buildings” (Nuria Casquero-Modrego)

      - Co-sponsor “IAQ, Thermal Comfort, and Air Distribution in Healthy Buildings” (Yashkumar Shukla)

      - Sponsor “Modelling and Measurements of Advanced Forms of Natural Ventilation” (Duncan Phillips and Jim Van Gilder)

      - Sponsor “Burning Questions Around Wildfires and Ventilation/IAQ” (Isaac Simpson and Steve Emmerich)

    - TG2.IAQMD is planning on submitting a program proposal on Ventilation/IAQ during wildfire events (similar to 10-a-iv-5). Isaac S./Steve E. may wish to coordinate with TG2.IAQMD, to create a joint submission.

    - Future Programs / New Ideas: Moving forward, proposals for new programs should ideally be discussed with the committee for preliminary feedback before finalizing the program. Program details including program abstract, individual presentation abstracts (if applicable), learning objectives, speaker biographies, and any other relevant program information should be submitted to the committee for their review and vote prior to submitting program proposals to ASHRAE.

    - People interested in proposing programs for future conferences can contact Nitin Naik for more information (nitin@dewpoint.in)

| ACTIVE PROPOSALS (SUBMITTED OR UNDER ACTIVE CONSIDERATION) |  |  |  |
| --- | --- | --- | --- |
| City | Title | Type | Chair/Speakers |
| Las Vegas | How Should the Zone That is Naturally Ventilated be Defined Using ASHRAE Standards 55 and 62? | Panel | Duncan Phillips (SSPC62.1 (lead), SSPC55, TC4.3 (co-sponsors)) |
| Las Vegas | The Health Implications of Non-Energy Impacts in Residential Buildings (relevant track: IEQ for healthy buildings) | Seminar | Nuria Casquero-Modrego (chair) (TC4.3 (lead), SGPC10 (co-sponsor)) |
| Las Vegas | IAQ, Thermal Comfort, and Air Distribution in Healthy Buildings (relevant track: IEQ for healthy buildings) | Seminar | Yashkumar Shukla (chair), Nitin Naik, V. Krishnan (TC4.3 co-sponsor) |
| Las Vegas | Modeling and Measurements of Advanced Forms of Natural Ventilation | Seminar | Duncan Phillips, Jim Van Gilder (TC4.3 (lead) and possibly TC4.10 (co-sponsor)) |
| Las Vegas | Burning Questions Around Wildfires and Ventilation/IAQ | Seminar | Isaac Simpson / Steve Emmerich (TC4.3, and possibly TC7.3, TG2.IAQMD) |

| ON HOLD (PREVIOUSLY REJECTED PROPOSALS OR TENTATIVE IDEAS) |  |  |  |
| --- | --- | --- | --- |
| Status | Title | Type | Chair/Speakers |
| On hold (last submitted to Orlando, W2025) | Infiltration in Commercial Building: Spoiler Alert, the Answer Isn’t Zero |  | Lisa Chen Ng |
| On hold (last submitted to Orlando, W2025) | Beyond CFM, ACH, and CADR: A Practical Method to Identify and Remove Airborne Contaminants and the Proof it Works | Seminar | Chair: Thomas Smith, Speakers: Thomas Smith, Sissi Liu |
| On hold (last submitted to Indianapolis, S2024) | OSHA IAQ Technical Manual Update |  | Mathew Meyer: New manual will be published by next summer. Radon will be added to the update |
| On hold (las submitted to Indianapolis, S2024) | Modeling airflow around buildings and the impact on indoor conditions driving toward increasing building resiliency |  | Co-sponsored with TC4.10 |
|  | “How To” for 62.1 or 62.2 | Workshop | [when new version / substantial change]- 62.1 next version is 2025, 62.2 is currently updating the IAQ portion |

  - Research (10’)								Clark / Simpson

    - ASHRAE Strategic Research Plan

      - ASHRAE published their Strategic Research Plan for 2025 – 2028. The plan highlights four strategic initiatives: Healthy, Sustainable, and Resilient Communities; Empowered Workforce; Organizational Agility; and Emerging Technologies.

      - RAC has $3.9M in research funding and will likely prioritize work aligning with the strategic initiatives.

    - Online Research Portal

      - ASHRAE is rolling out a new online research portal on August 15. The portal will replace the existing research forms.

    - Research Updates

      - 1835-RP: Induced Flow Stacks  Work is in progress (approximately 50% complete). Induced flow fan testing is scheduled for the Fall.

      - 1950-TRP: Separation Distance for Multi-family (MF) Buildings  Three bids have been received. Bid review is in progress. Bid review meeting with RAC is tentatively scheduled for early July. TC4.3 will receive bid recommendations by mid-July. Pending RAC approval, project award will likely occur in August/September.

      - 1918-TRP: Natural Ventilation Openings  Eight bids have been received. Bid review is in progress. Bid review meeting with RAC is tentatively scheduled for early July. TC4.3 will receive bid recommendations by mid-July. Pending RAC approval, project award will likely occur in August/September.

      - 1961-RTAR: Commercial Garage Ventilation  No updates since last meeting.

      - 1962-RTAR: ERVs and Pressurization  Duncan P. and Craig W. implemented editorial changes.

        - Motion to accept the RTAR revisions: 1st (Duncan Phillips) 2nd (Nuria Casquero Modrego). Vote: 5-0-0.

      - 1973-RTAR: Ventilation Effectiveness for Overhead Heating  WS is in progress. Frank G. is coordinating with SSPC 129 (Measuring Air Change Effectiveness) to ensure that WS content and terminology aligns with the standard (SSPC129 is also discussing this RTAR in their annual meeting). The tentative timeline for WS completion is W2026, pending SSPC 129.

      - PTAR-004: Guide for Successful Simulation of Outdoor Airflow Around the Built Environment  PTAR was rejected by ASHRAE in 2024. TC4.3 may wish to re-submit, despite RAC’s initial rejection. Research SC will re-visit at the interim meeting to decide on next steps.

    - Active / Inactive Ideas

| ACTIVE IDEAS / PROJECTS |  |  |
| --- | --- | --- |
| Name | Champions | Status/Actions |
| Impact of opening type on natural ventilation | (open), Duncan Phillips will support | Duncan confirmed that this is a high priority, which dovetails with WS1918 |
| In-service performance of buildings designed using IAQP vs. VRP | Cara Lozinsky | Isaac S. and Frank G. agreed to develop a short list of questions for industry practitioners, for circulation within their respective networks. Cara L, Meghan M., and Jordan C. will reach out to other TCs, to see if they have any information on the prevalence of IAQP vs. VRP in building design and/or in-service performance of IAQP vs. VRP buildings. Possible ASHRAE TC Sources: - TG.2IAQMD (IAQ Monitoring Devices) - TRG4. IAQP (IAQP Development) - TC7.3 Operation, Maintenance and Cost Management - TC7.5 Smart Building Systems - TC7.9 Building Commissioning |

| RESERCH PARKING LOT (NO PROGRESS/UPDATES IN MORE THAN TWO MEETINGS) |  |  |
| --- | --- | --- |
| Name | Champions | Status/Actions |
| Potential work following ETF transition. | Meghan McNulty | Sample survey of existing building vent performance i.e. BASE study Crowd-sourced database? CO2 or CO levels |
| Adjustment of rates for density of air w/ altitude-do emissions change with altitude? How much do resulting rates change? Include perception changes | Phillips-framework, Taylor review | Phillips to provide framework and Taylor to review (low priority) |

- Handbook (15’)	Vasan

    - Chapter Status

| Volume | Chapter | Lead | Status |
| --- | --- | --- | --- |
| 2025 Fundamentals | Chapter 16 Ventilation and Infiltration | Marianne Touchie, Cara Lozinsky, Justin Berquist | Proofs have been reviewed by the lead reviewers and forwarded to the HBC. 2025 Fundamentals is now out for publication (should be available later this year). |
| 2025 Fundamentals | Chapter 24 Airflow Around Buildings | Ted Stathopoulos | Proofs have been reviewed by the lead reviewer and forwarded to the HBC. 2025 Fundamentals is now out for publication (should be available later this year). |
| 2027 Applications | Chapter 46 Building Air Intake and Exhaust Design | Ryan Parker | Word and PDF versions of 2023 Ch. 46 have been uploaded to Basecamp. TC members are welcome to provide feedback (via marked-up word file or PDF) to Ryan P. or Neetha V. Feedback must be submitted by September 5, at the latest. |

- Website/Basecamp (5’)	Casquero-Modrego

  - Website & FAQ updates – (chair and webmaster have access). Nuria has cleaned out old items and is working to update the research section to stay current.

  - ASHRAE has dropped hybrid support for meetings.  TC 4.3 will continue the hybrid and virtual interim meetings.

- Honors & Awards (5’)	Abdelkader

- Standards	Emmerich / McNulty / Walker

  - Standard 62.1: Ventilation and Acceptable IAQ

    - The 2025 edition has been submitted for publication.

    - SSPC 62.1 plans to update the user manual to align with the 2025 edition, via the special publications process. In this process, TC4.3 will need to act as the cognizant committee and review the user manual.

    - Motion to act as cognizant committee for the 62.1-2025 user manual. 1st (Duncan Phillips), 2nd (Nuria Casquero Modrego). Vote: 5-0-0.

  - Standard 62.2: Ventilation and Acceptable IAQ in Residential Buildings

    - The 2025 edition has been submitted for publication.

    - SSPC62.2 is currently discussing the addition of an IAQP (similar to 62.1); changes to requirements for zones adjacent to habitable spaces, unvented combustion, humidity control, and minimum filter efficiencies. If approved, these changes will be incorporated via addenda to the 2025 edition or added to the 2028 edition.

  - Other Standards of Interest (TC4.3 is not lead cognizant TC)

    - Guideline 44: Protecting Building Occupants from Smoke During Wildfire and Prescribed Burn Events

      - Guideline 44 was published in Fall 2024. The standard is currently available as read-only.

      - A proposal has been submitted to put Guideline 44 on continuous maintenance.

    - Standard 161: Air Quality within Commercial Aircrafts (Lead Cognizant TC9.3: Transportation Air Conditioning, Co-Cognizant TC4.3)

      - No updates. Currently no representatives from SSPC161 are active in TC4.3.

    - Standard 170: Ventilation for Health Care Facilities (Lead Cognizant TC9.6: Healthcare Facilities)

      - No updates. Currently no representatives from SSPC170 are active in TC4.3.

    - Standard 241: Control of Infectious Aerosols (Lead Cognizant TC: EHC)

      - Standard 241 has gone out for public review (as part of the ANSI certification process). SSPC241 is currently reviewing and responding to public comments.

- Old Business (5’)

- New Business (10’)

  - Request for Review of Design Guides: ASHRAE Special Publications contacted Ryan P., requesting TC4.3’s assistance in reviewing two Design Guides that currently have no cognizant TC. Both guides were published in 2021 and need to be reviewed/updated.

    - Residential Indoor Air Quality Guide: Best Practices for Home Design, Construction, Operation, and Maintenance  The Residential IAQ Guide was originally developed by the Environmental Health Committee (EHC). Any revisions/updates should be handled by EHC.

    - ASHRAE Design Guide for Natural Ventilation  TC4.3 is likely the appropriate TC to act as cognizant TC; however, TC will need to review the document before agreeing to act as the cognizant TC. Ryan P. to request a copy of the Design Guide, so that TC4.3 can verify that it is within our scope. Let us know if you would like to be involved in the initial review.

- Next Meeting

  - Future ASHRAE Annual and Winter Conference dates:

    - Winter 2026: Las Vegas, NV, Jan 31-Feb 4

    - Annual 2026: Austin, TX, June 27-July 1

    - Winter 2027: Chicago, IL, Jan 23-27

- Adjourn

Motion to adjourn: 1st (Meghan McNulty), 2nd (Nuria Casquero-Modrego). Vote: 5-0-0