


TC 7.6, SYSTEMS ENERGY UTILIZATION
STANDARDS SUB-COMMITTEE

MINUTES FROM MONTREAL MEETING:  	
Date:  Monday, June 27, 2011    
	Time:  5:15 pm – 6:30
	Location:  Fairmont, Convention Center Floor, Yamasaka Room

ATENDANCE:
Keith Emerson (Chair)	Dakers Gowans
Wade Convan		Bernt Asuildsen
Bob Chase			Jason Glazer
Dennis Landsberg		Michael Deru
Hashem Akbari

ITEMS:

	1. Welcome, sign-in and introductions


	

	2. Update on Guideline 14-2002R, Measurement of Energy, Demand and Water Savings 

Continuing to work toward a public review draft.  Very close except for editing on Chapters 5 and 7.  An editor at Oak Ridge is going through the rest of the document.  Hope to have it out before Chicago.  

ASHRAE has had a request from Spain to do a presentation on GPC 14.  One of the Spanish speakers on the committee will likely be doing this work.   

	Dennis Landsberg 

	3. Update on SSPC 90.1, Energy Conservation in New Buildings, Except Low-Rise Residential Buildings

People on 90.1 are beginning to think about the next publication date of 2013. 

Addendum BB dealing with building envelope insulation levels has completed its 4th public review and comment responses are being voted out in Montreal. 

The mechanical subcommittee is still dealing with the contentious issue of requirements for data centers. 

Envelope is working with DOE to incorporate what had been the ENVSTD trade-off program into DOE’s COMCHECK software.  

	Keith Emerson

	4. Update on SSPC 90.2, Energy Conservation in New Residential Buildings 

Comments have been received from an advisory public review of the draft standard.  Some noted that a portion of the requirements are less than stringent than in the current IEC.  

The ASHRAE Board will be discussing the future direction / placement of 90.2 with the committee.  At least two Board members will be attending the Tuesday 90.2 meeting.  

Merle noted that the committee is currently out of balance with 10 of 19 members being industry representatives. 


	Merle McBride

	5. Update on SPC 100-2006R, Energy Conservation in Existing Buildings

An advisory public review draft has resulted in about 170 comments.  They will be going over them during this meeting. 

The biggest challenge is coordination between the sections.  

Another challenge is the size of the scope: from residential to large office.  Talking about less than 5,000 ft2 residential being broken out from the remaining buildings.  

	Rick Hermans (or 100 representative)

	6. Standard 105-2007R, Standard Methods of Measuring, Expressing and Comparing Building Energy Performance

The committee has produced a preliminary working draft and is beginning to go over it.  

Current plans include expanding the Standard to include primary (source) energy and greenhouse gas equivalents.  This is to be done using national level numbers with regional as an alternative.  

	Keith Emerson

	
	

	
	



	
7. Other business:
A.  TC7.6 support for Jason Glazer’s “Energy Simulation Aided Design for High Performance Buildings”
Title: Energy Simulation Aided Design for High Performance Buildings
Purpose: The purpose of this standard is to establish criteria for determining the appropriate types and quantity of energy conservation measures to be simulated during each stage of the
design process.
Scope: This standard applies to new buildings or major renovations of buildings utilizing energy simulation during the design process. This standard does not apply to single family
houses, multi-family structures of three stories or fewer above grade, manufactured houses (mobile homes) and manufactured houses (modular). 


TC 4.7 would take the lead on this with TC 7.6 being co-cognisant.  

Discussion: Building simulation often comes at the end to show compliance rather than during the design process.  Jason believes that a standard in code enforceable language able to be adopted by a group like LEED is needed to show people how to do the modeling.



Motion for TC 7.6:    To support the concept (with TC 4.7 taking the lead) for a new Standard titled, “ Energy Simulation Aided Design for High Performance Buildings.”  

Some people were not comfortable with the expressed “Purpose.”  In TC 2.8 the motion indicated that they supported the title without indicating support for the purpose.  
	

	7B.  GPC 1.2 Commissioning Process for Existing HVAC&R – Met Friday and Saturday – This committee is the responsibility of TC 7.9 and we need to check on whether TC 7.6 is co-cognisant.  
	

	7C.  Proposal for “Guideline on Integrated Building Design and Maintenance.”  
Are we interested? 
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