1791 Tullie Circle, NE  Atlanta, Georgia 30329-2305    404-636-8400  Fax 404-321-5478

Technical Committee 8.01 – Compressor Technology

TC8.01 Website: Link

AGENDA  – 2025 ASHRAE Annual Meeting, Phoenix AZ

Main Committee [Hybrid]: Tuesday, June 24, 2025 3:30 – 5:30 PM AZ

In Person Location: Sheraton Phoenix Downtown, Alhambra (Level 2)

Virtual Info:

Join the meeting now

Meeting ID: 383 687 596 173

Passcode: w6qN7oa2

- Call to Order – Alex Schmig(Chair)

  - Introductions

  - Minutes – Bo Shen (Secretary)

  - Establishment of Quorum (13 VMs) - Jim Douglas (Membership Chair)

VOTING MEMBERS FOR THIS MEETING (Need 7 for a Quorum)

|  | Alex Schmig 6/30/2026 |  |  | Vincent Hwang 6/30/2025 |
| --- | --- | --- | --- | --- |
|  | Riley Barta 6/30/2025 |  |  | Erik Anderson 6/30/2026 |
|  | Bo Shen 6/30/2026 |  |  | Chris Seeton 6/30/2026 |
|  | Jim Douglas 6/30/2025 |  |  | Craig Bradshaw 6/30/2028 |
|  | Scott MacBain 6/30/2026 |  |  | Heinz Jurgensen 6/30/2026 |
|  | Michael Perevozchikov’ 6/30/2025 |  |  | Stefan Elbel 6/30/2028 |
|  |  |  |  | Eric Berg 6/30/2028 |

- CALL TO ORDER

ASHRAE VALUE STATEMENT

In ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and shall avoid all real or perceived conflicts of interest. Our culture is one of inclusiveness, acknowledging the inherent value and dignity of each individual.  We celebrate diverse and inclusive communities, understanding that doing so fuels better, more creative and more thoughtful ideas, solutions and strategies for the Society and the communities our Society serves. We respect and welcome all.

Code of Ethics - https://www.ashrae.org/about/governance/code-of-ethics

Core Values - https://www.ashrae.org/about/ashrae-s-core-values

Diversity Statement - https://www.ashrae.org/about/diversity-equity-and-inclusion-dei

ASHRAE’s Antitrust policy: ASHRAE agrees to comply with the Antitrust Policy as stated in ANSI Essential Requirements. Antitrust guidelines presentation: https://youtu.be/ykisOzjHyZM.

Recording (Audio, Video, Screenshots) of ASHRAE meetings, including online 	meetings, is strictly prohibited.

9 voting members attended

Reviewed and Approved the 2025 ASHRAE Winter Meeting Orlando Minutes

8-4 -0, voted to approve, chair didn’t vote.

- Liaison Report (as they arrive)

  - Section 8 Head (Kashif Nawaz)

– didn’t show

  - Research Liaison (Carl Huber)

– research breakfast:  research chairs received PPT to share with everybody, 3 projects ongoing under 8.1, one RTAR submitted in Spring

3.9 million new funding granted for research projects by ASHRAE, invite PMS to review new RTARs, work statement online

ASHRAE new research projects, new RTARs can be googled online

8/15, 12/15 submission deadlines before Las Vegas.

Co-sponsor a new RTAR with TC 3.1.

  - Handbook (Kevin Muldoon)

- Report on TAC/TC Chair’s Breakfast Meeting – Alex Schmig

Update on material covered at TC chairs breakfast.

Sunday, February 9th 7:00 – 9:00AM Hilton Orlando, Orlando I-II (Lower Level)

ASHRAE society organization structure changes: technical, research and consulting split to new structures.

Doing more for global reach. ASHRAE doesn’t stand for America anymore, it targets to be a global organization.

Government update, encourage anyone to sign in and get update, e.g. update on data center and decarbonization

9.13 new TC expanding to interstellar civilization.

- Membership - Jim Douglas (Chair)

Introduction of new members and/or changes

Alvaro E Araque

Alireza Behfar – from 8.2

Raymond W Good, Jr – from 8.2

Trenton S Hunt – from 8.2

Makayla Lauren Louise Ianuzzi

Dr Margaret M Mathison, PhD – somehow dropped from roster

Daniel Raherimanjato

Hannah C Spargur

Robert Tucker

Voting member changes (7/1/2025):

Rolling Off:

Riley Barta – Term limit end – VM Roll off for 1 year, then voting again as chair

Michael Perevozchikov’ – Term limit end

Jim Douglas – Term limit end

Vincent Hwang – Term limit end

Rolling On:

Ray Good

Margaret Mathison

Connor Hayes

Jethro Medina – Handbook

- Standards – Jim Douglas (Chair)

- Performance Testing Standards

  - Standard 23-2022, Methods for Performance Testing Positive Displacement Refrigerant Compressors and Compressor Units.  –no update, Scott – same discussion to combine 23 and 225 to one. Combine strategy: Matt reached ashrae staff, next step revise 23, make changes, kill off 225. Matt set up work meetings before LV meeting. Get hold of Matt if interested in attending the discussion.

  - Standard 225-2020, Methods for Performance Testing Centrifugal Refrigerant Compressors and Condensing Units.

  - Matt Cambio has reached out to ASHRAE staff regarding how to proceed with combining these standards

    - Matt to schedule WG meetings before Winter 26 conference to make a scope recommendation to TC 8.1

    - Based on WG recommendations, TC 8.1 may propose revision of Standard 23 at winter meeting

Standard 41.4-2015, Standard Methods for Measurement of Proportion for Lubricant in Liquid Refrigerant.

Harshad Inamdar commented on uncertainty analyses, proposed monte callo method to assess uncertainty.

Standard 41.9-2021, Standard Methods for Refrigerant Mass Flow Measurement Using Calorimeters. Standard 41.9-2021 is published.  Standard 41.9-2021 Addendum a. is published.  The 41.9-2021R 1st Public Review began on 4/18/25 and ended 6/2/25.  There were no substantive public review comments.  The 41.9-2021R Publication Draft has been submitted to ASHRAE for publication.

Addendum A- published.

Sspc 41 cmbination of TC 1.1 and 1.2, 8.1 merge all standards of measurements together. 41 done the work earlier.

Michael Perevozchikov commented on ISO standards, which recently published 3 new standards regarding performance ratings and methods of testing for displacement and centrifugal compressors. ISO subcommittee submitted 4 new proposals, targeting new standards for automotive compressors, positive displacement, scroll compressors. Contact Michael for more details.

- Program - Erik Anderson (Chair)

Can do on your own, submit abstract, papers, no need sponsored by TC.

  - 2025 Annual Conference, Phoenix, AZ

    - Seminar 25: Reduced Order Models for Positive Displacement and Centrifugal Compressors Performance Predictions (TC 8.1) Chair Haotian Liu, Ph.D. – Monday, June 23, 8am – 9:30am

Haotian: good attendance, 4 presentations on site, early morning session, well attended having total 35 people.

  - For 2026 Winter Conference in Las Vegas, NV [program submission deadline Aug 1, 2025]:

    - Track 1: Fundamentals and Applications (Track Chair: Kevin Brown)

    - Track 2: HVAC&R Systems and Equipment (Track Chair: Ng Yong Kong)

    - Track 3: Refrigeration & Refrigerants (Track Chair: Haotian Liu)

    - Track 4: Research Summit (Track Chair: Li Song)

    - Track 5: Energy Storage and Grid Resiliency (Track Chair: Jon Cohen)

    - Track 6: Pathways to Building Decarbonization (Track Chair: Ehab Mamdouh)

    - Track 7: Artificial Intelligence (Track Chair: Joshua Vasudevan)

    - Track 8: Indoor Environmental Quality for Healthy Buildings (Track Chair: Joe Chow)

    - Future-Proofing the Built Environment (Track Chair: Robin Bryant)

  - New Program Ideas

    - Applying various compressor technologies to AC, WC & dry cooler chillers – TC8.1&8.2 -didn’t hear from 8.2 for co-sponsorship. Need further discussion with 8.2, reach out to Joe.

      - Tiffany Abruzzo agreed to Chair, Tom Watson agreed to speak to centrifugal efficiency

      - Oil free increasing efficiency of Air-Cooled chillers

      - Vote to Co-Sponsor with TC 8.2

    - Service, maintenance, troubleshooting of compressors including scroll, centrifugal and pistons, at compressor level. – Proposed by Joe Sanches, Las Vegas (TC 8,1)

      - Fundamentals & Applications, HVAC&R Systems and Refrigerants, or Future Proofing the Built Environment

The team proposed a form of “Debate”, representing different technologies and OEMs. An example topic may be “best compressor technology depending on the application”. An alternative form can be Panel discussion, e.g. 3 different OEMs representing different market segments, like chillers, DX units, etc.

Turboco may be interested, Alex may find somebody for screw and scroll compressors, others find somebody on rotary, CO2 refrigerant, e.g. from Danfoss, Bitzer (Joe Sanchez).

Other topics: “Best for efficiency, cost and all variables”, “selecting compressor for your job”, collaborating with TC 8.11.

If need a compelling name, the topics can be “future compression technology”, “AI on compressors”, “compressor tech for space app”.

Haotian volunteers to chair debate; Haotian and Craig B. to materialize it.

Ask 8.2 to co-sponsor.

- Research – Matt Cambio (Chair)

  - Report from Research Subcomm. Chair’s Breakfast (Location/Time: Monday, June 23 7:00 AM – 9:00 AM MST; Sheraton Phoenix Downtown, Phoenix B (Level 3)

  - 1879-RP – Foamability properties of LGWP refrigerants –

Craig B, requires no-cost extension, and will complete project by end of summer.

  - 1716-RP Oil Concentration of Field Installed Liquid Chillers with Flooded Type Evaporators.” – Updated in TC 8.2, moving but slow. Developing interviews of different groups, wrapping thesis.

  - 1851-RP – Dielectric Properties of Lower GWP Refrigerants

    - 8.1 Voted to Co-sponsor in Orlando –

Joshua Hughes TC 3.1 is leading WS, aiming to 8/15 submission deadline.Haotian volunteers to support WS.

  - New RTAR ideas:

    - TC 8.1 Davide & Craig submitting - Assessment of Extrapolation Capabilities and Uncertainty Quantification of Multi-Refrigerant Semi-Empirical Compressor Models TC 8.1

      - 8.2 to Co-sponsor –

Davide, presented on seminar 25 for preliminary studies. Ready to write RTAR about mapping extrapolation, uncertainties analysis, towards submission 8/15.

    - TC 8.1 & 8.2 Effects of sub-atmospheric operation with low GWP, low ambient heat pumps. Leak rates and design suggestions (Matt / Daryl to follow up) –

No update. Some are covered in RP 1851.

      - System Contaminants

      - Refrigerant breakdown

      - Possibility of electrical arching in a vacuum

      - Potential for combustion in the presence of oil

Other research ideas – None.

- Handbook – Jethro Medina (Chair)

  - TC8.1 Refrigeration Chapter 8-factory Dehydrating, Charging & Testing (revision due 2026)

  - Vacuum values update (adjusted decimal places for readability)

These extreme pressures could be not realistic, leading to boiling off the oil. Ultra High vacuum and high vacuum are not related to ASHRAE application. Need to double check if ultra and very high vacuum are realistic. Suggest moving off the very high and ultra high vacuum from the chapter.

And adjust decimal digits to two digits.

  - Section 2 – Updated text

--modified for clarity.

  - Section 4 – Added Infrared Gas Detection

Infrared Leak Detection. An infrared (IR) sensor is designed to detect a target vapor via absorption of infrared radiation. The amount of absorption is concentration dependent, resulting in a measurable refrigerant-in-air concentration. A detection system will sample ambient air, emit light from an IR source to pass through the sample, and output the measurement. System outputs vary from indicating measurement ranges to quantifiable concentration values. This method is suitable for various refrigerant leak rates.

proposed to just add infrared portion for now. need to add additional leak detections for next step, during the next round, every four years.

  - Updated Moisture Levels per AHRI 700 and added reference

- Motion: Does TC 8.1 Accept the proposed handbook changes?

  - Motion / Second

Craig made a motion, Eric second. Voted: 9-0, 3-0, Motion passes.

- Website – Eric Berg (Chair) – up to date. Uploaded minutes from Orlando.

- Old Business – None.

- New Business

TC 8.1/8.2 are responsible for two chapters of handbooks, Jethro solicited volunteers for 2028 version. Craig B. volunteered to support.

- Adjourn

TC Sign-in Sheet

Meeting Info: ____compressor technology 8.1__________________________________   Date:______06/24/2025______________

| Name | Affiliation | E-mail | Member (Voting, Corresponding, PCM, or Guest?) | YEA Member? (Yes/No) | Int’l Member? (Yes/No) |
| --- | --- | --- | --- | --- | --- |
| Alex Schmig | Trane Technologies | alexander.schmig@trane.com | chair | Yes | No |
| Aaron Hantzeli | Purdue Univ | ahantze@Purdue.edu | Guest | Yes | No |
| Bo Shen | ORNL | shenb@ornl.gov | secretary | N | N |
| Carl Huber | RAC-RLSEC8 | Cfhuber54@gmail.com | guest | N | N |
| Joshua Hughes | Chemours | Joshua.hughes@chemours.com | corresponding | N | N |
| James Douglas | Image engineering | jim.douglas.imagineering@gmail.com | Voting | N | N |
| Kain Muldoon | KCC | Kmuldoon@KCCmfg.com | Guest/HBC liaison | No | N |
| Medina, Jethro | Chemours | Jethro.Medina@Chemours.Com | Handbook chair | Y | N |
| Florian Simon | Trane Technologies | Florian.simon@tranetechnologies.com | Provisional corresponding member | Y | N |
| Andreas Josef Hoess | Purdue University | ahoess@purdue.edu | Provisional corresponding member | Y | N |
| James Spalding | AHRI | jspalding@ahrinet.org | corresponding | Y | N |
| Scott MacBain | Carrier | Scott.macbain@carrier.com | voting | N | N |
| Stefan Elbel | Tubulin Univ/CTS | stefanelbel@gmail.com | Voting | N | Y |
| Andrew hjortland | JCI | andrew.hjortland@jci.com | Corresponding member | N | N |
| Mark Rogan | Aaon | Mark.rogan@aaon.com | corresponding | No | N |
| Makayla Ianuzzi | JCI | Makayla.ianuzzi@gmail.com | coresponding | Ye | N |
| Parveen Dhillon | NREL | Parveen.dhillon@nrel.gov | Corresponding | No | N |
| Peter Meece | AHRI | pmeece@ahrinet.org | Guest | No | N |
| Cheng Yi Lee | UMD | cylee@umd.edu | Provisional corresponding member | No | N |
| Haotian Liu | Purdue university | Liu1460@purdue.edu | Corresponding | Y | N |
| Davide Ziviani | Purdue university | dziviani@purdue.edu | corresponding | No | N |
| Erik Anderson | Anderson Engineering | eanderson@aenpi.com | voting | No | N |
| Michael Perevozchikov | Copeland | Michael.Perevozchikov@copeland.com | Voting | N | N |
| Nick Zupp | Modine | Nicholas.j.zupp@modine.com | Guest | No | N |
| Syed Angkan Haider | University of Illinois | angkanhaider@gmail.com | Corresponding | Yes | N |
| Craig Bradshaw | University of Illinois | crbrad@illinois.edu | Voting | No | N |
| Robert Tucker | Atlas Copco | Robert.tucker@atlascopco.com | Provisional member | No | N |
| Suguntij Inampudi | Hoeywell | Suguntij.inampudi@honeywell.com | Provisional member | No | N |
| Eric Berg | Lennox | eric.berg@lennox.com | Voting member | No | N |
| Alvaro E Araque | Mitsubishi electric | aaraque@hvac.mea.com | Corresponding member | No | N |