TC 2.4 Particulate Air Contaminants/Removal Equipment

Main Committee Meeting

June 28, 2022

3:30-6:00 pm Eastern Time

Sheraton, Dufferin (2)

Also hybrid, Link to Join:

https://ashrae.webex.com/ashrae/j.php?MTID=m24aa6cedf309d447300f650fd8152cef

Access Info: Meeting number: 2343 467 8331 Password: TC2.4

Join by phone 18662994153 United States of America

Toll Free +14702385742 US Toll Access code: 2343 467 8331

- Call to order…………………………………	Jeff Siegel

- Introductions

  - Introductions done in room and virtual attendees

- Roll call ………………………....…….……	Jon Rajala

  - Jeff Seigel			Yes - Virtual

  - Gemma Kerr			Yes - In Person

  - Jon Rajala			Yes - In Person

  - Christine Sun			No

  - Tim Johnson			Yes - In Person

  - Jeni Wong			Yes - In Person

  - Brian Krafthefer		No

  - Kevin Kwong			Yes - Virtual

  - Bobby Singer			Yes - Virtual

  - Geoff Crosby			Yes - Virtual

  - Kathleen Owen		Yes - Virtual

  - Paul Francisco			Yes - In Person

  - Scott Parris			Yes - In Person

  - Chrystal Joliffe		Yes - In Person

  - Marisa Jimenez-Segovia	Yes - In Person

  - Brandon Boor			Yes - Virtual

  - Dara Feddersen		No – Resigned from participation

  - Len Duello			No – Resigned from participation

14 / 18 voting members present

- ASHRAE Code of Ethics Commitment  ..….    	Jeff Siegel
In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Chair Comments

Comments from chair breakfast:

- Keep balance among membership in mind

- ASHRAE current focus is decarbonization. Consequence of this is next conference has nothing specifically related to indoor air quality, particles, or filtration as a track.

  - Hybrid meetings and challenges

    - Planning Subcommittee Report for details

    - Vote for plan moving forward

  - Celebrations & acknowledgements

    - Need to do this properly, hopefully in Atlanta

  - Subcommittee chairs & executive update

    - Gemma will roll off as Vice Chair, Jon will be Vice Chair and Jeni will be new Secretary.

    - Need subcommittee vice chairs!

- Liaison Report

Section head – no new updates outside of TC chair breakfast. Current TC activity form is updated, so please use new one.

Gemma didn’t receive Hightower award yet, but plan for Atlanta.

TC needs to reach out to ASHRAE regarding awards presentation not happening during plenary. Send to TAC chair email and Steve H.

No other liaisons present

- Particle Party……………………………...…TODD MCGRATH

  - 7:00pm Chef’s Hall

    - Outside it says “Assembly”

- Approval of Winter Virtual Minutes……….….. 	Jon Rajala

  - Gemma made motion, Jeni second

    - 13 Yes, 0 No, Chair not voting

- Record of votes taken since winter meeting … 	Jon Rajala

March 2022: Vote to Co-Sponsor WS-1895  “Effect of penetration through particle pre-filters on the performance of gas filters” Passed (13Y / 0N / 1A/ 1NR / CNV) Tot =16 Abstention is work statement author.

April/May 2022: Vote to Co-Sponsor WS 1928 "Air Cleaner Efficiency in Combination Chamber Duct System" Passed (12Y / 0N / 0A/ 3NR / CNV) Tot =16

- Subcommittee Reports

  - Membership Subcommittee Report………	Jeni Wong

- Dara was vice chair but resigned. Gemma stepped up as interim, Jon is serving as vice chair for 1 year, Jeni will be secretary for 1 year after this meeting. Len Duello also resigned from ASHRAE activity. Kathleen, Tim, Paul F rolling off. Jeni and Gemma are rolling off and back on. Don, Tom, Todd, Marilyn and John Randtke are rolling on as voting members

- 209 members

- 18 (16) voting members

- Want vice chairs for all subcommittees

- To become a voting member, need to volunteer and be active, so participating in subcommittees, especially as chair/vice chair, is good way to do this.

- Jeni disagrees with ASHRAE that the TC is accidentally deleting voting members themselves.

- IMPORTANT: Members need to update their own bio info/email address if it ever changes. Typing in meeting chat form or on a paper passed during an in person meeting doesn’t “officially” update contact.

  - Research Subcommittee Report………….   	Brent Stephens

- Thursday June 15th

- RAC Updates – Some unwinding of holds on projects, 8 projects went out for bid. Motivation to keep moving forward. Suspending other fundings.

- We still have 3 active projects, but they are winding down

- RP 1734 Urban Aerosol project – needs vote for no cost extension, due to COVID/facilities related issues. Received proposal for extension, proposed July 2023 ending new end date, need to discuss with PMS. Will the difficulties be able to be resolved during this timeline? Issues include humidity and availability of salt sticks. Need more filters too. This research is critical for GPC 35P – hope to have loading procedure soon but need loading data too. Need to get this accelerated. Brandon – Paolo described the difficulties well, no humidity control in lab so difficult in winter to do testing. Cannot maintain 52.2 requirement. Humidification is too costly, needed ~$20k in equipment and electrical work. Need about 60% RH to run the test, and that doesn’t happen often. Loading is very sensitive to RH. Loading time for MERV 14 is about 1.5 hours to 1.5 iwg, but it takes too long to load MERV 8. Needs continuous monitoring/operation, so this is another limitation.

  - TC 1.12 can attempt to help

- RP 1756 – Low cost sensors – Work has been done for about 2 years, it is in final review stages, PIs sent final report couple months ago, PMS gave feedback, PIs working on final revisions for PMS to review. Hopefully done via email in the next couple months.

- 52.2 round robin – No cost extension was approved, more data is coming in, final report writing is underway soon.

- Number of work statements/RTARs

  - 1895 – combined gas/particle filter

    - We already voted on

  - 1858 – no update

  - 1928 – duct/chamber method of test

- 6 RTARs in preparation being worked on in preliminary stages, so good activity.

- Program Subcommittee Report……...…	Jon Rajala

- See attached minutes.

- Standards Subcommittee Report……….	Bobby Singer

- See minutes

- 52.2 Tim Johnson presented on CDI, will be voted on later. Also working on revisions.

- GPC 35 is waiting on Purdue research to finish.

- Publications Subcommittee Report…….   	Marilyn Listvan

- Doesn’t need to be on agenda, but good to remind people to share anything for this. Marilyn is looking for good articles to share on website.

- Web Master………………………….…	Bob Burkhead

- Everything is up to date, let Bob know if we need anything changed.

- Handbook Subcommittee Report ………	Brian Krafthefer

- Chapter 29 in HVAC systems. Trying to change it a lot. Kathleen re-organized. Have another year to finish.

- Also working on in room air cleaner chapter.

- Planning Subcommittee Report ………	Gemma Kerr

- Largely discussed virtual/in person issues.

- Old Business

- None

- New Business

Misc Announcements (Conferences, Awards, etc.)

- WFC 13 – October 5-9 2022

- AFS FiltCon April 2023

- Need to remind people – this isn’t just a filter committee, it is an aerosol/particulate committee. Need to branch out to other meetings and get them here too.

- Marilyn – TC 9.7 interested in 3D printer emissions – makers spaces

- Adjournment

  - Tim – move to adjourn, Marilyn second.

ASHRAE RESEARCH SUBCOMMITTEE MEETING

TC2.4 – Particulate Air Contaminants/Removal Equipment

Summer 2022

Toronto (Meeting is Virtual)

Thursday, June 16, 2022

12:00 PM – 2:00 PM Eastern Time

WebEx: https://events.rdmobile.com/Asset/Download/8659097 
Meeting number:
2341 972 6751
Password:
TC2.4
Join by phone
18662994153 United States of America Toll Free
+14702385742 US Toll
Access code: 2341 972 6751

- Call to order

- Review of agenda

- ASHRAE Code of Ethics

  - Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.” For more, read here: https://www.ashrae.org/about/governance/code-of-ethics

- Research chair’s comments

  - Goals of TC 2.4 research subcommittee:

    - Always have one funded project

    - Consider particulate air filtration as well as the “nature of particulate contaminants”

  - Reminders:

    - RAC deadlines for RTAR/WS submission (Get “M-M-A-D” at RAC: March, May, August, December 15)

  - Chairs breakfast is Monday June 27

    - Update from last chairs breakfast:

      - Typically $2.6-2.7M per year; Current budget is $1.8M and covers current commitments only

      - NIA, GIA, IRG, URP still suspended; check back for society year 2022-23

      - Winter meeting: 17 TRPs ready to bid in Spring 2022 (budget impacted); only 1 RTAR and 0 WS

      - Transition to new web-based process for submitting and tracking research project progress

  - RAC liaison update

    - RAC liaison effective July 1, 2019: Bill Hutzel; update whenever time allows.

    - Bill update: similar situation in that RAC hasn’t yet met. There are 8 projects out for bid; 8 PES meetings.

- Active project updates:

  - 1734-RP, Reproducing the Typical Urban Atmospheric Aerosol in Laboratory for Air Filter Loading

    - PI: Brandon Boor, Purdue University

    - PMS: Paolo Tronville (Chair), Geoff Crosby, Tom Justice, Brian Krafthefer, Bruce McDonald

    - PI/PMS to provide brief summary of project to date

    - Paolo update: PMS met last week; PI and his team presented; team is making progress, testing some additional filters using a new approach of UFP generation via thermal aerosol generator; RH control is critical. Planning to have another PMS meeting around the end of July to check the status. Chunxhu Huang (PhD student working on the project, Purdue) was present. Achieved good repeatability on MERV 14; had RH control issues on MERV 8 testing. Experiments expected to extend into winter time. Humidification system to be loaned. Another challenge is salt stick consumption (i.e., 10 sticks per MERV 14 test; up to 30 for MERV 8).

    - Paolo: Lost track of the extension and timeline. Asked Bill H if we need a vote to request another NCE or not. Bill will check.

  - 1756-RP, Evaluation of Low-Cost Particle Sensors for Indoor Air Quality Monitoring in Smart Building Systems

    - PI: Andy May, co-PI: Jordan Clark, Ohio State University

    - PMS: Brent Stephens (Chair), Paolo Tronville, Vijay, Glenn Remington (TC 7.5), and Liping Wang (TC 7.5)

    - PI/PMS to provide brief summary of project to date. Draft final report submitted; review comments provided by PMS; revision shared with us June 9, 2022.

    - Need to complete a few forms once the PMS approves final report. Brent to follow up on this as PMS. (Disposition of research results). PMS needs to review, approve, let TC 2.4 know, which goes to a vote (without further report review by 2.4 main committee).

  - 1784-RP, Repeatability and Reproducibility Assessment of ASHRAE Standard 52.2 as currently Amended

    - PI: Kathleen Owen, Owen Air Filtration Consulting, LLC

    - PMS: Matt Middlebrooks (Chair), Gemma Kerr, Rahul Bharadwaj, Thad Ptak, Keith Chesson

    - PI/PMS to provide brief summary of project to date.

    - Matt M (PMS) update: will meet on Monday. NCE from the last meeting to encourage more labs. Data still coming in but progressing. Shifting into final reporting with the assumed-complete data set soon.

- Co-sponsorship

  - 1878-RTAR “Outdoor particulate matter penetration and indoor PM removal rates in naturally ventilated commercial buildings” (Lead: TC 4.3; co-sponsorship by SSPC 62.1)

    - Sought co-sponsorship from TC 2.4 as well (which was voted on in the main TC 2.4 meeting in January 2019; RTAR accepted by TC 2.4 12-0-0-4-1 CNV)

    - Kathleen Owen volunteered to serve as WS author and on PES; Jordan Clark also volunteered to assist.

    - RAC approved this RTAR with comments in KC. This can now go to the Work Statement phase, to the liaison, but must address comments.

    - Update from last meeting: Jordan: will probably drop this.

  - 1858-WS, writing underway from TC 2.3 (Jensen Zhang, Kevin @ LMS): “Evaluation of HVAC ventilation effectiveness in reducing SVOCs in indoor spaces.” Small- and large-scale chamber testing. Looking for co-sponsors and 2.4 PMS members.

    - Lead: Sanjeev Hingorani

    - Volunteers: Brandon B, Jim R, Brent S

    - Update from last meeting: Sanjeev had been planning to work on it February 2021 for March 2021 re-submission; hasn’t approached 4.3 yet.

    - Update last meeting: Sanjeev: it had been submitted as WS and came back with comments, needs to go back for re-vote at RAC. Only update is to regroup this month and attempt to address them.

    - Sanjeev: Did not get a chance to do any work but will prioritize soon.

    - Yusuf Bhetasi also stressed that there are some other TCs with interest in ventilation effectiveness. MTG ACR; TC 9.11 clean spaces; TC 5.3 room air distribution.

    - Sanjeev: nothing has happened since last meeting; this was a WS that was submitted that came back with comments.

  - WS-1907 (Global IAQ Database)

    - Initiated by TC 2.1; 2.4 voted (15-1-0-0-1); co-sponsorship by 4.3

    - RAC accepted with comments before last meeting; WS submitted in 2020, RAC returned with comments in Spring 2021 (generally positive): 1) data platform beyond the project duration; 2) too long project duration, and 3) absence of names from other potential bidders.

    - No updates. Need to find out more. Would need to submit towards the end of the year (responsibility falls on 2.1).

  - RTAR submission “Determination of the CO2 and Aerosol Generation and Metabolic Rates of Occupants for Selected Indoor Activities”

    - TC 2.1 lead (Meng Kong)

    - 2.3 and 2.4 potential cosponsors; went out for 2.4 vote May 2021

    - Status update?

    - Meng Kong (author of RTAR): received RAC feedback and working on revision and resubmission. Major feedback was regarding motivation for why the work is necessary. And more detailed description of budget. Currently no one from 2.4 working with him on this; anyone interested?

    - Vijay interested.

- Work Statement (WS) activity between meetings

- RTAR-1895, working into WS: Combined gas and particle filters and impact on each other when used in series (and more specifically: how does particle loading affect gas phase performance?)

- Champion: Brian Krafthefer

- Update from summer 2020: there is a conditionally approved RTAR (RTAR-1895). 2.4 not a co-sponsor right now; primarily a gas-phase project right now. Brian, Vijay, Matt, and Paula will be working on a WS on this. Kathleen volunteered as well. Already has 62.1/62.2 and 52.2 as co-sponsor. Doesn’t require 2.4 necessarily, but they can keep us informed, or would be happy to have 2.4 as co-sponsor.

- Update last meeting: Brian: waiting for one final person to comment on the WS draft, and hopes it goes out to RAC by August.

- Status update? Brian: still in progress. Plans to go ahead and submit by the next deadline. Will need a vote on it because it has been changed since RAC comments; 2.4 would like to be involved. Voting members should have a chance to review it if we want to take a vote at the main meeting (and not sure if there will be quorum at the main meeting).

- Brian: WS has been written by the group; needs to go for a vote by 2.3, 2.4, and GPC 35, and can be submitted to RAC.

- WS-1913 “Study of the Level of Filtration Required to Maintain Electronic Equipment Reliability in Regions of High Sea Salt Concentrations”

    - Initiated by TC 9.9; 2.4 voted (15-1-0-0-1) (9.9 point of contact = Mark Seymour)

    - Update last meeting: some lack of communication led to submitting this directly as a WS; RAC rejected it last meeting; Paolo had some thoughts on how to make the approach more relevant to ASHRAE, but it’s unclear where they will go next. Also 1 negative vote from 2.4 was not looked upon favorably.

    - Status update? No update.

- RTAR activity between meetings

- RTAR-1880: “Characterizing Indoor Particle Size Distributions to Inform Air Filtration Standards and Guidelines” (now possibly titled: “Characterizing Physiochemical Properties of Indoor Aerosols”)

    - Original goal: Literature review and measurements of indoor particle size distributions to generate typical ranges and distributions for informing filtration metrics

    - Champions/co-authors: Jim Rosenthal, Brent Stephens, help offered by Paolo Tronville, Geoff Crosby, Brandon Boor, Satish D

    - Action from last meeting: RTAR was submitted to 2.4 for voting and was approved 13-3-1; target budget of $195k over 24 months; RTAR was then submitted to RAC and assigned RTAR #1880 in April 2019

    - Status: Rejected by RAC in KC. RTAR was submitted with 4 negative votes and no comments. RTARs should have comments addressed before submitting to RAC. We may be able to resubmit if we address the comments.

    - Update in Orlando: The purpose of this research project is to gain better understanding of indoor particle size distributions across a wide range of particle sizes. Brent to take lead on addressing the comments and possibly resubmit to RAC. Kathleen can help in ~3 months if Brent needs help.

    - Update since last meeting: Brent had begun a revision last meeting; discussion led to beginning with a literature review of the state of the science on what’s known about indoor aerosols (phase 1/phase 2 approach); consider bringing in 2.3 or EHC. No further updates (on Brent’s to-do list, but no progress)

- New RTAR (unassigned #): Develop a test method to evaluate the longevity efficiency of electrostatically charged media as an alternative to IPA discharge method

    - Champion: Rahul Bharadwaj with help from Al Vatine, John Zhang, Thad Ptak, Dan, John Horns, Vijay, and Zied.

    - TC 2.4 voted on RTAR previously; did not pass. In Houston, Kathleen, Vijay, and Paolo volunteered to help Rahul. There is support for the idea, but it needs revision, including better acknowledging past research, reducing the funding amount, refining objectives, and making clear distinctions about the research need. There was no real movement on this at the Winter 2019 meeting.

    - KC Discussion: Jim Rosenthal and Rahul Bharadwaj to co-Champion. Dan Haas volunteered to assist, Saravanan (Berry).

    - Update this meeting: No update from Rahul and needs a new champion. RTAR is written and comments are all there from 2.4.

    - Question: Difference between this and Appendix J? Rahul: is there an analytical method (not duplicating Appendix J conditioning test) to determine the difference in media that loses charge in a short period of time versus long period of time (IPA discharge doesn’t distinguish the two). Can there be a test method to evaluate electrostatic charge over time. Bob: 52.2 already tests this duration issue (but doesn’t require reporting it).

    - Perhaps this becomes a request to amend 52.2 to require this reporting.

    - Kathleen: topic hasn’t come up at 52.2 as a research topic. Some feel appendix J and IPA is sufficient (this is no longer true as of June 2021)

    - Rahul: would need a new champion if there is interest; Jim showed interest but unsure if he volunteered to lead; may want to archive/eliminate this

    - Bruce: the 1734 aerosol generator might speed up Appendix J a lot…. Might not need this research if so.

    - Kathleen: 52.2 working on something on predicting lifespan, working group led by Jim Rosenthal, might want to share this with them. A ‘flat sheet charge methodology’ per Geoff.

    - Vijay: charge durability index is being worked on (similar topic area)

  - RTAR-1928 (now WS-1928) Epidemic Task Force related idea on portable/stand-alone air cleaners testing/MOT, essentially how do you test a device in a duct and chamber rig?

    - Jeff Siegel, Bob Burkhead, Tom Justice, Matt Middlebrooks, Liju Eapen, John Zhang, and Michael Corbat have all provided comments

    - General consensus seems to be that as a society we should probably be acting in this domain, but that doing so is fraught with challenges (internally and externally)

    - Update last meeting: Matt M has a working title and a start to an RTAR. Group of 6-8 people willing to work on it. Focus right now would be on microbial effects of room-based devices, using a combination of chamber and duct test method; TC 2.9 (through SSPC 185) is also in the process of a chamber test method. Goal is to get the group together for the March 15. Would assess byproduct formation as well; various types of devices; microbes on surfaces and in air.

    - 2.4 voted to approve RTAR May 2021

    - Matt M: has been submitted to RAC and got some comments back, they’ll meet next week. Narrowed scope to microbial effects. TC 2.9 led, 2.4 co-sponsored. Could lead into another future project on non-microbiological (e.g. particles) and 2.4 could lead, conceivably.

    - Update Jan 2022 from Matt M: developed into a WS based on RAC’s acceptance with comments last summer. More or less completed WS. Need 2.4 vote to co-sponsor; project has expanded a lot. Also approaching 9.6. Hoping to get someone to take over the submission. Jeff will circulate for vote.

    - Update Jun 2022 from Matt M: WS-1928 was submitted to RAC in May. 2.9 is sponsor; 2.4 is co-sponsor. Waiting to hear status from RAC. Scope was narrowed to microbial testing only. Matt is now working almost exclusively in gas-phase work now, so he is handing this over to Chrystal Joliffe to take over. One thing they did was obtain more co-sponsors (did not include TG2.RAST (reactive and surface treatment task group) because of a negative vote that would have required a number of additional projects to be completed before this was done. Kathleen has suggested within RAS to write on RTAR on some ideas that Bud Offermann in RAST has proposed.

    - Bill mentioned that he’s not seeing 1928 on this summer’s RAC meeting so he’s following up to see why it’s not on there / how to get it on there. Donna Daniel responded that they had not received it; Matt M said he submitted it to Mike Vaughn. So we followed up with Donna right away.

  - New RTAR from TC 2.3 (2.4 co-sponsor request): The Effects of Filtration and Air Cleaning on Health & Safety

    - Caitlin Naske, Nick Agopian, Kathleen Owen, Sanjeev Hingorani, Lexuan Zhong

    - Brent provided comments on an initial draft to Caitlin directly.

    - Caitlin presented the idea to the group. Idea: Literature search collecting information on contaminants of concern, health effects associated with them, and modeling the IAQ and associated health impacts that particle and gas-phase air cleaning could have in buildings (e.g. via DALY approach).

    - Brian: 4.10 as a co-sponsor? Modeling group. Like James Lo, Mohammad Heidarinejad.

    - Brent: Check into overlap with projects like RP-1491. probably EHC as co-sponsor (e.g. Luke Leung or Steve Hammerling).

    - Caitlin to follow up with a revision.

- Liaison reports

- Work time on any new or existing RTARs, WS, and other proposals

  - How do you do high efficiency filtration in new residential systems like VRFs and mini splits, also mechanical ventilation?

- Champion: Tom Justice

- Update in Orlando: Tom Justice provided an update via presentation “Do HVAC trends support better filtration?” VRF systems are some of the fastest growing equipment in North America; and their ability to incorporate good filtration appears to be minimal. Often MERV 2 or 3 filters, essentially screens, are used in these systems. Manufacturers anecdotally don’t seem to be interested in pursuing high efficiency filtration. This might not even be a research project, but one idea could be to fund a small project (i.e., with literature review on filtration in VRF systems and perhaps some lab or in-situ testing of filtration particle removal efficiency, pressure drops, and fan power draws with different filters/media in VRF systems) that could be used to show the need for more R&D on how to improve filtration in VRF systems. (Could also add ERV/HRV mechanical ventilation systems to this).

- Updates/volunteers?

- Tom: the initiative might begin with a forum to identify interested parties; equipment and filtration TCs; form an MTG, who would then oversee a research project on how manufacturers are addressing these issues. Frank Mills has written two guidelines that are relevant; he’s agreed to help form this MTG. May just plan to submit a new MTG proposal.

  - 3D printer emissions/control (with TC 2.3)

    - From Paula Levasseur with interest from Gemma Kerr

    - Update from last meeting: Kathleen has reached out to a TC from section 9 (venting devices) and will follow up

    - Discussion from KC: Can’t be done by 2.3 and 2.4 alone, will need input from exhaust systems folks. UL may be working on a standard for this. Gemma has no real update, may be discussed in TC 2.3. Paula has seen a few emails but has no real update.

    - Updates:

      - Marilyn volunteered; Brian has been looking into UL standards on 3D printer emission testing

      - Kathleen: current biggest issue is not having a champion to really lead it

      - Gemma: the UL standard is an emissions standard, but what we really need is research to ID what’s needed in terms of ventilation and thus need help from a committee that does this sort of thing

      - Gemma: could ultimately become a standard for ventilation/filtration for spaces with 3D printers

      - Brian K: interested in helping push it forward

      - Brent: literature on emission rates is strong; could see a combination of modeling and measurements of interventions to inform recommendations for ventilation/air cleaning

    - Gemma: 2.3 has some interest, probably need to get people outside of 2.3 and 2.4 to be able to investigate how printers needs to be exhausted/ventilated/etc. Gemma began a preliminary RTAR draft and has a few names from other TCs to potentially contact. Will share with Brent and Marilyn for review.

    - Still a useful topic but no champion driving it and needs more than just 2.3/2.4 because it involves system issues like exhaust. Kathleen a few years ago contacted several TCs that would reasonably be relevant but didn’t get much interest. Maybe TC 5.4 industrial process air cleaning. Could even broaden to a ‘maker spaces’ type of project. TC 9.7 educational facilities, also 9.10 laboratory systems, or 9.11 clean spaces. Just needs a champion to drive this. Gemma, Marilyn, Brian, Brent remain interested. Also possible interest from 'Qian Zhang' qian.zhang@ul.com

    - New paper on this idea: https://onlinelibrary.wiley.com/doi/pdf/10.1111/ina.13053

    - Gemma: the idea is following on UL’s emission standard… need research to see what’s needed for safely exhausting, venting, or otherwise controlling these types of devices. Need expertise on industrial exhaust and so forth; they have some contact names (e.g. TC 5.4). This is just waiting on people’s time.

  - Forest fire smoke and impact on retirement communities (Kathleen Owen, from Dave Ensor)

    - Jeff S: Fisk and Chan paper; Health Canada project on retirement homes

    - EPA had a webinar last week with some really good speakers

    - Brian Krafthefer offers to assist, not chair, will work with Handbook Chapter 11 to see if they have interest in this area.

    - Updates?

    - Jeff S: ASHRAE has a committee looking at wildfire smoke (Guideline 44), Steve Emmerich is leading it

    - Paul Francisco: EPA just had a call out for funding on wildfire smoke mitigation indoors in general; Washington state too; maybe recommend what ends up being done and what gaps if any are fillable by ASHRAE

    - Marilyn: don’t necessarily need to limit to retirement communities, could broaden

    - Kathleen: a problem that’s not going to go away, not necessarily just retirement communities, and a joint 2.3/2.4 issue

    - Brian: infiltration of outside smoke

    - Brent: would be good to explore what ASHRAE guidance is out there on wildfires (e.g. https://www.ashrae.org/File%20Library/Technical%20Resources/COVID-19/Planning-Framework-for-Protecting-Commercial-Building-Occupants-from-Smoke-During-Wildfire-Events.pdf) and also EPA and other orgs. (Brian K volunteered to review)

      - Peter: some of this covered in a recent NASEM workshop and presentations.

    - Paul F: with the EPA funding that is getting awarded (several million), probably recommend to step back for a bit and revisit in a year when we know where this research goes

    - Marwa: update from 62.1 on GPC 44.P, a new proposed guideline specifically about minimizing occupant health impacts from wildfire smoke, should be published soon (can see TPS on ASHRAE website). Brian reiterated this in this meeting.

    - Mattea: Intel has been interested in wildfire smoke effects and filtration as primary control as well.

    - Brent: review this to familiarize ourselves with current guidance: https://www.ashrae.org/file%20library/technical%20resources/covid-19/planning-framework-for-protecting-commercial-building-occupants-from-smoke-during-wildfire-events.pdf

    - One angle here could be gas-phase focus, as the guidance above doesn’t speak to gas removal at all (all PM).

  - Impact of aerosol phase state on filtration efficiency and loading kinetics of HVAC Filters under varying humidity (Brandon Boor)

    - Can be done on small scale; focus on organics among others

    - Bruce McDonald has some experience here and volunteered to help.

    - Brandon would like to move forward following 1734-RP.

    - Brian Krafthefer expressed interest.

    - Updates?

    - Brian, January 2021: no updates

    - Bruce McD: was discussed some at the PMS meeting for 1734 because they’re seeing some humidity/loading effects. Could be a follow on for 1734.

    - Brian: should we look at this ahead of time to be ready for this? No updates

  - Pollutant sensor rating method idea (Jordan Clark)

    - RTAR is already drafted and 4.3 is voting on lead sponsorship this meeting; might make sense to have someone from 2.4 on the WS and PES/PMS as well

    - Trying to get Smart Buildings TC involved, but no success yet. Jordan working on this.

    - Summer 2020 update: Jordan brought this up in PMS meeting for 1756 and will work on moving it forward

    - Updates? No updates; probably abandon.

    - Rami Alkhalil expressed interested in this idea, especially in the area of smart sensor (e.g., taking multiple signals of contaminants)

  - Following up on 1649-RP, Tom Justice proposed the idea of a project to fund a design guide on residential filtration to help better assist the residential designer and user on how to better understand relationships between the filter, system, building, and operation. A large number of factors affects filter effectiveness outside of filter performance rating alone. Could be a follow on to the recently published residential IAQ guide, going out to bid (rather than project PI or PMS or other volunteers doing all of the work).

    - Tom follow up this meeting: he has drafted a TPS for an MTG on this, as it seems to be how ASHRAE has generally gone out about generating guidelines; talked to some other TCs, awaiting input

    - Sina Yousefi expressed interest in this, from AAF

- New ideas (work time for the rest of the meeting)

  - Geoff and Kathleen is working on an RTAR with 9.6 that would be co-sponsored by 2.4. “Cost and energy implications of increased filtration efficiency in healthcare facilities.”

    - There is interest now; would involve field measurements at select healthcare facilities

    - Kathleen: Status is that it has been written once and reviewed by liaisons, needs to have some edits made and then will be shared, aiming to hit March deadline

    - Latest update from Kathleen: no traction, as more than half of 9.6 didn’t think it was a good idea, referencing a paper citing lots of assumptions (but not actual measurements) on this very topic (“the data are already out there”). “not terrible, just weird.”

    - Brian to Geoff: is this of interest to GPC 35? Possibility to move from 9.6 to a different building type? What about TC 7.6 building energy performance? Brent to pursue this idea…Hyojin Kim (NJIT) is the current research subcommittee chair (no follow up yet)

    - Kathleen to send latest version to Brent and Brian for review (did not see this)

    - “Fan Energy and Airflow Implications of Air Filtration in Commercial HVAC Systems” (although there may be issues in terms of costs if it’s too broad)

    - This has been stalled with not a great response by 9.6. If this goes anywhere it would probably be with 2.4 in the lead. No traction lately.

    - Brendan Burley: this topic comes up regularly in 9.6; Brendan is coordinating on behalf of 170, and because of the demotivation from 9.6 he would have no problem encouraging 9.6 to drop the line of research. Then 2.4 could take the lead.

    - Kathleen: would 170 support it? Brendan: there are some overlaps in 170 and 9.6 membership that might prevent progress. Brendan will follow up with 9.6 to consider dropping it and seeing if there’s a path via 170.

    - John Randtke works for an energy services contracting company so he offered to be included

  - Chrystal Jolliffe: coming off of Rahul’s longevity of electret media idea, but instead it could more of a flat sheet approach so you could measure the physical properties of what’s changing under conditioning steps and how it relates to known contaminants identified in other research projects.

    - Actively working on RTAR draft within 52.2 (Kathleen and John Rajala helped edit)

    - Intent is to share with 52.2 group for review and then forward to 2.4 after that.

    - Kathleen: It is an RTAR, not just an idea at this point!

    - 52.2 would lead and 2.4 co-sponsor

    - Sina Yousefi

    - Chrystal has an RTAR ready to go, will send to Brent for review and then. Brent reviewed and responded Jan 31. Updates?

    - Chrystal has comments from Brent and is planning to work on it.

    - This turned into a brief conversation about process; e.g., when we get a new RTAR idea, what do we do with it? Answer: send it to the full 2.4 research email list for input, with a timeline, and a request for others who may be on other committees that are relevant to review and comment if it might involve them.

- Other items

- Meng Kong: 5.10 (kitchen ventilation) new idea for evaluating pollutants generated by small cooking countertop devices; seeking co-sponsorship from 2.4 and 2.3. Very early stage. Thad: many studies on particle and gas phase emissions; might be difficult to get funded, unless packaged with also factors such as ventilation and distribution through the house.

- Brendon Burley: coming from SSPC 170 (ventilation of healthcare facilities), they are looking for some volunteers to serve as liaison (formally or informally). Jenny Berens is interested (secretary of 52.2).

- Nick Clements: coming from EHC. Starting an effort to write an emerging issue brief on reactive oxygen species and their byproducts. If anyone is interested just contact Nick. Looking for a little more input on the chemistry side. Would like to get it done this calendar year. Kathleen emphasized making a call to 2.3.

- John Randtke: shared an idea for potential RTAR during 2.3 meeting regarding the effects of age on electronic air cleaners. Pull devices that are 5, 10 years old from the field and evaluate effectiveness, degradation, do they still pass UL 2998, etc. Those in support and volunteering: Jeff Siegel, Marilyn Listvan, Peter McKinney. Update: still working on a draft, making progress. Brought it up with 2.3 where there was a lot of interest. Thought about 9.7 too given that a lot of the equipment is installed in educational facilities.

- Adjournment @ 1:37 pm eastern time

TC 2.4 Handbook Subcommittee Meeting

Chapter 29, Air Cleaners for Particulate Contaminants,

HVAC Systems and Equipment 2024 Volume

Meeting minutes for Toronto, Monday, 6/20/22

- Call to order – 1300 CDT. Asked attendees to Log in to chat and put name and email

In this and all other ASHRAE meetings:

- We will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others.

- This will exemplify ASHRAE’s core values of excellence, commitment, integrity, collaboration, volunteerism and diversity.

- We shall avoid all real or perceived conflicts of interests.

- Chair’s comments - Chapter should be consistent with 52.2.

- Current revision is “G”. Kathleen has written a reorganization of sections 7, 8, and 9.

- Discussed the following sections and updated reviewers.

  - Terminology.				Gemma Kerr to refine terminology

  - Acronyms. 				Peter  McKinney and Gemma Kerr to go over this.

  - Atmospheric Aerosol.      			Geoff Crosby

  - Aerosol Characteristics.      		Brian Krafthefer

  - Air Cleaning Applications.  		Brian Krafthefer

  - Mechanisms of Particle Collection.   	Peter McKinney

  - Evaluating Air Cleaners.   			Kathleen Owen and Tim Johnson

  - Air Cleaner Test Methods.    	 	Kathleen Owen and Tim Johnson

  - Types of Air Cleaners.    			Kathleen Owen, Peter McKinney and Tim Johnson

  - Filter Types and Performances. 		KJ Choi

  - Selection and Maintenance.		Jon Rajala and Brian Krafthefer

  - Air Cleaner Installation.			Kathleen Owen, Gemma Kerr and Brian Krafthefer

  - Safety Considerations.      			Brian Krafthefer

  - References. 				Brian Krafthefer and he will to call Caitlin

  - Bibliography.  				Brian Krafthefer

Index and Key Words			Brian Krafthefer

- Additional comments on Revision “G”

- Check the chapter for ULPA usage and see if it is needed.

- Filters in the chapter are for HVAC systems and the protection of equipment.

- Dry extension and viscous filters will be reviewed by Jon.

- There was discussion on revising sections 7 and 9.

- Selection and Maintenance section  will be worked on by Jon Rajala, Brian Krafthefer and John Randtke

- Discussion of Tables and Figures:

- The references regarding EPA will be updated by Jon.

- In Figure 3, a paragraph describing different types of electronic air cleaner types and enhancements should be put in.

- Peter will update Figure 1

- Discussion of Table 3 resulted in recommendations to update of table. It should be compare to the table in 52.2. Brian will talk to Bruce.

- Committee members should think about whether any new figures are needed.

- Additional topics to consider:

- A paragraph on Portable Room Air Cleaners will be added. Discussed putting in room paragraph in chapter – Gemma to do this.

- There was further discussion on the rearrangement of sections 6 – 9.

- A review of the sizing for air cleaners was discussed. Someone on committee familiar with the actual installations is needed.  John and Brian will look at this.

- Next updates will be included in revision “H” of the chapter.

- The week of October 17th for a Zoom meeting. Brian will do a doodle poll around Oct 1st

- The committee was queried for any topics that may have been overlooked. There was no response.

Adjourned at1426

Attendees:

Brian Krafthefer

John Randtke

Gemma Kerr

Don Thornburg

Kathleen Owen

Peter McKinney

Tim Johnson

Sanjeev  Hingorani

jon rajala

jeffrey siegel

#### Draft Minutes

#### TC 2.4 Program Subcommittee Meeting

#### June 21, 2022 – 1:00pm-2:00pm EST

#### https://events.rdmobile.com/Sessions/Details/1371439

#### Subcommittee Chair: Jon Rajala

- Call to Order

- ASHRAE Code of Ethics

#### Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.”

#### For more, read here: https://www.ashrae.org/about/governance/code-of-ethics

- Introductions – Skip due to virtual format

- Submissions for Toronto?

#### Seminar 37: LIVESTREAM: COVID-19 and Indoor Air Filtration

#### Tuesday June 28 11:00am to 12:30pm EDT

#### Chair: K-J Choi

#### Seminar 48: LIVESTREAM: Why You Shouldn’t Lick Your Filter

#### Wednesday June 29 9:45am to 10:45am EDT

#### Chair: Jonathan Rajala

- Next conferences:

#### 2023 ASHRAE Winter Conference Atlanta, GA February 4 – 8, 2023 https://www.ashrae.org/conferences/2023-winter-conference-atlanta

  - Tuesday April 5, 2022 – Conference Paper Abstracts, Technical Papers, and Paper Session Requests Due

  - Tuesday April 26, 2022 – Conference Paper Abstract Accept/Reject Notifications

  - Monday July 25, 2022 – Conference Papers Due – Submitted for Review

  - Tuesday August 9, 2022 – Debate, Panel, Seminar Form, Workshop Proposals Due

  - Monday August 15, 2022 – Conference Paper Abstract Accept / Revise / Reject Notifications

  - Monday August 29, 2022 – Revised Conference Papers, Technical Papers Due

  - Friday September 23, 2022 – Conference Paper Accept / Reject Notifications

  - Monday October 10, 2022 – Debate, Panel, Seminar, Forum Workshop Accept / Reject Notifications

- Proposals in Progress – Working list notes

| Type | Title | CoSponsor | Chair |
| --- | --- | --- | --- |
| Future idea Toronto | Particles in Outer Space … Contact NASA *Mike contacted Vijay. Unsure of when Vijay will get information. Lot of interest on moon particulate – just need to find the right contact working in this subject. Marilyn – will help contact Morris – can assist as needed Jon – bother Vijay about this after summer Jeff – Marit Meyer is Vijay’s contact at NASA ISS particulate Interesting topic to keep on list |  | Vijay, Mike Corbat (NASA) |
| After Las Vegas Maybe Toronto Try for Atlanta | Climate and particulates: filtration, loading, entrainment 2 other people with Brian – Kathleen maybe? Brandon Boor (maybe phase 1 report) Brandon Boor Phase 1 report is available now, but probably not the right time for him to work on this with project delays. Brian – contact with wildfire smoke for presentation Kathleen can possibly provide something if can’t find others Mattea – can help put together presentation materials – lessons learned from wildfires and future planning Brian looking for leads to help find speakers for a session. Maybe check with Brandon again, search for speakers. Brian will put an abstract together soon Jenny – GPC 44P, wildfire guideline, meeting June 27. Maybe we can find someone there (not Jenny, not attending Toronto in person) Initially thought about wildfire, but could turn session into environmental particulate in genera. Peter can send a contact to Brian. | 2.4, 2.9? | Brian Krafthefer |
| After Toronto, maybe Atlanta | Particles above 10 um – still need to talk and find speakers * Jeff can add to presentation from residential particles (Separate from current session, focused on large particles, can help if in Atlanta) * Kathleen – droplets? Medical? COVID related Lindsay Marr * Brian – has some people to check with * Marilyn – Sneeze particle information online – need to see if people have measured this – found paper, can contact authors * Tim can look and send info to Brian * Zied – research at MIT – slow motion camera – Lydia Bourouiba https://cee.mit.edu/people_individual/lydia-bourouiba/ Brian needs contacts to speak on this * Vijay can possibly combine space particle here if we can’t fill cull session on that topic * Pollen – Randy Cooper - AHAM |  | Brian, Brandon, Jeff |
| *Definitely after Atlanta | Does particle matter really matter? EHC/UV – hospitals * Marilyn - No update, but leave on list | 2.5, EHC?, IEQ-GA | Marilyn Listvan – Bill Bahnfleth, C Seyffer |
| After Toronto | Paul Francisco – maybe step outside technical and discuss policy for indoor air quality – what can be done to help people stay healthy, particularly low income where they may be abandoned and in more hazardous areas (pollution levels for road traffic, etc…) Geoff – Health outcomes/research on this Vijay – Possibly involve other TCs and debate/forum |  | Geoff Crosby, Paul F., Brian K. |
| Conf Paper and … ??? | Urban Aerosols … wait for RP1734 *Waiting for research projects to finish. |  | Brandon, Zied |
| Conf Paper and … ??? | Local Sensors … wait for RP1756 *Waiting for research projects to finish |  | Jordan Clark, Zied |
|  | Smart Filter |  | KJ |
| After Atlanta, maybe Tampa or Chicago | Gemma – Brian and Gemma discussed during 2.3 program meeting about a topic on boundary between particles and gases. Would like to have Brent Stephens as part of this. Brian – probably not Atlanta, but possibly later Peter McKinney – has another contact for aerosol formation he can share Brian – David Pui at U of Minnesota #### Jeff – names in chat for active research. There are ton of indoor secondary organic aerosol people (Brent Stephens, Elliott Gall, Nina Vance, Delphine Farmer, Rich Corsi, etc). | Co-Sponsor 2.3 |  |

- Looking for a new Program Subcommittee Chair

  - Jenny Berens has agreed to help with this

- Anything else?

Adjournment

TC 2.4 STANDARDS SUBCOMMITTEE

Minutes

Tuesday 2:00PM – 3:00PM, June 21, 2022

Toronto, Canada - Virtual Conference

Code of Ethics Commitment

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.

- CALL TO ORDER

  - Introductions – NA due to virtual meeting

  - Chair’s comments

    - None

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - PM - 52. 2 - Addendum B Passed and is out and part of method

    - Proposal to add optional bio-aerosol version of 52.2. HAS BEEN PUBLISHED

    - Charge Durability Index – Rosenthal – Proposal will be presented

    - Working group A and B – working on document to present

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

- No GPC 35 Summer Meeting

- RP-1734 – Great progress out of Purdue but still experiencing delays. Probably 3 months out.

- Henry (Hank) Greist of Lennox will be joining the committee as a non-voting member following the summer meetings

- Bruce McDonald, Andy Untz, and Joe Pessa have all been added to the committee as non-voting members

- Upcoming work will be to define testing/loading procedure. Starting with ASHRAE 52.2/ISO 16890 Duct procedures, adding in KCl sub-micron loading developed at Purdue. Hope is to have this methodology by October

- Interim virtual meeting to be scheduled following RP-1734 PMS meeting at end of July

- Following this will update our Work Plan to submit to ASHRAE for the final revision of it…

- No updates as of 6-21-22

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Tony Abate Chair)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - Approved update of definitions

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - Kathleen working on re-write to incorporate non-sorbent units

      - No further update as of 1-25-22

      - New title purpose and scope

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

- SPC 185.3P, Proposed Standard authorized May 2021. Standard 185.3P to be developed by SSPC 185.
Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

- 1. PURPOSE
The standard establishes a method of test for evaluating in-room devices and systems for microorganism removal or inactivation in a chamber.

- 2. SCOPE:
2.1 The method of test specifies selected indicator microorganisms in the test chamber and defines procedures for generating the bioaerosols required for the method of test.
2.2 This standard provides a method for counting the number of viable microorganisms in the chamber to calculate the elimination efficiency for each microorganism.
2.3 This standard establishes minimum performance specifications for the equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.
2.4 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

Standard 185.4P – Proposed Standard authorized November 2021. Standard 185.4P to be developed by SSPC 185.
Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

PURPOSE: This standard establishes a test method for evaluating the efficacy of ultraviolet disinfection systems for microbial inactivation on multiple surface locations in a test room.

SCOPE:
2.1 The standard applies to ultraviolet devices and systems using only germicidal ultraviolet energy for disinfection.

2.2 The method of test specifies selected indicator microorganisms and defines procedures for inoculating test carriers in a room-scale test chamber.

2.3 The method of test defines the test carrier quantity and positions in the test room.

2.4 This standard provides a method for counting the number of viable microorganisms on the test carriers before and after ultraviolet inactivation.

2.5 This standard establishes protocols and minimum requirements for the materials and equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.

    - 2.6 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

  - TC 5.4 Industrial Process Air Cleaning (Need Liaison)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Met 1-25-22 and are hashing thru revisions to update standard

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities

      - No update

      - Looking for liaison

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Wane Baker)

    - New liaison – Wane Baker

    - Effort now going into IAQ Guide 42P – Intent to provide guidance on how to go above minimal acceptable IAQ

    - No update as of 6-21-22

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Brent Stephens)

    - No update

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings (Michael Corbat)

    - No update

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Kevin Kwong)

# Working Group 1: Terminology

ISO 29464:2017 Cleaning of air and other gases — Terminology

Work will begin this month on revisions to ISO 29464.

# Working Group 2: UV-C TECHNOLOGY

ISO 15858:2016 UV-C Devices -Safety information -Permissible human exposure

ISO 15858 has been opened for revision.

# Working Group 3: General ventilation filters

FDIS balloting closes in June 2022 for the following:

- ISO/FDIS 29462 (ed .2) Field  testing  of  general ventilation  filtration devices  and systems  for  in  situ removal efficiency by particle size and resistance to airflow

- ISO/FDIS 16890-2 (ed. 2) Air  filters  for  general ventilation – Part 2: Measurement of fractional efficiency and air flow resistance

- ISO/FDIS 16890-4 (ed. 2) Air filters for general ventilation - Part 4: Conditioning method to determine the minimum fractional test efficiency

ISO 16890-3 “Air filters for general ventilation — Part 3: Determination of the gravimetric efficiency and the air flow resistance versus the mass of test dust captured”

Changes to the initial arrestance 30g loading calculations

ISO/CD 16890-5 “Measurement of fractional efficiency and air flow resistance for flat sheet filter media”

No action yet but will be worked on at the 2022 Plenary in Delft.

# Working Group 4: HEPA and ULPA filters

ISO/CD 29463-5: High-efficiency filters and filter media for removing particles in air - Part 5: Test method for filter elements

Passed FDIS balloting in February 2022.

The following are new work items:

ISO 29463-1:2017 High-efficiency filters and filter media for removing particles in air –Part 1: Classification, performance testing and marking

ISO/PWI 5371 “High efficiency filtration units in exhaust ventilation system of biosafety facilities

# Working Group 5: Dust collectors, droplet separators, and purifiers

ISO/PWI 16313-1 Laboratory  test  of  dust  collection  systems  utilizing  filter media  online  cleaned using pulses of compressed gas –Part 1: System not utilizing integrated fan

All open action items have been finalized.

ISO 16313-2: Laboratory  test  of  dust  collection  systems utilizing porous filter media online cleaned using pulses of compressed gas – Part 2: Systems utilizing integrated fans

Still working on CD revisions.

Working Group 7: Cleanable filter media used in industrial applications

No actions on the following documents:

ISO/NP 23742: Testing method for the evaluation of permeability and filtration efficiency distribution of bag filter medium.

ISO/CD 22031 : Sample and test method for media taken from filters in operation

Working Group 8: Gas Phase Air Cleaning Devices and Media

ISO 10121-3: Test methods for  assessing  the performance  of  gas-phase  air  cleaning  media  and  devices for  general ventilation - Part 3: Classification system for treatment of make up air

Responding to comments and preparing for FDIS ballot.

ISO/PWI 23743: Testing of gas phase air cleaners for improving perceived indoor air quality

Reinstated as a PWI at 2021 Plenary

Working Group 9: Particulate air filter intake systems for rotary machinery and stationary internal combustion engines

ISO/FDIS 29461-7, Air filter intake systems for rotary machinery – Test methods –

Part 7: Filter element endurance test in fog and mist environments

FDIS ballot passed in May 2022 and will be renumbered to 29461-2.

ISO/NP 29461-3: Air intake filter systems for rotary machinery –

Part 3: Test methods for mechanical integrity of filter elements

Passed DIS balloting in February 2022.

ISO 29461-1: Air filter intake systems for rotary machinery – Test methods –

Part 1: Static filter elements

Standard was published in 2021

ISO/PWI 29461-4: Air intake filter systems for rotary machinery –

Part 4: Test methods for static filter systems in marine and offshore environments

DIS registration is expected in 2022.

# Joint Working Group 10: Aerosol filters for nuclear applications (Joint between ISO/TC 142 and ISO/TC 85/SC 2)

ISO 23137-1: Requirements for nuclear aerosol filters to be used against specific severe conditions - Part 1: General requirements

No CD yet but work in progress.

# Working Group 11: Portable room air cleaners for comfort applications (Joint between ISO/TC 142 and IEC/TC 59)

Dozens of meetings in the past few months. Tim Johnson is retiring and Bob Burkhead will take over as convener. Plenary in the Fall

WG 1 - Reduction of particles

CD will be going out for ballot

WG 2 - Reduction of chemical gases and ozone

No updates

WG 3 - Reduction of microorganisms

No updates

WG 4 - General characteristics

No updates

WG 5 - Special types of air cleaners

No updates

MT 6 - Maintenance of IEC 63086-1

No updates

# Working Group 12: Sustainability of air cleaning equipment and media

No activity in this working group. Still waiting on results of an ASHRAE project at Purdue University. The following projects are the responsibility of WG12:

ISO/PWI 12249-1 - Particulate air filters for general ventilation - Part 1: Method of calculation for the life cycle cost for air cleaning devices

ISO/PWI 12249-2 - Particulate air filters for general ventilation - Part 2: Method of calculation for the energy performance of air cleaning devices and for the classification of the energy performance

# Working Group 13: Biological Equipment for Waste Gas Treatment

No updates for WG13. Work is primarily focused on the following two projects:

ISO/WD 23138 - Biological equipment for treating air and other gases - General Requirements

ISO/WD 23139 - Biological equipment for treating air and other gases - Application guidance for deodorization in wastewater treatment plants

  - MTG. ACR, Air Change Rate (Delegate – Bob; Alternate – Michael)

    - No meeting

  - TC 4.10 (Brian K)

    - Starting a standard that includes particulates from the modeling aspect

    - Had not met as of this meeting

  - TG2.RAST (Kathleen)

    - Had 1st meeting. Formed WG to look at what additional standards would be needed to incorporate air cleaners that aren’t currently covered.

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - No update

    - Need contact – Brian K efforting

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 – Bob Burkhead

    - No update

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

      - Moved from 2 per year to annually

      - Next conf Louisville FiltCon May 1-3, 2023 Louisville, KY

  - CEN/TC 195 - 	Air filters for general air cleaning (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – No update

  - IEST – Institute of Environmental Sciences and Technology (Vijay) – no update

  - AHRI 680 – Performance Rating Residential Air Filter Equipment

Vincent Hwang -Last edition published 2016 – due for republishing in 2021

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO

      - Chicago Navy Pier Oct 10,11 and 12 2023

  - NAFA (Tom Justice)

    - 2022 Annual Convention Coeur d’Alene, Idaho Sep 19-22

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Bruce McDonald)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Soot as separate (new) test aerosol in addition to ISO Fine (5011)

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

  - IAQ Meetings (Jeffrey Siegel)

    - No update

  - FILTECH Expo and Conference

    - Feb 14, 15 and 16 2023 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be 2025

  - American Association for Aerosol Research

    - Oct 3-7 2022 in Raleigh

  - International Aerosol Conference

    - 2022 Athens Greece – Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - WFC 13 San Diego, Oct 5-9 2022

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society

    - 2nd Air Filtration Basic Course May 30-31

    - 2022 KFS Conference Nov 21-22, Hanbat University

  - WFI Annual Conference

Early Dec 22

  - Healthy Buildings

    - 2023 Asia July 16-19 China

    - 2023 Europe June 12-14 Germany

The focus of the Standards Subcommittee is on the writing and continued maintenance of standards and guidelines written for HVAC&R air filtration.  This group not only reviews ASHRAE standard and guidelines but also keeps an active reporting system of HVAC&R standards and guidelines produced by other organizations and other countries around the world.

This TC is Cognizant for the following standards

ANSI/ASHRAE Standard 52.2: Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size
ANSI/ASHRAE Standard 185.1: Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms.

This TC is CoCognizant with TC 7.3 lead for the following standard

ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems