- CALL TO ORDER

  - Introductions

  - Chair’s comments

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - Per Todd McGrath, 52.2 ANSI reprint has been published!!.

    - Thad Ptak presented on 52.2 test equipment accuracy. Information was gathered from test labs. Results were presented. Further discussion needed if we pursue uncertainty statement.

    - Interpretation request - “The application’s upper limit airflow must align with one of the seven (7) face velocities.” An answer was written and approved.

    - Ashley Scott presented on significance of E1 to health concerns. Also questions how we can take standard deviation into account when assigning MERV rating.

    - Effort to redefine classification of Manufacturer (filter), Manufacturer (media), User and General. Marisa to work on additions of examples to clarify

    - Last meeting for Todd as chair!!

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

    - Did not meet

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Kevin K)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - No update

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - No update

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

    - SPC 185.3, Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

      - Published

    - SPC 185.4P Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

      - No update

    - SPC 185.5 Method of Testing HVAC-duct mounted Devices and Systems and In-Room devices for Particle and Microorganism Removal or Inactivation in a Chamber with a Recirculating Duct System

      - Published

  - TC 5.4 Industrial Process Air Cleaning (Geoff Crosby)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Per Geoff Crosby the standard will be out for public review prior to Winter 2025 conference.

  - TC 9.6 Healthcare Facilities

    - SSPC 170 - Ventilation of Health Care Facilities (Need liaison)

      - Update per Jenny Berens.

      - Mark Davidson has proposed creating a SSPC170 Filtration Subcommittee

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Jon Rajala)

    - No new information.

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Jon Rajala)

    - Updated filter efficiency requirement to MERV13.

    - Ready to send out for public review.

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings

    - No update

  - SSPC 90.2 – Energy Efficient Design of Low-Rise Residential Buildings ()

    - Addendum G requiring filter efficiency of MERV13.

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Mike Corbat)

    - Mike to forward updates via e-mail.

WG 1 (Terminology) – OPEN APC

WG 2 (UV-C) – Katja Auer (APC)

WG 3 (General Ventilation) – Don Thornburg (Convener) & OPEN APC

WG 4 (HEPA/ULPA) –R. Vijayakumar (Convener) & Andy Stillo (APC)

WG 5 (Dust Collectors) – Open APC

WG 7 (Durability of Cleanable Filter Media) – OPEN APC

WG 8 (Gas Phase) – Matt Middlebrooks (APC)

WG 9 (Gas Turbine) – OPEN APC

WG 10 (Nuclear) – Satish Dinakaran (APC)

WG 11 (Portable Air Cleaners) – OPEN APC

WG 12 (Sustainability) – Geoff Crosby (APC) & Jon Rajala (Acting APC)

WG 13 (Biological equipment for waste gas) – OPEN APC

WG 14 – Test Method for Airborne Microorganism Filtration Efficiency and Decontamination Efficiency

  - SSPC 241 Control of Infectious Aerosols  (Mike Corbat)

    - Had not met as of this meeting

  - TC 4.10 (Sina Yousefi?)

    - No update

  - TG2.RAST (Kevin)

    - Draft is complete and needs final edit to get ready for public review. Target Winter 2025 meeting.

- TC 7.3 lead for the following standard (Co-Cognizant)

  - ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

    - No update

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - No update

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 –

  - Need liaison for IEC & AHAM

  - Brian recommended for the committee to list out cognizant guidelines.

  - Decarbonization Grants to look at system component life. $2 million dollars being allocated.  Looking for research ideas. (Palo Tronville)

  - Brian K – TC 9.13 TC 9.13 is reviewing the process for creating a Standards Project Committee (SPC) for a 62.x-type standard. They are conducting research on existing ISO and ANSI standards related to the proposed standard and compiling a list of relevant documents

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Dan Miller)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

IEC/TC59/SC/59N and ISO/TC 142/JWG11 Activities by K-J Choi

JWG 1

- JWG 1 Reduction of Particles (Stefan Schumacher)

    - IEC 63086 Part 2-2nd edition in preparation

- SWG 1.1 Performance Change with System Loading

  - Currently drafting of CD document

JWG 2

- JWG 2 Determination of gas-phase pollutant reduction (Dr. Atsuo Nozaki / Yoshio Okamoto) CDV draft - IEC 63086-2-2 ED1:

- SWG 2.1 Reduction of Ozone (Jinzhu Ma) working on draft CD

JWG 3

- JWG3 Reduction of Microorganisms (Zhang Xiao)

  - Out for CD draft: IEC 63086-2-3: Particular requirements for reduction of microorganisms

JWG 4

- SWG 4.1 Measurement of Acoustical Airborne Noise SWG 4.4 Automatic mode (Lead = Dan Miller)

- SWG 4.5 Method to measure energy efficiency (Lead = John Park)

JWG 5; Special types of air cleaners

- SWG 5.1 Fresh Air, Air Cleaners (Jinhan Mo)

  - To develop performance test method standards for fresh-air, air cleaners (IS)

  - Intended to develop the standard to include type1 and type 2 FAAC in a sealed chamber.

  - The flow-through chamber method will be considered at the next stage (NP prepared)

- SWG 5.2 Robotic/Mobile Air Cleaners (Shanshan Li)

  - Proposed 6m x 4.5m x 3m (81 m3) chamber

JMT 6; Joint Maintenance Team 6 (Wayne Morris)

- Joint Maintenance Team 6 is responsible for the IEC Part 1 Standard, 63086-1

  - IEC 63086-1 was Amended (Amendment 1) which corrected some typographical errors and clarified the scope

- INFORMATION EXCHANGE

  - AFS – FiltCon26 in Pittsburgh, PA May 12-15 2026

  - CEN/TC 195 – Cleaning equipment for air and other gases (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – aging procedure with fine particles

  - IEST – Institute of Environmental Sciences and Technology – no update

  - AHRI 680 – Sanjeev and Chrystal. Working on updating

  - INDA – International Nonwovens Development Association – FiltXpo in Minneapolis, MN October 28-29 2026 (AFS is co-sponsoring)

  - NAFA

    - 2026 Technical Seminar in Louisville, KY April 9-10 (BHT Party on the 8th!!)

    - 2026 Annual Convention in Palm Springs, CA October 13-15

  - IAQA Meetings (Jeffrey Siegel)

Lexington Ky May-June

  - FILTECH Expo and Conference

    - Jun 30- Jul 2, 2026 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

  - American Association for Aerosol Research

    - 10-21 – 10/25 Alb, NM

  - International Aerosol Conference

    - 2026 China– Sept (1st week)

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress – No date

  - World Congress of Particle Technology

i. No info

  - Korean Filtration Society 2025 conference is scheduled Oct 28 and 29, 2025 at Hanyang University

  - World Filtration Institute (Jenny) - December

  - Healthy Buildings

  - ANEX  Taiwan

- ATTENDANCE –

|  | Name | Company/Address | Email |
| --- | --- | --- | --- |
| 1 | Last name; First Name; Email; Organization; 2025 Phoenix. Ahn; Tim; timahn@cleanandscience.com; Clean&science; y. Ahne; Chris; chris.ahne@genesisair.com; Genesis Air; y. Alavy; Masih; malavy@ccrpc.org; ICRT; y. Berens; Jenny; jenny.berens@freudenberg-filter.com; Freudenberg; y. Bharadwaj; Rahul; RBharadwaj@Lydall.com; Lydall; y. Brown; Michael; michael.brown@donaldson.com; Donaldson Co; y. Bruno; Trever; trever.bruno@kochfilter.com; Koch Filter; y. Chesson; Keith; keith.chesson@parker.com; Parker Hannifin; y. Choi; Kyung-ju; Kchoi228@gmail.com; clean&science; y. Cooper; Randy; rcooper@aham.org; AHAM; y. Dempsey; Kyle; Kyle.Dempsey@Donaldson.com; Donaldson; y. Gerhardt; Bryan; bgerhardt@mmm.com; 3M; y. Hingorani; Sanjeev; skh@lennoxind.com; Lennox; y. Jimenez-Segouia; Marisa; marisaj@aircare.com-mx; Air-Care of Mexico; y. Kerr; Gemma; gkashrae@gmail.com; Canada; y. Kong; Meng; meng.kong@delos.com; Well Living Lab; y. Kwong; Kevin; kevin@lmstechnology.com; LMS Technologies; y. Linll; Tong; tlinll@syr.edu; Syracuse University; y. Listvan; Marilyn; mlistvan@yahoo.com; Listvan and Associates Consulting; y. Liu; Lu; lu.liu1@parker.com; Parker; y. McGrath; Todd; TMcgrath@glasfloss.com; GlasFloss; y. Mendell; Alexander; alex.mendell@mail.utoronto.ca; University of Toronto; y. Miller; Daniel; daniel.miller@sgs.com; SGS; y. Mourgenos; Andrew; amourgenos@alkegen.com; Alkegen; y. Naske; Caitlin; cnaske@dynamicaqs.com; Dynamic AQS; y. Owen; Kathleen; kathleenowen@att.net; Owen Air Filtration; y. Parris; Scott; scott.parris@freudenberg-filter.com; Freudenberg; y. Phillips; Spencer; sphillips@icet.msstate.edu;; Miss. State University; y. Ptak; Thad; tptak@hotmail.com; Consultant; y. Rajala; Jonathan; jrajala@aafintl.com; AAF; y. Randtke; John; john.randtke@se.com; Schneider Electric; y. Rosenthal; Jim; jimrosenthal5757@aol.com; Tex-Air Filters; y. Scarff; Andrew; andrew.scarff@mativ.com; Mativ; y. Tronville; Paolo; paolo.tronville@polito.it; Politecnico Di Torino; y. Wilson; John; wilson@icet.msstate.edu; Miss. State University; y. Wong; Jeni; jwong@rensafiltration.com; Rensa; y. |  |  |