TC 2.4 Particulate Air Contaminants/Removal Equipment

Main Committee Meeting

Tuesday Feb 1, 2021

3:30-5:30 pm Pacific Time

Virtual Conference

Link to Join:

https://ashrae.webex.com/ashrae/j.php?MTID=m2d5763345ac325528bf94081beaa4a61

Meeting number: 2333 581 6157 Password: TC2.4  Join by phone 18662994153 United States of America Toll Free +14702385742 US Toll Access code: 2333 581 6157

- Call to order…………………………………	Jeff Siegel

- Introductions

- Roll call ………………………....…….……	Jon Rajala

  - Voting Members: 15 here, 3 not

  - Roll Call

    - Jeff Siegel Y

    - Dara Feddersen (not active this meeting and beyond) N

    - Jon Rajala Y

    - Christine Sun N

    - Tim Johnson Y

    - Jeni Wong Y

    - Brian Krafthefer Y

    - Kevin Kwong Y

    - Bobby Singer Y

    - Geoff Crosby Y

    - Gemma Kerr Y

    - Len Duello (not active anymore) N

    - Kathleen Owen Y

    - Paul Francisco Y

    - Scott Parris Y

    - Chrystal Jolliffe Y

    - Marisa Jimenez-Segovia Y

    - Brandon Boor Y

- ASHRAE Code of Ethics Commitment  ..….    	Jeff Siegel
In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, integrity and respect for others, and we shall avoid all real or perceived conflicts of interests. (See full Code of Ethics: https://www.ashrae.org/about-ashrae/ashrae-code-of-ethics.)

- Chair Comments

  - Here we go again…impacts of virtual meetings

    - We can’t do everything virtually, want to acknowledge awards and etc…

    - Difficult to network virtual, so please reach out

  - We will have and want new engaged voting members

    - Several people rolling off, so we need people rolling on. Opportunity to get involved, so reach out to get involved and speak up during meetings.

  - We have change in executive

    - Dara has resigned from ASHRAE activity. Gemma is interim vice chair.

- Liaison Report

  - Brian – handbook liaison, will report later

  - Marilyn visited 9.7, education, they are interested in 3D printers research topic

- Particle Party……………………………...…	Keith Chesson

  - In-person

    - Already happened in person Sunday night

  - Virtual 9-10 Eastern (6-7 Pacific)

https://utoronto.zoom.us/j/83455082412

Meeting ID: 834 5508 2412

Passcode: 733350

Join by Skype for Business

https://utoronto.zoom.us/skype/83455082412

- Approval of SummerVirtual Minutes……….….. 	Jon Rajala

  - Motion to accept – Scott Parris

  - Second Jeni Wong

  - No – 0, Abstain – 1 (CNV), Yes – 14

- No  votes taken since last virtual meeting ……	Jon Rajala

- Subcommittee Reports

  - Membership Subcommittee Report………	Jeni Wong

    - Dara has resigned from ASHRAE activity

    - Gemma is helping as interin vice chair

    - Jon will be vice chair after summer meeting

    - Len Duello is resigned from ASHRAE participation too

    - 5 more members rolling off

    - Looking for more members and engagement in the TC

    - Need Basecamp Subcommittee Chair

      - For business of committee, will be helpful to reduce email activity and share documents. Need to figure out how to integrate into committee activity.

    - Commentary on process to join committee and become activity

      - Link: http://tc0204.ashraetcs.org/

        - Join as corresponding member first, then you will be added to roster, and then when you get involved in TC activities, we will ask for voting membership.

  - Research Subcommittee Report………….   	Brent Stephens

    - Brent not present, Jeff gave update

    - ASHRAE is in a tough financial position, so research is in queue, but priority is maintaining existing contracts.

    - Awards/Grants are on hold

    - Unsolicited research is not being considered

    - Still are approving work statements and RTARS.

      - 17 projects ready to bid

    - New Research Strategic Plan

      - Projects will be funded as funds become available and as relevant to RSP

    - Decarbonizarion

      - Bob – Very important, and what we can do to help will be helpful in getting our projects funded

    - Research subcommittee updates

      - 3 projects

        - 1746 – low cost sensors – almost finished, probably by next meeting

        - 1734 – urban aerosol

          - Paolo – Good presentation, well attended, >30 people, making progress on full scale test, which is final goal, made preliminatry tests and took video of test being run, monitoring closely for GPC 35. Hope to have most of data by next meeting.

          - Brandon – Main issue is RH control in test rig, once resolved we can move forward. Also can compare with data from Paolo’s lab.

        - 1784 – 52.2 “Round Robin”

          - Matt – Still trying to get info from 1 or 2 labs. Data from 9 labs, waiting from 1 more App J so we can have 3 in final report. Kathleen asked for 6 month no cost extension to give labs time and wrap up. Updates to 52.2 seem to have improved the standard, but some areas need to be updated. One area is the use of positive vs negative pressure duct. Good – looks like the standard is improved and we can make meaningful recommendations out of it.

          - Kathleen – Really wants the last lab to give data and hopes to wrap up.

        - Several RTAR/WS worked on

        - One work statement sent to VMs – 1928 – Portable Standalone Air Cleaner testing in a Duct/Chamber

          - Matt – Generic title, gist is looking at paying for initial research for duct/chamber combo rig to evaluate devices in chamber against airborne pathogens. Sponsored by 2.9, looking for 2.4 cosponsorship. Look at different parameters for this type of test. First step to provide info for a potential new test method.

          - Move to vote on cosponsorship

            - Geoff second

            - Discussion?

            - Vote: No – 0, Abstain – 1 (CNV), Yes – 14, Absent – 3

        - Brent is interested in moving on from this role – if anyone is interested in any position, please reach out.

- Program Subcommittee Report……...…	Jon Rajala

  - One program submission accepted for Vegas, but was removed from schedule due to presenters not being abled to attend, will resubmit for Toronto.

  - No other TC 2.4 sponsored submissions in this program.

  - Have a couple submission ideas for Toronto.

  - Plan to transition to a new Program Subcommittee chair at next meeting.

- Standards Subcommittee Report……….	Bobby Singer

  - 52.2 – Vijay presented about Charge Durability Index, based on NIOSH test method on flat sheet materials

    - Group has been formed to work on this

  - GPC 35 did not have a meeting, but will schedule interim

- Publications Subcommittee Report…….   	Marilyn Listvan

  - Wants a bibliography for the website to have references relevant to us available beyond handbook, etc… Send info to Marilyn.

- Web Master………………………….…	Bob Burkhead

  - Website updated last minute. It is a good way to keep track of things, and lots of places to utilize for information. It is being under utilized.

  - Anything we think belongs on the website, send to Bob and we can get it posted.

  - Geoff – Can we link videos? Bob – Will find out, hope so

10 minutes briefing

- Handbook………………………………	Brian Krafthefer

  - Handbook Chapter 29, due to ASHRAE in 2023 for 2024 publication.

  - TC will have to vote on the chapter in June 2023.

  - Sections have been assigned reviewers and will get together in April.

  - Chapter 29 should have some more figures, would be nice if we can remove text and add figures.

    - If anyone has ideas, let Brian/others know.

  - Chapter online – Make the chapter more ”real”. Videos, colors, etc...

  - Consulting role for Chapter 11 (Fundamentals on air contaminants) due in 2025

    - Aerosol related areas within.

- Old Business

  - Jeff – Gemma put effort into updating definitions

    - Gemma – Jeff noticed definitions on website for filters didn’t include air filters and air filtration. As vice chair of 1.6, Gemma took them to appropriate place and they were approved. Will be submitted within next month to determine what will be accepted, so hopefully will have propor definitions by Toronto.

- New Business

  - Thanks to Zied for time as chair!

Misc Announcements (Conferences, Awards, etc.)

- Gemma – Congrats! Hightower Award for TC activity

- Conferences in Filtration

  - FILTECH in Cologne Germany

  - Filtration in Miami

  - WFC in San Diego

Adjournment

  - Brian move

  - Gemma second

TC 2.4 Handbook Subcommittee Meeting Minutes

Chapter 29, Air Cleaners for Particulate Contaminants,

HVAC Systems and Equipment Volume - 2024

Virtual Meeting on Monday, January 24, 2022, 7 – 8 am, PST

- Chair Brian Krafthefer called the meeting to order at 10:05 am. There were 17 people present: K-J Choi, Bowen Du, Ashish Gadhave, Sanjeev Hingorani, Tim Johnson, Gemma Kerr, Brian Krafthefer, Lu, Kathleen Owen, Scott Parris, Shagufta Patel, Jon Rajala, John Randtke, Jeff Siegel, Don Thornburg, Paolo Tronville, Jenny Wong.

Brian asked everyone to log in to Chat and enter name and email.

- Gemma agreed to take minutes and save the Chat log.

Brian read out the ASHRAE Code of Ethics:  In this and all other ASHRAE meetings:

- We will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others.

- This will exemplify ASHRAE’s core values of excellence, commitment, integrity, collaboration, volunteerism and diversity.

- We shall avoid all real or perceived conflicts of interests.

- Chair’s comments:

- Chapter should be consistent with 52.2.

- Chapter definitions are reviewed by TC 1.6 for suitability to add to the ASHRAE Online Terminology database. Committee should look through ASHRAE’s definitions. Gemma noted that some of the Online definitions related to air cleaning need improvement and we should take the lead. She also reported that TC 1.6 has accepted the revisions to definitions of filter and filtration proposed by Jeff Siegel. Hopefully they will appear online soon.

- For really old figures and tables in the chapter no permission is needed. The committee should examine these to see if an updated version would help readers.

- Review to be completed and TC committee should vote by June, 2023.

- Current revision of the chapter is “E”.

Brian reminded attendees to log in to Chat and put in name and email.

- The following sections were assigned reviewers. Discussion of the sections, recruiting more reviewers, and setting a time to complete the review and submit comments.

- Terminology.  			Gemma Kerr – completed

- Acronyms. 				Brian Krafthefer – completed

- Atmospheric Aerosol. 		Geoff Crosby. Geoff was absent. Ashish Gadhave and Jon 						Rajala offered to do the review

- Aerosol Characteristics. 		Brian Krafthefer – not done, no volunteers to help

- Air Cleaning Applications.  		Brian Krafthefer – not done, Gemma volunteered to help

- Mechanisms of Particle Collection. 	Peter McKinney absent -  Kathleen and Brian offered to help

- Evaluating Air Cleaners. 		Kathleen Owen and Tim Johnson - not done, still willing

- Air Cleaner Test Methods.	 	Kathleen Owen and Tim Johnson -  not done, add Paolo

- Types of Air Cleaners. 		Kathleen Owen, Peter McKinney, Tim Johnson - not done, 
					add Jeff to help

- Filter Types and Performances. 	KJ Choi - not done, help needed, Jon Rajala offered

- Selection and Maintenance.		Jon Rajala and Brian Krafthefer - not done, add John Randtke

- Air Cleaner Installation.		Kathleen Owen, Gemma Kerr and Brian Krafthefer - not done
					add John Randtke

- Safety Considerations.		Brian Krafthefer – done, another reviewer needed. No offers

- References. 				Brian Krafthefer and Caitlin - in progress

- Bibliography.  			Brian Krafthefer – in progress

- Index and Key Words			Brian Krafthefer - in progress

- Brian asked attendees to please comment on Revision “E”. Contact him if you have not received it.

Brian reminded people to log in to Chat and put in name and email

- Tables and Figures for chapter:

Table 1.		Update EPA reference (current is 2015)

Table 2.		No permission needed – keep Table as is

Table 3.		Permission needed - No because the hard info is from an ASHRAE standard

Figure 1. 	No permission needed, created specifically for chapter

Figure 2. 	No permission needed, created specifically for chapter

Figure 3. 	No permission needed – add other electrical types? Jeff wants ionization added

Figure 4. 	No permission needed – keep Figure as is

Brian and Kathleen said the chapter needs more Figures, it is visually boring. Jon Rajala offered to create new Figures if given what needs to go in. Brian asked everyone to think about the chapter’s needs and come up with some ideas for what we could do.

Brian reminded people to log in to Chat and put in name and email

- Additional topics to consider:

Should a section on Portable Room Air Cleaners be added? The consensus was yes, especially bearing in mind that we likely will have to prepare a new chapter on the subject and will need text on room air cleaners for it. Kathleen will take the lead, Tim, Gemma and Scott will help.

Section 8 – Air Cleaner Test Methods - could this be split into two sections? This might have meant duct-mounted and room. No action needed on the present content, just add the room air cleaner methods to the new section.

Comments on amending Section 9 - Types of Air Cleaners. It was noted that the section does not include all air cleaner types. The missing ones should be added.

Should the title for section 7 be changed? Currently it is “Evaluating air cleaners”. Content is mostly performance testing. Are there other means of evaluation (e.g. design adequacy)?  No consensus reached on the need for change.

Discussion on section order and moving Section 9 before 7 and 8. Paolo noted that there is some information on air cleaner types in Section 10, so this section should also be considered in the reorganization. It was agreed that the proper order should be (1) types of air cleaner (2) evaluation/test methods (3) classification based on performance.

Review the sizing for air cleaners (Section 11). Someone on the committee familiar with the actual installations is needed. John Randtke offered to help.

Section 10 seems to be quite large and it may work better to break it into two. This was discussed but there was no consensus on the need to split. K-J pointed out that some of the material is quite old and needs updating. Brian will look at this again.

- Any updates will be included in revision “G” of the chapter (there will not be a revision “F”).

- Brian would like to have an online meeting at the end of April. He will run a Doodle poll to select a suitable date and time.

Brian reminded people to log in to Chat and put in name and email

- The meeting was adjourned at 10:55 am.

TC 2.4 STANDARDS SUBCOMMITTEE

Minutes

Tuesday 1:00PM – 2:00PM, January 25, 2022

Virtual Conference

Code of Ethics Commitment

In this and all other ASHRAE meetings, we will act with honesty, fairness, courtesy, competence, inclusiveness and respect for others, which exemplify our core values of excellence, commitment, integrity, collaboration, volunteerism and diversity, and we shall avoid all real or perceived conflicts of interests.

- CALL TO ORDER

  - Introductions – NA due to virtual meeting

  - Chair’s comments

    - None

- UPDATE ON STANDARDS, GUIDELINES, AND MTGS WITHIN SCOPE OF TC 2.4

  - SSPC 52.2 - Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size (Todd McGrath)

    - PM - 52. 2 - Addendum B Passed and is out and part of method

    - Proposal to add optional bio-aerosol version of 52.2. HAS BEEN PUBLISHED

  - GPC 35P - Method for Determining the Energy Consumption Caused By Air-Cleaning and Filtration Devices (Geoff Crosby)

- No GPC 35 Summer Meeting

- RP-1734 – Great progress out of Purdue but still experiencing delays. Probably 3 months out.

- Henry (Hank) Greist of Lennox will be joining the committee as a non-voting member following the summer meetings

- Bruce McDonald, Andy Untz, and Joe Pessa have all been added to the committee as non-voting members

- Upcoming work will be to define testing/loading procedure. Starting with ASHRAE 52.2/ISO 16890 Duct procedures, adding in KCl sub-micron loading developed at Purdue. Hope is to have this methodology by October

- Interim virtual meeting to be scheduled following RP-1734 PMS meeting at end of July

- Following this will update our Work Plan to submit to ASHRAE for the final revision of it…

- In-person committee working session (2-3 days) January 2022 in Las Vegas prior to Winter meeting, which starts January 29, 2022

- Goal is to have the GPC 35 Draft complete by the Las Vegas 2022 meeting

- GPC 35 meeting not happening in Las Vegas but will try to schedule interim meeting

- ASHRAE LIAISONS

  - TC 2.3 Gaseous Air Contaminants and Gas Contaminant Removal Equipment (Matt Middlebrooks)

    - SSPC 145.1 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Loose Granular Media

      - No activity

    - SSPC 145.2 - Laboratory Test Method for Assessing the Performance of Gas-Phase Air Cleaning Systems: Air Cleaning Devices

      - Kathleen working on re-write to incorporate non-sorbent units

      - No further update as of 1-25-22

  - TC 2.9 Ultraviolet Air and Surface Treatment (Kathleen Owen)

    - SSPC 185.1 - Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms

    - SSPC 185.2 - Method of Testing Ultraviolet Lamps for Use in HVAC&R Units or Air Ducts to Inactivate Microorganisms on Irradiated Surfaces

      - No Update

- SPC 185.3P, Proposed Standard authorized May 2021. Standard 185.3P to be developed by SSPC 185.
Method of Testing In-Room Devices and Systems for Microorganism Removal or Inactivation in a Chamber.

- 1. PURPOSE
The standard establishes a method of test for evaluating in-room devices and systems for microorganism removal or inactivation in a chamber.

- 2. SCOPE:
2.1 The method of test specifies selected indicator microorganisms in the test chamber and defines procedures for generating the bioaerosols required for the method of test.
2.2 This standard provides a method for counting the number of viable microorganisms in the chamber to calculate the elimination efficiency for each microorganism.
2.3 This standard establishes minimum performance specifications for the equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.
2.4 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

Standard 185.4P – Proposed Standard authorized November 2021. Standard 185.4P to be developed by SSPC 185.
Method of Testing In-Room Ultraviolet Devices and Systems for Microbial Inactivation on Surfaces in a Test Room

PURPOSE: This standard establishes a test method for evaluating the efficacy of ultraviolet disinfection systems for microbial inactivation on multiple surface locations in a test room.

SCOPE:
2.1 The standard applies to ultraviolet devices and systems using only germicidal ultraviolet energy for disinfection.

2.2 The method of test specifies selected indicator microorganisms and defines procedures for inoculating test carriers in a room-scale test chamber.

2.3 The method of test defines the test carrier quantity and positions in the test room.

2.4 This standard provides a method for counting the number of viable microorganisms on the test carriers before and after ultraviolet inactivation.

2.5 This standard establishes protocols and minimum requirements for the materials and equipment required to conduct the tests, defines methods of calculating and reporting results obtained from the test data, and establishes a reporting system to be applied to in-room devices and systems covered herein.

    - 2.6 This standard does not address the health and safety effects of operating devices and systems in an occupied room.

  - TC 5.4 Industrial Process Air Cleaning (Len Duello has retired…new liaison??)

    - SPC 199 - Method of Testing the Performance of Industrial Pulse Cleaned Dust Collectors

      - Met 1-25-22 and are hashing thru revisions to update standard

  - TC 9.6 Healthcare Facilities (Zied Driss)

    - SSPC 170 - Ventilation of Health Care Facilities

      - No update

      - Zied looking for replacement (Jenny Berens??)

  - SSPC 62.1 - Ventilation for Acceptable (Commercial) Indoor Air Quality (Wane Baker)

    - New liaison – Wane Baker

    - No update

    - Effort now going into IAQ Guide 42P – Intent to provide guidance on how to go above minimal acceptable IAQ

  - SSPC 62.2 - Ventilation and Acceptable Indoor Air Quality in Low-Rise Residential Buildings (Brent Stephens)

    - No update

  - SSPC 90.1 - Energy Standard for Buildings Except Low-Rise Residential Buildings (Michael Corbat)

    - No update

  - US TAG to ISO/TC 142 - Cleaning equipment for air and other gases (Kevin Kwong)

Virtual plenary meetings were held on November 30 & December 2, 2021

# Working Group 2: UV-C TECHNOLOGY

ISO 15858:2016 UV-C Devices -Safety information -Permissible human exposure

ISO 15858 is in revision. Discussions involved the increasing usage of UV disinfection technology, LED UV, and 222nm UV during the pandemic.

# Working Group 3: General ventilation filters

The following projects have been submitted for FDIS balloting:

- ISO/DIS29462 (ed .2) Field  testing  of  general ventilation  filtration devices  and systems  for  in  situ removal efficiency by particle size and resistance to airflow

- ISO/DIS16890-2 (ed. 2) Air  filters  for  general ventilation – Part 2: Measurement of fractional efficiency and air flow resistance

- ISO 16890-4 (ed. 2) Air filters for general ventilation - Part 4: Conditioning method to determine the minimum fractional test efficiency

Work is in progress on ISO/CD 16890-5 “Measurement of fractional efficiency and air flow resistance for flat sheet filter media”

ISO 16890-3 “Air filters for general ventilation — Part 3: Determination of the gravimetric efficiency and the air flow resistance versus the mass of test dust captured” underwent a systematic review and a new draft has been started.

# Working Group 4: HEPA and ULPA filters

The following project was recently submitted for FDIS balloting:

ISO/CD 29463-5: High-efficiency filters and filter media for removing particles in air - Part 5: Test method for filter elements

A resolution was passed unanimously to register the following project as a New Work Item:

ISO 29463-1:2017 High-efficiency filters and filter media for removing particles in air –Part 1: Classification, performance testing and marking

# Working Group 5: Dust collectors, droplet separators, and purifiers

The following project was passed as a Working Draft in November 2021:

ISO 16313-2: Laboratory  test  of  dust  collection  systems utilizing porous filter media online cleaned using pulses of compressed gas – Part 2: Systems utilizing integrated fans

A resolution was approved unanimously to reinstate the following project as a Technical Specification:

ISO/PWI  16313-1 Laboratory  test  of  dust  collection  systems  utilizing  filter media  online  cleaned using pulses of compressed gas –Part 1: System not utilizing integrated fan

Working Group 7: Cleanable filter media used in industrial applications

Most work is focused on developing ISO/NP 23742: Testing method for the evaluation of permeability and filtration efficiency distribution of bag filter medium.

Working Group 8: Gas Phase Air Cleaning Devices and Media

ISO 10121-3: Test methods for  assessing  the performance  of  gas-phase  air  cleaning  media  and  devices for  general ventilation - Part 3: Classification system for treatment of make up air

Some laboratory testing still needs to be completed. The group is working on finalizing ISO 10121-3 for the FDIS ballot.

A resolution was approved unanimously to reinstate the following project as a Preliminary Work Item:

ISO/PWI 23743: Testing of gas phase air cleaners for improving perceived indoor air quality

Working Group 9: Particulate air filter intake systems for rotary machinery and stationary internal combustion engines

ISO 29461-1: Air filter intake systems for rotary machinery – Test methods –

Part 1: Static filter elements

Revised standard was published in September 2021.

ISO/NP 29461-3: Air intake filter systems for rotary machinery –

Part 3: Test methods for mechanical integrity of filter elements

Development on this project will increase in 2022 with a DIS registration date in January 2023.

ISO/PWI 29461-4: Air intake filter systems for rotary machinery –

Part 4: Test methods for static filter systems in marine and offshore environments

Registration of a DIS is expected in 2022.

ISO AWI 29461-7, Air filter intake systems for rotary machinery – Test methods –

Part 7: Filter element endurance test in fog and mist environments

FDIS is under preparation

# Joint Working Group 10: Aerosol filters for nuclear applications (Joint between ISO/TC 142 and ISO/TC 85/SC 2)

ISO 23137-1: Requirements for nuclear aerosol filters to be used against specific severe conditions - Part 1: General requirements

Most activity is concentrated on the development of this project.

# Working Group 11: Portable room air cleaners for comfort applications (Joint between ISO/TC 142 and IEC/TC 59)

A new subcommittee of TC 59 (SC59N) was formed on November 3, 2021. SC59N approved unanimously the creation of 5 Working Groups and 1 Maintenance Team as follows:

WG 1 - Reduction of particles

To develop performance test method standards for reduction of particles by household and similar electrical air cleaning appliances

WG 2 - Reduction of chemical gases and ozone

To develop performance test method standards for reduction of chemical gases by household and  similar electrical air cleaning appliances

WG 3 - Reduction of microorganisms

To develop performance test method standards for reduction of microorganisms by household and similar electrical air cleaning appliances

WG 4 - General characteristics

To develop guidelines for and management of Round Robin Testing, noise measurement (with TC 59/WG 2), consumer information on sensor communications, measurement of air cleaning appliances in automatic mode, and measurement of electrical power/energy

WG 5 - Special types of air cleaners

To develop performance test method standards for special use air cleaning appliances, including  fresh-air, air cleaning appliances, passenger vehicle portable air cleaning appliances and robotic/mobile air cleaning appliances

MT 6 - Maintenance of IEC 63086-1

To maintain IEC 63086-1, Household and similar electrical air cleaning appliances - Methods for  measuring the performance - Part 1: General requirements

# Working Group 12: Sustainability of air cleaning equipment and media

No activity in this working group. They are waiting on the results of an ASHRAE project at Purdue University. The following projects are the responsibility of WG12:

ISO/PWI 12249-1 - Particulate air filters for general ventilation - Part 1: Method of calculation for the life cycle cost for air cleaning devices

ISO/PWI 12249-2 - Particulate air filters for general ventilation - Part 2: Method of calculation for the energy performance of air cleaning devices and for the classification of the energy performance

# Working Group 13: Biological Equipment for Waste Gas Treatment

Work is primarily focused on the following two projects:

ISO/WD 23138 - Biological equipment for treating air and other gases - General Requirements

ISO/WD 23139 - Biological equipment for treating air and other gases - Application guidance for deodorization in wastewater treatment plants

  - MTG. ACR, Air Change Rate (Delegate – Bob; Alternate – Michael)

    - No meeting

  - TC 4.10 (Brian K)

    - Starting a standard that includes particulates from the modeling aspect

    - Had not met as of this meeting

  - TG2.RAST (Kathleen)

    - Had 1st meeting. Formed WG to look at what additional standards would be needed to incorporate air cleaners that aren’t currently covered.

- OLD BUSINESS

  - MTG, GPC for implementing cleaning technologies in combination; collaboration between TCs 2.4, 2.3, 2.9 (Brian K)

    - No update

- NEW BUSINESS

  - Need liaison for ANSI/ASHRAE/ACCA 180 – Bob Burkhead

    - No update

- INFORMATION EXCHANGE

  - AFS (John Rajala, Rahul Bharadwaj)

      - Moved from 2 per year to annually

      - Next conf Louisville FiltCon May 1-3, 2023 Louisville, KY

  - CEN/TC 195 - 	Air filters for general air cleaning (Paolo Tronville)

  - EUROVENT (Paolo Tronville) – No update

  - IEST – Institute of Environmental Sciences and Technology (Vijay) – no update

  - AHRI 680 – Performance Rating Residential Air Filter Equipment

Vincent Hwang -Last edition published 2016 – due for republishing in 2021

  - INDA – International Nonwovens Development Association (Tom Justice)

    - FiltXPO

      - Co-locate with IDEA Miami  - March 28-31, 2022

  - NAFA (Tom Justice)

    - 2022 Technical Seminar Louisville, Ky Apr 5-8

    - 2022 Annual Convention Coeur d’Alene, Idaho Sep 19-22

  - ISO/TC 22/SC 34 - Road vehicles - Propulsion, powertrain and powertrain fluids (Paolo Tronville, Bruce McDonald)

    - WG3 – Air filters

    - Standard 12103 Part 3 – Published Standard

    - Urban loading aerosol being developed

    - Soot as separate (new) test aerosol in addition to ISO Fine (5011)

    - Working on test method to utilize soot as an aerosol (95 nm to 105 nm)

  - UL 900 (Randall Haseman)

    - Looking at adding Carbon Filters to standard – No more

    - Pushback on new proposal – all comments have been against – all votes were against

  - IAQ Meetings (Jeffrey Siegel)

    - May 4-6 2022 in Athens, Greece

  - FILTECH Expo and Conference

    - March 8-10 2022 Cologne, Germany

  - Indoor Air Conference (ISIAQ)

    - Next will be 2022 June 12-16 in Finland

  - American Association for Aerosol Research

    - Oct 3-7 2022 in Raleigh

  - International Aerosol Conference

    - 2022 Athens Greece

  - Asia Filtration Show / FILTREX

    - TBD

  - World Filtration Congress

    - WFC 13 San Diego, Moved To Oct 5-9 2022

  - World Congress of Particle Technology

i. No info

  - Korean Filtration and Separation Society

    - 2nd Air Filtration Basic Course May 30-31

    - 2022 KFS Conference Nov 21-22, Hanbat University

  - WFI Annual Conference

No update

  - Healthy Buildings

    - No update

The focus of the Standards Subcommittee is on the writing and continued maintenance of standards and guidelines written for HVAC&R air filtration.  This group not only reviews ASHRAE standard and guidelines but also keeps an active reporting system of HVAC&R standards and guidelines produced by other organizations and other countries around the world.

This TC is Cognizant for the following standards

ANSI/ASHRAE Standard 52.2: Method of Testing General Ventilation Air Cleaning Devices for Removal Efficiency by Particle Size
ANSI/ASHRAE Standard 185.1: Method of Testing UVC Lights for Use in Air Handling Units or Air Ducts to Inactivate Airborne Microorganisms.

This TC is CoCognizant with TC 7.3 lead for the following standard

ANSI/ASHRAE/ACCA 180: Standard Practice for Inspection and Maintenance of Commercial-Building HVAC Systems

- ATTENDANCE – names carried over from 9/21 Virtual

|  | Name | Company/Address | Email |
| --- | --- | --- | --- |
| 1 | Bobby Singer | BHT |  |
| 2 | Todd Mcgrath | Glasfloss |  |
| 3 | Geoff Crosby | Lydall |  |
| 4 | Matt Middlebrooks | Filtration Group |  |
| 5 | Kia Kiantaj | LMS |  |
| 6 | Christine Sun | Waterloo Filtration Institute |  |
| 7 | Len Duello | Lincoln Electric |  |
| 8 | Don Thornburg | Camfil |  |
| 9 | Michael Corbat | Rensa |  |
| 10 | Tim Johnson | TSI |  |
| 11 | Morris Richardson | Johns Manville |  |
| 12 | Dara Feddersen | H & V |  |
| 13 | Jeni Wong | Johns Manville |  |
| 14 | Jeffrey Siegel | U of T |  |
| 15 | Justin Koczak | TSI |  |
| 16 | Mick Flom | 3M |  |
| 17 | Bernard Olsen | U of Minn |  |
| 18 | Bruce McDonald | Retired |  |
| 19 | Behnat Shoar | Lydall |  |
| 20 | Rahul Bharadwaj | Lydall |  |
| 21 | KJ Choi | Clean & Science |  |
| 22 | Keith Chesson | Parker |  |
| 23 | Jon Rajala | AAF Flanders |  |
| 24 | Bob Burkhead | BHT |  |

#### Draft Minutes

#### TC 2.4 Program Subcommittee Meeting

#### January 25, 2022 – 2:00pm-3:00pm EST

#### Subcommittee Chair: Jon Rajala

- Call to Order

- ASHRAE Code of Ethics

#### Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.”

#### For more, read here:

#### https://www.ashrae.org/about/governance/code-of-ethics

- Introductions – Skip due to virtual format

- Submissions?

#### I didn’t see any submissions for TC 2.4 for this conference.

#### K-J submitted and was accepted but withdrawn due to speakers not being able to attend. Will re-submit for Toronto.

- Next conferences:

#### 2022 ASHRAE Annual Conference Totonto, ON, Canada June 25 – 29, 2022

#### https://www.ashrae.org/conferences/2022-annual-conference-toronto

#### Wednesday, January 05, 2022: Conference Paper Accept/Revise/Reject Notifications
Thursday, January 06, 2022: Website Opens for Seminar, Workshop, Panel, Debate, Forum and Extended Abstract Proposals
Friday, January 14, 2022: Revised Conference Papers/Final Technical Papers Due
Thursday, February 17, 2022: Extended Abstract Paper Due
Friday, February 18, 2022: Conference and Technical Paper Final Accept/Reject Notifications
Tuesday, February 22, 2022: Program Submissions Due
Friday, March 18, 2022: Extended Abstracts Accept/Reject Notifications
Friday, April 01, 2022: Debate, Panel, Seminar, Forum, Workshop Accept/Reject Notifications

- Proposals in Progress – Working list notes

| Type | Title | CoSponsor | Chair |
| --- | --- | --- | --- |
| Future idea Toronto | Particles in Outer Space … Contact NASA *Mike contacted Vijay. Unsure of when Vijay will get information. Lot of interest on moon particulate – just need to find the right contact working in this subject. Marilyn – will help contact Morris – can assist as needed Jon – bother Vijay about this after summer |  | Vijay, Mike Corbat (NASA) |
| After Las Vegas Maybe Toronto | Climate and particulates: filtration, loading, entrainment 2 other people with Brian – Kathleen maybe? Brandon Boor (maybe phase 1 report) Brandon Boor Phase 1 report is available now, but probably not the right time for him to work on this with project delays. Brian – contact with wildfire smoke for presentation Kathleen can possibly provide something if can’t find others Mattea – can help put together presentation materials – lessons learned from wildfires and future planning | 2.4, 2.9? | Brian Krafthefer |
| After Las Vegas | Particles above 10 um – still need to talk and find speakers * Jeff can add to presentation from residential particles * Kathleen – droplets? Medical? COVID related Lindsay Maher (?) * Brian – has some people to check with * Marilyn – Sneeze particle information online – need to see if people have measured this – found paper, can contact authors * Tim can look and send info to Brian * Zied – research at MIT – slow motion camera Brian needs contacts to speak on this * Vijay can possibly combine space particle here if we can’t fill cull session on that topic * Pollen – Randy Cooper - AHAM |  | Brian, Brandon, Jeff |
| *Definitely after Las Vegas | Does particle matter really matter? EHC/UV – hospitals * Marilyn - No update, but leave on list | 2.5, EHC?, IEQ-GA | Marilyn Listvan – Bill Bahnfleth, C Seyffer |
| Toronto | Jeff – Why you shouldn’t lick your filter Possibly two topics contaminants/what’s on filters and how we can detect *Leave this on the list. Jeff is still interested. *Check with Brian. If Brian is not interested, take this off the list. *Christine – Leave on list. Topic is interesting, emerging. *Marketing people would be interested in this topic. *Jon – Can contribute to this topic No update this meeting, but leave on list *Jeff – what can we learn from what is caught on the filter *KJ – smart filter – smart fibers/fabrics *Kathleen can help discuss what is found on filters *Mattea – Intel possibly has data from types of things found on the filters and odors – can help Kathleen *1 smart fiber/filter type presentation and 2 related to contaminants? | 2.4, 2.3 | Jeff Siegel/Kathleen/Jon Rajala – Brent, Seigel, Chuan He KJ – textile speaker |
| Toronto | COVID and indoor air purifier (filtration) *KJ – find speaker related to room air cleaner *Jeff – Brent Stephens and Elliott Gall gave a presentation to EPA, might have to be handled carefully, can also talk *Kathleen – comment - present data from using air cleaners *Marilyn – comment about how to handle potentially infected filters *Mattea – Intel had policy where up to person doing the work, but no confirmed cases of COVID from handling filters |  | KJ Good speakers, difficulty traveling, so virtual/hybrid option better |
| Chicago or after | Effects of Forest Fires on IAQ *Jeff – EPA has done a lot of work that is publicly available. EPA did a 2-day workshop on this topic. *Jeff thinks there isn’t a need for this in ASHRAE. Brian - TC (?) looking into forest fire withing ashrae COMBINED WITH CLIMATE PARTICULATE IDEA |  | Jeff S, Brian K |
| After Toronto | Paul Francisco – maybe step outside technical and discuss policy for indoor air quality – what can be done to help people stay healthy, particularly low income where they may be abandoned and in more hazardous areas (pollution levels for road traffic, etc…) Geoff – Health outcomes/research on this Vijay – Possibly involve other TCs and debate/forum |  | Geoff Crosby, Paul F., Brian K. |
| Conf Paper and … ??? | Urban Aerosols … wait for RP1734 *Waiting for research projects to finish. |  | Brandon, Zied |
| Conf Paper and … ??? | Local Sensors … wait for RP1756 *Waiting for research projects to finish |  | Jordan Clark, Zied |
|  | Smart Filter |  | KJ |

- Looking for a new Program Subcommittee Chair

  - I am happy to help in transition as co-chair/vice-chair, but would like to transition this subcommittee to someone else starting Winter 2023

- Anything else?

- Adjournment

#### Attendees (people who put info in chat)

Name

Jon Rajala

Geoff Crosby

Gemma Kerr

Scott Parris

Kathleen Owen

Jeni Wong

Paul Francisco

Lu Song

Brian Krafthefer

John Randtke

Sanjeev Hingorani

K-J Choi

Tim Johnson

Bobby Singer

ASHRAE RESEARCH SUBCOMMITTEE MEETING

TC2.4 – Particulate Air Contaminants/Removal Equipment

Winter 2022

Virtual Conference

Thursday, January 28, 2022

10:00 AM – 12:00 PM Pacific Time

WebEx: https://events.rdmobile.com/Sessions/Details/1263151

Meeting number:
2344 117 0938
Password:
TC2.4

Join by phone
18662994153 United States of America Toll Free
+14702385742 US Toll
Access code: 2344 117 0938

- Call to order

- Review of agenda

- ASHRAE Code of Ethics

  - Introduction: “As members of ASHRAE or participants in ASHRAE activities, we pledge to act with honesty, fairness, courtesy, competence, integrity and respect for others in our conduct. We will avoid conflicts of interest, and behavior that is discriminatory and/or harassing.” For more, read here: https://www.ashrae.org/about/governance/code-of-ethics

- Research chair’s comments

  - Goals of TC 2.4 research subcommittee:

    - Always have one funded project

    - Consider particulate air filtration as well as the “nature of particulate contaminants”

  - Reminders:

    - RAC deadlines for RTAR/WS submission (Get “M-M-A-D” at RAC: March, May, August, December 15)

  - Update from the Section 2 “chairs breakfast” – no update, this is Monday morning January 31

  - RAC liaison update

    - New liaison effective July 1, 2019: Bill Hutzel; update whenever time allows. Normally would have a RAC meeting completed by now but RAC hasn’t yet met. Anxious to learn more about the status of moratorium on new projects moving forward. One maybe new piece of information: RAC has been developing a Basecamp site with the goal of sharing information in more real time. TC 2 (especially 2.3 and 2.4) continue to be some of the most active in ASHRAE.

- Active project updates:

  - 1734-RP, Reproducing the Typical Urban Atmospheric Aerosol in Laboratory for Air Filter Loading

    - PI: Brandon Boor, Purdue University

    - PMS: Paolo Tronville (Chair), Geoff Crosby, Tom Justice, Brian Krafthefer, Bruce McDonald

    - PI/PMS to provide brief summary of project to date

    - Update: met Monday. Had to move their test rig. Making progress and starting to produce data. Some difficulties in controlling RH (too dry in winter time). Expect experimental work to be completed by summer time. Recollection is that an extension was already requested so no action necessary at this time. The research is now essentially being completed with the PI’s own funds. May be another request for a no cost extension.

  - 1756-RP, Evaluation of Low-Cost Particle Sensors for Indoor Air Quality Monitoring in Smart Building Systems

    - PI: Andy May, co-PI: Jordan Clark, Ohio State University

    - PMS: Brent Stephens (Chair), Paolo Tronville, Vijay, Glenn Remington (TC 7.5), and Liping Wang (TC 7.5)

    - PI/PMS to provide brief summary of project to date. Draft final report submitted; review comments provided; currently undergoing revision.

    - Vijay: the PIs have exceeded what he thought was possible; they’ve done outstanding work

  - 1784-RP, Repeatability and Reproducibility Assessment of ASHRAE Standard 52.2 as currently Amended

    - PI: Kathleen Owen, Owen Air Filtration Consulting, LLC

    - PMS: Matt Middlebrooks (Chair), Gemma Kerr, Rahul Bharadwaj, Thad Ptak, Keith Chesson

    - PI/PMS to provide brief summary of project to date.

    - Rahul: going well but some delays due to lab availability. Biggest concern now is labs that do appendix J. Summer 2022 likely completion, if not before.

    - Kathleen: no more weird squiggles in the data

- Co-sponsorship

  - 1878-RTAR “Outdoor particulate matter penetration and indoor PM removal rates in naturally ventilated commercial buildings” (Lead: TC 4.3; co-sponsorship by SSPC 62.1)

    - Sought co-sponsorship from TC 2.4 as well (which was voted on in the main TC 2.4 meeting in January 2019; RTAR accepted by TC 2.4 12-0-0-4-1 CNV)

    - Kathleen Owen volunteered to serve as WS author and on PES; Jordan Clark also volunteered to assist.

    - RAC approved this RTAR with comments in KC. This can now go to the Work Statement phase, to the liaison, but must address comments.

    - Update from last meeting: Jordan: will probably drop this.

  - 1858-WS, writing underway from TC 2.3 (Jensen Zhang, Kevin @ LMS): “Evaluation of HVAC ventilation effectiveness in reducing SVOCs in indoor spaces.” Small- and large-scale chamber testing. Looking for co-sponsors and 2.4 PMS members.

    - Lead: Sanjeev Hingorani

    - Volunteers: Brandon B, Jim R, Brent S

    - Update from last meeting: Sanjeev had been planning to work on it February 2021 for March 2021 re-submission; hasn’t approached 4.3 yet.

    - Update last meeting: Sanjeev: it had been submitted as WS and came back with comments, needs to go back for re-vote at RAC. Only update is to regroup this month and attempt to address them.

    - Sanjeev: Did not get a chance to do any work but will prioritize soon.

    - Yusuf Bhetasi also stressed that there are some other TCs with interest in ventilation effectiveness. MTG ACR; TC 9.11 clean spaces; TC 5.3 room air distribution.

  - WS-1907 (Global IAQ Database)

    - Initiated by TC 2.1; 2.4 voted (15-1-0-0-1); co-sponsorship by 4.3

    - RAC accepted with comments before last meeting; WS submitted in 2020, RAC returned with comments (generally positive): 1) data platform beyond the project duration; 2) too long project duration, and 3) absence of names from other potential bidders.

    - No updates. Need to find out more.

  - RTAR submission “Determination of the CO2 and Aerosol Generation and Metabolic Rates of Occupants for Selected Indoor Activities”

    - TC 2.1 lead (Meng Kong)

    - 2.3 and 2.4 potential cosponsors; went out for 2.4 vote May 2021

    - Status update?

    - Meng Kong (author of RTAR): received RAC feedback and working on revision and resubmission. Major feedback was regarding motivation for why the work is necessary. And more detailed description of budget. Currently no one from 2.4 working with him on this; anyone interested?

    - Vijay interested.

- Work Statement (WS) activity between meetings

- RTAR-1895, working into WS: Combined gas and particle filters and impact on each other when used in series (and more specifically: how does particle loading affect gas phase performance?)

- Champion: Brian Krafthefer

- Update from summer 2020: there is a conditionally approved RTAR (RTAR-1895). 2.4 not a co-sponsor right now; primarily a gas-phase project right now. Brian, Vijay, Matt, and Paula will be working on a WS on this. Kathleen volunteered as well. Already has 62.1/62.2 and 52.2 as co-sponsor. Doesn’t require 2.4 necessarily, but they can keep us informed, or would be happy to have 2.4 as co-sponsor.

- Update last meeting: Brian: waiting for one final person to comment on the WS draft, and hopes it goes out to RAC by August.

- Status update? Brian: still in progress. Plans to go ahead and submit by the next deadline. Will need a vote on it because it has been changed since RAC comments; 2.4 would like to be involved. Voting members should have a chance to review it if we want to take a vote at the main meeting (and not sure if there will be quorum at the main meeting).

- WS-1913 “Study of the Level of Filtration Required to Maintain Electronic Equipment Reliability in Regions of High Sea Salt Concentrations”

    - Initiated by TC 9.9; 2.4 voted (15-1-0-0-1) (9.9 point of contact = Mark Seymour)

    - Update last meeting: some lack of communication led to submitting this directly as a WS; RAC rejected it last meeting; Paolo had some thoughts on how to make the approach more relevant to ASHRAE, but it’s unclear where they will go next. Also 1 negative vote from 2.4 was not looked upon favorably.

    - Status update? No update.

- RTAR activity between meetings

- RTAR-1880: “Characterizing Indoor Particle Size Distributions to Inform Air Filtration Standards and Guidelines” (now possibly titled: “Characterizing Physiochemical Properties of Indoor Aerosols”)

    - Original goal: Literature review and measurements of indoor particle size distributions to generate typical ranges and distributions for informing filtration metrics

    - Champions/co-authors: Jim Rosenthal, Brent Stephens, help offered by Paolo Tronville, Geoff Crosby, Brandon Boor, Satish D

    - Action from last meeting: RTAR was submitted to 2.4 for voting and was approved 13-3-1; target budget of $195k over 24 months; RTAR was then submitted to RAC and assigned RTAR #1880 in April 2019

    - Status: Rejected by RAC in KC. RTAR was submitted with 4 negative votes and no comments. RTARs should have comments addressed before submitting to RAC. We may be able to resubmit if we address the comments.

    - Update in Orlando: The purpose of this research project is to gain better understanding of indoor particle size distributions across a wide range of particle sizes. Brent to take lead on addressing the comments and possibly resubmit to RAC. Kathleen can help in ~3 months if Brent needs help.

    - Update since last meeting: Brent had begun a revision last meeting; discussion led to beginning with a literature review of the state of the science on what’s known about indoor aerosols (phase 1/phase 2 approach); consider bringing in 2.3 or EHC. No further updates (on Brent’s to-do list, but no progress)

- New RTAR (unassigned #): Develop a test method to evaluate the longevity efficiency of electrostatically charged media as an alternative to IPA discharge method

    - Champion: Rahul Bharadwaj with help from Al Vatine, John Zhang, Thad Ptak, Dan, John Horns, Vijay, and Zied.

    - TC 2.4 voted on RTAR previously; did not pass. In Houston, Kathleen, Vijay, and Paolo volunteered to help Rahul. There is support for the idea, but it needs revision, including better acknowledging past research, reducing the funding amount, refining objectives, and making clear distinctions about the research need. There was no real movement on this at the Winter 2019 meeting.

    - KC Discussion: Jim Rosenthal and Rahul Bharadwaj to co-Champion. Dan Haas volunteered to assist, Saravanan (Berry).

    - Update this meeting: No update from Rahul and needs a new champion. RTAR is written and comments are all there from 2.4.

    - Question: Difference between this and Appendix J? Rahul: is there an analytical method (not duplicating Appendix J conditioning test) to determine the difference in media that loses charge in a short period of time versus long period of time (IPA discharge doesn’t distinguish the two). Can there be a test method to evaluate electrostatic charge over time. Bob: 52.2 already tests this duration issue (but doesn’t require reporting it).

    - Perhaps this becomes a request to amend 52.2 to require this reporting.

    - Kathleen: topic hasn’t come up at 52.2 as a research topic. Some feel appendix J and IPA is sufficient (this is no longer true as of June 2021)

    - Rahul: would need a new champion if there is interest; Jim showed interest but unsure if he volunteered to lead; may want to archive/eliminate this

    - Bruce: the 1734 aerosol generator might speed up Appendix J a lot…. Might not need this research if so.

    - Kathleen: 52.2 working on something on predicting lifespan, working group led by Jim Rosenthal, might want to share this with them. A ‘flat sheet charge methodology’ per Geoff.

    - Vijay: charge durability index is being worked on (similar topic area)

  - RTAR-1928 (now WS-1928) Epidemic Task Force related idea on portable/stand-alone air cleaners testing/MOT, essentially how do you test a device in a duct and chamber rig?

    - Jeff Siegel, Bob Burkhead, Tom Justice, Matt Middlebrooks, Liju Eapen, John Zhang, and Michael Corbat have all provided comments

    - General consensus seems to be that as a society we should probably be acting in this domain, but that doing so is fraught with challenges (internally and externally)

    - Update last meeting: Matt M has a working title and a start to an RTAR. Group of 6-8 people willing to work on it. Focus right now would be on microbial effects of room-based devices, using a combination of chamber and duct test method; TC 2.9 (through SSPC 185) is also in the process of a chamber test method. Goal is to get the group together for the March 15. Would assess byproduct formation as well; various types of devices; microbes on surfaces and in air.

    - 2.4 voted to approve RTAR May 2021

    - Matt M: has been submitted to RAC and got some comments back, they’ll meet next week. Narrowed scope to microbial effects. TC 2.9 led, 2.4 co-sponsored. Could lead into another future project on non-microbiological (e.g. particles) and 2.4 could lead, conceivably.

    - Update Jan 2022 from Matt M: developed into a WS based on RAC’s acceptance with comments last summer. More or less completed WS. Need 2.4 vote to co-sponsor; project has expanded a lot. Also approaching 9.6. Hoping to get someone to take over the submission. Jeff will circulate for vote.

- Liaison reports

- Work time on any new or existing RTARs, WS, and other proposals

  - How do you do high efficiency filtration in new residential systems like VRFs and mini splits, also mechanical ventilation?

- Champion: Tom Justice

- Update in Orlando: Tom Justice provided an update via presentation “Do HVAC trends support better filtration?” VRF systems are some of the fastest growing equipment in North America; and their ability to incorporate good filtration appears to be minimal. Often MERV 2 or 3 filters, essentially screens, are used in these systems. Manufacturers anecdotally don’t seem to be interested in pursuing high efficiency filtration. This might not even be a research project, but one idea could be to fund a small project (i.e., with literature review on filtration in VRF systems and perhaps some lab or in-situ testing of filtration particle removal efficiency, pressure drops, and fan power draws with different filters/media in VRF systems) that could be used to show the need for more R&D on how to improve filtration in VRF systems. (Could also add ERV/HRV mechanical ventilation systems to this).

- Updates/volunteers?

- Tom: the initiative might begin with a forum to identify interested parties; equipment and filtration TCs; form an MTG, who would then oversee a research project on how manufacturers are addressing these issues. Frank Mills has written two guidelines that are relevant; he’s agreed to help form this MTG. May just plan to submit a new MTG proposal.

  - 3D printer emissions/control (with TC 2.3)

    - From Paula Levasseur with interest from Gemma Kerr

    - Update from last meeting: Kathleen has reached out to a TC from section 9 (venting devices) and will follow up

    - Discussion from KC: Can’t be done by 2.3 and 2.4 alone, will need input from exhaust systems folks. UL may be working on a standard for this. Gemma has no real update, may be discussed in TC 2.3. Paula has seen a few emails but has no real update.

    - Updates:

      - Marilyn volunteered; Brian has been looking into UL standards on 3D printer emission testing

      - Kathleen: current biggest issue is not having a champion to really lead it

      - Gemma: the UL standard is an emissions standard, but what we really need is research to ID what’s needed in terms of ventilation and thus need help from a committee that does this sort of thing

      - Gemma: could ultimately become a standard for ventilation/filtration for spaces with 3D printers

      - Brian K: interested in helping push it forward

      - Brent: literature on emission rates is strong; could see a combination of modeling and measurements of interventions to inform recommendations for ventilation/air cleaning

    - Gemma: 2.3 has some interest, probably need to get people outside of 2.3 and 2.4 to be able to investigate how printers needs to be exhausted/ventilated/etc. Gemma began a preliminary RTAR draft and has a few names from other TCs to potentially contact. Will share with Brent and Marilyn for review.

    - Still a useful topic but no champion driving it and needs more than just 2.3/2.4 because it involves system issues like exhaust. Kathleen a few years ago contacted several TCs that would reasonably be relevant but didn’t get much interest. Maybe TC 5.4 industrial process air cleaning. Could even broaden to a ‘maker spaces’ type of project. TC 9.7 educational facilities, also 9.10 laboratory systems, or 9.11 clean spaces. Just needs a champion to drive this. Gemma, Marilyn, Brian, Brent remain interested. Also possible interest from 'Qian Zhang' <qian.zhang@ul.com>

  - Forest fire smoke and impact on retirement communities (Kathleen Owen, from Dave Ensor)

    - Jeff S: Fisk and Chan paper; Health Canada project on retirement homes

    - EPA had a webinar last week with some really good speakers

    - Brian Krafthefer offers to assist, not chair, will work with Handbook Chapter 11 to see if they have interest in this area.

    - Updates?

    - Jeff S: ASHRAE has a committee looking at wildfire smoke (Guideline 44), Steve Emmerich is leading it

    - Paul Francisco: EPA just had a call out for funding on wildfire smoke mitigation indoors in general; Washington state too; maybe recommend what ends up being done and what gaps if any are fillable by ASHRAE

    - Marilyn: don’t necessarily need to limit to retirement communities, could broaden

    - Kathleen: a problem that’s not going to go away, not necessarily just retirement communities, and a joint 2.3/2.4 issue

    - Brian: infiltration of outside smoke

    - Brent: would be good to explore what ASHRAE guidance is out there on wildfires (e.g. https://www.ashrae.org/File%20Library/Technical%20Resources/COVID-19/Planning-Framework-for-Protecting-Commercial-Building-Occupants-from-Smoke-During-Wildfire-Events.pdf) and also EPA and other orgs. (Brian K volunteered to review)

      - Peter: some of this covered in a recent NASEM workshop and presentations.

    - Paul F: with the EPA funding that is getting awarded (several million), probably recommend to step back for a bit and revisit in a year when we know where this research goes

    - Marwa: update from 62.1 on GPC 44.P, a new proposed guideline specifically about minimizing occupant health impacts from wildfire smoke, should be published soon (can see TPS on ASHRAE website). Brian reiterated this in this meeting.

    - Mattea: Intel has been interested in wildfire smoke effects and filtration as primary control as well.

    - Brent: review this to familiarize ourselves with current guidance: https://www.ashrae.org/file%20library/technical%20resources/covid-19/planning-framework-for-protecting-commercial-building-occupants-from-smoke-during-wildfire-events.pdf

  - Impact of aerosol phase state on filtration efficiency and loading kinetics of HVAC Filters under varying humidity (Brandon Boor)

    - Can be done on small scale; focus on organics among others

    - Bruce McDonald has some experience here and volunteered to help.

    - Brandon would like to move forward following 1734-RP.

    - Brian Krafthefer expressed interest.

    - Updates?

    - Brian, January 2021: no updates

    - Bruce McD: was discussed some at the PMS meeting for 1734 because they’re seeing some humidity/loading effects. Could be a follow on for 1734.

    - Brian: should we look at this ahead of time to be ready for this? No updates

  - Pollutant sensor rating method idea (Jordan Clark)

    - RTAR is already drafted and 4.3 is voting on lead sponsorship this meeting; might make sense to have someone from 2.4 on the WS and PES/PMS as well

    - Trying to get Smart Buildings TC involved, but no success yet. Jordan working on this.

    - Summer 2020 update: Jordan brought this up in PMS meeting for 1756 and will work on moving it forward

    - Updates? No updates; probably abandon.

    - Rami Alkhalil expressed interested in this idea, especially in the area of smart sensor (e.g., taking multiple signals of contaminants)

  - Following up on 1649-RP, Tom Justice proposed the idea of a project to fund a design guide on residential filtration to help better assist the residential designer and user on how to better understand relationships between the filter, system, building, and operation. A large number of factors affects filter effectiveness outside of filter performance rating alone. Could be a follow on to the recently published residential IAQ guide, going out to bid (rather than project PI or PMS or other volunteers doing all of the work).

    - Tom follow up this meeting: he has drafted a TPS for an MTG on this, as it seems to be how ASHRAE has generally gone out about generating guidelines; talked to some other TCs, awaiting input

    - Sina Yousefi expressed interest in this, from AAF

- New ideas (work time for the rest of the meeting)

  - Discussion around COVID-19 related projects from last meeting (e.g., respiratory particle modeling, disease transmission modeling)

    - Any updates?

    - Marilyn: a paper showing a visualization of airflow/particle dispersion made a big impression on her; Zied mentioned he spoke with someone at CDC on a restaurant study

    - Brent: any portable/stand-alone air cleaner placement work needs to get done?

      - Kathleen: thinks we need better CFD type work done on this (maybe 4.10 indoor environmental monitoring)

      - John Zhang: related to portable devices for removing bioaerosols? (yes, could be). They did some AHAM chamber testing of viral challenges (no ventilation, did not explore spatial distribution).

      - Zied: could it be tailored to commonly used confided spaces like elevators?

      - Brent: TC 5.3 room air distribution might be interested?

      - Peter McK: how do you handle the placement of the assumed infector

      - Brent: lots of claims of re-entrainment/resuspension from air velocity from air cleaners, etc. (Kathleen: function of particle water content/status as well).

      - Jeff: given ASHRAE’s funding situation, he can’t imagine a project on COVID go through by the time they have funding

        - Kathleen: non-COVID re-entrainment somewhere down the line could be relevant to ASHRAE

  - Geoff and Kathleen is working on an RTAR with 9.6 that would be co-sponsored by 2.4. “Cost and energy implications of increased filtration efficiency in healthcare facilities.”

    - There is interest now; would involve field measurements at select healthcare facilities

    - Kathleen: Status is that it has been written once and reviewed by liaisons, needs to have some edits made and then will be shared, aiming to hit March deadline

    - Latest update from Kathleen: no traction, as more than half of 9.6 didn’t think it was a good idea, referencing a paper citing lots of assumptions (but not actual measurements) on this very topic (“the data are already out there”). “not terrible, just weird.”

    - Brian to Geoff: is this of interest to GPC 35? Possibility to move from 9.6 to a different building type? What about TC 7.6 building energy performance? Brent to pursue this idea…Hyojin Kim (NJIT) is the current research subcommittee chair (no follow up yet)

    - Kathleen to send latest version to Brent and Brian for review (did not see this)

    - “Fan Energy and Airflow Implications of Air Filtration in Commercial HVAC Systems”

  - Chrystal Jolliffe: coming off of Rahul’s longevity of electret media idea, but instead it could more of a flat sheet approach so you could measure the physical properties of what’s changing under conditioning steps and how it relates to known contaminants identified in other research projects.

    - Actively working on RTAR draft within 52.2 (Kathleen and John Rajala helped edit)

    - Intent is to share with 52.2 group for review and then forward to 2.4 after that.

    - Kathleen: It is an RTAR, not just an idea at this point!

    - 52.2 would lead and 2.4 co-sponsor

    - Sina Yousefi

    - Chrystal has an RTAR ready to go, will send to Brent for review and then

- Other items

- Meng Kong: 5.10 (kitchen ventilation) new idea for evaluating pollutants generated by small cooking countertop devices; seeking co-sponsorship from 2.4 and 2.3. Very early stage. Thad: many studies on particle and gas phase emissions; might be difficult to get funded, unless packaged with also factors such as ventilation and distribution through the house.

- Brendon Burley: coming from SSPC 170 (ventilation of healthcare facilities), they are looking for some volunteers to serve as liaison (formally or informally). Jenny Berens is interested (secretary of 52.2).

- Nick Clements: coming from EHC. Starting an effort to write an emerging issue brief on reactive oxygen species and their byproducts. If anyone is interested just contact Nick. Looking for a little more input on the chemistry side. Would like to get it done this calendar year. Kathleen emphasized making a call to 2.3.

- John Randtke: shared an idea for potential RTAR during 2.3 meeting regarding the effects of age on electronic air cleaners. Pull devices that are 5, 10 years old from the field and evaluate effectiveness, degradation, do they still pass UL 2998, etc. Those in support and volunteering: Jeff Siegel, Marilyn Listvan, Peter McKinney.

- Adjournment